## Year to Date
Silicon Ranch |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1674447.35 | 0 | 1674447.35 | 0% | 4271439.971 | -2596992.621 | -60.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 113333.75 | 0 | 113333.75 |  | 123014.5 | -9680.75 | -7.87%
Kohls - Auburn | NY | 44800 | 0 | 44800 |  | 119512.79 | 5388.09 | 4.508%
Kohls - Bensalem | PA | 66928 | 0 | 66928 |  | 137653.25 | 1265.98 | 0.9197%
Kohls - Brick | NJ | 74090 | 0 | 74090 |  | 163134.48 | -1190.86 | -0.73%
Kohls - Buffalo | NY | 53909 | 0 | 53909 |  | 150367.43 | -818.37 | -0.5442%
Kohls - Canton | CT | 24565 | 0 | 24565 |  | 53186.86 | 509.95 | 0.9588%
Kohls - East Amherst | NY | 49240 | 0 | 49240 |  | 136562.08 | -2308.69 | -1.691%
Kohls - East Brunswick | NJ | 79993 | 0 | 79993 |  | 212930.71 | -20451.72 | -9.605%
Kohls - Edgewood | MD | 489062 | 0 | 489062 |  | 1140846.19 | -55603.87 | -4.874%
Kohls - Granite Run | PA | 63649 | 0 | 63649 |  | 137717.7 | -2068.16 | -1.502%
Kohls - Greece | NY | 40858 | 0 | 40858 |  | 143804.98 | -11100.83 | -7.719%
Kohls - Hanover | PA | 64193 | 0 | 64193 |  | 155333.6 | -9545.67 | -6.145%
Kohls - Horsehead | NY | 44058 | 0 | 44058 |  | 118664.52 | -9727.88 | -8.198%
Kohls - Hudson | NY | 20828 | 0 | 20828 |  | 130102.19 | -40461.81 | -31.1%
Kohls - Ithaca | NY | 43460 | 0 | 43460 |  | 132880.02 | -13588.45 | -10.23%
Kohls - Kingston | NY | 87519 | 0 | 87519 |  | 201850.871 | -1325.589 | -0.6567%
Kohls - Mechanicsburg | PA | 83627 | 0 | 83627 |  | 179740.01 | -821.72 | -0.4572%
Kohls - Middletown | NJ | 30711 | 0 | 30711 |  | 252655.91 | -88345.46 | -34.97%
Kohls - North Amherst | NY | 37771 | 0 | 37771 |  | 126121.83 | -6786.45 | -5.381%
Kohls - Staten Island | NY | 59937.6 | 0 | 59937.6 |  | 151868.16 | -8920.7 | -5.874%
Kohls - Warminster | PA | 40475 | 0 | 40475 |  | 160563.65 | -40277.78 | -25.09%
Kohls - Waterbury | CT | 61440 | 0 | 61440 |  | 142928.24 | -2028.68 | -1.419%

## 1st Qtr
Silicon Ranch |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1611034.35 | 0 | 1611034.35 | 0% | #REF! | #REF! | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 49920.75 | 0 | 49920.75 |  | 57306.24 | -7385.49 | -12.89%
Kohls - Auburn | NY | 44800 | 0 | 44800 |  | 39411.91 | 5388.09 | 13.67%
Kohls - Bensalem | PA | 66928 | 0 | 66928 |  | 65662.02 | 1265.98 | 1.928%
Kohls - Brick | NJ | 74090 | 0 | 74090 |  | 75280.86 | -1190.86 | -1.582%
Kohls - Buffalo | NY | 53909 | 0 | 53909 |  | 54727.37 | -818.37 | -1.495%
Kohls - Canton | CT | 24565 | 0 | 24565 |  | 24055.05 | 509.95 | 2.12%
Kohls - East Amherst | NY | 49240 | 0 | 49240 |  | 51548.69 | -2308.69 | -4.479%
Kohls - East Brunswick | NJ | 79993 | 0 | 79993 |  | 100444.72 | -20451.72 | -20.36%
Kohls - Edgewood | MD | 489062 | 0 | 489062 |  | 544665.87 | -55603.87 | -10.21%
Kohls - Granite Run | PA | 63649 | 0 | 63649 |  | 65717.16 | -2068.16 | -3.147%
Kohls - Greece | NY | 40858 | 0 | 40858 |  | 51958.83 | -11100.83 | -21.36%
Kohls - Hanover | PA | 64193 | 0 | 64193 |  | 73738.67 | -9545.67 | -12.95%
Kohls - Horsehead | NY | 44058 | 0 | 44058 |  | 53785.88 | -9727.88 | -18.09%
Kohls - Hudson | NY | 20828 | 0 | 20828 |  | 61289.81 | -40461.81 | -66.02%
Kohls - Ithaca | NY | 43460 | 0 | 43460 |  | 57048.45 | -13588.45 | -23.82%
Kohls - Kingston | NY | 87519 | 0 | 87519 |  | 88844.589 | -1325.589 | -1.492%
Kohls - Mechanicsburg | PA | 83627 | 0 | 83627 |  | 84448.72 | -821.72 | -0.973%
Kohls - Middletown | NJ | 30711 | 0 | 30711 |  | 119056.46 | -88345.46 | -74.2%
Kohls - North Amherst | NY | 37771 | 0 | 37771 |  | 44557.45 | -6786.45 | -15.23%
Kohls - Staten Island | NY | 59937.6 | 0 | 59937.6 |  | 73401.73 | -8920.7 | -12.15%
Kohls - Warminster | PA | 40475 | 0 | 40475 |  | 72736.63 | -40277.78 | -55.37%
Kohls - Waterbury | CT | 61440 | 0 | 61440 |  | #REF! | -2028.68

## 2nd Qtr
Silicon Ranch |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 1962094.8 | 0 | 1962094.8 | 0% | 2348284.182 | -386189.382 | -16.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 63413 | 0 | 63413 |  | 65708.26 | -2295.26 | -3.493%
Kohls - Auburn | NY | 69501 | 0 | 69501 |  | 80100.88 | -10599.88 | -13.23%
Kohls - Bensalem | PA | 73357 | 0 | 73357 |  | 71991.23 | 1365.77 | 1.897%
Kohls - Brick | NJ | 81922 | 0 | 81922 |  | 87853.62 | -5931.62 | -6.752%
Kohls - Buffalo | NY | 85537 | 0 | 85537 |  | 95640.06 | -10103.06 | -10.56%
Kohls - Canton | CT | 31136 | 0 | 31136 |  | 29131.81 | 2004.19 | 6.88%
Kohls - East Amherst | NY | 78995 | 0 | 78995 |  | 85013.39 | -6018.39 | -7.079%
Kohls - East Brunswick | NJ | 69426 | 0 | 69426 |  | 112485.99 | -43059.99 | -38.28%
Kohls - Edgewood | MD | 454758 | 0 | 454758 |  | 596180.32 | -141422.32 | -23.72%
Kohls - Granite Run | PA | 68212 | 0 | 68212 |  | 72000.54 | -3788.54 | -5.262%
Kohls - Greece | NY | 68457 | 0 | 68457 |  | 91846.15 | -23389.15 | -25.47%
Kohls - Hanover | PA | 41923 | 0 | 41923 |  | 81594.93 | -39671.93 | -48.62%
Kohls - Horsehead | NY | 60704 | 0 | 60704 |  | 64878.64 | -4174.64 | -6.435%
Kohls - Hudson | NY | 60016 | 0 | 60016 |  | 68812.38 | -8796.38 | -12.78%
Kohls - Ithaca | NY | 64257 | 0 | 64257 |  | 75831.57 | -11574.57 | -15.26%
Kohls - Kingston | NY | 89216 | 0 | 89216 |  | 113006.282 | -23790.282 | -21.05%
Kohls - Mechanicsburg | PA | 88858 | 0 | 88858 |  | 95291.29 | -6433.29 | -6.751%
Kohls - Middletown | NJ | 115987 | 0 | 115987 |  | 133599.45 | -17612.45 | -13.18%
Kohls - North Amherst | NY | 60508 | 0 | 60508 |  | 81564.38 | -21056.38 | -25.82%
Kohls - Staten Island | NY | 71995.8 | 0 | 71995.8 |  | 78466.43 | -6470.63 | -8.246%
Kohls - Warminster | PA | 87269 | 0 | 87269 |  | 87827.02 | -558.02 | -0.6354%
Kohls - Waterbury | CT | 76647 | 0 | 76647 |  | 79459.56 | -2812.56 | -3.54%

## 3rd Qtr
Silicon Ranch |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  |  | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  |  | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  |  | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  |  | 0
Kohls - Canton | CT | 0 | 0 | 0 |  |  | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  |  | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  |  | 0
Kohls - Greece | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  |  | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  |  | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  |  | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  |  | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  |  | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  |  | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  |  | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  |  | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Silicon Ranch |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  |  | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  |  | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  |  | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  |  | 0
Kohls - Canton | CT | 0 | 0 | 0 |  |  | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  |  | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  |  | 0
Kohls - Greece | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  |  | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  |  | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  |  | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  |  | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  |  | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  |  | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  |  | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  |  | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  |  | 0

## Jan
Silicon Ranch |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 205652.6 | 0 | 205652.6 | 0% | 444598.28 | -238945.68 | -53.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 6324 | 0 | 6324 |  | 13022.34 | -6698.34 | -51.44%
Kohls - Auburn | NY | 4362 | 0 | 4362 |  | 4782 | -420 | -8.783% | 1. Site tripped offline due to a utility outage at 10pm on 01/09 and came back online at 3pm on 01/10. | 1. SR080112
Kohls - Bensalem | PA | 9630 | 0 | 9630 |  | 15754.4 | -6124.4 | -38.87%
Kohls - Brick | NJ | 11393 | 0 | 11393 |  | 16696.5 | -5303.5 | -31.76%
Kohls - Buffalo | NY | 3961 | 0 | 3961 |  | 8044.58 | -4083.58 | -50.76%
Kohls - Canton | CT | 2979 | 0 | 2979 |  | 5837.36 | -2858.36 | -48.97%
Kohls - East Amherst | NY | 2767 | 0 | 2767 |  | 8482.7 | -5715.7 | -67.38%
Kohls - East Brunswick | NJ | 973 | 0 | 973 |  | 23294.45 | -22321.45 | -95.82%
Kohls - Edgewood | MD | 71866 | 0 | 71866 |  | 136238.63 | -64372.63 | -47.25% | 1. Inverter 3 is offline from 01/01 to 01/03 | 1. SR079771
Kohls - Granite Run | PA | 9421 | 0 | 9421 |  | 16020.95 | -6599.95 | -41.2%
Kohls - Greece | NY | 0 | 0 | 0 |  | 9424.18 | -9424.18 | -100% | 1. Site offline for module replacement work | 1. SR078556
Kohls - Hanover | PA | 11065 | 0 | 11065 |  | 18878.62 | -7813.62 | -41.39%
Kohls - Horsehead | NY | 2351 | 0 | 2351 |  | 12770.65 | -10419.65 | -81.59% | 1. Inverter is offline from 01/07 to 01/26 | 1. SR080006
Kohls - Hudson | NY | 197 | 0 | 197 |  | 12854.55 | -12657.55 | -98.47% | 1. Inverter is offline from 12/17 to 01/19. | 1. SR079528
Kohls - Ithaca | NY | 4385 | 0 | 4385 |  | 11913.06 | -7528.06 | -63.19%
Kohls - Kingston | NY | 9244 | 0 | 9244 |  | 22381.27 | -13137.27 | -58.7%
Kohls - Mechanicsburg | PA | 11788 | 0 | 11788 |  | 21618.64 | -9830.64 | -45.47%
Kohls - Middletown | NJ | 15292 | 0 | 15292 |  | 29635.82 | -14343.82 | -48.4% | 1. Inverter 1 multiple times tripped offline | 1. SR079062
Kohls - North Amherst | NY | 2846 | 0 | 2846 |  | 6525.15 | -3679.15 | -56.38%
Kohls - Staten Island | NY | 8661.6 | 0 | 8661.6 |  | 15476.69 | -6815.09 | -44.03%
Kohls - Warminster | PA | 7770 | 0 | 7770 |  | 19541.34 | -11771.34 | -60.24% | 1. Inverter is frequentley offline & reporting "AC current Imbalance". | 1. SR078291
Kohls - Waterbury | CT | 8377 | 0 | 8377 |  | 15404.4 | -7027.4 | -45.62%

## Feb
Silicon Ranch |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 603167.75 | 0 | 603167.75 | 0% | 584890.32 | 18277.43 | 3.125%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 16946.75 | 0 | 16946.75 |  | 19218 | -2271.25 | -11.82%
Kohls - Auburn | NY | 17104 | 0 | 17104 |  | 10813.11 | 6290.89 | 58.18%
Kohls - Bensalem | PA | 24318 | 0 | 24318 |  | 20009.19 | 4308.81 | 21.53%
Kohls - Brick | NJ | 26352 | 0 | 26352 |  | 22735.46 | 3616.54 | 15.91%
Kohls - Buffalo | NY | 21121 | 0 | 21121 |  | 15492.57 | 5628.43 | 36.33% | 1. Inverter 7 offline due to "Grid Contactor Open from 02/19 to 02/29 | 1. SR081105
Kohls - Canton | CT | 8146 | 0 | 8146 |  | 7037.82 | 1108.18 | 15.75%
Kohls - East Amherst | NY | 20665 | 0 | 20665 |  | 14355.33 | 6309.67 | 43.95%
Kohls - East Brunswick | NJ | 31269 | 0 | 31269 |  | 30992.07 | 276.93 | 0.8936%
Kohls - Edgewood | MD | 184974 | 0 | 184974 |  | 169384.2 | 15589.8 | 9.204%
Kohls - Granite Run | PA | 22487 | 0 | 22487 |  | 20204.97 | 2282.03 | 11.29%
Kohls - Greece | NY | 16874 | 0 | 16874 |  | 14942.59 | 1931.41 | 12.93%
Kohls - Hanover | PA | 26512 | 0 | 26512 |  | 22444.04 | 4067.96 | 18.12%
Kohls - Horsehead | NY | 18647 | 0 | 18647 |  | 16126.44 | 2520.56 | 15.63%
Kohls - Hudson | NY | 6932 | 0 | 6932 |  | 18708.54 | -11776.54 | -62.95%
Kohls - Ithaca | NY | 16819 | 0 | 16819 |  | 17888.23 | -1069.23 | -5.977%
Kohls - Kingston | NY | 35496 | 0 | 35496 |  | 24776.93 | 10719.07 | 43.26%
Kohls - Mechanicsburg | PA | 30051 | 0 | 30051 |  | 25384.43 | 4666.57 | 18.38%
Kohls - Middletown | NJ | 15419 | 0 | 15419 |  | 36407.89 | -20988.89 | -57.65% | 1. Inverter tripping offline and reporting "Coolant temperature" for multiple days | 1. SR080696
Kohls - North Amherst | NY | 15228 | 0 | 15228 |  | 12491 | 2737 | 21.91%
Kohls - Staten Island | NY | 19596 | 0 | 19596 |  | 21345.24 | -1749.24 | -8.195%
Kohls - Warminster | PA | 8422 | 0 | 8422 |  | 24631.64 | -16209.64 | -65.81%
Kohls - Waterbury | CT | 19789 | 0 | 19789 |  | 19500.63 | 288.37 | 1.479%

## Mar
Silicon Ranch |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 802214 | 0 | 802214 | 0% | 897139.909 | -94925.909 | -10.58%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 26650 | 0 | 26650 |  | 25065.9 | 1584.1 | 6.32%
Kohls - Auburn | NY | 23334 | 0 | 23334 |  | 23816.8 | -482.8 | -2.027%
Kohls - Bensalem | PA | 32980 | 0 | 32980 |  | 29898.43 | 3081.57 | 10.31%
Kohls - Brick | NJ | 36345 | 0 | 36345 |  | 35848.9 | 496.1 | 1.384%
Kohls - Buffalo | NY | 28827 | 0 | 28827 |  | 31190.22 | -2363.22 | -7.577%
Kohls - Canton | CT | 13440 | 0 | 13440 |  | 11179.87 | 2260.13 | 20.22%
Kohls - East Amherst | NY | 25808 | 0 | 25808 |  | 28710.66 | -2902.66 | -10.11%
Kohls - East Brunswick | NJ | 47751 | 0 | 47751 |  | 46158.2 | 1592.8 | 3.451%
Kohls - Edgewood | MD | 232222 | 0 | 232222 |  | 239043.04 | -6821.04 | -2.853%
Kohls - Granite Run | PA | 31741 | 0 | 31741 |  | 29491.24 | 2249.76 | 7.629%
Kohls - Greece | NY | 23984 | 0 | 23984 |  | 27592.06 | -3608.06 | -13.08%
Kohls - Hanover | PA | 26616 | 0 | 26616 |  | 32416.01 | -5800.01 | -17.89%
Kohls - Horsehead | NY | 23060 | 0 | 23060 |  | 24888.79 | -1828.79 | -7.348%
Kohls - Hudson | NY | 13699 | 0 | 13699 |  | 29726.72 | -16027.72 | -53.92%
Kohls - Ithaca | NY | 22256 | 0 | 22256 |  | 27247.16 | -4991.16 | -18.32%
Kohls - Kingston | NY | 42779 | 0 | 42779 |  | 41686.389 | 1092.611 | 2.621%
Kohls - Mechanicsburg | PA | 41788 | 0 | 41788 |  | 37445.65 | 4342.35 | 11.6%
Kohls - Middletown | NJ | 0 | 0 | 0 |  | 53012.75 | -53012.75 | -100% | 1. Inverter is offline throughout the month. | 1. SR080696
Kohls - North Amherst | NY | 19697 | 0 | 19697 |  | 25541.3 | -5844.3 | -22.88%
Kohls - Staten Island | NY | 31680 | 0 | 31680 |  | 32036.37 | -356.37 | -1.112%
Kohls - Warminster | PA | 24283 | 0 | 24283 |  | 36579.8 | -12296.8 | -33.62% | 1. Inverter was offline for multiple days. | 1.SR078291
Kohls - Waterbury | CT | 33274 | 0 | 33274 |  | 28563.65 | 4710.35 | 16.49%

## Apr
Silicon Ranch |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 931826.2 | 0 | 931826.2 | 0% | 1097110.291 | -165284.091 | -15.07%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 28698 | 0 | 28698 |  | 31152.93 | -2454.93 | -7.88%
Kohls - Auburn | NY | 28241 | 0 | 28241 |  | 34098.57 | -5857.57 | -17.18%
Kohls - Bensalem | PA | 35384 | 0 | 35384 |  | 33865.77 | 1518.23 | 4.483%
Kohls - Brick | NJ | 38934 | 0 | 38934 |  | 41145.59 | -2211.59 | -5.375%
Kohls - Buffalo | NY | 34857 | 0 | 34857 |  | 44287.13 | -9430.13 | -21.29%
Kohls - Canton | CT | 13928 | 0 | 13928 |  | 13718.25 | 209.75 | 1.529%
Kohls - East Amherst | NY | 32595 | 0 | 32595 |  | 38964.47 | -6369.47 | -16.35%
Kohls - East Brunswick | NJ | 45596 | 0 | 45596 |  | 52856.96 | -7260.96 | -13.74%
Kohls - Edgewood | MD | 236845 | 0 | 236845 |  | 283313.49 | -46468.49 | -16.4%
Kohls - Granite Run | PA | 32668 | 0 | 32668 |  | 33875.63 | -1207.63 | -3.565%
Kohls - Greece | NY | 27098 | 0 | 27098 |  | 41686.39 | -14588.39 | -35%
Kohls - Hanover | PA | 22308 | 0 | 22308 |  | 39384.11 | -17076.11 | -43.36% | 1.Inverter was offline from 04/01 to 04/03 & back online at 04/04. 2.Inverter is offline on 04/21 & continued throught the month. | 1.SR083032 2.SR083661
Kohls - Horsehead | NY | 25184 | 0 | 25184 |  | 28710.66 | -3526.66 | -12.28%
Kohls - Hudson | NY | 29971 | 0 | 29971 |  | 32756.26 | -2785.26 | -8.503%
Kohls - Ithaca | NY | 26588 | 0 | 26588 |  | 34443.47 | -7855.47 | -22.81%
Kohls - Kingston | NY | 36617 | 0 | 36617 |  | 53496.911 | -16879.911 | -31.55% | 1.Site stopped comms & modem is offline from 04/27 no visibility to monitor equipment or inverter. | 1.SR083320
Kohls - Mechanicsburg | PA | 41872 | 0 | 41872 |  | 46002.28 | -4130.28 | -8.978%
Kohls - Middletown | NJ | 59946 | 0 | 59946 |  | 60664.54 | -718.54 | -1.184% | 1.inverter is offline from 04/01 & back online on 04/05 at 10:20. | 1.SR081552
Kohls - North Amherst | NY | 24695 | 0 | 24695 |  | 37286.57 | -12591.57 | -33.77%
Kohls - Staten Island | NY | 33544.2 | 0 | 33544.2 |  | 36840.44 | -3296.24 | -8.947%
Kohls - Warminster | PA | 41689 | 0 | 41689 |  | 41345.56 | 343.44 | 0.8307%
Kohls - Waterbury | CT | 34568 | 0 | 34568 |  | 37214.31 | -2646.31 | -7.111%

## Jun
Silicon Ranch |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Jul
Silicon Ranch |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Aug
Silicon Ranch |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## May
Silicon Ranch |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 1030268.6 | 0 | 1030268.6 | 0% | 1251173.891 | -220905.291 | -17.66%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 34715 | 0 | 34715 |  | 34555.33 | 159.67 | 0.4621%
Kohls - Auburn | NY | 41260 | 0 | 41260 |  | 46002.31 | -4742.31 | -10.31%
Kohls - Bensalem | PA | 37973 | 0 | 37973 |  | 38125.46 | -152.46 | -0.3999%
Kohls - Brick | NJ | 42988 | 0 | 42988 |  | 46708.03 | -3720.03 | -7.964%
Kohls - Buffalo | NY | 50680 | 0 | 50680 |  | 51352.93 | -672.93 | -1.31%
Kohls - Canton | CT | 17208 | 0 | 17208 |  | 15413.56 | 1794.44 | 11.64%
Kohls - East Amherst | NY | 46400 | 0 | 46400 |  | 46048.92 | 351.08 | 0.7624%
Kohls - East Brunswick | NJ | 23830 | 0 | 23830 |  | 59629.03 | -35799.03 | -60.04%
Kohls - Edgewood | MD | 217913 | 0 | 217913 |  | 312866.83 | -94953.83 | -30.35%
Kohls - Granite Run | PA | 35544 | 0 | 35544 |  | 38124.91 | -2580.91 | -6.77%
Kohls - Greece | NY | 41359 | 0 | 41359 |  | 50159.76 | -8800.76 | -17.55%
Kohls - Hanover | PA | 19615 | 0 | 19615 |  | 42210.82 | -22595.82 | -53.53% | 1. Inverter is offline from 04/21 and is back online on 05/20 at 10:00am. | 1. SR083661
Kohls - Horsehead | NY | 35520 | 0 | 35520 |  | 36167.98 | -647.98 | -1.792%
Kohls - Hudson | NY | 30045 | 0 | 30045 |  | 36056.12 | -6011.12 | -16.67%
Kohls - Ithaca | NY | 37669 | 0 | 37669 |  | 41388.1 | -3719.1 | -8.986%
Kohls - Kingston | NY | 52599 | 0 | 52599 |  | 59509.371 | -6910.371 | -11.61% | 1. Site is communicating from 05/03 at 9:25am and no visibility to monitor equipment or inverter. | 1. SR083320
Kohls - Mechanicsburg | PA | 46986 | 0 | 46986 |  | 49289.01 | -2303.01 | -4.672%
Kohls - Middletown | NJ | 56041 | 0 | 56041 |  | 72934.91 | -16893.91 | -23.16% | 1. The inverter tripped offline at 11:45am and back online at 3:45pm on 05/21 and having multiple tripping events. | 1. SR084948
Kohls - North Amherst | NY | 35813 | 0 | 35813 |  | 44277.81 | -8464.81 | -19.12%
Kohls - Staten Island | NY | 38451.6 | 0 | 38451.6 |  | 41625.99 | -3174.39 | -7.626%
Kohls - Warminster | PA | 45580 | 0 | 45580 |  | 46481.46 | -901.46 | -1.939%
Kohls - Waterbury | CT | 42079 | 0 | 42079 |  | 42245.25 | -166.25 | -0.3935%

## Sep
Silicon Ranch |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Oct
Silicon Ranch |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Nov
Silicon Ranch |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Dec
Silicon Ranch |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT

## Sites
Portfolio: | Silicon Ranch
Site DAS Name | Site | State | Column1 | DAS
zz.Iron Mountain - Windsor | Iron Mountain - Windsor | CT | AF | Green Power Monitor
zz.Kohls - Auburn | Kohls - Auburn | NY | FA | Green Power Monitor
zz.Kohls - Bensalem | Kohls - Bensalem | PA | FA | Green Power Monitor
zz.Kohls - Brick | Kohls - Brick | NJ | FA | Green Power Monitor
zz.Kohls - Buffalo | Kohls - Buffalo | NY | FA | Green Power Monitor
zz.Kohls - Canton | Kohls - Canton | CT | FA | Green Power Monitor
zz.Kohls - East Amherst | Kohls - East Amherst | NY | FA | Green Power Monitor
zz.Kohls - East Brunswick | Kohls - East Brunswick | NJ | FA | Green Power Monitor
zz.Kohls - Edgewood | Kohls - Edgewood | MD | FA | Green Power Monitor
zz.Kohls - Granite Run | Kohls - Granite Run | PA | FA | Green Power Monitor
zz.Kohls - Greece | Kohls - Greece | NY | FA | Green Power Monitor
zz.Kohls - Hanover | Kohls - Hanover | PA | FA | Green Power Monitor
zz.Kohls - Horsehead | Kohls - Horsehead | NY | FA | Green Power Monitor
zz.Kohls - Hudson | Kohls - Hudson | NY | FA | Green Power Monitor
zz.Kohls - Ithaca | Kohls - Ithaca | NY | FA | Green Power Monitor
zz.Kohls - Kingston | Kohls - Kingston | NY | FA | Green Power Monitor
zz.Kohls - Mechanicsburg | Kohls - Mechanicsburg | PA | FA | Green Power Monitor
zz.Kohls - Middletown | Kohls - Middletown | NJ | FA | Green Power Monitor
zz.Kohls - North Amherst | Kohls - North Amherst | NY | FA | Green Power Monitor
zz.Kohls - Staten Island | Kohls - Staten Island | NY | FA | Green Power Monitor
zz.Kohls - Warminster | Kohls - Warminster | PA | FA | Green Power Monitor
zz.Kohls - Waterbury | Kohls - Waterbury | CT | FA | Green Power Monitor