## Year to Date
PureSky Energy |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1035042 | 702593.4 | 332448.6 | 47.32% | 2134791.2 | -1099749.2 | -51.52%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Sandwich - 180 Cotuit Road | MA | 1035042 | 702593.4 | 332448.6 | 47.32% | 2134791.2 | -1099749.2 | -51.52%

## 1st Qtr
PureSky Energy |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Sandwich - 180 Cotuit Road | MA | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
PureSky Energy |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Sandwich - 180 Cotuit Road | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
PureSky Energy |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 821220 | 578636.3 | 242583.7 | 41.92% | 1750525.5 | -929305.5 | -53.09%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Sandwich - 180 Cotuit Road | MA | 821220 | 578636.3 | 242583.7 | 41.92% | 1750525.5 | -929305.5 | -53.09%

## 4th Qtr
PureSky Energy |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 213822 | 123957.1 | 89864.9 | 72.5% | 384265.7 | -170443.7 | -44.36%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Sandwich - 180 Cotuit Road | MA | 213822 | 123957.1 | 89864.9 | 72.5% | 384265.7 | -170443.7 | -44.36%

## Jan
PureSky Energy |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Feb
PureSky Energy |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Mar
PureSky Energy |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Apr
PureSky Energy |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## May
PureSky Energy |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Jun
PureSky Energy |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Jul
PureSky Energy |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 90643 | 214201.2 | -123558.2 | -57.68% | 648371.4 | -557728.4 | -86.02%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA | 90643 | 214201.2 | -123558.2 | -57.68% | 648371.4 | -557728.4 | -86.02% | 1. Site was offline from 06/30 to 09:00am on 07/02 and again site was offline from 07/03 to 11:00am on 07/26. | 1. SR088630

## Aug
PureSky Energy |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 468409 | 217084.3 | 251324.7 | 115.8% | 605199 | -136790 | -22.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA | 468409 | 217084.3 | 251324.7 | 115.8% | 605199 | -136790 | -22.6% | 1.Site offline from 5/8 and back online on 8/8 at 13:00 2.Site offline from 07:00AM to 11:15AM on 8/20 | 1.SR088630 2. SR089286

## Sep
PureSky Energy |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 262168 | 147350.8 | 114817.2 | 77.92% | 496955.1 | -234787.1 | -47.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA | 262168 | 147350.8 | 114817.2 | 77.92% | 496955.1 | -234787.1 | -47.25% | 1.Site is offline at 16:45 on 09/07 and back online at 12:30 on 09/09 and again tripped offline at 11:30 on 09/11 and back online at 08:30 on 09/12 | 1.SR090185

## Oct
PureSky Energy |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 213822 | 123957.1 | 89864.9 | 72.5% | 384265.7 | -170443.7 | -44.36%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA | 213822 | 123957.1 | 89864.9 | 72.5% | 384265.7 | -170443.7 | -44.36% | 1.Site was back online on 10/01 at 16:15 2.Meter dropped to zero multiple days but voltages are available 3.Site offline from 10/28 at 15:00 and back online on 10/31 at 9:45 AM | 1.SR091561 2.SR092515 3.SR092623

## Nov
PureSky Energy |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Dec
PureSky Energy |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Sandwich - 180 Cotuit Road | MA

## Sites
Portfolio: | PureSky Energy
Site DAS Name | Site | State | Update | DAS
Cotuit | MA: Sandwich - 180 Cotuit Road | MA |  | PowerTrack