## Year to Date
111 Hayes Memorial Drive |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 275960.7539 | 0 | 275960.7539 | 0% | 242873.206 | 33087.5479 | 13.62%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 275960.7539 | 0 | 275960.7539 |  | 242873.206 | 35079.5479 | 14.44%

## 1st Qtr
111 Hayes Memorial Drive |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 50893.2539 | 0 | 50893.2539 | 0% | 68669.206 | -17775.9521 | -25.89%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 50893.2539 | 0 | 50893.2539 |  | 68669.206 | -17775.9521 | -25.89%

## 2nd Qtr
111 Hayes Memorial Drive |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 114560 | 0 | 114560 | 0% | 86489 | 28071 | 32.46%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 114560 | 0 | 114560 |  | 86489 | 28071 | 32.46%

## 3rd Qtr
111 Hayes Memorial Drive |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 110507.5 | 0 | 110507.5 | 0% | 87715 | 22792.5 | 25.98%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 110507.5 | 0 | 110507.5 |  | 87715 | 24784.5 | 28.26%

## 4th Qtr
111 Hayes Memorial Drive |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 0 | 0 | 0 |  |  | 0

## Jan
111 Hayes Memorial Drive |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 5630.2969 | 0 | 5630.2969 | 0% | 18868 | -13237.7031 | -70.16%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 5630.2969 | 0 | 5630.2969 |  | 18868 | -13237.7031 | -70.16% | 1. Inverter 1 right unit was still offline. | 1. SR078701

## Feb
111 Hayes Memorial Drive |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 18485.6 | 0 | 18485.6 | 0% | 21680.4 | -3194.8 | -14.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 18485.6 | 0 | 18485.6 |  | 21680.4 | -3194.8 | -14.74%

## Mar
111 Hayes Memorial Drive |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 26777.357 | 0 | 26777.357 | 0% | 28120.806 | -1343.449 | -4.777%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 26777.357 | 0 | 26777.357 |  | 28120.806 | -1343.449 | -4.777%

## Apr
111 Hayes Memorial Drive |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 32728 | 0 | 32728 | 0% | 28354 | 4374 | 15.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 32728 | 0 | 32728 |  | 28354 | 4374 | 15.43% | 1. Inverter 1 primary unit is having tripping events from 04/08, later tripping events resolved and primary unit is producing as expected from 04/11. 2. Inverter 1 primary unit again having tripping events from 04/22 | 1. SR083263 2. SR083744

## May
111 Hayes Memorial Drive |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 38010 | 0 | 38010 | 0% | 29884 | 8126 | 27.19%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 38010 | 0 | 38010 |  | 29884 | 8126 | 27.19% | 1. Inverter 1 primary unit again having tripping events from 04/22, primary unit tripped offline at 16:55 on 05/06 and back online at 10:10AM on 05/09. The tripping events resolved and inverter 1 primary unit was producing as expected from 05/24 | 1. SR083744

## Jun
111 Hayes Memorial Drive |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 43822 | 0 | 43822 | 0% | 28251 | 15571 | 55.12%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 43822 | 0 | 43822 |  | 28251 | 15571 | 55.12%

## Jul
111 Hayes Memorial Drive |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 41356.7769 | 0 | 41356.7769 | 0% | 30055 | 11301.7769 | 37.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 41356.7769 | 0 | 41356.7769 |  | 30055 | 11301.7769 | 37.6%

## Aug
111 Hayes Memorial Drive |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 37197.2231 | 0 | 37197.2231 | 0% | 29409 | 7788.2231 | 26.48%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 37197.2231 | 0 | 37197.2231 |  | 29409 | 7788.2231 | 26.48%

## Sep
111 Hayes Memorial Drive |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 31953.5 | 0 | 31953.5 | 0% | 26259 | 5694.5 | 21.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 31953.5 | 0 | 31953.5 |  | 26259 | 5694.5 | 21.69%

## Oct
111 Hayes Memorial Drive |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA

## Nov
111 Hayes Memorial Drive |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA

## Dec
111 Hayes Memorial Drive |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA

## Sites
Portfolio: | 111 Hayes Memorial Drive
Site DAS Name | Site | State | Update | DAS
111 Hayes Memorial Drive | MA: Marlborough - 111 Hayes Memorial Dr | MA | AF | PowerTrack