## Year to Date
Amergy Solar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1374977.6 | 1501609.3 | -126631.7 | -8.433% | 961763.87 | 413213.73 | 42.96%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 577154.3 | 606403.84 | -29249.54 | -4.823% | 462363.57 | -151940.04 | -32.86%
Mount Laurel - Igloo Ice Rink | NJ | 797823.3 | 895205.46 | -97382.16 | -10.88% | 499400.3 | 9880 | 1.978%

## 1st Qtr
Amergy Solar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 295596 | 333524 | -37928 | -11.37% | 349521 | -53925 | -15.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 121256 | 129357 | -8101 | -6.263% | 185061 | -63805 | -34.48%
Mount Laurel - Igloo Ice Rink | NJ | 174340 | 204167 | -29827 | -14.61% | 164460 | 9880 | 6.008%

## 2nd Qtr
Amergy Solar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 554097.5 | 606186.18 | -52088.68 | -8.593% | 612242.87 | -58145.37 | -9.497%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 239045.5 | 248316.18 | -9270.68 | -3.733% | 277302.57 | -38257.07 | -13.8%
Mount Laurel - Igloo Ice Rink | NJ | 315052 | 357870 | -42818 | -11.96% | 334940.3 | -19888.3 | -5.938%

## 3rd Qtr
Amergy Solar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 525284.1 | 561899.12 | -36615.02 | -6.516% | 0 | 525284.1 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 216852.8 | 228730.66 | -11877.86 | -5.193% |  | -49877.97
Mount Laurel - Igloo Ice Rink | NJ | 308431.3 | 333168.46 | -24737.16 | -7.425% |  | -12072.86

## 4th Qtr
Amergy Solar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 0 | 0 | 0 |  |  | 0
Mount Laurel - Igloo Ice Rink | NJ | 0 | 0 | 0 |  |  | 0

## Jan
Amergy Solar |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 42875 | 60849 | -17974 | -29.54% | 83738 | -40863 | -48.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 17773 | 22778 | -5005 | -21.97% | 48244 | -30471 | -63.16%
Mount Laurel - Igloo Ice Rink | NJ | 25102 | 38071 | -12969 | -34.07% | 35494 | -10392 | -29.28%

## Feb
Amergy Solar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 105722 | 117230 | -11508 | -9.817% | 108237 | -2515 | -2.324%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 42119 | 44694 | -2575 | -5.761% | 59297 | -17178 | -28.97%
Mount Laurel - Igloo Ice Rink | NJ | 63603 | 72536 | -8933 | -12.32% | 48940 | 14663 | 29.96% | 1. Inverter 14 tripped offline on 02/21 at 12:50 and back online on 02/22 at 14:45 | 1. SR081176

## Mar
Amergy Solar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 146999 | 155445 | -8446 | -5.433% | 157546 | -10547 | -6.695%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 61364 | 61885 | -521 | -0.8419% | 77520 | -16156 | -20.84%
Mount Laurel - Igloo Ice Rink | NJ | 85635 | 93560 | -7925 | -8.471% | 80026 | 5609 | 7.009% | 1. Inverter 15 was offline on 03/01 between 09:15 to 11:45. Inverter again tripped offline on 03/3 at 09:47 and back online on 03/04 2. Inverter 6 was offline on 03/10 between 11:00 to 13:30 3. Inverter 15 tripped offline on 03/19 at 14:15 and back online on 03/22 4. Inverter 12 tripped offline on 03/21 at 14:35 and back online on 03/22 5. Inverter 3 was offline on 03/31 between 08:15 and back online at 14:20 | 1. SR081489 2. SR081728 3. SR082200 4. SR082289 5. SR082944

## Apr
Amergy Solar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 164489 | 174614.74 | -10125.74 | -5.799% | 192341.02 | -27852.02 | -14.48%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 70881.4 | 71383.04 | -501.64 | -0.7027% | 89755.42 | -18874.02 | -21.03%
Mount Laurel - Igloo Ice Rink | NJ | 93607.6 | 103231.7 | -9624.1 | -9.323% | 102585.6 | -8978 | -8.752% | 1. Inverter 2, 4,6 are tripped offline at 10:45 on 04/04 and back online at 13:30 on 04/04. 2. Inverter 2 tripped offline at 12:45 on 04/04 and back online at 13:30 on 04/04 and again Inverter 2 tripped offline at 14:00 on 04/05 and back online at 04/06. 3. Site tripped offline on 04/25 at 10:15 and back online at 11:15 with 2 inverters back online and rest back online at 3:30 PM | 1. SR083085 2. SR083130 3. SR083808

## May
Amergy Solar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 174238.9 | 190323.62 | -16084.72 | -8.451% | 205896.61 | -31657.71 | -15.38%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 74972.6 | 78493.62 | -3521.02 | -4.486% | 92366.41 | -17393.81 | -18.83%
Mount Laurel - Igloo Ice Rink | NJ | 99266.3 | 111830 | -12563.7 | -11.23% | 113530.2 | -14263.9 | -12.56% | 1. Inverter 13 tripped offline at 15:45 on 05/07 and back online on 05/08 2. Inverter 7 tripped offline at 13:30 on 05/10 and back online at 14:00 on 05/10 | 1. SR084382 2. SR084550

## Jun
Amergy Solar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 215369.6 | 241247.82 | -25878.22 | -10.73% | 214005.24 | 1364.36 | 0.6375%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 93191.5 | 98439.52 | -5248.02 | -5.331% | 95180.74 | -1989.24 | -2.09%
Mount Laurel - Igloo Ice Rink | NJ | 122178.1 | 142808.3 | -20630.2 | -14.45% | 118824.5 | 3353.6 | 2.822% | 1. Inverter 6 was tripped offline on 06/07 at 13:45 and it was still offline 2. Inverter 7 was tripped offline on 06/17 and back online at 18:00 on the same day and again tripped offline on 06/19 and back online on 6/21 at 11:00 3. Inverter 8 tripped offline on 06/19 at 11:00 and back online on 06/21 at 11:00 | 1. SR085747 2. SR086315 3. SR086427

## Jul
Amergy Solar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 192703.6 | 218080.23 | -25376.63 | -11.64% | 221781.66 | -29078.06 | -13.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 79835.4 | 90163.23 | -10327.83 | -11.45% | 97368.86 | -17533.46 | -18.01% | 1. Inverter 3 is offline from 07/02 to 07/15. | 1. SR087279
Mount Laurel - Igloo Ice Rink | NJ | 112868.2 | 127917 | -15048.8 | -11.76% | 124412.8 | -11544.6 | -9.279% | 1. Inverer 7 is offline from 07/03 to 07/13. 2. Inverter 8 is underperforming aprroximately 8kW from 07/04 to 07/12. | 1. SR087358 2. SR087371

## Aug
Amergy Solar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 187148.4 | 194084.48 | -6936.08 | -3.574% | 199735.27 | -12586.87 | -6.302%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 77336.6 | 78476.68 | -1140.08 | -1.453% | 91291.17 | -13954.57 | -15.29%
Mount Laurel - Igloo Ice Rink | NJ | 109811.8 | 115607.8 | -5796 | -5.014% | 108444.1 | 1367.7 | 1.261% | 1. Inverter 4 tripped offline at 14:00 on 08/03 and back online at 07:00AM on 08/04. 1. On thermel flyover 5 strings are offline. | 1. SR088574 2. SR088488

## Sep
Amergy Solar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 145432.1 | 149734.41 | -4302.31 | -2.873% | 165718 | -20285.9 | -12.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 59680.8 | 60090.75 | -409.95 | -0.6822% | 78070.74 | -18389.94 | -23.56%
Mount Laurel - Igloo Ice Rink | NJ | 85751.3 | 89643.66 | -3892.36 | -4.342% | 87647.26 | -1895.96 | -2.163%

## Oct
Amergy Solar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Nov
Amergy Solar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Dec
Amergy Solar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Sites
Portfolio: | Amergy Solar
Site DAS Name | Site | State | Update | DAS
Howell Ice Arena | Farmingdale - Howell Ice Arena | NJ | AEF | PowerTrack
Igloo | Mount Laurel - Igloo Ice Rink | NJ | AEF | PowerTrack