## Year to Date
Bio-Med Devices |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 126785.93 | 0 | 126785.93 | 0% | 129503.406 | -2717.476 | -2.098%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guildford - Bio-Med Devices | CT | 126785.93 | 0 | 126785.93 |  | 129503.406 | -2717.476 | -2.098%

## 1st Qtr
Bio-Med Devices |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 24798.02 | 0 | 24798.02 | 0% | 33814.352 | -9016.332 | -26.66%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guildford - Bio-Med Devices | CT | 24798.02 | 0 | 24798.02 |  | 33814.352 | -9016.332 | -26.66%

## 2nd Qtr
Bio-Med Devices |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 53803.14 | 0 | 53803.14 | 0% | 49373.971 | 4429.169 | 8.971%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guildford - Bio-Med Devices | CT | 53803.14 | 0 | 53803.14 |  | 49373.971 | 4429.169 | 8.971%

## 3rd Qtr
Bio-Med Devices |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 48184.77 | 0 | 48184.77 | 0% | 46315.083 | 1869.687 | 4.037%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guildford - Bio-Med Devices | CT | 48184.77 | 0 | 48184.77 |  | 46315.083 | 1869.687 | 4.037%

## 4th Qtr
Bio-Med Devices |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guildford - Bio-Med Devices | CT | 0 | 0 | 0 |  |  | 0

## Jan
Bio-Med Devices |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 4142 | 0 | 4142 | 0% | 8751 | -4609 | -52.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 4142 | 0 | 4142 |  | 8751 | -4609 | -52.67%

## Feb
Bio-Med Devices |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 7078.12 | 0 | 7078.12 | 0% | 10476.151 | -3398.031 | -32.44%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 7078.12 | 0 | 7078.12 |  | 10476.151 | -3398.031 | -32.44%

## Mar
Bio-Med Devices |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 13577.9 | 0 | 13577.9 | 0% | 14587.201 | -1009.301 | -6.919%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 13577.9 | 0 | 13577.9 |  | 14587.201 | -1009.301 | -6.919% | 1. Inverter 3 is offline from 03/22 to 03/25. | 1. SR082391

## Apr
Bio-Med Devices |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 15038.14 | 0 | 15038.14 | 0% | 15293.07 | -254.93 | -1.667%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 15038.14 | 0 | 15038.14 |  | 15293.07 | -254.93 | -1.667%

## May
Bio-Med Devices |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 18524.78 | 0 | 18524.78 | 0% | 17076.09 | 1448.69 | 8.484%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 18524.78 | 0 | 18524.78 |  | 17076.09 | 1448.69 | 8.484%

## Jun
Bio-Med Devices |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 20240.22 | 0 | 20240.22 | 0% | 17004.811 | 3235.409 | 19.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 20240.22 | 0 | 20240.22 |  | 17004.811 | 3235.409 | 19.03%

## Jul
Bio-Med Devices |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 18135.36 | 0 | 18135.36 | 0% | 16668.6 | 1466.76 | 8.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 18135.36 | 0 | 18135.36 |  | 16668.6 | 1466.76 | 8.8%

## Aug
Bio-Med Devices |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 16347.49 | 0 | 16347.49 | 0% | 15828.486 | 519.004 | 3.279%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 16347.49 | 0 | 16347.49 |  | 15828.486 | 519.004 | 3.279% | 1.Inverter 4 tripped offline due to an arc fault at 9:15 EDT on 08/10/2024 and is back online on 08/13/2024 | 1.SR08867

## Sep
Bio-Med Devices |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 13701.92 | 0 | 13701.92 | 0% | 13817.997 | -116.077 | -0.84%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT | 13701.92 | 0 | 13701.92 |  | 13817.997 | -116.077 | -0.84%

## Oct
Bio-Med Devices |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT

## Nov
Bio-Med Devices |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT

## Dec
Bio-Med Devices |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guildford - Bio-Med Devices | CT

## Sites
Portfolio: | Bio-Med Devices
Site DAS Name | Site | State | Update | DAS
Bio-Med Devices | CT: Guildford - Bio-Med Devices | CT | AF | PowerTrack