## Year to Date
CBRE |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | #REF! | 0 | #REF! | 0% | 0 | #REF! | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
East Hartford - BA | CT | 17660.699 | 0 | 17660.699 |  | 0% | 17660.699
Indianapolis - BA Speedway | IN | 8348.944 | 0 | 8348.944 |  | 0% | 0
Greenwood - BA | IN | 4510.673 | 0 | 4510.673 |  | 0% | 0
West Chester - BA | OH | 9756.511 | 0 | 9756.511 |  | 0% | 0
Cincinnati - BA MLK and Burnet | OH | 14208.01 | 0 | 14208.01 |  | 0% | 0
Columbus - BA Harrisburg Pike | OH | 11795.749 | 0 | 11795.749 |  | 0% | 0
Cincinnati - BA Hyde Pk Plaza | OH | 13796.76 | 0 | 13796.76 |  | 0% | 0
Cleveland - BA Carnegie & 79th | OH | 26897.893 | 0 | 26897.893 |  | 0% | 0
Cincinnati - BA Sharonville | OH | 1192.77 | 0 | 1192.77 |  | 0% | 0
Zionsville - BA | IN | 18256.161 | 0 | 18256.161 |  | 0% | 0
Columbus - BA Eastgate | OH | 9897.4 | 0 | 9897.4 |  | 0% | 0
Columbus - BA Eastmoor | OH | 16495.14 | 0 | 16495.14 |  | 0% | 0
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0% | 0
Pittsburg - BA Fox Chapel | PA | 8597.681 | 0 | 8597.681 |  | 0% | 0
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0% | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0% | 0
Stamford - BA West Stamford | CT | 11529.316 | 0 | 11529.316 |  | 0% | 0
Hanover - BA Arundel Mills | MD | 14275.697 | 0 | 14275.697 |  | 0% | 0
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0% | 0
Brooklyn - BA North 4th & Berry | NY | 16102.117 | 0 | 16102.117 |  | 0% | 0
Midlothian - BA Brandermill | VA | #REF! | 0 |  |  | 0% | 0
Lexington - BA North Park | KY | 7412.4 | 0 | 7412.4 |  | 0% | 0
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## 1st Qtr
CBRE |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
East Hartford - BA | CT | 0 | 0 | 0 |  | 0 | 0
Indianapolis - BA Speedway | IN | 0 | 0 | 0 |  | 0 | 0
Greenwood - BA | IN | 0 | 0 | 0 |  | 0 | 0
West Chester - BA | OH | 0 | 0 | 0 |  | 0 | 0
Cincinnati - BA MLK and Burnet | OH | 0 | 0 | 0 |  | 0 | 0
Columbus - BA Harrisburg Pike | OH | 0 | 0 | 0 |  | 0 | 0
Cincinnati - BA Hyde Pk Plaza | OH | 0 | 0 | 0 |  | 0 | 0
Cleveland - BA Carnegie & 79th | OH | 0 | 0 | 0 |  | 0 | 0
Cincinnati - BA Sharonville | OH | 0 | 0 | 0 |  | 0 | 0
Zionsville - BA | IN | 0 | 0 | 0 |  | 0 | 0
Columbus - BA Eastgate | OH | 0 | 0 | 0 |  | 0 | 0
Columbus - BA Eastmoor | OH | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0 | 0
Pittsburg - BA Fox Chapel | PA | 0 | 0 | 0 |  | 0 | 0
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0 | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0
Stamford - BA West Stamford | CT | 0 | 0 | 0 |  | 0 | 0
Hanover - BA Arundel Mills | MD | 0 | 0 | 0 |  | 0 | 0
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA North 4th & Berry | NY | 0 | 0 | 0 |  | 0 | 0
Midlothian - BA Brandermill | VA | 0 | 0 | 0 |  | 0 | 0
Lexington - BA North Park | KY | 0 | 0 | 0 |  | 0 | 0
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## 2nd Qtr
CBRE |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 100099.473 | 0 | 100099.473 | 0% | 0 | 100099.473 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
East Hartford - BA | CT | 9160.799 | 0 | 9160.799 |  | 0% | 9160.799
Indianapolis - BA Speedway | IN | 4212.07 | 0 | 4212.07 |  | 0% | 4212.07
Greenwood - BA | IN | 2257 | 0 | 2257 |  | 0% | 2257
West Chester - BA | OH | 4847 | 0 | 4847 |  | 0% | 4847
Cincinnati - BA MLK and Burnet | OH | 7155 | 0 | 7155 |  | 0% | 7155
Columbus - BA Harrisburg Pike | OH | 5955 | 0 | 5955 |  | 0% | 5955
Cincinnati - BA Hyde Pk Plaza | OH | 6955 | 0 | 6955 |  | 0% | 6955
Cleveland - BA Carnegie & 79th | OH | 5070.207 | 0 | 5070.207 |  | 0% | 5070.207
Cincinnati - BA Sharonville | OH | 0 | 0 | 0 |  | 0% | 0
Zionsville - BA | IN | 9116.761 | 0 | 9116.761 |  | 0% | 9116.761
Columbus - BA Eastgate | OH | 5070 | 0 | 5070 |  | 0% | 5070
Columbus - BA Eastmoor | OH | 8285.56 | 0 | 8285.56 |  | 0% | 8285.56
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0% | 0
Pittsburg - BA Fox Chapel | PA | 1570.891 | 0 | 1570.891 |  | 0% | 1570.891
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0% | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0% | 0
Stamford - BA West Stamford | CT | 5901.999 | 0 | 5901.999 |  | 0% | 5901.999
Hanover - BA Arundel Mills | MD | 7407.197 | 0 | 7407.197 |  | 0% | 7407.197
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0% | 0
Brooklyn - BA North 4th & Berry | NY | 8348.017 | 0 | 8348.017 |  | 0% | 8348017
Midlothian - BA Brandermill | VA | 4545.972 | 0 | 4545.972 |  | 0% | 4545.972
Lexington - BA North Park | KY | 4241 | 0 | 4241 |  | 0% | 4241
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## 3rd Qtr
CBRE |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | #REF! | 0 | #REF! | 0% | 0 | #REF! | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
East Hartford - BA | CT | 8499.9 | 0 | 8499.9 |  | 0 | 8499.9
Indianapolis - BA Speedway | IN | 4136.874 | 0 | 4136.874 |  | 0 | 4136.874
Greenwood - BA | IN | 2253.673 | 0 | 2253.673 |  | 0 | 2253.673
West Chester - BA | OH | 4909.511 | 0 | 4909.511 |  | 0 | 4909.511
Cincinnati - BA MLK and Burnet | OH | 7053.01 | 0 | 7053.01 |  | 0 | 7053.01
Columbus - BA Harrisburg Pike | OH | 5840.749 | 0 | 5840.749 |  | 0 | 5840.749
Cincinnati - BA Hyde Pk Plaza | OH | 6841.76 | 0 | 6841.76 |  | 0 | 6841.76
Cleveland - BA Carnegie & 79th | OH | 21827.686 | 0 | 21827.686 |  | 0 | 21827.686
Cincinnati - BA Sharonville | OH | 1192.77 | 0 | 1192.77 |  | 0 | 1192.77
Zionsville - BA | IN | 9139.4 | 0 | 9139.4 |  | 0 | 9139.4
Columbus - BA Eastgate | OH | 4827.4 | 0 | 4827.4 |  | 0 | 4827.4
Columbus - BA Eastmoor | OH | 8209.58 | 0 | 8209.58 |  | 0 | 8209.58
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0 | 0
Pittsburg - BA Fox Chapel | PA | 7026.79 | 0 | 7026.79 |  | 0 | 7026.79
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0 | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0
Stamford - BA West Stamford | CT | 5627.317 | 0 | 5627.317 |  | 0 | 5627.317
Hanover - BA Arundel Mills | MD | 6868.5 | 0 | 6868.5 |  | 0 | 6868.5
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA North 4th & Berry | NY | 7754.1 | 0 | 7754.1 |  | 0 | 7754.1
Midlothian - BA Brandermill | VA | #REF! | 0 |  |  | 0 | 4097.6
Lexington - BA North Park | KY | 3171.4 | 0 | 3171.4 |  | 0 | 3171.4
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## 4th Qtr
CBRE |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
#VALUE! | CT | 0 | 0 | 0 |  | 0 | 0
| IN | 0 | 0 | 0 |  | 0 | 0
| IN | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| IN | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| OH | 0 | 0 | 0 |  | 0 | 0
| NY | 0 | 0 | 0 |  | 0 | 0
| PA | 0 | 0 | 0 |  | 0 | 0
| NY | 0 | 0 | 0 |  | 0 | 0
| MD | 0 | 0 | 0 |  | 0 | 0
| CT | 0 | 0 | 0 |  | 0 | 0
| MD | 0 | 0 | 0 |  | 0 | 0
| NY | 0 | 0 | 0 |  | 0 | 0
| NY | 0 | 0 | 0 |  | 0 | 0
| VA | 0 | 0 | 0 |  | 0 | 0
| KY | 0 |  | 0 |  | 0 | 0
RI:Coventry | RI |  | 0 |  |  | 0 | 0
VA:Woodbridge | VA |  | 0 |  |  | 0 | 0

## Jan
CBRE |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Feb
CBRE |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Mar
CBRE |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Apr
CBRE |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 29085.181 | 0 | 29085.181 | 0% | 0 | 29085.181 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 2586.065 | 0 | 2586.065 |  | 0 | 2586.065
Indianapolis - BA Speedway | IN | 1249.07 | 0 | 1249.07 |  | 0 | 1249.07
Greenwood - BA | IN | 661 | 0 | 661 |  | 0 | 661
West Chester - BA | OH | 1473 | 0 | 1473 |  | 0 | 1473
Cincinnati - BA MLK and Burnet | OH | 2200 | 0 | 2200 |  | 0 | 2200
Columbus - BA Harrisburg Pike | OH | 1805 | 0 | 1805 |  | 0 | 1805 |  | 1. Microinverter 202305091322 has never produced from the day site has started | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 2125 | 0 | 2125 |  | 0 | 2125
Cleveland - BA Carnegie & 79th | OH | 1460.706 | 0 | 1460.706 |  | 0 | 1460.706
Cincinnati - BA Sharonville | OH | 0 | [6 empty] | 1. Site is offline from 04/01/2024 to 06/27/2024 and again offline from 07/19/2024 (site started communicatimg from April 2024) | 1.SR088245
Zionsville - BA | IN | 2625.993 | 0 | 2625.993 |  | 0 | 2625.993
Columbus - BA Eastgate | OH | 1460 | 0 | 1460 |  | 0 | 1460
Columbus - BA Eastmoor | OH | 2539.623 | 0 | 2539.623 |  | 0 | 2539.623 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating | 1. SR086320
Brooklyn - BA Canarsie | NY | 0
Pittsburg - BA Fox Chapel | PA | 0 | 0 | 0 |  | 0 | 0
New York - BA Two Bryant Pk | NY | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site gateway not reporting since 08/01/2023 | 1. SR086405
Stamford - BA West Stamford | CT | 1673.382 | 0 | 1673.382 |  | 0 | 1673.382
Hanover - BA Arundel Mills | MD | 2159.108 | 0 | 2159.108 |  | 0 | 2159.108
Glen Cove - BA Forest Ave | NY | 0
Brooklyn - BA North 4th & Berry | NY | 2439.887 | 0 | 2439887 |  | 0 | 2439887
Midlothian - BA Brandermill | VA | 1345.347 | 0 | 1345.347 |  | 0 | 1345.347
Lexington - BA North Park | KY | 1282 | 0 | 1282 |  | 0 | 1282 |  | 1. Microinverter 202305092066 is starting late (between 9:30am to 12pm) for production on multiple days | 1. SR088271
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## May
CBRE |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 33269.074 | 0 | 33269.074 | 0% | 0 | 33269.074 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 3115.716 | 0 | 3115.716 |  | 0 | 3115.716
Indianapolis - BA Speedway | IN | 1447 | 0 | 1447 |  | 0 | 1447
Greenwood - BA | IN | 777 | 0 | 777 |  | 0 | 777
West Chester - BA | OH | 1641 | 0 | 1641 |  | 0 | 1641
Cincinnati - BA MLK and Burnet | OH | 2385 | 0 | 2385 |  | 0 | 2385
Columbus - BA Harrisburg Pike | OH | 1997 | 0 | 1997 |  | 0 | 1997 |  | 1. Microinverter 202305091322 has never produced from the day site has started | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 2324 | 0 | 2324 |  | 0 | 2324
Cleveland - BA Carnegie & 79th | OH | 1858.76 | 0 | 1858.76 |  | 0 | 1858.76
Cincinnati - BA Sharonville | OH | 0 | [6 empty] | 1. Site is offline from 04/01/2024 to 06/27/2024 and again offline from 07/19/2024 (site started communicatimg from April 2024) | 1.SR088245
Zionsville - BA | IN | 3194.907 | 0 | 3194.907 |  | 0 | 3194.907
Columbus - BA Eastgate | OH | 1859 | 0 | 1859 |  | 0 | 1859
Columbus - BA Eastmoor | OH | 2798.695 | 0 | 2798.695 |  | 0 | 2798.695 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating | 1. SR086320
Brooklyn - BA Canarsie | NY | 0
Pittsburg - BA Fox Chapel | PA | 0 | 0 | 0 |  | 0 | 0
New York - BA Two Bryant Pk | NY | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site gateway not reporting since 08/01/2023 | 1. SR086405
Stamford - BA West Stamford | CT | 1975.958 | 0 | 1975.958 |  | 0 | 1975.958
Hanover - BA Arundel Mills | MD | 2269.547 | 0 | 2269.547 |  | 0 | 2269.547
Glen Cove - BA Forest Ave | NY | 0
Brooklyn - BA North 4th & Berry | NY | 2727.1 | 0 | 2727100 |  | 0 | 2727100
Midlothian - BA Brandermill | VA | 1486.391 | 0 | 1486.391 |  | 0 | 1486.391
Lexington - BA North Park | KY | 1412 | 0 | 1412 |  | 0 | 1412 |  | 1. Microinverter 202305092066 is starting late (between 9:30am to 12pm) for production on multiple days | 1. SR088271
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Jun
CBRE |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 37745.218 | 0 | 37745.218 | 0% | 0 | 37745.218 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 3459.018 | 0 | 3459.018 |  | 0 | 3459.018
Indianapolis - BA Speedway | IN | 1516 | 0 | 1516 |  | 0 | 1516
Greenwood - BA | IN | 819 | 0 | 819 |  | 0 | 819
West Chester - BA | OH | 1733 | 0 | 1733 |  | 0 | 1733
Cincinnati - BA MLK and Burnet | OH | 2570 | 0 | 2570 |  | 0 | 2570
Columbus - BA Harrisburg Pike | OH | 2153 | 0 | 2153 |  | 0 | 2153 |  | 1. Microinverter 202305091322 has never produced from the day site has started | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 2506 | 0 | 2506 |  | 0 | 2506
Cleveland - BA Carnegie & 79th | OH | 1750.741 | 0 | 1750.741 |  | 0 | 1750.741
Cincinnati - BA Sharonville | OH | 0 | [6 empty] | 1. Site is offline from 04/01/2024 to 06/27/2024 and again offline from 07/19/2024 (site started communicatimg from April 2024) | 1.SR088245
Zionsville - BA | IN | 3295.861 | 0 | 3295.861 |  | 0 | 3295.861
Columbus - BA Eastgate | OH | 1751 | 0 | 1751 |  | 0 | 1751
Columbus - BA Eastmoor | OH | 2947.242 | 0 | 2947.242 |  | 0 | 2947.242 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating | 1. SR086320
Brooklyn - BA Canarsie | NY | 0
Pittsburg - BA Fox Chapel | PA | 1570.891 | 0 | 1570.891 |  | 0 | 1570.891
New York - BA Two Bryant Pk | NY | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site gateway not reporting since 08/01/2023 | 1. SR086405
Stamford - BA West Stamford | CT | 2252.659 | 0 | 2252.659 |  | 0 | 2252.659
Hanover - BA Arundel Mills | MD | 2978.542 | 0 | 2978.542 |  | 0 | 2978.542
Glen Cove - BA Forest Ave | NY | 0
Brooklyn - BA North 4th & Berry | NY | 3181.03 | 0 | 3181030 |  | 0 | 3181030
Midlothian - BA Brandermill | VA | 1714.234 | 0 | 1714.234 |  | 0 | 1714.234
Lexington - BA North Park | KY | 1547 | 0 | 1547 |  | 0 | 1547 |  | 1. Microinverter 202305092066 is starting late (between 9:30am to 12pm) for production on multiple days | 1. SR088271
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Jul
CBRE |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 56006.409 | 0 | 56006.409 | 0% | 0 | 56006.409 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 3284.1 | 0 | 3284.1 |  | 0 | 3284.1
Indianapolis - BA Speedway | IN | 1479.196 | 0 | 1479.196 |  | 0 | 1479.196
Greenwood - BA | IN | 827.373 | 0 | 827.373 |  | 0 | 827.373
West Chester - BA | OH | 1770 | 0 | 1770 |  | 0 | 1770
Cincinnati - BA MLK and Burnet | OH | 2545.8 | 0 | 2545.8 |  | 0 | 2545.8
Columbus - BA Harrisburg Pike | OH | 2208.46 | 0 | 2208.46 |  | 0 | 2208.46 |  | 1. Microinverter 202305091322 is offline from the day site has started | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 2472 | 0 | 2472 |  | 0 | 2472
Cleveland - BA Carnegie & 79th | OH | 18516 | 0 | 18516 |  | 0 | 18516
Cincinnati - BA Sharonville | OH | 1192.77 | 0 | 1192.77 |  | 0 | 1192.77 |  | 1. Site is offline from 07/26. | 1. SR088245
Zionsville - BA | IN | 3282.6 | 0 | 3282.6 |  | 0 | 3282.6
Columbus - BA Eastgate | OH | 1880.6 | 0 | 1880.6 |  | 0 | 1880.6
Columbus - BA Eastmoor | OH | 3030.3 | 0 | 3030.3 |  | 0 | 3030.3 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating | 1. SR086320
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0 | 0
Pittsburg - BA Fox Chapel | PA | 2656.7 | 0 | 2656.7 |  | 0 | 2656.7
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0 | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is not communicating from 08/01/23. | 1. SR086405
Stamford - BA West Stamford | CT | 2171.71 | 0 | 2171.71 |  | 0 | 2171.71
Hanover - BA Arundel Mills | MD | 2676.7 | 0 | 2676.7 |  | 0 | 2676.7
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA North 4th & Berry | NY | 3060.4 | 0 | 3060.4 |  | 0 | 3060.4
Midlothian - BA Brandermill | VA | 1499.2 | 0 | 1499.2 |  | 0 | 1499.2
Lexington - BA North Park | KY | 1452.5 | 0 | 1452.5 |  | 0 | 1452.5
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Aug
CBRE |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 35283.397 | 0 | 35283.397 | 0% | 0 | 35283.397 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 2795 | 0 | 2795 |  | 0 | 2795
Indianapolis - BA Speedway | IN | 1488.717 | 0 | 1488.717 |  | 0 | 1488.717 |  | 1. Two microinverters - 202305095495, 202305096808 are offline from 08/22 and RMA is needed. | 1. SR088242
Greenwood - BA | IN | 804.3 | 0 | 804.3 |  | 0 | 804.3
West Chester - BA | OH | 1754.3 | 0 | 1754.3 |  | 0 | 1754.3
Cincinnati - BA MLK and Burnet | OH | 2516.21 | 0 | 2516.21 |  | 0 | 2516.21
Columbus - BA Harrisburg Pike | OH | 2004.7 | 0 | 2004.7 |  | 0 | 2004.7 |  | 1. Microinverter is being RMA'd from 08/27. | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 2431.86 | 0 | 2431.86 |  | 0 | 2431.86
Cleveland - BA Carnegie & 79th | OH | 1830.7 | 0 | 1830.7 |  | 0 | 1830.7
Cincinnati - BA Sharonville | OH | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline from 07/26. | 1. SR088245
Zionsville - BA | IN | 3283.8 | 0 | 3283.8 |  | 0 | 3283.8
Columbus - BA Eastgate | OH | 1575 | 0 | 1575 |  | 0 | 1575
Columbus - BA Eastmoor | OH | 2812.68 | 0 | 2812.68 |  | 0 | 2812.68 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating | 1. SR086320
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0 | 0
Pittsburg - BA Fox Chapel | PA | 2337.23 | 0 | 2337.23 |  | 0 | 2337.23
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0 | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is not communicating from 08/01/23. | 1. SR086405
Stamford - BA West Stamford | CT | 1876.2 | 0 | 1876.2 |  | 0 | 1876.2
Hanover - BA Arundel Mills | MD | 2457.9 | 0 | 2457.9 |  | 0 | 2457.9
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA North 4th & Berry | NY | 2603.3 | 0 | 2603.3 |  | 0 | 2603.3
Midlothian - BA Brandermill | VA | 1500.6 | 0 | 1500.6 |  | 0 | 1500.6 |  | 1. One microinverter 202036040228 is not reporting from 4/15/2023. | 1. SR088366
Lexington - BA North Park | KY | 1210.9 | 0 | 1210.9 |  | 0 | 1210.9
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Sep
CBRE |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 27988.214 | 0 | 27988.214 | 0% | 0 | 27988.214 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT | 2420.8 | 0 | 2420.8 |  | 0 | 2420.8
Indianapolis - BA Speedway | IN | 1168.961 | 0 | 1168.961 |  | 0 | 1168.961 |  | 1. 6 inverters being RMA'd from 09/25. | 1. SR088242
Greenwood - BA | IN | 622 | 0 | 622 |  | 0 | 622
West Chester - BA | OH | 1385.211 | 0 | 1385.211 |  | 0 | 1385.211
Cincinnati - BA MLK and Burnet | OH | 1991 | 0 | 1991 |  | 0 | 1991
Columbus - BA Harrisburg Pike | OH | 1627.589 | 0 | 1627.589 |  | 0 | 1627.589 |  | 1. Microinverters 202305091322 is offline from the day site has started and it is back online on 09/11. | 1. SR088272
Cincinnati - BA Hyde Pk Plaza | OH | 1937.9 | 0 | 1937.9 |  | 0 | 1937.9
Cleveland - BA Carnegie & 79th | OH | 1480.986 | 0 | 1480.986 |  | 0 | 1480.986
Cincinnati - BA Sharonville | OH | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline from 07/26. | 1. SR088245
Zionsville - BA | IN | 2573 | 0 | 2573 |  | 0 | 2573
Columbus - BA Eastgate | OH | 1371.8 | 0 | 1371.8 |  | 0 | 1371.8
Columbus - BA Eastmoor | OH | 2366.6 | 0 | 2366.6 |  | 0 | 2366.6 |  | 1. Microinverter 202305093144 is offline Microinverter 202305091209 has no communication Microinverter 202305089706 has no communication these issues been present since site started communicating and being RMA'd from 09/11. | 1. SR086320
Brooklyn - BA Canarsie | NY | 0 | 0 | 0 |  | 0 | 0
Pittsburg - BA Fox Chapel | PA | 2032.86 | 0 | 2032.86 |  | 0 | 2032.86
New York - BA Two Bryant Pk | NY | 0 | 0 | 0 |  | 0 | 0
Baltimore - BA Sudbrook Lane | MD | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is not communicating from 08/01/23. | 1. SR086405
Stamford - BA West Stamford | CT | 1579.407 | 0 | 1579.407 |  | 0 | 1579.407
Hanover - BA Arundel Mills | MD | 1733.9 | 0 | 1733.9 |  | 0 | 1733.9
Glen Cove - BA Forest Ave | NY | 0 | 0 | 0 |  | 0 | 0
Brooklyn - BA North 4th & Berry | NY | 2090.4 | 0 | 2090.4 |  | 0 | 2090.4 |  | 1. 58 micro inverters are not reporting 09/23. | 1.SR091083
Midlothian - BA Brandermill | VA | 1097.8 | 0 | 1097.8 |  | 0 | 1097.8 |  | 1. One microinverter 202036040228 is not reporting from 4/15/2023. | 1. SR088366
Lexington - BA North Park | KY | 508 | 0 | 508 |  | 0 | 508 |  | 1. One microinverter will be offline from 09/13. | 1. SR088271
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Oct
CBRE |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Nov
CBRE |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Dec
CBRE |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
East Hartford - BA | CT
Indianapolis - BA Speedway | IN
Greenwood - BA | IN
West Chester - BA | OH
Cincinnati - BA MLK and Burnet | OH
Columbus - BA Harrisburg Pike | OH
Cincinnati - BA Hyde Pk Plaza | OH
Cleveland - BA Carnegie & 79th | OH
Cincinnati - BA Sharonville | OH
Zionsville - BA | IN
Columbus - BA Eastgate | OH
Columbus - BA Eastmoor | OH
Brooklyn - BA Canarsie | NY
Pittsburg - BA Fox Chapel | PA
New York - BA Two Bryant Pk | NY
Baltimore - BA Sudbrook Lane | MD
Stamford - BA West Stamford | CT
Hanover - BA Arundel Mills | MD
Glen Cove - BA Forest Ave | NY
Brooklyn - BA North 4th & Berry | NY
Midlothian - BA Brandermill | VA
Lexington - BA North Park | KY
Coventry - BA ATM | RI
Woodbridge - BA ATM | VA

## Sites
Portfolio: | CBRE
Site DAS Name | Site | State | Update | DAS
Bank of America - CT2-120 (East Hartford, CT) (FC - East Hartford) | East Hartford - BA | CT |  | Enlighten Manager
Bank of America - INW-060 (Speedway, IN) | Indianapolis - BA Speedway | IN |  | Enlighten Manager
Bank of America - INW-035 (Greenwood,IN) | Greenwood - BA | IN |  | Enlighten Manager
Bank of America - OH2-211 (West Chester, OH) | West Chester - BA | OH |  | Enlighten Manager
Bank of America - OH2-215 (Cincinnati, OH) | Cincinnati - BA MLK and Burnet | OH |  | Enlighten Manager
Bank of America - OHW-185 (Columbus, OH) (FC - Harrisburg Pike and Hopkins) | Columbus - BA Harrisburg Pike | OH |  | Enlighten Manager
Bank of America - OH2-255 (Cincinnati,OH) | Cincinnati - BA Hyde Pk Plaza | OH |  | Enlighten Manager
Bank of America - OH2-208 (Cincinnati,OH) | Cleveland - BA Carnegie & 79th | OH |  | Enlighten Manager
Bank of America - OHW-097 (Sharonville, OH) | Cincinnati - BA Sharonville | OH |  | Enlighten Manager
Bank of America - INW-049 (Zionsville, IN) (FC - Zionsville) | Zionsville - BA | IN |  | Enlighten Manager
Bank of America - OH2-238 (Cleveland, OH) | Columbus - BA Eastgate | OH |  | Enlighten Manager
Bank of America - OH2-223 (Columbus, OH) | Columbus - BA Eastmoor | OH |  | Enlighten Manager
| Brooklyn - BA Canarsie | NY |  | Enlighten Manager
Bank of America - PAW-144 (Pittsburgh, PA) (843 Freeport Rd, Pittsburgh, PA 15238) | Pittsburg - BA Fox Chapel | PA |  | Enlighten Manager
| New York - BA Two Bryant Pk | NY |  | Enlighten Manager
Bank of America - MD4-640 (Baltimore, MD) (FC - Sudbrook Ln) | Baltimore - BA Sudbrook Lane | MD |  | Enlighten Manager
Bank of America - CT2-273 (Stamford, CT) (FC - West Stamford) | Stamford - BA West Stamford | CT |  | Enlighten Manager
Bank of America - MD4-948 (Hanover, MD) (FC - Arundel Mills) | Hanover - BA Arundel Mills | MD |  | Enlighten Manager
| Glen Cove - BA Forest Ave | NY |  | Enlighten Manager
Bank of America - NYW-616 (Brooklyn, NY) (FC - North 4th and Berry) | Brooklyn - BA North 4th & Berry | NY |  | Enlighten Manager
Bank of America - VA2-916 (Midlothian, VA) (FC - Brandermill) | Midlothian - BA Brandermill | VA |  | Enlighten Manager
Bank of America - KY1-122 (Lexington, KY) | Lexington - BA North Park | KY |  | Enlighten Manager
Bank of America - RIW-035 (Coventry, RI) | Coventry - BA ATM | RI |  | Enlighten Manager
Bank of America - VAW-154 (WoodBridge, VA) | Woodbridge - BA ATM | VA |  | Enlighten Manager