## Year to Date
City of Peoria |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 788677.6236 | 772408.457 | 16269.1666 | 2.106% | 1889026.934 | -1100349.3104 | -58.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 68413.4742 | 63926.151 | 4487.3232 | 7.02% | 85226.621 | -63536.0368 | -74.55%
AZ: Peoria - Fire Station 191 | AZ | 32853.7123 | 28830.925 | 4022.7873 | 13.95% | 84321 | -2351.2877 | -2.788%
AZ: Peoria - Fire Station 195 | AZ | 16098.6883 | 15356.848 | 741.8403 | 4.831% | 49255.302 | -4392.0137 | -8.917%
AZ: Peoria - Fire Station 196 | AZ | 11913.2812 | 0 | 11913.2812 | 0% | 0 | 11913.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 24755.4869 | 19852.923 | 4902.5639 | 24.69% | 63313.431 | -1083.3741 | -1.711%
AZ: Peoria - Sunrise Library | AZ | 63863.2307 | 48887.25 | 14975.9807 | 30.63% | 192471 | -16184.7693 | -8.409%
AZ: Peoria - Beardsley WWTP | AZ | 450652 | 496026.1 | -45374.1 | -9.148% | 1160153 | -33054 | -2.849%
AZ: Peoria - City Hall | AZ | 66030.5 | 63679.03 | 2351.47 | 3.693% | 110627.58 | -44597.08 | -40.31%
AZ: Peoria - Pinnacle Peak | AZ | 54097.25 | 35849.23 | 18248.02 | 50.9% | 143659 | -5612.75 | -3.907%

## 1st Qtr
City of Peoria |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 736720.0049 | 721451.333 | 15268.6719 | 2.116% | 847363.964 | -110643.9591 | -13.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 16455.8555 | 12969.027 | 3486.8285 | 26.89% | 31737.821 | -15281.9655 | -48.15%
AZ: Peoria - Fire Station 191 | AZ | 32853.7123 | 28830.925 | 4022.7873 | 13.95% | 35205 | -2351.2877 | -6.679%
AZ: Peoria - Fire Station 195 | AZ | 16098.6883 | 15356.848 | 741.8403 | 4.831% | 20490.702 | -4392.0137 | -21.43%
AZ: Peoria - Fire Station 196 | AZ | 11913.2812 | 0 | 11913.2812 | 0% | 0 | 11913.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 24755.4869 | 19852.923 | 4902.5639 | 24.69% | 25838.861 | -1083.3741 | -4.193%
AZ: Peoria - Sunrise Library | AZ | 63863.2307 | 48887.25 | 14975.9807 | 30.63% | 80048 | -16184.7693 | -20.22%
AZ: Peoria - Beardsley WWTP | AZ | 450652 | 496026.1 | -45374.1 | -9.148% | 483706 | -33054 | -6.833%
AZ: Peoria - City Hall | AZ | 66030.5 | 63679.03 | 2351.47 | 3.693% | 110627.58 | -44597.08 | -40.31%
AZ: Peoria - Pinnacle Peak | AZ | 54097.25 | 35849.23 | 18248.02 | 50.9% | 59710 | -5612.75 | -9.4%

## 2nd Qtr
City of Peoria |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 1067912.5345 | 1079461.197 | -11548.6625 | -1.07% | 1041662.97 | 26249.5645 | 2.52%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 27340.5727 | 27234.171 | 106.4017 | 0.3907% | 53488.8 | -26148.2273 | -48.89%
AZ: Peoria - Fire Station 191 | AZ | 47966.5974 | 43109.28 | 4857.3174 | 11.27% | 49116 | -1149.4026 | -2.34%
AZ: Peoria - Fire Station 195 | AZ | 25985.3123 | 27100.639 | -1115.3267 | -4.115% | 28764.6 | -2779.2877 | -9.662%
AZ: Peoria - Fire Station 196 | AZ | 18927.8621 | 0 | 18927.8621 |  | 0 | 18927.8621
AZ: Peoria - Fire Station 197 | AZ | 38437.3144 | 30624.127 | 7813.1874 | 25.51% | 37474.57 | 962.7444 | 2.569%
AZ: Peoria - Sunrise Library | AZ | 107516.1256 | 100593.15 | 6922.9756 | 6.882% | 112423 | -4906.8744 | -4.365%
AZ: Peoria - Beardsley WWTP | AZ | 719877 | 793136.5 | -73259.5 | -9.237% | 676447 | 43430 | 6.42%
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Pinnacle Peak | AZ | 81861.75 | 57663.33 | 24198.42 | 41.97% | 83949 | -2087.25 | -2.486%

## 3rd Qtr
City of Peoria |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 975413.955 | 963807.4334 | 11606.5216 | 1.204% | 0 | 975413.955 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 24617.046 | 23722.953 | 894.093 | 3.769% |  | -22105.844
AZ: Peoria - Fire Station 191 | AZ | 46487.2496 | 39099.05 | 7388.1996 | 18.9% |  | 2738.2496
AZ: Peoria - Fire Station 195 | AZ | 23841.1732 | 24378.758 | -537.5848 | -2.205% |  | -1671.9878
AZ: Peoria - Fire Station 196 | AZ | 17021.0086 | 0 | 17021.0086 |  |  | 17021.0086
AZ: Peoria - Fire Station 197 | AZ | -65176.4752 | 27569.982 | -92746.4572 | -336.4% |  | -96422.6352
AZ: Peoria - Sunrise Library | AZ | 96687.8865 | 86906.26 | 9781.6265 | 11.26% |  | -3075.1135
AZ: Peoria - Beardsley WWTP | AZ | 694350.8262 | 695127.7 | -776.8738 | -0.1118% |  | 81857.8262
AZ: Peoria - City Hall | AZ | 62694.12 | 55898.36 | 6795.76 | 12.16% |  | -75022.61
AZ: Peoria - Pinnacle Peak | AZ | 74891.12 | 11104.3704 | 63786.7496 | 574.4% |  | 504.12

## 4th Qtr
City of Peoria |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  |  | 0

## Jan
City of Peoria |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 181579.3849 | 192109.333 | -10529.9481 | -5.481% | 240650.964 | -59071.5791 | -24.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4095.2355 | 2888.027 | 1207.2085 | 41.8% | 8175.821 | -4080.5855 | -49.91%
AZ: Peoria - Fire Station 191 | AZ | 8711.7123 | 7611.925 | 1099.7873 | 14.45% | 10085 | -1373.2877 | -13.62%
AZ: Peoria - Fire Station 195 | AZ | 4067.6883 | 3810.848 | 256.8403 | 6.74% | 5705.702 | -1638.0137 | -28.71%
AZ: Peoria - Fire Station 196 | AZ | 3092.2812 | 0 | 3092.2812 | 0% | 0 | 3092.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 6174.4869 | 5275.923 | 898.5639 | 17.03% | 7203.861 | -1029.3741 | -14.29% | 1. Inverter is offline from 01/01 to 01/04 | 1. SR079271
AZ: Peoria - Sunrise Library | AZ | 15881.2307 | 10942.25 | 4938.9807 | 45.14% | 22243 | -6361.7693 | -28.6%
AZ: Peoria - Beardsley WWTP | AZ | 102879 | 128491.1 | -25612.1 | -19.93% | 138763 | -35884 | -25.86% | 1. Inverter B2 was back online from 01/24. | 1. SR075641
AZ: Peoria - City Hall | AZ | 22132.5 | 21050.03 | 1082.47 | 5.142% | 31892.58 | -9760.08 | -30.6%
AZ: Peoria - Pinnacle Peak | AZ | 14545.25 | 12039.23 | 2506.02 | 20.82% | 16582 | -2036.75 | -12.28%

## Feb
City of Peoria |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 246771 | 232313 | 14458 | 6.224% | 263500 | -16729 | -6.349%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 5177 | 3849 | 1328 | 34.5% | 9684 | -4507 | -46.54%
AZ: Peoria - Fire Station 191 | AZ | 10399 | 9070 | 1329 | 14.65% | 10905 | -506 | -4.64%
AZ: Peoria - Fire Station 195 | AZ | 5100 | 4747 | 353 | 7.436% | 6454 | -1354 | -20.98%
AZ: Peoria - Fire Station 196 | AZ | 3670 | 0 | 3670 |  | 0 | 3670
AZ: Peoria - Fire Station 197 | AZ | 7942 | 6180 | 1762 | 28.51% | 8038 | -96 | -1.194%
AZ: Peoria - Sunrise Library | AZ | 20134 | 14918 | 5216 | 34.96% | 25213 | -5079 | -20.14%
AZ: Peoria - Beardsley WWTP | AZ | 149372 | 154491 | -5119 | -3.313% | 149996 | -624 | -0.416%
AZ: Peoria - City Hall | AZ | 27969 | 26428 | 1541 | 5.831% | 34422 | -6453 | -18.75%
AZ: Peoria - Pinnacle Peak | AZ | 17008 | 12630 | 4378 | 34.66% | 18788 | -1780 | -9.474%

## Mar
City of Peoria |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 308369.62 | 297029 | 11340.62 | 3.818% | 343213 | -34843.38 | -10.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 7183.62 | 6232 | 951.62 | 15.27% | 13878 | -6694.38 | -48.24%
AZ: Peoria - Fire Station 191 | AZ | 13743 | 12149 | 1594 | 13.12% | 14215 | -472 | -3.32%
AZ: Peoria - Fire Station 195 | AZ | 6931 | 6799 | 132 | 1.941% | 8331 | -1400 | -16.8%
AZ: Peoria - Fire Station 196 | AZ | 5151 | 0 | 5151 |  | 0 | 5151
AZ: Peoria - Fire Station 197 | AZ | 10639 | 8397 | 2242 | 26.7% | 10597 | 42 | 0.3963%
AZ: Peoria - Sunrise Library | AZ | 27848 | 23027 | 4821 | 20.94% | 32592 | -4744 | -14.56%
AZ: Peoria - Beardsley WWTP | AZ | 198401 | 213044 | -14643 | -6.873% | 194947 | 3454 | 1.772% | 1. Inverter A1 derated due to fan fault on 03/06 2. Inverter A1 is offline from 03/19 at 15:15 and inverter being RMA'd | 1. SR081608 2. SR082243
AZ: Peoria - City Hall | AZ | 15929 | 16201 | -272 | -1.679% | 44313 | -28384 | -64.05% | 1. Inverters A1 and B1 tripped offline on 03/07 at 11:45 and back online on 03/08 2. Site is offline from 03/14 at 12:45pm, PV disconnect on the conductors being replaced | 1. SR081644 2. SR081906
AZ: Peoria - Pinnacle Peak | AZ | 22544 | 11180 | 11364 | 101.6% | 24340 | -1796 | -7.379% | 1. Weather station has inetermittent communication

## Apr
City of Peoria |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 348492.5235 | 354061.455 | -5568.9315 | -1.573% | 330828.788 | 17663.7355 | 5.339%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 8720.7717 | 8349.031 | 371.7407 | 4.453% | 16395.85 | -7675.0783 | -46.81%
AZ: Peoria - Fire Station 191 | AZ | 15860.8892 | 14030.94 | 1829.9492 | 13.04% | 15870 | -9.1108 | -0.05741%
AZ: Peoria - Fire Station 195 | AZ | 8407.8763 | 8550.174 | -142.2977 | -1.664% | 9202.688 | -794.8117 | -8.637%
AZ: Peoria - Fire Station 196 | AZ | 6233.5575 | 0 | 6233.5575 |  | 0 | 6233.5575
AZ: Peoria - Fire Station 197 | AZ | 12695.5501 | 10000.94 | 2694.6101 | 26.94% | 11803.25 | 892.3001 | 7.56%
AZ: Peoria - Sunrise Library | AZ | 34382.1286 | 30715.89 | 3666.2386 | 11.94% | 35984 | -1601.8714 | -4.452%
AZ: Peoria - Beardsley WWTP | AZ | 235341 | 258608 | -23267 | -8.997% | 214683 | 20658 | 9.623% | 1. Inverter A1 is offline from 03/19. Inverter being RMA'd 2. Site performance dropping down due to issue with trackers | 1. SR082243 2. SR085326
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline from 03/14 at 12:45pm, PV disconnect on the conductors being replaced | 1. SR081906
AZ: Peoria - Pinnacle Peak | AZ | 26850.75 | 23806.48 | 3044.27 | 12.79% | 26890 | -39.25 | -0.146% | 1. Weather station has intermittent communication | 1. SR085026

## May
City of Peoria |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 378228.4562 | 388147.316 | -9918.8598 | -2.555% | 360995.323 | 17233.1332 | 4.774%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 9755.371 | 9756.597 | -1.226 | -0.01257% | 18639.09 | -8883.719 | -47.66%
AZ: Peoria - Fire Station 191 | AZ | 16947.3795 | 15356.98 | 1590.3995 | 10.36% | 16950 | -2.6205 | -0.01546% | 1. Inverter A1 tripped offline at 13:15 on 05/20 and back online at 07:00 on 05/21. | 1. SR084926
AZ: Peoria - Fire Station 195 | AZ | 9245.7329 | 9660.439 | -414.7061 | -4.293% | 9977.693 | -731.9601 | -7.336%
AZ: Peoria - Fire Station 196 | AZ | 6718.6373 | 0 | 6718.6373 |  | 0 | 6718.6373
AZ: Peoria - Fire Station 197 | AZ | 13710.0689 | 10958.49 | 2751.5789 | 25.11% | 13024.54 | 685.5289 | 5.263%
AZ: Peoria - Sunrise Library | AZ | 38342.1466 | 36469.66 | 1872.4866 | 5.134% | 39002 | -659.8534 | -1.692%
AZ: Peoria - Beardsley WWTP | AZ | 254408 | 283723 | -29315 | -10.33% | 234267 | 20141 | 8.597% | 1. Inverters B2 tripped offline at 15:00 on 05/14. Inverter being RMA'D. 2. Inverter A1 is offline from 03/19. Inverter being RMA'd 3. Site performance dropping down due to issue with trackers | 1. SR084705 2. SR082243 3. SR085326
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline from 03/14 at 12:45pm, PV disconnect on the conductors being replaced | 1. SR081906
AZ: Peoria - Pinnacle Peak | AZ | 29101.12 | 22222.15 | 6878.97 | 30.96% | 29135 | -33.88 | -0.1163% | 1. Weather station has intermittent communication | 1. SR085026

## Jun
City of Peoria |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 341191.5548 | 337252.426 | 3939.1288 | 1.168% | 349838.859 | -8647.3042 | -2.472%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 8864.43 | 9128.543 | -264.113 | -2.893% | 18453.86 | -9589.43 | -51.96%
AZ: Peoria - Fire Station 191 | AZ | 15158.3286 | 13721.36 | 1436.9686 | 10.47% | 16296 | -1137.6714 | -6.981%
AZ: Peoria - Fire Station 195 | AZ | 8331.7031 | 8890.026 | -558.3229 | -6.28% | 9584.219 | -1252.5159 | -13.07%
AZ: Peoria - Fire Station 196 | AZ | 5975.6673 | 0 | 5975.6673 |  | 0 | 5975.6673
AZ: Peoria - Fire Station 197 | AZ | 12031.6954 | 9664.697 | 2366.9984 | 24.49% | 12646.78 | -615.0846 | -4.864%
AZ: Peoria - Sunrise Library | AZ | 34791.8504 | 33407.6 | 1384.2504 | 4.144% | 37437 | -2645.1496 | -7.066%
AZ: Peoria - Beardsley WWTP | AZ | 230128 | 250805.5 | -20677.5 | -8.244% | 227497 | 2631 | 1.156% | 1. Inverter A1 is offline from 03/19. Inverter being RMA'd. 2. Inverters B2 is offline from 05/14 and back online at 14:00 on 06/13. 3. Site performance dropping down due to issue with trackers | 1. SR082243 2. SR084705 3. SR085326
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline from 03/14 at 12:45pm, PV disconnect on the conductors being replaced | 1. SR081906
AZ: Peoria - Pinnacle Peak | AZ | 25909.88 | 11634.7 | 14275.18 | 122.7% | 27924 | -2014.12 | -7.213% | 1. Weather station has intermittent communication | 1. SR085026

## Jul
City of Peoria |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 262642.6621 | 322422.045 | -59779.3829 | -18.54% | 375813.143 | -113170.4809 | -30.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 8860.7456 | 9151.83 | -291.0844 | -3.181% | 17180.62 | -8319.8744 | -48.43%
AZ: Peoria - Fire Station 191 | AZ | 16134.8648 | 14071.41 | 2063.4548 | 14.66% | 15200 | 934.8648 | 6.15%
AZ: Peoria - Fire Station 195 | AZ | 8617.1092 | 9070.423 | -453.3138 | -4.998% | 8967.653 | -350.5438 | -3.909%
AZ: Peoria - Fire Station 196 | AZ | 6151.8966 | 0 | 6151.8966 |  | 0 | 6151.8966
AZ: Peoria - Fire Station 197 | AZ | -87607.2448 | 9961.106 | -97568.3508 | -979.5% | 10595.21 | -98202.4548 | -926.9%
AZ: Peoria - Sunrise Library | AZ | 35689.4208 | 33483.07 | 2206.3508 | 6.589% | 35051 | 638.4208 | 1.821%
AZ: Peoria - Beardsley WWTP | AZ | 248136 | 244140.2 | 3995.8 | 1.637% | 214802 | 33334 | 15.52%
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 47881.66 | -47881.66 | -100%
AZ: Peoria - Pinnacle Peak | AZ | 26659.87 | 2544.006 | 24115.864 | 947.9% | 26135 | 524.87 | 2.008%

## Aug
City of Peoria |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 360867.2796 | 321919.8434 | 38947.4362 | 12.1% | 361153.933 | -286.6534 | -0.07937%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 8285.5619 | 8009.606 | 275.9559 | 3.445% | 15895.69 | -7610.1281 | -47.88%
AZ: Peoria - Fire Station 191 | AZ | 15382.8991 | 12819.21 | 2563.6891 | 20% | 14707 | 675.8991 | 4.596%
AZ: Peoria - Fire Station 195 | AZ | 7900.155 | 8134.832 | -234.677 | -2.885% | 8530.243 | -630.088 | -7.387%
AZ: Peoria - Fire Station 196 | AZ | 5599.9328 | 0 | 5599.9328 |  | 0 | 5599.9328
AZ: Peoria - Fire Station 197 | AZ | 11415.6683 | 9068.914 | 2346.7543 | 25.88% | 10320.93 | 1094.7383 | 10.61%
AZ: Peoria - Sunrise Library | AZ | 31947.0625 | 29001.08 | 2945.9825 | 10.16% | 33358 | -1410.9375 | -4.23%
AZ: Peoria - Beardsley WWTP | AZ | 233803 | 235029.9 | -1226.9 | -0.522% | 207181 | 26622 | 12.85%
AZ: Peoria - City Hall | AZ | 21778.5 | 19263.73 | 2514.77 | 13.05% | 46289.07 | -24510.57 | -52.95%
AZ: Peoria - Pinnacle Peak | AZ | 24754.5 | 592.5714 | 24161.9286 | 4077% | 24872 | -117.5 | -0.4724%

## Sep
City of Peoria |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 351904.0133 | 319465.545 | 32438.4683 | 10.15% | 334623.865 | 17280.1483 | 5.164%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 7470.7385 | 6561.517 | 909.2215 | 13.86% | 13646.58 | -6175.8415 | -45.26% | 1. Site is offline from 11:06AM to 11:26AM on 09/12/2024. | 1. SR090335
AZ: Peoria - Fire Station 191 | AZ | 14969.4857 | 12208.43 | 2761.0557 | 22.62% | 13842 | 1127.4857 | 8.145%
AZ: Peoria - Fire Station 195 | AZ | 7323.9091 | 7173.503 | 150.4061 | 2.097% | 8015.265 | -691.3559 | -8.625%
AZ: Peoria - Fire Station 196 | AZ | 5269.1792 | 0 | 5269.1792 |  | 0 | 5269.1792
AZ: Peoria - Fire Station 197 | AZ | 11015.1013 | 8539.962 | 2475.1393 | 28.98% | 10330.02 | 685.0813 | 6.632%
AZ: Peoria - Sunrise Library | AZ | 29051.4032 | 24422.11 | 4629.2932 | 18.96% | 31354 | -2302.5968 | -7.344%
AZ: Peoria - Beardsley WWTP | AZ | 212411.8262 | 215957.6 | -3545.7738 | -1.642% | 190510 | 21901.8262 | 11.5% | 1. Inverter D3 is offline on 09/15, 09/26, 09/28 and 09/29, it was back online on 09/30 | 1. SR090556
AZ: Peoria - City Hall | AZ | 40915.62 | 36634.63 | 4280.99 | 11.69% | 43546 | -2630.38 | -6.04%
AZ: Peoria - Pinnacle Peak | AZ | 23476.75 | 7967.793 | 15508.957 | 194.6% | 23380 | 96.75 | 0.4138%

## Oct
City of Peoria |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Nov
City of Peoria |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Dec
City of Peoria |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Sites
Portfolio: | City of Peoria
Site DAS Name | Site | State | Update | DAS
City of Peoria, . - Beardsley WWTP - Admin Building | AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
Fire station 191(Peoria) | AZ: Peoria - Fire Station 191 | AZ
Fire Station 195 (Peoria) | AZ: Peoria - Fire Station 195 | AZ
Fire Station 196(Peoria) | AZ: Peoria - Fire Station 196 | AZ
Fire Station 197 (Peoria) | AZ: Peoria - Fire Station 197 | AZ
City of Peoria, . - Sunrise Library | AZ: Peoria - Sunrise Library | AZ
Beardsley WWTP - Trackers & East Canopy | AZ: Peoria - Beardsley WWTP | AZ
City of Peoria, . - DCS - Municipal Complex | AZ: Peoria - City Hall | AZ
City of Peoria, . - Pinnacle Peak | AZ: Peoria - Pinnacle Peak | AZ