## Year to Date
City of Phoenix |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 728814.25 | 427633.881 | 301180.369 | 70.43% | 455579.75 | 273234.5 | 59.98%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 728814.25 | 427633.881 | 301180.369 | 70.43% | 455579.75 | 35626.4 | 7.82%

## 1st Qtr
City of Phoenix |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%

## 2nd Qtr
City of Phoenix |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 293359.75 | 227760.88 | 65598.87 | 28.8% | 264541.3 | 28818.45 | 10.89%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 293359.75 | 227760.88 | 65598.87 | 28.8% | 264541.3 | 28818.45 | 10.89%

## 3rd Qtr
City of Phoenix |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 267328.75 | 11765.151 | 255563.599 | 2172% | 0 | 267328.75 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 267328.75 | 11765.151 | 255563.599 | 2172% |  | 29720.65

## 4th Qtr
City of Phoenix |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 0 | 0 | 0 |  |  | 0

## Jan
City of Phoenix |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 40996.75 | 47627.85 | -6631.1 | -13.92% | 54968.45 | -13971.7 | -25.42%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 40996.75 | 47627.85 | -6631.1 | -13.92% | 54968.45 | -13971.7 | -25.42% | 1. Inverters 9 and 10 are offline on 01/21 at 9:15 AM and self resolved next day. | 1. SR080379

## Feb
City of Phoenix |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 52699 | 58562 | -5863 | -10.01% | 59097 | -6398 | -10.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 52699 | 58562 | -5863 | -10.01% | 59097 | -6398 | -10.83%

## Mar
City of Phoenix |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 74430 | 81918 | -7488 | -9.141% | 76973 | -2543 | -3.304%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 74430 | 81918 | -7488 | -9.141% | 76973 | -2543 | -3.304% | 1. Inverters 7 -10 tripped offline on 0/07 at 11:30 & back online at 03/04. | 1.SR081642

## Apr
City of Phoenix |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 93414.5 | 99616.09 | -6201.59 | -6.225% | 85214.11 | 8200.39 | 9.623%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 93414.5 | 99616.09 | -6201.59 | -6.225% | 85214.11 | 8200.39 | 9.623% | 1. Inverter 7 offline at 07:00 and back online at 16:30 on 04/01 | 1. SR082978

## May
City of Phoenix |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 103245.75 | 110829.9 | -7584.15 | -6.843% | 90808.4 | 12437.35 | 13.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 103245.75 | 110829.9 | -7584.15 | -6.843% | 90808.4 | 12437.35 | 13.7% | 1. Inverter 8,9,10 are tripped offline at 08:45 on 05/16 and are back online a 16:30 on 05/23 2. Inverters 7 is underperforming 10kW compared to peer inverter from 05/28. | 1. SR084777 2. SR085327

## Jun
City of Phoenix |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 96699.5 | 17314.89 | 79384.61 | 458.5% | 88518.79 | 8180.71 | 9.242%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 96699.5 | 17314.89 | 79384.61 | 458.5% | 88518.79 | 8180.71 | 9.242% | 1. Weather station reporting erroneous values at 14:30 on 06/03 2. Inverters 7 is underperforming 10kW compared to peer inverter from 05/28. | 1. SR085514 2. SR085327

## Jul
City of Phoenix |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 99428.75 | 5103.612 | 94325.138 | 1848% | 84572.4 | 14856.35 | 17.57%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 99428.75 | 5103.612 | 94325.138 | 1848% | 84572.4 | 14856.35 | 17.57% | 1. Inverters 9 and 10 tripped offline at 08:00AM on 07/18 and back online at 07:00AM on 07/19. | 1. SR087891

## Aug
City of Phoenix |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 89747.75 | 2697.058 | 87050.692 | 3228% | 79544.19 | 10203.56 | 12.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 89747.75 | 2697.058 | 87050.692 | 3228% | 79544.19 | 10203.56 | 12.83%

## Sep
City of Phoenix |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 78152.25 | 3964.481 | 74187.769 | 1871% | 73491.51 | 4660.74 | 6.342%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 78152.25 | 3964.481 | 74187.769 | 1871% | 73491.51 | 4660.74 | 6.342%

## Oct
City of Phoenix |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Nov
City of Phoenix |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Dec
City of Phoenix |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Sites
Portfolio: | City of Phoenix
Site DAS Name | Site | State | Update | DAS
SKY HARBOR AIRPORT PV PROJECT 1 COB ADMIN BUILDING | AZ: Sky Harbor COB Admin Building | AZ