## Year to Date
JLL |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 239951.029 | 0 | 239951.029 | 0% | 0 | 239951.029 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Bullhead | AZ | 879.46 | 0 | 879.46 |  | 0 | 879.46
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0
Hialeah | FL | 1302.324 | 0 | 1302.324 |  | 0 | 0
Jacksonville | FL | 590.206 | 0 | 590.206 |  | 0 | 0
Miami Gardens | FL | 524.466 | 0 | 524.466 |  | 0 | 0
Fort Myers | FL | 31237.435 | 0 | 31237.435 |  | 0 | 0
Orlando | FL | 32384.817 | 0 | 32384.817 |  | 0 | 0
Port St. Lucie | FL | 41090.588 | 0 | 41090.588 |  | 0 | 0
Tampa | FL | 21757.722 | 0 | 21757.722 |  | 0 | 0
Roswell | GA | 25438.893 | 0 | 25438.893 |  | 0 | 0
Charlotte | NC | 14502.431 | 0 | 14502.431 |  | 0 | 0
Raleigh | NC | 19965.728 | 0 | 19965.728 |  | 0 | 0
Cordova | TN | 14933.745 | 0 | 14933.745 |  | 0 | 0
Austin | TX | 6850.024 | 0 | 6850.024 |  | 0 | 0
Frisco | TX | 12258.977 | 0 | 12258.977 |  | 0 | 0
Copperfield | TX | 595.79 | 0 | 595.79 |  | 0 | 0
Plano Bldg A | TX | 15638.423 | 0 | 15638.423 |  | 0 | 0

## 1st Qtr
JLL |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Bullhead | AZ | 0 | 0 | 0 |  | 0 | 0
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0
Hialeah | FL | 0 | 0 | 0 |  | 0 | 0
Jacksonville | FL | 0 | 0 | 0 |  | 0 | 0
Miami Gardens | FL | 0 | 0 | 0 |  | 0 | 0
Fort Myers | FL | 0 | 0 | 0 |  | 0 | 0
Orlando | FL | 0 | 0 | 0 |  | 0 | 0
Port St. Lucie | FL | 0 | 0 | 0 |  | 0 | 0
Tampa | FL | 0 | 0 | 0 |  | 0 | 0
Roswell | GA | 0 | 0 | 0 |  | 0 | 0
Charlotte | NC | 0 | 0 | 0 |  | 0 | 0
Raleigh | NC | 0 | 0 | 0 |  | 0 | 0
Cordova | TN | 0 | 0 | 0 |  | 0 | 0
Austin | TX | 0 | 0 | 0 |  | 0 | 0
Frisco | TX | 0 | 0 | 0 |  | 0 | 0
Copperfield | TX | 0 | 0 | 0 |  | 0 | 0
Plano Bldg A | TX | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
JLL |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 88649.442 | 0 | 88649.442 | 0% | 0 | 88649.442 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Bullhead | AZ | 472.644 | 0 | 472.644 |  | 0% | 472.644
Peoria | AZ | 0 | 0 | 0 |  | 0% | 0
Tucson | AZ | 0 | 0 | 0 |  | 0% | 0
Hialeah | FL | 974.183 | 0 | 974.183 |  | 0% | 974.183
Jacksonville | FL | 346.056 | 0 | 346.056 |  | 0% | 346.056
Miami Gardens | FL | 351.566 | 0 | 351.566 |  | 0% | 351.566
Fort Myers | FL | 12961.553 | 0 | 12961.553 |  | 0% | 12961.553
Orlando | FL | 17304.517 | 0 | 17304.517 |  | 0% | 17304.517
Port St. Lucie | FL | 13831.498 | 0 | 13831.498 |  | 0% | 13831.498
Tampa | FL | 1221.15 | 0 | 1221.15 |  | 0% | 1221.15
Roswell | GA | 5984.763 | 0 | 5984.763 |  | 0% | 5984.763
Charlotte | NC | 7544.231 | 0 | 7544.231 |  | 0% | 7544.231
Raleigh | NC | 10733.628 | 0 | 10733.628 |  | 0% | 10733.628
Cordova | TN | 3129.145 | 0 | 3129.145 |  | 0% | 3129.145
Austin | TX | 3117.624 | 0 | 3117.624 |  | 0% | 3117.624
Frisco | TX | 3247.777 | 0 | 3247.777 |  | 0% | 3247.777
Copperfield | TX | 0.584 | 0 | 0.584 |  | 0% | 0.584
Plano Bldg A | TX | 7428.523 | 0 | 7428.523 |  | 0% | 7428.523

## 3rd Qtr
JLL |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 151301.587 | 0 | 151301.587 | 0% | 0 | 151301.587 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Bullhead | AZ | 406.816 | 0 | 406.816 |  | 0 | 406.816
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0
Hialeah | FL | 328.141 | 0 | 328.141 |  | 0 | 328.141
Jacksonville | FL | 244.15 | 0 | 244.15 |  | 0 | 244.15
Miami Gardens | FL | 172.9 | 0 | 172.9 |  | 0 | 172.9
Fort Myers | FL | 18275.882 | 0 | 18275.882 |  | 0 | 18275.882
Orlando | FL | 15080.3 | 0 | 15080.3 |  | 0 | 15080.3
Port St. Lucie | FL | 27259.09 | 0 | 27259.09 |  | 0 | 27259.09
Tampa | FL | 20536.572 | 0 | 20536.572 |  | 0 | 20536.572
Roswell | GA | 19454.13 | 0 | 19454.13 |  | 0 | 19454.13
Charlotte | NC | 6958.2 | 0 | 6958.2 |  | 0 | 6958.2
Raleigh | NC | 9232.1 | 0 | 9232.1 |  | 0 | 9232.1
Cordova | TN | 11804.6 | 0 | 11804.6 |  | 0 | 11804.6
Austin | TX | 3732.4 | 0 | 3732.4 |  | 0 | 3732.4
Frisco | TX | 9011.2 | 0 | 9011.2 |  | 0 | 9011.2
Copperfield | TX | 595.206 | 0 | 595.206 |  | 0 | 595.206
Plano Bldg A | TX | 8209.9 | 0 | 8209.9 |  | 0 | 8209.9

## 4th Qtr
JLL |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Bullhead | AZ | 0 | 0 | 0 |  | 0 | 0
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0
Hialeah | FL | 0 | 0 | 0 |  | 0 | 0
Jacksonville | FL | 0 | 0 | 0 |  | 0 | 0
Miami Gardens | FL | 0 | 0 | 0 |  | 0 | 0
Fort Myers | FL | 0 | 0 | 0 |  | 0 | 0
Orlando | FL | 0 | 0 | 0 |  | 0 | 0
Port St. Lucie | FL | 0 | 0 | 0 |  | 0 | 0
Tampa | FL | 0 | 0 | 0 |  | 0 | 0
Roswell | GA | 0 | 0 | 0 |  | 0 | 0
Charlotte | NC | 0 | 0 | 0 |  | 0 | 0
Raleigh | NC | 0 | 0 | 0 |  | 0 | 0
Cordova | TN | 0 | 0 | 0 |  | 0 | 0
Austin | TX | 0 | 0 | 0 |  | 0 | 0
Frisco | TX | 0 | 0 | 0 |  | 0 | 0
Copperfield | TX | 0 | 0 | 0 |  | 0 | 0
Plano Bldg A | TX | 0 | 0 | 0 |  | 0 | 0

## Jan
JLL |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Feb
JLL |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Mar
JLL |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Apr
JLL |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 15684.719 | 0 | 15684.719 | 0% | 0 | 15684.719 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 141.108 | 0 | 141.108 |  | 0 | 141.108
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Hialeah | FL | 324.369 | 0 | 324.369 |  | 0 | 324.369 |  | 1.Site is only producing 0.4kW
Jacksonville | FL | 118.379 | 0 | 118.379 |  | 0 | 118.379
Miami Gardens | FL | 125.391 | 0 | 125.391 |  | 0 | 125.391
Fort Myers | FL | 11.274 | 0 | 11.274 |  | 0 | 11.274 |  | 1.Site is offline whole month
Orlando | FL | 5857.167 | 0 | 5857.167 |  | 0 | 5857.167
Port St. Lucie | FL | 0 | 0 | 0 |  | 0 | 0
Tampa | FL | 11.939 | 0 | 11.939 |  | 0 | 11.939
Roswell | GA | 15.508 | 0 | 15.508 |  | 0 | 15.508
Charlotte | NC | 2483.368 | 0 | 2483.368 |  | 0 | 2483.368
Raleigh | NC | 3366.303 | 0 | 3366.303 |  | 0 | 3366.303
Cordova | TN | 10.539 | 0 | 10.539 |  | 0 | 10.539
Austin | TX | 970.527 | 0 | 970.527 |  | 0 | 970.527
Frisco | TX | 0 | 0 | 0 |  | 0 | 0
Copperfield | TX | 0.131 | 0 | 0.131 |  | 0 | 0.131
Plano Bldg A | TX | 2248.716 | 0 | 2248.716 |  | 0 | 2248.716

## May
JLL |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 26332.022 | 0 | 26332.022 | 0% | 0 | 26332.022 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 166.428 | 0 | 166.428 |  | 0 | 166.428
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Hialeah | FL | 329.819 | 0 | 329.819 |  | 0 | 329.819
Jacksonville | FL | 115.501 | 0 | 115.501 |  | 0 | 115.501
Miami Gardens | FL | 129.053 | 0 | 129.053 |  | 0 | 129.053
Fort Myers | FL | 6522.57 | 0 | 6522.57 |  | 0 | 6522.57 |  | 1.Site is back online from 05/06
Orlando | FL | 6133.705 | 0 | 6133.705 |  | 0 | 6133.705
Port St. Lucie | FL | 3494.191 | 0 | 3494.191 |  | 0 | 3494.191
Tampa | FL | 12.154 | 0 | 12.154 |  | 0 | 12.154
Roswell | GA | 17.025 | 0 | 17.025 |  | 0 | 17.025
Charlotte | NC | 2474.12 | 0 | 2474.12 |  | 0 | 2474.12
Raleigh | NC | 3501.769 | 0 | 3501.769 |  | 0 | 3501.769
Cordova | TN | 9.608 | 0 | 9.608 |  | 0 | 9.608
Austin | TX | 978.073 | 0 | 978.073 |  | 0 | 978.073
Frisco | TX | 38.636 | 0 | 38.636 |  | 0 | 38.636
Copperfield | TX | 0.326 | 0 | 0.326 |  | 0 | 0.326
Plano Bldg A | TX | 2409.044 | 0 | 2409.044 |  | 0 | 2409.044

## Jun
JLL |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 46632.701 | 0 | 46632.701 | 0% | 0 | 46632.701 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 165.108 | 0 | 165.108 |  | 0 | 165.108
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site is not communicating
Hialeah | FL | 319.995 | 0 | 319.995 |  | 0 | 319.995
Jacksonville | FL | 112.176 | 0 | 112.176 |  | 0 | 112.176
Miami Gardens | FL | 97.122 | 0 | 97.122 |  | 0 | 97.122
Fort Myers | FL | 6427.709 | 0 | 6427.709 |  | 0 | 6427.709
Orlando | FL | 5313.645 | 0 | 5313.645 |  | 0 | 5313.645
Port St. Lucie | FL | 10337.307 | 0 | 10337.307 |  | 0 | 10337.307 |  | 1. 1 Micro-inverter -202051003663 offline since 6/8/24. Micro inverter being RMA'd | 1. SR086851
Tampa | FL | 1197.057 | 0 | 1197.057 |  | 0 | 1197.057
Roswell | GA | 5952.23 | 0 | 5952.23 |  | 0 | 5952.23 |  | 1. 25 Micro-inverters offine since 6/25/2024 at 2:05 pm. Micro-inverters being RMA'd | 1. SR087006
Charlotte | NC | 2586.743 | 0 | 2586.743 |  | 0 | 2586.743
Raleigh | NC | 3865.556 | 0 | 3865.556 |  | 0 | 3865.556
Cordova | TN | 3108.998 | 0 | 3108.998 |  | 0 | 3108.998
Austin | TX | 1169.024 | 0 | 1169.024 |  | 0 | 1169.024 |  | 1. 12 microinverters are offline. Enphase dashboard does not have microinverters assigned | 1. SR086370
Frisco | TX | 3209.141 | 0 | 3209.141 |  | 0 | 3209.141
Copperfield | TX | 0.127 | 0 | 0.127 |  | 0 | 0.127
Plano Bldg A | TX | 2770.763 | 0 | 2770.763 |  | 0 | 2770.763

## Jul
JLL |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 64254.249 | 0 | 64254.249 | 0% | 0 | 64254.249 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 157.786 | 0 | 157.786 |  | 0 | 157.786
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Gateway has not reported since 7/27. | 1. SR091354
Hialeah | FL | 328.141 | 0 | 328.141 |  | 0 | 328.141
Jacksonville | FL | 104.75 | 0 | 104.75 |  | 0 | 104.75
Miami Gardens | FL | 43 | 0 | 43 |  | 0 | 43 |  | 1. The two Microinverters are not reporting on 7/12/24 possibly offline | 1. SR087721
Fort Myers | FL | 6372.182 | 0 | 6372.182 |  | 0 | 6372.182 |  | 1. The Gateway is not reporting from 07/03. | 1. SR087352
Orlando | FL | 5707 | 0 | 5707 |  | 0 | 5707
Port St. Lucie | FL | 10343.09 | 0 | 10343.09 |  | 0 | 10343.09 |  | 1. 7 Microinverters are not reporting and are offline since 07/17. | 1. SR088463, SR089660
Tampa | FL | 17337.4 | 0 | 17337.4 |  | 0 | 17337.4
Roswell | GA | 6677.3 | 0 | 6677.3 |  | 0 | 6677.3 |  | 1. 25 Microinverters are offline since 06/25. | 1. SR087006
Charlotte | NC | 2612.2 | 0 | 2612.2 |  | 0 | 2612.2
Raleigh | NC | 3255 | 0 | 3255 |  | 0 | 3255
Cordova | TN | 4221.4 | 0 | 4221.4 |  | 0 | 4221.4
Austin | TX | 1193.9 | 0 | 1193.9 |  | 0 | 1193.9
Frisco | TX | 3114 | 0 | 3114 |  | 0 | 3114 |  | 1. Site is not reporting since 09/14/2023. | 1. SR086377
Copperfield | TX | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline since 07/28/2023 and Gateway is not reporting from 05/14/2024. | 1. SR086379
Plano Bldg A | TX | 2787.1 | 0 | 2787.1 |  | 0 | 2787.1

## Aug
JLL |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 47815.53 | 0 | 47815.53 | 0% | 0 | 47815.53 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 139.3 | 0 | 139.3 |  | 0 | 139.3
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Gateway has not reported since 7/27. | 1. SR091354
Hialeah | FL | 0 | 0 | 0 |  | 0 | 0 |  | 1. 44 microinverters are tripping offline on 08/02 and self-resolve the next day. | 1. SR088539
Jacksonville | FL | 59.4 | 0 | 59.4 |  | 0 | 59.4
Miami Gardens | FL | 30.8 | 0 | 30.8 |  | 0 | 30.8 |  | 1. The two Microinverters are not reporting on 8/08/24 possibly offline | 1.SR087721
Fort Myers | FL | 6060.4 | 0 | 6060.4 |  | 0 | 6060.4 |  | 1. The Gateway is not reporting from 07/03 and back on 08/02/2024. | 1. SR087352
Orlando | FL | 4899.7 | 0 | 4899.7 |  | 0 | 4899.7
Port St. Lucie | FL | 9156.2 | 0 | 9156.2 |  | 0 | 9156.2 |  | 1. 7 Microinverters are not reporting and are offline since 07/17. | 1. SR088463, SR089660
Tampa | FL | 1661.7 | 0 | 1661.7 |  | 0 | 1661.7
Roswell | GA | 7827.83 | 0 | 7827.83 |  | 0 | 7827.83 |  | 1. 25 Microinverters are offline since 06/25. | 1. SR087006
Charlotte | NC | 2484.3 | 0 | 2484.3 |  | 0 | 2484.3
Raleigh | NC | 3427.3 | 0 | 3427.3 |  | 0 | 3427.3
Cordova | TN | 4586.7 | 0 | 4586.7 |  | 0 | 4586.7
Austin | TX | 1347.1 | 0 | 1347.1 |  | 0 | 1347.1
Frisco | TX | 3166.6 | 0 | 3166.6 |  | 0 | 3166.6 |  | 1. Site is not reporting since 09/14/2023 and back on 08/29/2024. | 1. SR086377
Copperfield | TX | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is offline since 07/28/2023 and Gateway is not reporting from 05/14/2024. | 1. SR086379
Plano Bldg A | TX | 2968.2 | 0 | 2968.2 |  | 0 | 2968.2

## Sep
JLL |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 39231.808 | 0 | 39231.808 | 0% | 0 | 39231.808 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ | 109.73 | 0 | 109.73 |  | 0 | 109.73
Peoria | AZ | 0 | 0 | 0 |  | 0 | 0
Tucson | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Gateway has not reported since 7/27. | 1. SR091354
Hialeah | FL | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is reporting its production at the meter as a negative value, but inverter production is positive from 09/11. | 1. SR090283
Jacksonville | FL | 80 | 0 | 80 |  | 0 | 80
Miami Gardens | FL | 99.1 | 0 | 99.1 |  | 0 | 99.1 |  | 1. The two Microinverters are not reporting from 7/12/24 and back on 9/12/24 | 1.SR087721
Fort Myers | FL | 5843.3 | 0 | 5843.3 |  | 0 | 5843.3
Orlando | FL | 4473.6 | 0 | 4473.6 |  | 0 | 4473.6
Port St. Lucie | FL | 7759.8 | 0 | 7759.8 |  | 0 | 7759.8 |  | 1. 7 Microinverters are not reporting and are offline since 07/17. | 1. SR088463, SR089660
Tampa | FL | 1537.472 | 0 | 1537.472 |  | 0 | 1537.472
Roswell | GA | 4949 | 0 | 4949 |  | 0 | 4949 |  | 1. 25 Microinverters are offline since 06/25. | 1. SR087006
Charlotte | NC | 1861.7 | 0 | 1861.7 |  | 0 | 1861.7
Raleigh | NC | 2549.8 | 0 | 2549.8 |  | 0 | 2549.8
Cordova | TN | 2996.5 | 0 | 2996.5 |  | 0 | 2996.5 |  | 1. 90 Microinverters are offline from 09/13 and back online on 09/16. | 1. SR090374
Austin | TX | 1191.4 | 0 | 1191.4 |  | 0 | 1191.4
Frisco | TX | 2730.6 | 0 | 2730.6 |  | 0 | 2730.6 |  | 1. Site is offline on 09/06/2024. | 1. SR090049
Copperfield | TX | 595.206 | 0 | 595.206 |  | 0 | 595.206 |  | 1. Site is offline since 07/28/2023 and Gateway is not reporting from 05/14/2024. | 1. SR086379
Plano Bldg A | TX | 2454.6 | 0 | 2454.6 |  | 0 | 2454.6

## Oct
JLL |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Nov
JLL |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Dec
JLL |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Bullhead | AZ
Peoria | AZ
Tucson | AZ
Hialeah | FL
Jacksonville | FL
Miami Gardens | FL
Fort Myers | FL
Orlando | FL
Port St. Lucie | FL
Tampa | FL
Roswell | GA
Charlotte | NC
Raleigh | NC
Cordova | TN
Austin | TX
Frisco | TX
Copperfield | TX
Plano Bldg A | TX

## Sites
Portfolio: | JLL
Site DAS Name | Site | State | Update | DAS
Bank of America - AZW-167 (Bullhead City, AZ) | Bullhead | AZ |  | Enlighten
Bank of America - AZW-166 (Peoria, AZ) | Peoria | AZ |  | Enlighten
Bank of America - AZ5-135 (Midvale Park, AZ) | Tucson | AZ |  | Enlighten
Bank of America - FL7-551 (Hialeah Miami Springs, FL) | Hialeah | FL |  | Enlighten
Bank of America - FLW-B75 (Jacksonville, FL) | Jacksonville | FL |  | Enlighten
Bank of America - FLW-B89 (Miami Gardens, FL) | Miami Gardens | FL |  | Enlighten
Bank of America - FL4-199 (North Fort Myers, FL) | Fort Myers | FL |  | Enlighten
Bank of America - FLW-D01 (Orlando, FL) | Orlando | FL |  | Enlighten
Bank of America - FL5-644 (Port St. Lucie, FL) | Port St. Lucie | FL |  | Enlighten
Bank of America - FL2-201 (Tampa, FL) | Tampa | FL |  | Enlighten
Bank of America - GA7-247 (Roswell, GA) | Roswell | GA |  | Enlighten
Bank of America - NC2-225 (Charlotte, NC) | Charlotte | NC |  | Enlighten
Bank of America - NC7-430 (Raleigh, NC) | Raleigh | NC |  | Enlighten
Bank of America - TN3-844 (Cordova, TN) | Cordova | TN |  | Enlighten
Bank of America - TX9-794 (Austin, TX) | Austin | TX |  | Enlighten
Bank of America - TX2-736 (Frisco, TX) | Frisco | TX |  | Enlighten
Bank of America - TX5-204 (Copperfield, TX) (240 VAC High Leg Delta) (FC - Copperfield (High Leg Delta)) | Copperfield | TX |  | Enlighten
Bank of America - TX2-796 (Plano, TX) | Plano Bldg A | TX |  | Enlighten