## Year to Date
MN8 KEF |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 10386355.02 | 6751306.61 | 3635048.41 | 53.84% | 24420072.41 | -14033717.39 | -57.47%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 1276979.8243 | 1351701.44 | -74721.6157 | -5.528% | 1396534.29 | -119554.4657 | -8.561%
Orange A KB | MA | 1038241.9957 | 258904.45 | 779337.5457 | 301% | 1113444.89 | -50872.1943 | -4.569%
Goshen A | MA | -10845336.75 | 308555.5 | -11153892.25 | -3615% | 869807.81 | 70756.84 | 8.135%
Phillipston A KB | MA | 1266710 | 395445.18 | 871264.82 | 220.3% | 987209.1 | 63957.32 | 6.479%
Uxbridge D | MA | 1280469 | 356457.4 | 924011.6 | 259.2% | 1457101.4 | -77950.4 | -5.35%
West Bridgewater A&B | MA | 2115667.5 | 566022.2 | 1549645.3 | 273.8% | 2472650.2 | -146117.2 | -5.909%
Sutton A | MA | 1160960 | 302395.95 | 858564.05 | 283.9% | 1392251.32 | -109860.32 | -7.891%
North Adams A | MA | 1236402 | 294516.74 | 941885.26 | 319.8% | 1444462.56 | -104920.86 | -7.264%
North Adams B | MA | 1200847 | 254351.53 | 946495.47 | 372.1% | 1444462.56 | -122625.86 | -8.489%
Clarksburg A | MA | 1219367 | 280640.43 | 938726.57 | 334.5% | 1437901.89 | -108476.99 | -7.544%
Swansea B | MA | 1371505 | 361411.34 | 1010093.66 | 279.5% | 1018540.22 | 99719.69 | 9.79%
Wareham 2 | MA | 1203735.45 | 287011.73 | 916723.72 | 319.4% | 1558991.2 | -123800.45 | -7.941%
Kingston 1 KB | MA | 1103797 | 280103.39 | 823693.61 | 294.1% | 1217807.79 | -50948.99 | -4.184%
Kingston 2 KB | MA | 918675 | 180108.57 | 738566.43 | 410.1% | 977488.67 | -33449.77 | -3.422%
Holliston B | MA | 1270880 | 324177.82 | 946702.18 | 292% | 1462418.97 | -97796.77 | -6.687%
Fairhaven C | MA | 2286024 | 619098.5 | 1666925.5 | 269.3% | 2679936.8 | -135592.9 | -5.06%
Plympton A-2 | MA | 1281431 | 330404.44 | 951026.56 | 287.8% | 1489062.74 | -84032.24 | -5.643%

## 1st Qtr
MN8 KEF |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 5061899.0399 | 5742936.91 | -681037.8701 | -11.86% | 6132609.53 | -1070710.4901 | -17.46%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 299514.0943 | 343331.74 | -43817.6457 | -12.76% | 358213.49 | -58699.3957 | -16.39%
Orange A KB | MA | 247279.6957 | 258904.45 | -11624.7543 | -4.49% | 298151.89 | -50872.1943 | -17.06%
Goshen A | MA | 261845 | 308555.5 | -46710.5 | -15.14% | 191088.16 | 70756.84 | 37.03%
Phillipston A KB | MA | 282267 | 395445.18 | -113178.18 | -28.62% | 218309.68 | 63957.32 | 29.3%
Uxbridge D | MA | 312227 | 356457.4 | -44230.4 | -12.41% | 390177.4 | -77950.4 | -19.98%
West Bridgewater A&B | MA | 493322 | 566022.2 | -72700.2 | -12.84% | 639439.2 | -146117.2 | -22.85%
Sutton A | MA | 251473 | 302395.95 | -50922.95 | -16.84% | 361333.32 | -109860.32 | -30.4%
North Adams A | MA | 258785 | 294516.74 | -35731.74 | -12.13% | 363705.86 | -104920.86 | -28.85%
North Adams B | MA | 241080 | 254351.53 | -13271.53 | -5.218% | 363705.86 | -122625.86 | -33.72%
Clarksburg A | MA | 253576 | 280640.43 | -27064.43 | -9.644% | 362052.99 | -108476.99 | -29.96%
Swansea B | MA | 318674 | 361411.34 | -42737.34 | -11.83% | 218954.31 | 99719.69 | 45.54%
Wareham 2 | MA | 271754.25 | 287011.73 | -15257.48 | -5.316% | 395554.7 | -123800.45 | -31.3%
Kingston 1 KB | MA | 246362 | 280103.39 | -33741.39 | -12.05% | 297310.99 | -50948.99 | -17.14%
Kingston 2 KB | MA | 205192 | 180108.57 | 25083.43 | 13.93% | 238641.77 | -33449.77 | -14.02%
Holliston B | MA | 281743 | 324177.82 | -42434.82 | -13.09% | 379539.77 | -97796.77 | -25.77%
Fairhaven C | MA | 542636 | 619098.5 | -76462.5 | -12.35% | 678228.9 | -135592.9 | -19.99%
Plympton A-2 | MA | 294169 | 330404.44 | -36235.44 | -10.97% | 378201.24 | -84032.24 | -22.22%

## 2nd Qtr
MN8 KEF |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | -3174999.4738 | 8875549.69 | -12050549.1638 | -135.8% | 9282034.5 | -12457033.9738 | -134.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 498520.7179 | 504149.6 | -5628.8821 | -1.117% | 533040.2 | -34519.4821 | -6.476%
Orange A KB | MA | 394631.1083 | 372297.3 | 22333.8083 | 5.999% | 410401.4 | -15770.2917 | -3.843%
Goshen A | MA | -11552112.75 | 440291.7 | -11992404.45 | -2724% | 353502.1 | -11905614.85 | -3368%
Phillipston A KB | MA | 493666 | 519707.3 | -26041.3 | -5.011% | 394661.3 | 99004.7 | 25.09%
Uxbridge D | MA | 496714 | 506512.1 | -9798.1 | -1.934% | 537075.8 | -40361.8 | -7.515%
West Bridgewater A&B | MA | 849504.5 | 880783.7 | -31279.2 | -3.551% | 916917.8 | -67413.3 | -7.352%
Sutton A | MA | 468615 | 469893.5 | -1278.5 | -0.2721% | 520824.7 | -52209.7 | -10.02%
North Adams A | MA | 483760 | 489760.4 | -6000.4 | -1.225% | 546419.9 | -62659.9 | -11.47%
North Adams B | MA | 479379 | 425848.3 | 53530.7 | 12.57% | 546419.9 | -67040.9 | -12.27%
Clarksburg A | MA | 481458 | 491558 | -10100 | -2.055% | 543939.2 | -62481.2 | -11.49%
Swansea B | MA | 538216 | 550332.6 | -12116.6 | -2.202% | 413930.8 | 124285.2 | 30.03%
Wareham 2 | MA | 477540.95 | 472395.3 | 5145.65 | 1.089% | 594290.7 | -116749.75 | -19.65%
Kingston 1 KB | MA | 444393 | 445463.7 | -1070.7 | -0.2404% | 467290.8 | -22897.8 | -4.9%
Kingston 2 KB | MA | 364390 | 312674.89 | 51715.11 | 16.54% | 375076.3 | -10686.3 | -2.849%
Holliston B | MA | 514161 | 498830 | 15331 | 3.073% | 547085.4 | -32924.4 | -6.018%
Fairhaven C | MA | 884042 | 967431.7 | -83389.7 | -8.62% | 1023979.3 | -139937.3 | -13.67%
Plympton A-2 | MA | 508122 | 527619.6 | -19497.6 | -3.695% | 557178.9 | -49056.9 | -8.805%

## 3rd Qtr
MN8 KEF |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 8499455.4538 | 8328964 | 170491.4538 | 2.047% | 9005428.38 | -505972.9262 | -5.619%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 478945.0121 | 504220.1 | -25275.0879 | -5.013% | 505280.6 | -26335.5879 | -5.212%
Orange A KB | MA | 396331.1917 | 373291.7 | 23039.4917 | 6.172% | 404891.6 | -8560.4083 | -2.114%
Goshen A | MA | 444931 | 442533.9 | 2397.1 | 0.5417% | 325217.55 | 119713.45 | 36.81%
Phillipston A KB | MA | 490777 | 538080.6 | -47303.6 | -8.791% | 374238.12 | 116538.88 | 31.14%
Uxbridge D | MA | 471528 | 484692.3 | -13164.3 | -2.716% | 529848.2 | -58320.2 | -11.01%
West Bridgewater A&B | MA | 772841 | 843504.5 | -70663.5 | -8.377% | 916293.2 | -143452.2 | -15.66%
Sutton A | MA | 440872 | 437111.8 | 3760.2 | 0.8602% | 510093.3 | -69221.3 | -13.57%
North Adams A | MA | 493857 | 497546.3 | -3689.3 | -0.7415% | 534336.8 | -40479.8 | -7.576%
North Adams B | MA | 480388 | 88447.37 | 391940.63 | 443.1% | 534336.8 | -53948.8 | -10.1%
Clarksburg A | MA | 484333 | 494272.8 | -9939.8 | -2.011% | 531909.7 | -47576.7 | -8.945%
Swansea B | MA | 514615 | 525418.8 | -10803.8 | -2.056% | 385655.11 | 128959.89 | 33.44%
Wareham 2 | MA | 454440.25 | 450491.4 | 3948.85 | 0.8766% | 569145.8 | -114705.55 | -20.15%
Kingston 1 KB | MA | 413042 | 430529.8 | -17487.8 | -4.062% | 453206 | -40164 | -8.862%
Kingston 2 KB | MA | 349093 | 305141.93 | 43951.07 | 14.4% | 363770.6 | -14677.6 | -4.035%
Holliston B | MA | 474976 | 476191.4 | -1215.4 | -0.2552% | 535793.8 | -60817.8 | -11.35%
Fairhaven C | MA | 859346 | 927707.2 | -68361.2 | -7.369% | 977728.6 | -118382.6 | -12.11%
Plympton A-2 | MA | 479140 | 509782.1 | -30642.1 | -6.011% | 553682.6 | -74542.6 | -13.46%

## 4th Qtr
MN8 KEF |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 |  |  | 0
Orange A KB | MA | 0 | 0 | 0 |  |  | 0
Goshen A | MA | 0 | 0 | 0 |  |  | 0
Phillipston A KB | MA | 0 | 0 | 0 |  |  | 0
Uxbridge D | MA | 0 | 0 | 0 |  |  | 0
West Bridgewater A&B | MA | 0 | 0 | 0 |  |  | 0
Sutton A | MA | 0 | 0 | 0 |  |  | 0
North Adams A | MA | 0 | 0 | 0 |  |  | 0
North Adams B | MA | 0 | 0 | 0 |  |  | 0
Clarksburg A | MA | 0 | 0 | 0 |  |  | 0
Swansea B | MA | 0 | 0 | 0 |  |  | 0
Wareham 2 | MA | 0 | 0 | 0 |  |  | 0
Kingston 1 KB | MA | 0 | 0 | 0 |  |  | 0
Kingston 2 KB | MA | 0 | 0 | 0 |  |  | 0
Holliston B | MA | 0 | 0 | 0 |  |  | 0
Fairhaven C | MA | 0 | 0 | 0 |  |  | 0
Plympton A-2 | MA | 0 | 0 | 0 |  |  | 0

## Jan
MN8 KEF |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 779580.4318 | 1198899.99 | -419319.5582 | -34.98% | 1598697.06 | -819116.6282 | -51.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%
Orange A KB | MA | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34% | 1. Site tripped offline on 01/13 multiple times early in the morningand auto-closed shortly after | 1. SR080185
Goshen A | MA | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03% | 1. Site tripped on 01/14 at 14:30 and later back online on 01/15 at 10:00AM 2. Site tripped offline on 01/25 at 11:06AM and later back online 01/25 at 11:27AM. | 1. SR080209 2. SR080465
Phillipston A KB | MA | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%
Uxbridge D | MA | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%
West Bridgewater A&B | MA | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%
Sutton A | MA | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%
North Adams A | MA | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82% | 1. Inverter 3.3 is offline on 01/13 at 07:00AM, later back online on 01/13 at 12:45PM and tripping on and off multiple days on and off. | 1. SR080193
North Adams B | MA | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%
Clarksburg A | MA | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%
Swansea B | MA | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115% | 1. Site tripped offline on 01/29 at 16:00 and later back online on 01/30 at 11:15AM. | 1. SR080590
Wareham 2 | MA | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%
Kingston 1 KB | MA | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080216 2. SR080258
Kingston 2 KB | MA | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080217 2. SR080259
Holliston B | MA | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%
Fairhaven C | MA | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05% | 1. Site tripped offline on 01/11 at 07:00AM and later back online on 01/12 at 07:45AM. 2. Inverter 47 was offline after site re-energize the site on 01/12 and back online on 14:15. | 1. SR080149 2. SR080171
Plympton A-2 | MA | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53% | 1. Site tripped offline on 01/10 at 03:26AM and later back online on 01/10 at 06:24AM. | 1. SR080115

## Feb
MN8 KEF |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 1996105.2105 | 2188725.08 | -192619.8695 | -8.801% | 1959995.17 | 36110.0405 | 1.842%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 129427.3233 | 137302.4 | -7875.0767 | -5.736% | 113866 | 15561.3233 | 13.67%
Orange A KB | MA | 103151.8872 | 104286.4 | -1134.5128 | -1.088% | 95699.56 | 7452.3272 | 7.787% | 1. Inverters 1.01 & 1.02 tripped offline on 02/28 at 10:00 AM and resolved at 11:30AM | 1. SR081451
Goshen A | MA | 115740 | 124956.1 | -9216.1 | -7.375% | 59464.02 | 56275.98 | 94.64% | 1. Site offline on 02/16 at 04:45AM and back online at 10:15 2. Site offline on 02/20 at 18:30 and back online on 02/21 at 08:15AM | 1. SR081034 2. SR081141
Phillipston A KB | MA | 119297 | 156008.8 | -36711.8 | -23.53% | 69074.69 | 50222.31 | 72.71%
Uxbridge D | MA | 130995 | 137973 | -6978 | -5.058% | 125233.8 | 5761.2 | 4.6%
West Bridgewater A&B | MA | 191715 | 209729.7 | -18014.7 | -8.589% | 203452.8 | -11737.8 | -5.769%
Sutton A | MA | 95646 | 114772 | -19126 | -16.66% | 115682.6 | -20036.6 | -17.32%
North Adams A | MA | 112525 | 120744.9 | -8219.9 | -6.808% | 119388.7 | -6863.7 | -5.749% | 1. Inverter 3.3 is offline on 02/02 and back online on 02/03 at 07:00AM and tripping on and off multiple days on and off. | 1. SR080193
North Adams B | MA | 107095 | 104225.4 | 2869.6 | 2.753% | 119388.7 | -12293.7 | -10.3%
Clarksburg A | MA | 116505 | 117091.1 | -586.1 | -0.5006% | 118846.2 | -2341.2 | -1.97%
Swansea B | MA | 117946 | 130137.5 | -12191.5 | -9.368% | 66792.55 | 51153.45 | 76.59%
Wareham 2 | MA | 88759 | 98078.5 | -9319.5 | -9.502% | 123998.2 | -35239.2 | -28.42% | 1. Site is offline due to utility outage On 02/13 at 14:30PM and back online on 02/14 at 09:00AM | 1. SR080991
Kingston 1 KB | MA | 90493 | 102655.2 | -12162.2 | -11.85% | 97249.23 | -6756.23 | -6.947% | 1. Inverter 3.3 is offline on 02/16 at 12:45 and back online on 02/20 at 06:15AM. 2. Inverter 3.3 tripped offline on 02/24 at 14:00PM and back online on 02/25 3. Inverter 3.3 tripped offline on 02/28 at 10:45AM and back online at EOD and again tripped offline at 10:15 on 02/29 | 1. SR081063 2. SR081294 3. SR081405
Kingston 2 KB | MA | 76899 | 66380.18 | 10518.82 | 15.85% | 78058.62 | -1159.62 | -1.486% | 1. Inverter 5.1 tripped offline from 02/28 at 11:15 | 1. SR081422
Holliston B | MA | 111207 | 124683.7 | -13476.7 | -10.81% | 121518 | -10311 | -8.485%
Fairhaven C | MA | 187036 | 219891.7 | -32855.7 | -14.94% | 212087.3 | -25051.3 | -11.81% | 1. Inverter 47 derating after 10 am on sunny days. Possible fan issue. | 1. SR081128
Plympton A-2 | MA | 101668 | 119808.5 | -18140.5 | -15.14% | 120194.2 | -18526.2 | -15.41%

## Mar
MN8 KEF |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 2286213.3977 | 2355311.84 | -69098.4423 | -2.934% | 2573917.3 | -287703.9023 | -11.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 135110.0305 | 142317.5 | -7207.4695 | -5.064% | 148092.7 | -12982.6695 | -8.767%
Orange A KB | MA | 107315.3672 | 104368.1 | 2947.2672 | 2.824% | 123550.3 | -16234.9328 | -13.14%
Goshen A | MA | 120599 | 126112.1 | -5513.1 | -4.372% | 86049.77 | 34549.23 | 40.15% | 1. Relay tripped offline but voltages are available on 03/23 at 17:00 and back online at 13:00 on 03/24 | 1. SR082602
Phillipston A KB | MA | 134199 | 158262 | -24063 | -15.2% | 100406 | 33793 | 33.66% | 1. The relay tripped at 6:08PM and auto-closed within five minutes. | 1. SR082604
Uxbridge D | MA | 138288 | 143309.9 | -5021.9 | -3.504% | 161683.6 | -23395.6 | -14.47%
West Bridgewater A&B | MA | 217285 | 229620.8 | -12335.8 | -5.372% | 266918.5 | -49633.5 | -18.6%
Sutton A | MA | 125601 | 129677.7 | -4076.7 | -3.144% | 152217.9 | -26616.9 | -17.49%
North Adams A | MA | 112601 | 118763.1 | -6162.1 | -5.189% | 145854.3 | -33253.3 | -22.8% | 1. Inverter 3.3 is offline on 03/04 and back online at 14:00 on 03/04 and again offline on 03/05 and back online on 03/06 at 10:30am. | 1. SR080193
North Adams B | MA | 108271 | 103121.8 | 5149.2 | 4.993% | 145854.3 | -37583.3 | -25.77%
Clarksburg A | MA | 111902 | 115432.6 | -3530.6 | -3.059% | 145191.2 | -33289.2 | -22.93%
Swansea B | MA | 146083 | 149943.2 | -3860.2 | -2.574% | 102081.6 | 44001.4 | 43.1%
Wareham 2 | MA | 123608 | 123630.8 | -22.8 | -0.01844% | 168325.4 | -44717.4 | -26.57%
Kingston 1 KB | MA | 109697 | 113352.4 | -3655.4 | -3.225% | 121507.6 | -11810.6 | -9.72%
Kingston 2 KB | MA | 89967 | 75090.14 | 14876.86 | 19.81% | 97530.33 | -7563.33 | -7.755%
Holliston B | MA | 138307 | 138459.5 | -152.5 | -0.1101% | 159875.6 | -21568.6 | -13.49%
Fairhaven C | MA | 235520 | 250903.4 | -15383.4 | -6.131% | 289415.4 | -53895.4 | -18.62%
Plympton A-2 | MA | 131860 | 132946.8 | -1086.8 | -0.8175% | 159362.8 | -27502.8 | -17.26%

## Apr
MN8 KEF |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 2539049.0428 | 2586916.59 | -47867.5472 | -1.85% | 2858064.4 | -319015.3572 | -11.16%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 143258.0072 | 148127.5 | -4869.4928 | -3.287% | 168203.5 | -24945.4928 | -14.83% | 1. Inverter 1.3 tripped offline on 04/05 at 10:24 and back online at 14:17 | 1. SR083119
Orange A KB | MA | 115631.3356 | 109834.3 | 5797.0356 | 5.278% | 126717.1 | -11085.7644 | -8.748% | 1. Site was taken offline by technician on 04/22 between 07:45 to 08:45 | 1. PM 2694
Goshen A | MA | 129214 | 130471 | -1257 | -0.9634% | 106261 | 22953 | 21.6% | 1. Site was taken offline by technician on 04/11 between 08:15am to 09:00am | 1. PM 2695
Phillipston A KB | MA | 142454 | 156407.6 | -13953.6 | -8.921% | 115136.8 | 27317.2 | 23.73% | 1. Site was taken offline by technician on 04/22 between 10:00am to 11:00am | 1. PM 2747
Uxbridge D | MA | 144003 | 147586.7 | -3583.7 | -2.428% | 165832.8 | -21829.8 | -13.16% | 1. Site was taken offline by technician on 04/10 between 12:00am to 12:50am | 1. PM 2820
West Bridgewater A&B | MA | 254331.5 | 261902.2 | -7570.7 | -2.891% | 280666.3 | -26334.8 | -9.383%
Sutton A | MA | 135968 | 139058.2 | -3090.2 | -2.222% | 159133.1 | -23165.1 | -14.56% | 1. Site was taken offline by techinican on 04/25 between 13:00 to 14:05 | 1. PM 2921
North Adams A | MA | 133243 | 136901.6 | -3658.6 | -2.672% | 169783.1 | -36540.1 | -21.52%
North Adams B | MA | 131267 | 118829.4 | 12437.6 | 10.47% | 169783.1 | -38516.1 | -22.69%
Clarksburg A | MA | 137517 | 139764.5 | -2247.5 | -1.608% | 169012.3 | -31495.3 | -18.63%
Swansea B | MA | 157217 | 159428.8 | -2211.8 | -1.387% | 123799.4 | 33417.6 | 26.99% | 1. Site was taken offline by technician on 04/10 between 08:30am to 10:15am | 1. PM 2834
Wareham 2 | MA | 140967.2 | 137966 | 3001.2 | 2.175% | 186589.6 | -45622.4 | -24.45% | 1. Site was offline on 04/17 between 10:00am to 13:45 due to planned outage 2. Inverter 2.18 reading errronous values after 4:00pm feom 04/17 and offline on 04/25 & 04/26 3. Inverter 2.14 tripped offline on 04/24 at 16:00 and offline from 04/26 4. Inverter 1.1 derating on sunny days, resolved on 04/26 | 1. SR082212 2. SR083576 3. SR083786 4. SR083337
Kingston 1 KB | MA | 131349 | 130566.4 | 782.6 | 0.5994% | 143795.2 | -12446.2 | -8.656%
Kingston 2 KB | MA | 106240 | 89203.59 | 17036.41 | 19.1% | 115418.7 | -9178.7 | -7.953%
Holliston B | MA | 150997 | 146964.1 | 4032.9 | 2.744% | 167145.6 | -16148.6 | -9.661% | 1. Inverters 13, 15 to 28 offline between at 09:30 to 15:30 on 04/25 | 1. SR083806
Fairhaven C | MA | 230664 | 278442.5 | -47778.5 | -17.16% | 321205.9 | -90541.9 | -28.19% | 1. Site was taken offline on 04/29 at 09:45 and back online on 04/30 at 16:15 2. Site tripped offline on 04/16 and back online on 04/19 at 09:45am. Again tripped offline on 04/20 at 10:45 and back online at 16:15 3. Site tripped offline on 04/08 at 09:00am and back online at 11:15am 4. Site tripped offline on 04/07 at 12:10 and back online at 13:30 | 1. SR082929 2. SR083489 3. SR083169 4. SR083160
Plympton A-2 | MA | 154728 | 155462.2 | -734.2 | -0.4723% | 169580.9 | -14852.9 | -8.759% | 1. Inverter 11 offline on 04/16, 04/18, 04/29, 04/30 | 1. SR083504

## May
MN8 KEF |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | -8973955.71 | 2998098.2 | -11972053.91 | -399.3% | 3231680.7 | -12205636.41 | -377.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 173965.6756 | 173895.1 | 70.5756 | 0.04059% | 178092.1 | -4126.4244 | -2.317%
Orange A KB | MA | 136972.3644 | 128672.7 | 8299.6644 | 6.45% | 143165.9 | -6193.5356 | -4.326%
Goshen A | MA | -11843991.75 | 152191.5 | -11996183.25 | -7882% | 119525.4 | -11963517.15 | -10009% | 1. Inverter 3.15 tripped offline on 05/22 at 15:30 and later self resolved on 05/23 at 05:00 am. 2. Site was offline between 04:30am to 12:15pm on 05/30 3. Meter reporting errenous values and having intermittent communication. Meter being RMA'd | 1. SR085031 2. SR085295 3. SR080661
Phillipston A KB | MA | 166750 | 174107.4 | -7357.4 | -4.226% | 138861.2 | 27888.8 | 20.08% | 1. Site was offline due to utility outage on 05/31 from 14:00 to 16:45. | 1. SR085385
Uxbridge D | MA | 167815 | 169800 | -1985 | -1.169% | 187348.5 | -19533.5 | -10.43%
West Bridgewater A&B | MA | 279538 | 287934.3 | -8396.3 | -2.916% | 320294.2 | -40756.2 | -12.72%
Sutton A | MA | 156960 | 155795.2 | 1164.8 | 0.7476% | 181995 | -25035 | -13.76%
North Adams A | MA | 175242 | 176263.8 | -1021.8 | -0.5797% | 193978.2 | -18736.2 | -9.659% | 1. Site was offline due to SEL recloser open on 05/26 at 15:30 and later SEL recloser was remotely closed at 16:45. | 1.SR085170
North Adams B | MA | 174636 | 153126.3 | 21509.7 | 14.05% | 193978.2 | -19342.2 | -9.971% | 1. Site was offline due to SEL recloser open on 05/26 at 15:30 and later SEL recloser was remotely closed at 16:45. | 1. SR085169
Clarksburg A | MA | 176599 | 176175.5 | 423.5 | 0.2404% | 193097.8 | -16498.8 | -8.544%
Swansea B | MA | 177464 | 182570.1 | -5106.1 | -2.797% | 143014.2 | 34449.8 | 24.09% | 1. Site was offline due to utility outage on 05/08 from 05:00 am to 11:00am. | 1. SR084479
Wareham 2 | MA | 160615 | 156360.1 | 4254.9 | 2.721% | 203086.9 | -42471.9 | -20.91% | 1. Inverter1.1 was offline on 05/11, 05/26, 05/30 and 05/31. 2. Site was offline due to uitility outage on 05/30 from 13:30 to 15:15. 3. Inverter 2.1 was offline after the utility outage has cleared on 05/30 at 15:15 and later back online on 05/31. 4. Inverter 2.14 was offline due to "Over- temperature fault" from 05/01 to 05/13. | 1. SR084577 2. SR085329 3. SR085332 4. SR083786
Kingston 1 KB | MA | 150240 | 147896.3 | 2343.7 | 1.585% | 166043.7 | -15803.7 | -9.518% | 1. Inverter 2.6 derated by 20kW from 05/11 to 05/13. | 1. SR084645
Kingston 2 KB | MA | 123117 | 103564.4 | 19552.6 | 18.88% | 133277.2 | -10160.2 | -7.623%
Holliston B | MA | 174004 | 167285.8 | 6718.2 | 4.016% | 191175.5 | -17171.5 | -8.982%
Fairhaven C | MA | 307864 | 318321.9 | -10457.9 | -3.285% | 350031.2 | -42167.2 | -12.05% | 1. Inverter 47 derated by 27kW 0n 05/01, 05/22 to 05/25. | 1. SR084130,SR085001
Plympton A-2 | MA | 168254 | 174137.8 | -5883.8 | -3.379% | 194715.5 | -26461.5 | -13.59% | 1. Inverter 11 was offline on 01/05,03/05, 05/05, 06/05, 14/05, 19/05 - 21/05. | 1. SR083504

## Jun
MN8 KEF |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 3259907.1934 | 3290534.9 | -30627.7066 | -0.9308% | 3192289.4 | 67617.7934 | 2.118%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 181297.0351 | 182127 | -829.9649 | -0.4557% | 186744.6 | -5447.5649 | -2.917% | 1. Site was offline from 18:45 on 06/19 and back online at 22:15 on 06/19 | 1. SR086454
Orange A KB | MA | 142027.4083 | 133790.3 | 8237.1083 | 6.157% | 140518.4 | 1509.0083 | 1.074%
Goshen A | MA | 162665 | 157629.2 | 5035.8 | 3.195% | 127715.7 | 34949.3 | 27.36% | 1. Site was offline from 19:45 on 06/05 and back online at 08:15AM on 06/06 2. Site was offline from 18:53 on 06/19 and back online on 06/20 | 1. SR085605 2. SR086451
Phillipston A KB | MA | 184462 | 189192.3 | -4730.3 | -2.5% | 140663.3 | 43798.7 | 31.14% | 1. Site has experienced a brief outage from 17:42 to 18:02 on 06/ 19 and auto reclosed. 2. Inverter 1.2 was underperforming compared to its peers | 1. SR086449 2.SR086155,SR084740
Uxbridge D | MA | 184896 | 189125.4 | -4229.4 | -2.236% | 183894.5 | 1001.5 | 0.5446% | 1. Inverter 2.1 tripped offline at 13:00 on 06/02 and back online on 06/03 | 1. SR085431
West Bridgewater A&B | MA | 315635 | 330947.2 | -15312.2 | -4.627% | 315957.3 | -322.3 | -0.102%
Sutton A | MA | 175687 | 175040.1 | 646.9 | 0.3696% | 179696.6 | -4009.6 | -2.231%
North Adams A | MA | 175275 | 176595 | -1320 | -0.7475% | 182658.6 | -7383.6 | -4.042% | 1. Site was offline from 01:45am to 6am on 06/24 | 1. SR086817
North Adams B | MA | 173476 | 153892.6 | 19583.4 | 12.73% | 182658.6 | -9182.6 | -5.027% | 1. Site was offline from 1:45am to 8:45am on 06/24 | 1. SR086818
Clarksburg A | MA | 167342 | 175618 | -8276 | -4.713% | 181829.1 | -14487.1 | -7.967% | 1. Inverter 3.16 down a string from 05/13/2024 2.Site was offline from 7:50am of 06/20 to 9am of 06/21 | 1. SR085098 2.SR086465
Swansea B | MA | 203535 | 208333.7 | -4798.7 | -2.303% | 147117.2 | 56417.8 | 38.35%
Wareham 2 | MA | 175958.75 | 178069.2 | -2110.45 | -1.185% | 204614.2 | -28655.45 | -14% | 1. Inverter 1-1 was offline on 06/01, 06/24 and 06/29 | 1. SR086837
Kingston 1 KB | MA | 162804 | 167001 | -4197 | -2.513% | 157451.9 | 5352.1 | 3.399% | 1. Inverter 1.6 dropped a string on 5/22/24. Underproduced 2kW for the whole month and inverter 3.1 dropped a string on 5/22/24. Underproduced 6kW for the whole month | 1. SR085079
Kingston 2 KB | MA | 135033 | 119906.9 | 15126.1 | 12.61% | 126380.4 | 8652.6 | 6.846%
Holliston B | MA | 189160 | 184580.1 | 4579.9 | 2.481% | 188764.3 | 395.7 | 0.2096% | 1. Inverter 22 underproducing by 4kW. inverter 2 underproducing by 3kW inverter 5 underproducing by 4kW. inverter 13 underproducing by 5kW Inverter 25 was underperforming by 6kW All mentioned inverters underproduced for the whole month | 1. SR083764
Fairhaven C | MA | 345514 | 370667.3 | -25153.3 | -6.786% | 352742.2 | -7228.2 | -2.049% | 1. Inverters 3, 17, 21, 41, 46 underproduced for the whole month | 1. SR083330
Plympton A-2 | MA | 185140 | 198019.6 | -12879.6 | -6.504% | 192882.5 | -7742.5 | -4.014%

## Jul
MN8 KEF |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 3051060.9238 | 3037233.07 | 13827.8538 | 0.4553% | 3362531.6 | -311470.6762 | -9.263%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 164380.5821 | 184498.6 | -20118.0179 | -10.9% | 184706.3 | -20325.7179 | -11% | 1.Site tripped offline from 7/7 at 07:45 and back online on 7/9 at 13:15. 2.Site tripped offline from 15:30 to 16:00 on 7/24. | 1.SR087437 2.SR088137
Orange A KB | MA | 147346.0917 | 139239.7 | 8106.3917 | 5.822% | 149978.5 | -2632.4083 | -1.755%
Goshen A | MA | 158425 | 160075.7 | -1650.7 | -1.031% | 125257.5 | 33167.5 | 26.48% | 1.Site was offline from 06:00 to 11:00 on 7/17. | 1.SR088536
Phillipston A KB | MA | 175322 | 192389.7 | -17067.7 | -8.871% | 147727.3 | 27594.7 | 18.68% | 1.Site tripped offline from 7/16 at 20:00 back online on 7/17 at 18:15 2.Site was offline from 16:30 to 18:00 on 7/21 | 1.SR087792 2.SR087975
Uxbridge D | MA | 169926 | 173364.2 | -3438.2 | -1.983% | 196269.2 | -26343.2 | -13.42%
West Bridgewater A&B | MA | 282860 | 297276.8 | -14416.8 | -4.85% | 331617.6 | -48757.6 | -14.7% | 1.Site tripped offline from 08:15 to 14:45 on 7/20 2.Site tripped offline from 17:45 to 18:00 on 7/30 | 1.SR087954 2.SR088424
Sutton A | MA | 161016 | 159388.5 | 1627.5 | 1.021% | 191228.4 | -30212.4 | -15.8%
North Adams A | MA | 184732 | 187479.2 | -2747.2 | -1.465% | 196290.6 | -11558.6 | -5.889% | 1.Inverter 1.2 tripped offline from 7/15 at 15:00 and back online at 15:00 on 7/162 2.Site tripped offline from 09:00 to 10:15 on 7/26 | 1.SR087729 2.SR088257
North Adams B | MA | 184274 | 88447.37 | 95826.63 | 108.3% | 196290.6 | -12016.6 | -6.122% | 1.Site tripped offline from 09:00 to 10:15 on 7/26 2. Weather station stopped communicating from 7/16 at 18:15 through out the month | 1.SR088258 2.SR087828
Clarksburg A | MA | 175951 | 186107.1 | -10156.1 | -5.457% | 195398.3 | -19447.3 | -9.953% | 1.Site tripped offline from 7/16 at 18:30 and back online on 7/17 at 17:00 2.Site tripped offline from 7/21 at 13:30 and back online on 7/22 at 08:30 | 1.SR087791 2.SR087972
Swansea B | MA | 177869 | 180192.2 | -2323.2 | -1.289% | 153720.7 | 24148.3 | 15.71%
Wareham 2 | MA | 157002.25 | 155884 | 1118.25 | 0.7174% | 216031.9 | -59029.65 | -27.32% | 1.Inverter 1.1 offline on 7/1 , 7/3 and 7/6 to 7/8 | 1.SR086837
Kingston 1 KB | MA | 150565 | 153965.9 | -3400.9 | -2.209% | 168431 | -17866 | -10.61% | 1.Inverters 1.4 and 4.2 are derating and reporting external fan fault from 7/15 | 1.SR087711
Kingston 2 KB | MA | 125538 | 110264 | 15274 | 13.85% | 135192 | -9654 | -7.141%
Holliston B | MA | 172873 | 170088.8 | 2784.2 | 1.637% | 200859 | -27986 | -13.93% | 1.Inverter 22 underproducing by 4kW. inverter 2 underproducing by 3kW inverter 5 underproducing by 4kW. inverter 13 underproducing by 5kW Inverter 25 was underperforming by 6kW All mentioned inverters underproduced for the whole month | 1.SR083764
Fairhaven C | MA | 292980 | 317161.2 | -24181.2 | -7.624% | 371840.2 | -78860.2 | -21.21% | 1.Inverters 3, 17, 21, 41, 46 underproduced for the whole month | 1.SR083330
Plympton A-2 | MA | 170001 | 181410.1 | -11409.1 | -6.289% | 201692.5 | -31691.5 | -15.71% | 1.Inverter 13 underperforming 4kW from 7/3 through out the month 2.Inverter 4 has multiple strings down resolved from 7/24 | 1. SR087430 2.SR087992

## Aug
MN8 KEF |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 2858540.1 | 2794987 | 63553.1 | 2.274% | 3109247.5 | -250707.4 | -8.063%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 161248.3 | 163403.4 | -2155.1 | -1.319% | 173432 | -12183.7 | -7.025% | 1.Site tripped offline on 08/08 at 18:45 and back online on 08/09 at 08:30 | 1.SR088809
Orange A KB | MA | 126471.8 | 117726.6 | 8745.2 | 7.428% | 137250.9 | -10779.1 | -7.854%
Goshen A | MA | 144946 | 142753.9 | 2192.1 | 1.536% | 112320.9 | 32625.1 | 29.05% | 1.Site tripped offline on 08/02 from 11:15 to 13:15 2.Site tripped offline on 08/08 at 19:00 and back online on 08/09 at 07:30 | 1.SR088536 2.SR088807
Phillipston A KB | MA | 162810 | 173724.1 | -10914.1 | -6.282% | 127720.6 | 35089.4 | 27.47%
Uxbridge D | MA | 162331 | 167814.3 | -5483.3 | -3.267% | 179615.2 | -17284.2 | -9.623%
West Bridgewater A&B | MA | 254905 | 291617.2 | -36712.2 | -12.59% | 318051.4 | -63146.4 | -19.85% | 1. Inverter 5.01 is offline from 08/21 through out the month. 2.Site tripped on 06/24 at 18:00 and back online on 06/25 at 11:00, site take offline for UNSE on 09:00 to 11:00 on 08/28 for repairs | 1.SR089367 2.SR089502
Sutton A | MA | 151028 | 149166.1 | 1861.9 | 1.248% | 173114.3 | -22086.3 | -12.76%
North Adams A | MA | 150807 | 151935.6 | -1128.6 | -0.7428% | 183377.3 | -32570.3 | -17.76% | 1.Site tripped offline at 10:15 to 10:30 on 08/01 | 1.SR088492
North Adams B | MA | 145410 | 0 | 145410 |  | 183377.3 | -37967.3 | -20.7% | 1.Site tripped offline at 10:15 to 15:30 on 08/01 2.Weather station stopped communicating from 7/16 at 18:15 through out the month | 1.SR088493 2.SR087828
Clarksburg A | MA | 151245 | 151766.6 | -521.6 | -0.3437% | 182544.6 | -31299.6 | -17.15%
Swansea B | MA | 185329 | 190344.2 | -5015.2 | -2.635% | 135930.5 | 49398.5 | 36.34%
Wareham 2 | MA | 162855 | 160657 | 2198 | 1.368% | 201599.3 | -38744.3 | -19.22% | 1.Inverter 2.21 tripped offline at 12:00 on 08/17 and back online on 08/18 | 1.SR089198
Kingston 1 KB | MA | 144738 | 151114 | -6376 | -4.219% | 155666.5 | -10928.5 | -7.02%
Kingston 2 KB | MA | 122014 | 107995.7 | 14018.3 | 12.98% | 124948.3 | -2934.3 | -2.348% | 1.Inverter 7.6 tripped offline at 15:44 and back online at 16:00 on 08/09 2.Inverter 7.7 tripped offline at 09:00AM and back online at 13:15 on 0827 | 1.SR088852 2.SR089610
Holliston B | MA | 161583 | 162860.4 | -1277.4 | -0.7844% | 181835.3 | -20252.3 | -11.14%
Fairhaven C | MA | 305350 | 334806.6 | -29456.6 | -8.798% | 346029.9 | -40679.9 | -11.76% | 1.Inverter 8 is offline 08/11, 08/13, 08/15 and again tripped offline on 08/16 at 15:30 and back online on 08/17 and offline on 08/21,08/22,08/30,08/31 | 1.SR088896
Plympton A-2 | MA | 165469 | 177301.3 | -11832.3 | -6.674% | 192433.2 | -26964.2 | -14.01% | 1.Inverter 6 is offline on 08/31 | 1.SR089797

## Sep
MN8 KEF |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 2589854.43 | 2496743.93 | 93110.5 | 3.729% | 2533649.28 | 56205.15 | 2.218%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 153316.13 | 156318.1 | -3001.97 | -1.92% | 147142.3 | 6173.83 | 4.196%
Orange A KB | MA | 122513.3 | 116325.4 | 6187.9 | 5.319% | 117662.2 | 4851.1 | 4.123%
Goshen A | MA | 141560 | 139704.3 | 1855.7 | 1.328% | 87639.15 | 53920.85 | 61.53%
Phillipston A KB | MA | 152645 | 171966.8 | -19321.8 | -11.24% | 98790.22 | 53854.78 | 54.51%
Uxbridge D | MA | 139271 | 143513.8 | -4242.8 | -2.956% | 153963.8 | -14692.8 | -9.543%
West Bridgewater A&B | MA | 235076 | 254610.5 | -19534.5 | -7.672% | 266624.2 | -31548.2 | -11.83% | 1. Pad 2 has tripped offline at 14:30 on 09/19 and back online at 08:15 on 09/20 | 1.SR090860
Sutton A | MA | 128828 | 128557.2 | 270.8 | 0.2106% | 145750.6 | -16922.6 | -11.61%
North Adams A | MA | 158318 | 158131.5 | 186.5 | 0.1179% | 154668.9 | 3649.1 | 2.359%
North Adams B | MA | 150704 | 0 | 150704 |  | 154668.9 | -3964.9 | -2.563%
Clarksburg A | MA | 157137 | 156399.1 | 737.9 | 0.4718% | 153966.8 | 3170.2 | 2.059%
Swansea B | MA | 151417 | 154882.4 | -3465.4 | -2.237% | 96003.91 | 55413.09 | 57.72%
Wareham 2 | MA | 134583 | 133950.4 | 632.6 | 0.4723% | 151514.6 | -16931.6 | -11.17%
Kingston 1 KB | MA | 117739 | 125449.9 | -7710.9 | -6.147% | 129108.5 | -11369.5 | -8.806%
Kingston 2 KB | MA | 101541 | 86882.23 | 14658.77 | 16.87% | 103630.3 | -2089.3 | -2.016%
Holliston B | MA | 140520 | 143242.2 | -2722.2 | -1.9% | 153099.5 | -12579.5 | -8.217%
Fairhaven C | MA | 261016 | 275739.4 | -14723.4 | -5.34% | 259858.5 | 1157.5 | 0.4454% | 1.Inverter 8 being RMA'd 2.Inverter 10 tripped offline at 8:00 on 09/03 and back online at 07:00 on 09/04 3.Inverter 10 offline for whole day on 09/21 and back online at 07:00 at 09/22 | 1.SR088896 2.SR089858 3.SR091024
Plympton A-2 | MA | 143670 | 151070.7 | -7400.7 | -4.899% | 159556.9 | -15886.9 | -9.957% | 1.Inverter 6 is offline on 08/31 2.Inverter 1 is offline from 09/26 3.Inverter 26 is derating about 17kW at 10:15 on 09/12 and back to normal production at 16:00 on 09/12 | 1.SR089797 2.SR091292 3.SR090334

## Oct
MN8 KEF |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Nov
MN8 KEF |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Dec
MN8 KEF |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Sites
Portfolio: | MN8 KEF
Site DAS Name | Site | State | Update | DAS
MA-11-001 - Williamsburg A #1058 | Williamsburg A | MA | AEF | PowerTrack
MA-11-002 - Orange A KB | Orange A KB | MA | AEF | PowerTrack
MA-11-003 - Goshen A #1052 | Goshen A | MA | AEF | PowerTrack
MA-11-004 - Phillipston A KB | Phillipston A KB | MA | AEF | PowerTrack
MA-11-005 - Uxbridge D | Uxbridge D | MA | AEF | PowerTrack
MA-11-006 - West Bridgewater A&B #1063 | West Bridgewater A&B | MA | AEF | PowerTrack
MA-11-007 - Sutton A #1054 | Sutton A | MA | AEF | PowerTrack
MA-11-008 - North Adams A #1079 | North Adams A | MA | AEF | PowerTrack
MA-11-009 - North Adams B #1080 | North Adams B | MA | AEF | PowerTrack
MA-11-010 - Clarksburg A #1081 | Clarksburg A | MA | AEF | PowerTrack
MA-11-011 - Swansea B #1098 | Swansea B | MA | AEF | PowerTrack
MA-11-012 - Wareham 2 | Wareham 2 | MA | AEF | PowerTrack
MA-11-013 - Kingston 1 KB | Kingston 1 KB | MA | AEF | PowerTrack
MA-11-014 - Kingston 2 KB | Kingston 2 KB | MA | AEF | PowerTrack
MA-11-015 - Holliston B | Holliston B | MA | AEF | PowerTrack
MA-11-016 - Fairhaven C | Fairhaven C | MA | AEF | PowerTrack
MA-11-017 - Plympton A | Plympton A-2 | MA | AEF | PowerTrack