## Sites
Monthly Site Performance Summary
Account: | Ameresco
Report's period: | 09/01/2024 - 09/30/2024
Sites: | Manually selected sites
# of sites: | 11
Generated on: | 10/25/2024 00:17
Site Information | [6 empty] | Open Alerts | Current Month |  |  | Previous Month |  |  | Same month last year |  |  | Previous twelve months
# | Site Name | Country | State | City | Installation Date | Peak Power (kWp) | Highest Alert Impact | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue
1 | NBHA Adams st | United States | Massachusetts | New Bedford | 12/01/2020 | 69.255 | 2 | 4660.1 | 67.3 |  | 5784.2 | 83.5 |  | 4730.9 | 68.3 |  | 52984.1 | 765.1
2 | NBHA Ben Rose | United States | Massachusetts | New Bedford | 03/03/2022 | 152.425 | 2 | 15391.5 | 101 |  | 19151.2 | 125.6 |  | 13535.9 | 88.8 |  | 167383.4 | 1098.1
3 | NBHA Brickenwood | United States | Massachusetts | New Bedford | 03/01/2022 | 572.325 | 6 | 53673.7 | 93.8 |  | 70975.9 | 124 |  | 52182.7 | 91.2 |  | 638799.2 | 1116.1
4 | NBHA Chaffee Fairfield | United States | Massachusetts | New Bedford | 07/29/2020 | 49.4 | 0 | 5152.2 | 104.3 |  | 6499.7 | 131.6 |  | 5039.8 | 102 |  | 58314.8 | 1180.5
5 | NBHA DeMedeiros | United States | Massachusetts | New Bedford | 01/10/2022 | 64.35 | 0 | 6624.2 | 102.9 |  | 8507.6 | 132.2 |  | 4826.9 | 75 |  | 56931.4 | 884.7
6 | NBHA Dottin Place 1 | United States | Massachusetts | New Bedford | 07/29/2020 | 88.4 | 5 | 8232 | 93.1 |  | 10395.4 | 117.6 |  | 7963 | 90.1 |  | 92706.9 | 1048.7
7 | NBHA Hillside | United States | Massachusetts | New Bedford | 06/28/2021 | 117 | 0 | 12022.4 | 102.8 |  | 15231.8 | 130.2 |  | 11512.8 | 98.4 |  | 135296.9 | 1156.4
8 | NBHA Presidential | United States | Massachusetts | New Bedford | 09/12/2021 | 468.65 | 6 | 38389.4 | 81.9 |  | 48200.3 | 102.8 |  | 33924.7 | 72.4 |  | 435506.1 | 929.3
9 | NBHA Satellite | United States | Massachusetts | New Bedford | 11/18/2021 | 169 | 2 | 9363.7 | 55.4 |  | 12152 | 71.9 |  | 16526.8 | 97.8 |  | 162640.4 | 962.4
10 | NBHA Shawmut Village | United States | Massachusetts | New Bedford | 10/21/2020 | 443.625 | 5 | 25630.8 | 57.8 |  | 32215.8 | 72.6 |  | 36710.4 | 82.8 |  | 407832.5 | 919.3
11 | NBHA Westlawn | United States | Massachusetts | New Bedford | 03/03/2022 | 267.8 | 2 | 22979.8 | 85.8 |  | 29070.9 | 108.6 |  | 24229.8 | 90.5 |  | 269293.1 | 1005.6
Total | [5 empty] | 2462.23 |  | 202119.8 |  |  | 258184.8 |  |  | 211183.7 |  |  | 2477688.8

## Service Request
Owner | Asset | Site Equipment | kW Down | Date | Description | Account Manager | Status | Pending | Priority | Summary | Request | D365 Project
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 72 Saturn Dr - Inverter 6 | Inverter Comms | 2024-09-30 15:22 | 9/30/24 Inverter 6 stopped communicating 9/24, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR091503
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 34 Malden - Inverter 21 | Inverter comms | 2024-09-24 13:41 | 9/24/24 Inverter 21 stopped communicating 9/17. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR091143
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 18 Yale - Inverter 37 | Inverter comms | 2024-09-22 12:37 | 9/22/24 Inverter 37 stopped communicating 9/15. Possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR091041
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 37 Cherokee CT - Inverter 10 | 7.5 | 2024-09-18 15:01 | 9/18/24 Inverter 10 tripped offline on 9/10/24 | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR090723
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 133 Dakota CT - Inverter 36 | Inverter comms | 2024-09-09 14:59 | 9/9/24 Inverter 36 stopped communicating 9/1. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR090138
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 63 Saturn Dr - Inverter 3 | Inverter comms | 2024-08-14 15:05 | 8/14/24 Inverter 3 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089042 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 134 Virgo Dr - Inverter 22 | Inverter comms | 2024-08-14 15:05 | 8/14/24 Inverter 22 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089041 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 131 Virgo Dr - Inverter 21 | Inverter comms | 2024-08-14 15:02 | 8/14/24 Inverter 21 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089040 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 130 Virgo Dr - Inverter 20 | Inverter comms | 2024-08-14 15:01 | 8/14/24 Inverter 20 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089039 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 112 Aries Dr - Inverter 17 | Inverter comms | 2024-08-14 15:00 | 8/14/24 Inverter 17 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089038 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 100 Libra Dr - Inverter 12 | Inverter comms | 2024-08-14 14:59 | 8/14/24 Inverter 12 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089037 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 20 Malden - Inverter 20 | 7.5 | 2024-07-22 14:41 | 7/22/24 Inverter 20 tripped offline on 7/14, SolarEdge reporting inverter production issue. detected | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR087996
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 22 - Inverter 12 | Inverter comms | 2024-07-16 13:22 | 7/16/24 Inverter 12 stopped communicating on 7/6/24. Production is not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087778
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 131 Dakota CT - Inverter 38 | Inverter comms | 2024-07-15 15:29 | 7/15/24 Inverter 38 stopped communicating on 7/6/24, production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087728
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 155 Gay Head CT - Inverter 33 | Inverter comms | 2024-07-15 15:27 | 7/15/24 Inverter 33 stopped communicating on 7/6/24, production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087727
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 38 - Inverter 30 | Inverter comms | 2024-07-02 13:01 | 7/2/24: Inverter 30 stopped communicating on 6/14, cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087283
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 7 - Inverter 4 | Inverter comms | 2024-07-02 13:00 | 7/2/24: Inverter 4 stopped communicating on 5/2, cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087282
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 9 Shawnee CT - Inverter 3 | 6 | 2024-06-17 13:38 | 6/17/24 inverter 3 tripped offline on 6/15 at 3pm. Reporting production issue detected. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR086321 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 58 Yale - Inverter 49 | Inverter comms | 2024-06-03 12:37 | 6/3/24 - inverter 49 stopped communicating on 5/25/24; possibly offline. | Diana Balayan | Pending | Pending Return Visit | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | SR085484 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inverter comms | 2024-05-17 13:33 | 5/17/24 - Satellite inverters 3,9,18 stopped communicating possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084812 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inverter comms | 2024-05-17 13:29 | 5/17/24 - Shawmut inverter 52 has stopped communicating; possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084811 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inverter comms | 2024-05-17 12:41 | 5/17/24 - Presidential inverters 18, 27 have stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084807 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inverter comms | 2024-05-11 13:39 | 6/3/24 - invs 15 and 16 regained comms, invs 4 and 6 still have no comms. 5/11 - Westlawn inverters 4, 6, 15, 16 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR084580 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 102 Navaho CT - Inverter 53 | Inverter comms | 2024-04-19 12:53 | 4/18 - Shawmut Inverter 53 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083628 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 105 Navaho CT - Inverter 46 | Inverter comms | 2024-04-19 12:51 | 4/19 - Inverter 46 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083627 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 88 Malden - Inverter 27 | Inverter comms | 2024-03-21 12:45 | 11/7 - Inverter 27 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR082331 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 310 Mt-Pleasant St Bldg 2 - Inverter 1 | 14.4 | 2024-03-04 12:57 | 3/4 - Inverter 1 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081556 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 6 | 2024-03-04 12:55 | 3/4 - Inverter 46 at Brickenwood is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081555 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 135 Dakota CT - Inverter 12 | Inverter comms | 2024-03-01 14:56 | 3/1 - Inverter 12 lost communications; production cannot be confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081505 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 45 - Inverter 23 | Inverter comms | 2024-02-20 14:04 | 2/20/24 - Inverter 23 stopped communicating; cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081129 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 26 Delano St - Inverter 16 | 11.4 | 2023-12-18 16:44 | 12/18 - Inverter 16 tripped offline on a DC isolation fault. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR079489 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 21 Mohawk CT - Inverter 8 | Inverter comms | 2023-11-07 12:49 | 11/7 - Inverter 8 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR078119 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 111 Mashpee CT - Inverter 49 | Inverter comms | 2023-10-17 03:39 | 10/17/23 - Inverter 49 is not communicating from 07/09, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077517 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 90 Libra Dr - Inverter 11 | Inverter comms | 2023-10-05 14:16 | 10/5/23 - Inverter 11 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR077287 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 161 Gay Head CT - Inverter 54 | Inverter comms | 2023-09-08 12:40 | 7/3/2024 - Inverter stopped communicating 6/26/24 10/17/2023 - Inverter is communicating from 10/03 9/8 - Inverter stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075876 | 1006999.001
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 4 | 14.4 | 2023-08-31 14:53 | 10/16/23 - Inverter is still offline. 08/31/23 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075642 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 121 Mashpee CT - Inverter 25 | Inverter comms | 2023-08-09 12:46 | 10/17/2023 - Inverter is still not reporting, possibly offline 8/9 - Inverter 25 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074887 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 37 Yale - Inverter 41 | Inverter comms | 2023-07-30 18:16 | 9/22/2024 - reoccurred 9/16/24 07/30/2023 - Inverter 41 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR074426 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 45 Cherokee CT - Inverter 37 | Inverter comms | 2023-07-13 12:37 | 10/17/2023 - Inverter is still not communicating from 07/10, possibly offline 7/13 - Inverter 37 stopped communicating, possibly offline. S/N: 73086310-EE | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073825 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 190 Harvard - Inverter 35 | 10 | 2023-07-11 13:59 | 10/17/23 - Inverter 35 is still offline 07/11/23 - Inverter 35 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073743 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 5 (61) - Inverter 4 | 6 | 2023-07-07 04:52 | 07/07/2023 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073621 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 87 Libra Dr - Inverter 10 | Inverter comms | 2023-06-15 12:50 | 10/16/23 - Inverter 10 is not communicating and production can't be confirmed. 06/15/23 - Inverter 10 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072700 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 85 Libra Dr - Inverter 9 | Inverter comms | 2023-06-09 04:59 | 06/09/23 - Inverter 9 lost communication from 06/08/23. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072530
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 7.6 | 2023-05-22 14:23 | 05/22/23 - Inverter 46 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071782 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 35 Yale - Inverter 58 | Inverter comms | 2023-05-09 14:32 | 9/22/24 - reoccurred 9/15/24 05/09/23 - Inverter 58 lost communication at 10:14. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR071472
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 63 Apache CT - Inverter 42 | Inverter comms | 2023-05-09 14:11 | 10/17/2023 - Inverter is still not communicating from 05/07, possibly offline 5/9 - Inverter 42 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071467 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 157 Gay Head CT - Inverter 51 | Inverter comms | 2023-04-25 14:19 | 4/25 - Shawmut Village inverter 51 no comms today. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071089
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 67 Apache CT - Inverter 48 | Inverter comms | 2023-04-21 12:34 | 10/17/2023 - Inverter is still not communicating from 04/11, possibly offline 4/21 - Inverter 48 stopped communicating. | Diana Balayan | Pending |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR070992 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 119 Fillmore St Bldg 9 - Inverter 21 | Inverter comms | 2023-01-03 12:33 | 10/17/2023 - Issue still exists 4/3/23 - Issue still exists. 1/3/23 - Inverter 21 lost communications on 8/23/22. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR068143 | 1006999
Total