## Year to Date
Silicon Ranch |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | #REF! | #REF! | #REF! | 0% | #REF! | #REF! | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 246748.75 | 0 | 246748.75 |  | 254619.99 | -7871.24 | -3.091%
Kohls - Auburn | NY | 264766 | 0 | 264766 |  | 279275.98 | 5388.09 | 1.929%
Kohls - Bensalem | PA | 302638 | 0 | 302638 |  | 284908.56 | 1265.98 | 0.4443%
Kohls - Brick | NJ | 346431 | 0 | 346431 |  | 338592.79 | -1190.86 | -0.3517%
Kohls - Buffalo | NY | 316704 | 0 | 316704 |  | 341693.49 | -818.37 | -0.2395%
Kohls - Canton | CT | 121747 | 0 | 121747 |  | 113631.39 | 509.95 | 0.4488%
Kohls - East Amherst | NY | 291502 | 0 | 291502 |  | 307520.26 | -2308.69 | -0.7507%
Kohls - East Brunswick | NJ | 361795 | 0 | 361795 |  | 438984.05 | -20451.72 | -4.659%
Kohls - Edgewood | MD | 2011895 | 0 | 2011895 |  | 2323043.95 | -55603.87 | -2.394%
Kohls - Granite Run | PA | 283675 | 0 | 283675 |  | 283482.9 | -2068.16 | -0.7296%
Kohls - Greece | NY | 231501 | 0 | 231501 |  | 327495.14 | -11100.83 | -3.39%
Kohls - Hanover | PA | 206716 | 0 | 206716 |  | 315730.61 | -9545.67 | -3.023%
Kohls - Horsehead | NY | 230871 | 0 | 230871 |  | 252891.16 | -9727.88 | -3.847%
Kohls - Hudson | NY | 210374 | 0 | 210374 |  | 281596.75 | -40461.81 | -14.37%
Kohls - Ithaca | NY | 240983 | 0 | 240983 |  | 286679.91 | -13588.45 | -4.74%
Kohls - Kingston | NY | 396024 | 0 | 396024 |  | 430477.714 | -1325.589 | -0.3079%
Kohls - Mechanicsburg | PA | 327952 | 0 | 327952 |  | 367001.42 | -821.72 | -0.2239%
Kohls - Middletown | NJ | 375203 | 0 | 375203 |  | 518406.03 | -88345.46 | -17.04%
Kohls - North Amherst | NY | 212870 | 0 | 212870 |  | 289480.59 | -6786.45 | -2.344%
Kohls - Staten Island | NY | 262127.4 | 0 | 262127.4 |  | 307115.57 | -8920.7 | -2.905%
Kohls - Warminster | PA | 318430 | 0 | 318430 |  | 340651.18 | -40277.78 | -11.82%
Kohls - Waterbury | CT | 262492 | 0 | 262492 |  | 407861.26 | -2028.68 | -0.4974%
Mojave Water Agency - Headquarters | CA | 57396 | 0 | 57396 |  | #REF! | 0
CSU - Bakersfield | CA | 46272 | 0 | 46272 |  | #REF! | 0
Greenfield USD - Fairfield ES | CA | 23778 | 0 | 23778 |  | 31157.02 | 0 | 0%
Greenfield USD - Granite Point ES | CA | 34078 | 0 | 34078 |  | 82131.04 | 0 | 0%
Greenfield USD - Greenfield MS | CA | 28783 | 0 | 28783 |  | 56075.222 | 0 | 0%
Greenfield USD - Horizon ES | CA | 38836 | 0 | 38836 |  | 84927.39 | 0 | 0%
Greenfield USD - McKee MS | CA | 22606 | 0 | 22606 |  | 51909.84 | 0 | 0%
Greenfield USD - Plantation ES | CA | 26612 | 0 | 26612 |  | 37044.08 | 0 | 0%
Greenfield USD - Planz ES | CA | 37222 | 0 | 37222 |  | 42273.94 | 0 | 0%
Greenfield USD - Raffaello Palla ES | CA | 34936 | 0 | 34936 |  | 92230.69 | 0 | 0%
Greenfield USD - Valle Verde ES | CA | 38421 | 0 | 38421 |  | 86028.91 | 0 | 0%
Greenfield USD - W.A. Kendrick ES | CA | 12443 | 0 | 12443 |  | 33147.14 | 0 | 0%
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 83281.645 | 0 | 0%
Muroc Joint USD - W. Boron ES | CA | 55976 | 0 | 55976 |  | 219061.43 | 0 | 0%
Colusa - WTP | CA | 6209 | 0 | 6209 |  | #REF! | 0
CDCR-North Kern State Prision | CA | 115318 | 0 | 115318 |  | 268120.74 | 0 | 0%
Muroc Joint USD - District Office | CA | 27626 | 0 | 27626 |  | 18999.3 | 0 | 0%
Whole Foods - Manhattan Beach | CA | 25736 | 0 | 25736 |  | 56802.06 | 0 | 0%
Pioneer USD - Frontier ES | CA | 62418 | 0 | 62418 |  | 85791.1 | 0 | 0%
Pioneer USD - Pioneer ES | CA | 40097 | 0 | 40097 |  | 122838.06 | 0 | 0%
Pioneer USD - Pioneer MS | CA | 566970 | 0 | 566970 |  | #REF! | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 315975 | 0 | 315975 |  | 523598.04 | 0 | 0%
CADRB | CA | 675556 | 0 | 675556 |  | 1562309 | 0 | 0%
CDCR-CA State Prison LA County | CA | 326177 | 0 | 326177 |  | 539643.28 | 0 | 0%
Central USD Akers ES | CA | 56703 | 0 | 56703 |  | 120272.57 | 0 | 0%
CUSD - District Office | CA | 61481 | 0 | 61481 |  | 72011.52 | 0 | 0%
Parlier - WTP | CA | 72797 | 0 | 72797 |  | 150939 | 0 | 0%
Snowline SD - Quail Valley MS | CA | 55751 | 0 | 55751 |  | 69047.27 | 0 | 0%
Snowline SD - Serrano HS - Middle Lot | CA | 57478 | 0 | 57478 |  | 129698.39 | 0 | 0%
Snowline SD - Pinon Hills ES | CA | 37782 | 0 | 37782 |  | #REF! | 0
Ramona - Santa Maria WTP | CA | 106984 | 0 | 106984 |  | #REF! | 0
Kohls - Redding | CA | 130134 | 0 | 130134 |  | 64559.82 | 0 | 0%
Kohls - Salinas | CA | 68406 | 0 | 68406 |  | 93085.67 | 0 | 0%
Kohls - San Bernardino - Central | CA | 154269 | 0 | 154269 |  | 181797.61 | 0 | 0%
Kohls - Sonora | CA | 37763 | 0 | 37763 |  | 64840.1 | 0 | 0%
CUSD - Stratford ES | CA | 29429 | 0 | 29429 |  | #REF! | 0
Taft - City Hall | CA | 19119 | 0 | 19119 |  | 20238.06 | 0 | 0%
Taft - Federal Prison | CA | 8481 | 0 | 8481 |  | 32520.79 | 0 | 0%
Taft - Police Department | CA | 124962 | 0 | 124962 |  | 220597.41 | 0 | 0%
Taft - WTP | CA | 110217 | 0 | 110217 |  | 336377.281 | 0 | 0%
CDCR - CA Correctional Institution | CA | 33852 | 0 | 33852 |  | 54256.5 | 0 | 0%
CDCR - CA Correctional Institution II | CA | #REF! | #REF! |  |  | #REF! | 0
Snowline SD - Vista Verde ES | CA | #REF! | #REF! |  |  | #REF! | 0

## 1st Qtr
Silicon Ranch |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1611034.35 | 0 | 1611034.35 | 0% | 1923155.789 | -312121.439 | -16.23%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 49920.75 | 0 | 49920.75 |  | 57306.24 | -7385.49 | -12.89%
Kohls - Auburn | NY | 44800 | 0 | 44800 |  | 39411.91 | 5388.09 | 13.67%
Kohls - Bensalem | PA | 66928 | 0 | 66928 |  | 65662.02 | 1265.98 | 1.928%
Kohls - Brick | NJ | 74090 | 0 | 74090 |  | 75280.86 | -1190.86 | -1.582%
Kohls - Buffalo | NY | 53909 | 0 | 53909 |  | 54727.37 | -818.37 | -1.495%
Kohls - Canton | CT | 24565 | 0 | 24565 |  | 24055.05 | 509.95 | 2.12%
Kohls - East Amherst | NY | 49240 | 0 | 49240 |  | 51548.69 | -2308.69 | -4.479%
Kohls - East Brunswick | NJ | 79993 | 0 | 79993 |  | 100444.72 | -20451.72 | -20.36%
Kohls - Edgewood | MD | 489062 | 0 | 489062 |  | 544665.87 | -55603.87 | -10.21%
Kohls - Granite Run | PA | 63649 | 0 | 63649 |  | 65717.16 | -2068.16 | -3.147%
Kohls - Greece | NY | 40858 | 0 | 40858 |  | 51958.83 | -11100.83 | -21.36%
Kohls - Hanover | PA | 64193 | 0 | 64193 |  | 73738.67 | -9545.67 | -12.95%
Kohls - Horsehead | NY | 44058 | 0 | 44058 |  | 53785.88 | -9727.88 | -18.09%
Kohls - Hudson | NY | 20828 | 0 | 20828 |  | 61289.81 | -40461.81 | -66.02%
Kohls - Ithaca | NY | 43460 | 0 | 43460 |  | 57048.45 | -13588.45 | -23.82%
Kohls - Kingston | NY | 87519 | 0 | 87519 |  | 88844.589 | -1325.589 | -1.492%
Kohls - Mechanicsburg | PA | 83627 | 0 | 83627 |  | 84448.72 | -821.72 | -0.973%
Kohls - Middletown | NJ | 30711 | 0 | 30711 |  | 119056.46 | -88345.46 | -74.2%
Kohls - North Amherst | NY | 37771 | 0 | 37771 |  | 44557.45 | -6786.45 | -15.23%
Kohls - Staten Island | NY | 59937.6 | 0 | 59937.6 |  | 73401.73 | -8920.7 | -12.15%
Kohls - Warminster | PA | 40475 | 0 | 40475 |  | 72736.63 | -40277.78 | -55.37%
Kohls - Waterbury | CT | 61440 | 0 | 61440 |  | 63468.68 | -2028.68 | -3.196%
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  | 0 | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  | 0 | 0
Colusa - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  | 0 | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  | 0 | 0
CADRB | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  | 0 | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Parlier - WTP | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 0 | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Redding | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - San Bernardino - Central | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  | 0 | 0
Taft - City Hall | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Police Department | CA | 0 | 0 | 0 |  | 0 | 0
Taft - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
Silicon Ranch |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 3213988.8 | 0 | 3213988.8 | 0% | 3634080.235 | -420091.435 | -11.56%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 102274 | 0 | 102274 |  | 102351.26 | -77.26 | -0.07549%
Kohls - Auburn | NY | 108468 | 0 | 108468 |  | 123949.89 | -15481.89 | -12.49%
Kohls - Bensalem | PA | 121398 | 0 | 121398 |  | 111075.05 | 10322.95 | 9.294%
Kohls - Brick | NJ | 136988 | 0 | 136988 |  | 135010.68 | 1977.32 | 1.465%
Kohls - Buffalo | NY | 118377 | 0 | 118377 |  | 147114.18 | -28737.18 | -19.53%
Kohls - Canton | CT | 50060 | 0 | 50060 |  | 45736.67 | 4323.33 | 9.453%
Kohls - East Amherst | NY | 121268 | 0 | 121268 |  | 131248.74 | -9980.74 | -7.604%
Kohls - East Brunswick | NJ | 125982 | 0 | 125982 |  | 174470.12 | -48488.12 | -27.79%
Kohls - Edgewood | MD | 747904 | 0 | 747904 |  | 923709.28 | -175805.28 | -19.03%
Kohls - Granite Run | PA | 113938 | 0 | 113938 |  | 110743.92 | 3194.08 | 2.884%
Kohls - Greece | NY | 106708 | 0 | 106708 |  | 142210.99 | -35502.99 | -24.97%
Kohls - Hanover | PA | 88097 | 0 | 88097 |  | 125782.71 | -37685.71 | -29.96%
Kohls - Horsehead | NY | 94689 | 0 | 94689 |  | 101605.92 | -6916.92 | -6.808%
Kohls - Hudson | NY | 112504 | 0 | 112504 |  | 107972.6 | 4531.4 | 4.197%
Kohls - Ithaca | NY | 99773 | 0 | 99773 |  | 117545.92 | -17772.92 | -15.12%
Kohls - Kingston | NY | 146297 | 0 | 146297 |  | 175815.515 | -29518.515 | -16.79%
Kohls - Mechanicsburg | PA | 145569 | 0 | 145569 |  | 146883.1 | -1314.1 | -0.8947%
Kohls - Middletown | NJ | 198947 | 0 | 198947 |  | 205306.4 | -6359.4 | -3.098%
Kohls - North Amherst | NY | 92753 | 0 | 92753 |  | 125842.19 | -33089.19 | -26.29%
Kohls - Staten Island | NY | 114360.8 | 0 | 114360.8 |  | 122786.03 | -8425.23 | -6.862%
Kohls - Warminster | PA | 143883 | 0 | 143883 |  | 135580.82 | 8302.18 | 6.123%
Kohls - Waterbury | CT | 123751 | 0 | 123751 |  | 121338.25 | 2412.75 | 1.988%
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  | 0 | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  | 0 | 0
Colusa - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  | 0 | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  | 0 | 0
CADRB | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  | 0 | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Parlier - WTP | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 0 | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Redding | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - San Bernardino - Central | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  | 0 | 0
Taft - City Hall | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Police Department | CA | 0 | 0 | 0 |  | 0 | 0
Taft - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Silicon Ranch |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | #REF! | #REF! | #REF! | 0% | #REF! | #REF! | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 94554 | 0 | 94554 |  | 94962.49 | -408.49 | -0.4302%
Kohls - Auburn | NY | 111498 | 0 | 111498 |  | 115914.18 | -4416.18 | -3.81%
Kohls - Bensalem | PA | 114312 | 0 | 114312 |  | 108171.49 | 6140.51 | 5.677%
Kohls - Brick | NJ | 135353 | 0 | 135353 |  | 128301.25 | 7051.75 | 5.496%
Kohls - Buffalo | NY | 144418 | 0 | 144418 |  | 139851.94 | 4566.06 | 3.265%
Kohls - Canton | CT | 47122 | 0 | 47122 |  | 43839.67 | 3282.33 | 7.487%
Kohls - East Amherst | NY | 120994 | 0 | 120994 |  | 124722.83 | -3728.83 | -2.99%
Kohls - East Brunswick | NJ | 155820 | 0 | 155820 |  | 164069.21 | -8249.21 | -5.028%
Kohls - Edgewood | MD | 774929 | 0 | 774929 |  | 854668.8 | -79739.8 | -9.33%
Kohls - Granite Run | PA | 106088 | 0 | 106088 |  | 107021.82 | -933.82 | -0.8726%
Kohls - Greece | NY | 83935 | 0 | 83935 |  | 133325.32 | -49390.32 | -37.04%
Kohls - Hanover | PA | 54426 | 0 | 54426 |  | 116209.23 | -61783.23 | -53.17%
Kohls - Horsehead | NY | 92124 | 0 | 92124 |  | 97499.36 | -5375.36 | -5.513%
Kohls - Hudson | NY | 77042 | 0 | 77042 |  | 112334.34 | -35292.34 | -31.42%
Kohls - Ithaca | NY | 97750 | 0 | 97750 |  | 112085.54 | -14335.54 | -12.79%
Kohls - Kingston | NY | 162208 | 0 | 162208 |  | 165817.61 | -13670.101 | -8.244%
Kohls - Mechanicsburg | PA | 98756 | 0 | 98756 |  | 135669.6 | -32447.42 | -23.92%
Kohls - Middletown | NJ | 145545 | 0 | 145545 |  | 194043.17 | -23072.07 | -11.89%
Kohls - North Amherst | NY | 82346 | 0 | 82346 |  | 119080.95 | -40041.97 | -33.63%
Kohls - Staten Island | NY | 87829 | 0 | 87829 |  | 110927.81 | -23132.05 | -20.85%
Kohls - Warminster | PA | 134072 | 0 | 134072 |  | 132333.73 | 4197.59 | 3.172%
Kohls - Waterbury | CT | 77301 | 0 | 77301 |  | 223054.33 | -145753.33 | -65.34%
Mojave Water Agency - Headquarters | CA | 57396 | 0 | 57396 |  | #REF! | 4774.49
CSU - Bakersfield | CA | 46272 | 0 | 46272 |  | #REF! | -167572.22
Greenfield USD - Fairfield ES | CA | 23778 | 0 | 23778 |  | 31157.02 | -18968.022 | -60.88%
Greenfield USD - Granite Point ES | CA | 34078 | 0 | 34078 |  | 82131.04 | -49198.05 | -59.9%
Greenfield USD - Greenfield MS | CA | 28783 | 0 | 28783 |  | 56075.222 | -25237.3 | -45.01%
Greenfield USD - Horizon ES | CA | 38836 | 0 | 38836 |  | 84927.39 | -23940.85 | -28.19%
Greenfield USD - McKee MS | CA | 22606 | 0 | 22606 |  | 51909.84 | -24999.62 | -48.16%
Greenfield USD - Plantation ES | CA | 26612 | 0 | 26612 |  | 37044.08 | -36211.13 | -97.75%
Greenfield USD - Planz ES | CA | 37222 | 0 | 37222 |  | 42273.94 | -25369.72 | -60.01%
Greenfield USD - Raffaello Palla ES | CA | 34936 | 0 | 34936 |  | 92230.69 | -29821.72 | -32.33%
Greenfield USD - Valle Verde ES | CA | 38421 | 0 | 38421 |  | 86028.91 | -42414.45 | -49.3%
Greenfield USD - W.A. Kendrick ES | CA | 12443 | 0 | 12443 |  | 33147.14 | -6569.21 | -19.82%
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 83281.645 | -83281.645 | -100%
Muroc Joint USD - W. Boron ES | CA | 55976 | 0 | 55976 |  | 219061.43 | -163085.43 | -74.45%
Colusa - WTP | CA | 6209 | 0 | 6209 |  | #REF! | -60817.492
CDCR-North Kern State Prision | CA | 115318 | 0 | 115318 |  | 268120.74 | -152802.74 | -56.99%
Muroc Joint USD - District Office | CA | 27626 | 0 | 27626 |  | 18999.3 | -16429.87 | -86.48%
Whole Foods - Manhattan Beach | CA | 25736 | 0 | 25736 |  | 56802.06 | -31066.06 | -54.69%
Pioneer USD - Frontier ES | CA | 62418 | 0 | 62418 |  | 85791.1 | -23373.1 | -27.24%
Pioneer USD - Pioneer ES | CA | 40097 | 0 | 40097 |  | 122838.06 | -82741.06 | -67.36%
Pioneer USD - Pioneer MS | CA | 566970 | 0 | 566970 |  | #REF! | -209786.61
Kingsburg Joint UHSD - Kingsburg HS | CA | 315975 | 0 | 315975 |  | 523598.04 | -207623.04 | -39.65%
CADRB | CA | 675556 | 0 | 675556 |  | 1562309 | -196748.68 | -12.59%
CDCR-CA State Prison LA County | CA | 326177 | 0 | 326177 |  | 539643.28 | -213466.28 | -39.56%
Central USD Akers ES | CA | 56703 | 0 | 56703 |  | 120272.57 | -63569.57 | -52.85%
CUSD - District Office | CA | 61481 | 0 | 61481 |  | 72011.52 | -10530.52 | -14.62%
Parlier - WTP | CA | 72797 | 0 | 72797 |  | 150939 | -78142 | -51.77%
Snowline SD - Quail Valley MS | CA | 55751 | 0 | 55751 |  | 69047.27 | -13296.27 | -19.26%
Snowline SD - Serrano HS - Middle Lot | CA | 57478 | 0 | 57478 |  | 129698.39 | -72220.39 | -55.68%
Snowline SD - Pinon Hills ES | CA | 37782 | 0 | 37782 |  | #REF! | -17058.01
Ramona - Santa Maria WTP | CA | 106984 | 0 | 106984 |  | #REF! | -21525.88
Kohls - Redding | CA | 130134 | 0 | 130134 |  | 64559.82 | -44909.47 | -69.56%
Kohls - Salinas | CA | 68406 | 0 | 68406 |  | 93085.67 | -11496.1 | -12.35%
Kohls - San Bernardino - Central | CA | 154269 | 0 | 154269 |  | 181797.61 | -27528.61 | -15.14%
Kohls - Sonora | CA | 37763 | 0 | 37763 |  | 64840.1 | -6717.77 | -10.36%
CUSD - Stratford ES | CA | 29429 | 0 | 29429 |  | #REF! | -10344.88
Taft - City Hall | CA | 19119 | 0 | 19119 |  | 20238.06 | -2460.11 | -12.16%
Taft - Federal Prison | CA | 8481 | 0 | 8481 |  | 32520.79 | -76788.87 | -236.1%
Taft - Police Department | CA | 124962 | 0 | 124962 |  | 220597.41 | -95635.41 | -43.35%
Taft - WTP | CA | 110217 | 0 | 110217 |  | 336377.281 | -226160.281 | -67.23%
CDCR - CA Correctional Institution | CA | 33852 | 0 | 33852 |  | 54256.5 | -20404.5 | -37.61%
CDCR - CA Correctional Institution II | CA | #REF! | #REF! |  |  | #REF! | #REF!
Snowline SD - Vista Verde ES | CA | #REF! | #REF! |  |  | #REF! | #REF!

## 4th Qtr
Silicon Ranch |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  |  | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  |  | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  |  | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  |  | 0
Kohls - Canton | CT | 0 | 0 | 0 |  |  | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  |  | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  |  | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  |  | 0
Kohls - Greece | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  |  | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  |  | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  |  | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  |  | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  |  | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  |  | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  |  | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  |  | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  |  | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  |  | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  |  | 0
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  |  | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  |  | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  |  | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  |  | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  |  | 0
Colusa - WTP | CA | 0 | 0 | 0 |  |  | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  |  | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  |  | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  |  | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  |  | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  |  | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  |  | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  |  | 0
CADRB | CA | 0 | 0 | 0 |  |  | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  |  | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  |  | 0
CUSD - District Office | CA | 0 | 0 | 0 |  |  | 0
Parlier - WTP | CA | 0 | 0 | 0 |  |  | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  |  | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  |  | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  |  | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  |  | 0
Kohls - Redding | CA | 0 | 0 | 0 |  |  | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  |  | 0
Kohls - San Bernardino - Central | CA | 0 | 0 | 0 |  |  | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  |  | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  |  | 0
Taft - City Hall | CA | 0 | 0 | 0 |  |  | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  |  | 0
Taft - Police Department | CA | 0 | 0 | 0 |  |  | 0
Taft - WTP | CA | 0 | 0 | 0 |  |  | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  |  | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  |  | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  |  | 0

## Jan
Silicon Ranch |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 205652.6 | 0 | 205652.6 | 0% | 444598.28 | -238945.68 | -53.74% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 6324 | 0 | 6324 |  | 13022.34 | -6698.34 | -51.44%
Kohls - Auburn | NY | 4362 | 0 | 4362 |  | 4782 | -420 | -8.783% | 1. Site tripped offline due to a utility outage at 10pm on 01/09 and came back online at 3pm on 01/10. | 1. SR080112
Kohls - Bensalem | PA | 9630 | 0 | 9630 |  | 15754.4 | -6124.4 | -38.87%
Kohls - Brick | NJ | 11393 | 0 | 11393 |  | 16696.5 | -5303.5 | -31.76%
Kohls - Buffalo | NY | 3961 | 0 | 3961 |  | 8044.58 | -4083.58 | -50.76%
Kohls - Canton | CT | 2979 | 0 | 2979 |  | 5837.36 | -2858.36 | -48.97%
Kohls - East Amherst | NY | 2767 | 0 | 2767 |  | 8482.7 | -5715.7 | -67.38%
Kohls - East Brunswick | NJ | 973 | 0 | 973 |  | 23294.45 | -22321.45 | -95.82%
Kohls - Edgewood | MD | 71866 | 0 | 71866 |  | 136238.63 | -64372.63 | -47.25% | 1. Inverter 3 is offline from 01/01 to 01/03 | 1. SR079771
Kohls - Granite Run | PA | 9421 | 0 | 9421 |  | 16020.95 | -6599.95 | -41.2%
Kohls - Greece | NY | 0 | 0 | 0 |  | 9424.18 | -9424.18 | -100% | 1. Site offline for module replacement work | 1. SR078556
Kohls - Hanover | PA | 11065 | 0 | 11065 |  | 18878.62 | -7813.62 | -41.39%
Kohls - Horsehead | NY | 2351 | 0 | 2351 |  | 12770.65 | -10419.65 | -81.59% | 1. Inverter is offline from 01/07 to 01/26 | 1. SR080006
Kohls - Hudson | NY | 197 | 0 | 197 |  | 12854.55 | -12657.55 | -98.47% | 1. Inverter is offline from 12/17 to 01/19. | 1. SR079528
Kohls - Ithaca | NY | 4385 | 0 | 4385 |  | 11913.06 | -7528.06 | -63.19%
Kohls - Kingston | NY | 9244 | 0 | 9244 |  | 22381.27 | -13137.27 | -58.7%
Kohls - Mechanicsburg | PA | 11788 | 0 | 11788 |  | 21618.64 | -9830.64 | -45.47%
Kohls - Middletown | NJ | 15292 | 0 | 15292 |  | 29635.82 | -14343.82 | -48.4% | 1. Inverter 1 multiple times tripped offline | 1. SR079062
Kohls - North Amherst | NY | 2846 | 0 | 2846 |  | 6525.15 | -3679.15 | -56.38%
Kohls - Staten Island | NY | 8661.6 | 0 | 8661.6 |  | 15476.69 | -6815.09 | -44.03%
Kohls - Warminster | PA | 7770 | 0 | 7770 |  | 19541.34 | -11771.34 | -60.24% | 1. Inverter is frequentley offline & reporting "AC current Imbalance". | 1. SR078291
Kohls - Waterbury | CT | 8377 | 0 | 8377 |  | 15404.4 | -7027.4 | -45.62%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Feb
Silicon Ranch |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 603167.75 | 0 | 603167.75 | 0% | 584890.32 | 18277.43 | 3.125% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 16946.75 | 0 | 16946.75 |  | 19218 | -2271.25 | -11.82%
Kohls - Auburn | NY | 17104 | 0 | 17104 |  | 10813.11 | 6290.89 | 58.18%
Kohls - Bensalem | PA | 24318 | 0 | 24318 |  | 20009.19 | 4308.81 | 21.53%
Kohls - Brick | NJ | 26352 | 0 | 26352 |  | 22735.46 | 3616.54 | 15.91%
Kohls - Buffalo | NY | 21121 | 0 | 21121 |  | 15492.57 | 5628.43 | 36.33% | 1. Inverter 7 offline due to "Grid Contactor Open from 02/19 to 02/29 | 1. SR081105
Kohls - Canton | CT | 8146 | 0 | 8146 |  | 7037.82 | 1108.18 | 15.75%
Kohls - East Amherst | NY | 20665 | 0 | 20665 |  | 14355.33 | 6309.67 | 43.95%
Kohls - East Brunswick | NJ | 31269 | 0 | 31269 |  | 30992.07 | 276.93 | 0.8936%
Kohls - Edgewood | MD | 184974 | 0 | 184974 |  | 169384.2 | 15589.8 | 9.204%
Kohls - Granite Run | PA | 22487 | 0 | 22487 |  | 20204.97 | 2282.03 | 11.29%
Kohls - Greece | NY | 16874 | 0 | 16874 |  | 14942.59 | 1931.41 | 12.93%
Kohls - Hanover | PA | 26512 | 0 | 26512 |  | 22444.04 | 4067.96 | 18.12%
Kohls - Horsehead | NY | 18647 | 0 | 18647 |  | 16126.44 | 2520.56 | 15.63%
Kohls - Hudson | NY | 6932 | 0 | 6932 |  | 18708.54 | -11776.54 | -62.95%
Kohls - Ithaca | NY | 16819 | 0 | 16819 |  | 17888.23 | -1069.23 | -5.977%
Kohls - Kingston | NY | 35496 | 0 | 35496 |  | 24776.93 | 10719.07 | 43.26%
Kohls - Mechanicsburg | PA | 30051 | 0 | 30051 |  | 25384.43 | 4666.57 | 18.38%
Kohls - Middletown | NJ | 15419 | 0 | 15419 |  | 36407.89 | -20988.89 | -57.65% | 1. Inverter tripping offline and reporting "Coolant temperature" for multiple days | 1. SR080696
Kohls - North Amherst | NY | 15228 | 0 | 15228 |  | 12491 | 2737 | 21.91%
Kohls - Staten Island | NY | 19596 | 0 | 19596 |  | 21345.24 | -1749.24 | -8.195%
Kohls - Warminster | PA | 8422 | 0 | 8422 |  | 24631.64 | -16209.64 | -65.81%
Kohls - Waterbury | CT | 19789 | 0 | 19789 |  | 19500.63 | 288.37 | 1.479%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Mar
Silicon Ranch |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 802214 | 0 | 802214 | 0% | 897139.909 | -94925.909 | -10.58% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 26650 | 0 | 26650 |  | 25065.9 | 1584.1 | 6.32%
Kohls - Auburn | NY | 23334 | 0 | 23334 |  | 23816.8 | -482.8 | -2.027%
Kohls - Bensalem | PA | 32980 | 0 | 32980 |  | 29898.43 | 3081.57 | 10.31%
Kohls - Brick | NJ | 36345 | 0 | 36345 |  | 35848.9 | 496.1 | 1.384%
Kohls - Buffalo | NY | 28827 | 0 | 28827 |  | 31190.22 | -2363.22 | -7.577%
Kohls - Canton | CT | 13440 | 0 | 13440 |  | 11179.87 | 2260.13 | 20.22%
Kohls - East Amherst | NY | 25808 | 0 | 25808 |  | 28710.66 | -2902.66 | -10.11%
Kohls - East Brunswick | NJ | 47751 | 0 | 47751 |  | 46158.2 | 1592.8 | 3.451%
Kohls - Edgewood | MD | 232222 | 0 | 232222 |  | 239043.04 | -6821.04 | -2.853%
Kohls - Granite Run | PA | 31741 | 0 | 31741 |  | 29491.24 | 2249.76 | 7.629%
Kohls - Greece | NY | 23984 | 0 | 23984 |  | 27592.06 | -3608.06 | -13.08%
Kohls - Hanover | PA | 26616 | 0 | 26616 |  | 32416.01 | -5800.01 | -17.89%
Kohls - Horsehead | NY | 23060 | 0 | 23060 |  | 24888.79 | -1828.79 | -7.348%
Kohls - Hudson | NY | 13699 | 0 | 13699 |  | 29726.72 | -16027.72 | -53.92%
Kohls - Ithaca | NY | 22256 | 0 | 22256 |  | 27247.16 | -4991.16 | -18.32%
Kohls - Kingston | NY | 42779 | 0 | 42779 |  | 41686.389 | 1092.611 | 2.621%
Kohls - Mechanicsburg | PA | 41788 | 0 | 41788 |  | 37445.65 | 4342.35 | 11.6%
Kohls - Middletown | NJ | 0 | 0 | 0 |  | 53012.75 | -53012.75 | -100% | 1. Inverter is offline throughout the month. | 1. SR080696
Kohls - North Amherst | NY | 19697 | 0 | 19697 |  | 25541.3 | -5844.3 | -22.88%
Kohls - Staten Island | NY | 31680 | 0 | 31680 |  | 32036.37 | -356.37 | -1.112%
Kohls - Warminster | PA | 24283 | 0 | 24283 |  | 36579.8 | -12296.8 | -33.62% | 1. Inverter was offline for multiple days. | 1.SR078291
Kohls - Waterbury | CT | 33274 | 0 | 33274 |  | 28563.65 | 4710.35 | 16.49%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Apr
Silicon Ranch |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 931826.2 | 0 | 931826.2 | 0% | 1097110.291 | -165284.091 | -15.07% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 28698 | 0 | 28698 |  | 31152.93 | -2454.93 | -7.88%
Kohls - Auburn | NY | 28241 | 0 | 28241 |  | 34098.57 | -5857.57 | -17.18%
Kohls - Bensalem | PA | 35384 | 0 | 35384 |  | 33865.77 | 1518.23 | 4.483%
Kohls - Brick | NJ | 38934 | 0 | 38934 |  | 41145.59 | -2211.59 | -5.375%
Kohls - Buffalo | NY | 34857 | 0 | 34857 |  | 44287.13 | -9430.13 | -21.29%
Kohls - Canton | CT | 13928 | 0 | 13928 |  | 13718.25 | 209.75 | 1.529%
Kohls - East Amherst | NY | 32595 | 0 | 32595 |  | 38964.47 | -6369.47 | -16.35%
Kohls - East Brunswick | NJ | 45596 | 0 | 45596 |  | 52856.96 | -7260.96 | -13.74%
Kohls - Edgewood | MD | 236845 | 0 | 236845 |  | 283313.49 | -46468.49 | -16.4%
Kohls - Granite Run | PA | 32668 | 0 | 32668 |  | 33875.63 | -1207.63 | -3.565%
Kohls - Greece | NY | 27098 | 0 | 27098 |  | 41686.39 | -14588.39 | -35%
Kohls - Hanover | PA | 22308 | 0 | 22308 |  | 39384.11 | -17076.11 | -43.36% | 1.Inverter was offline from 04/01 to 04/03 & back online at 04/04. 2.Inverter is offline on 04/21 & continued throught the month. | 1.SR083032 2.SR083661
Kohls - Horsehead | NY | 25184 | 0 | 25184 |  | 28710.66 | -3526.66 | -12.28%
Kohls - Hudson | NY | 29971 | 0 | 29971 |  | 32756.26 | -2785.26 | -8.503%
Kohls - Ithaca | NY | 26588 | 0 | 26588 |  | 34443.47 | -7855.47 | -22.81%
Kohls - Kingston | NY | 36617 | 0 | 36617 |  | 53496.911 | -16879.911 | -31.55% | 1.Site stopped comms & modem is offline from 04/27 no visibility to monitor equipment or inverter. | 1.SR083320
Kohls - Mechanicsburg | PA | 41872 | 0 | 41872 |  | 46002.28 | -4130.28 | -8.978%
Kohls - Middletown | NJ | 59946 | 0 | 59946 |  | 60664.54 | -718.54 | -1.184% | 1.inverter is offline from 04/01 & back online on 04/05 at 10:20. | 1.SR081552
Kohls - North Amherst | NY | 24695 | 0 | 24695 |  | 37286.57 | -12591.57 | -33.77%
Kohls - Staten Island | NY | 33544.2 | 0 | 33544.2 |  | 36840.44 | -3296.24 | -8.947%
Kohls - Warminster | PA | 41689 | 0 | 41689 |  | 41345.56 | 343.44 | 0.8307%
Kohls - Waterbury | CT | 34568 | 0 | 34568 |  | 37214.31 | -2646.31 | -7.111%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## May
Silicon Ranch |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 1030268.6 | 0 | 1030268.6 | 0% | 1251173.891 | -220905.291 | -17.66% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 34715 | 0 | 34715 |  | 34555.33 | 159.67 | 0.4621%
Kohls - Auburn | NY | 41260 | 0 | 41260 |  | 46002.31 | -4742.31 | -10.31%
Kohls - Bensalem | PA | 37973 | 0 | 37973 |  | 38125.46 | -152.46 | -0.3999%
Kohls - Brick | NJ | 42988 | 0 | 42988 |  | 46708.03 | -3720.03 | -7.964%
Kohls - Buffalo | NY | 50680 | 0 | 50680 |  | 51352.93 | -672.93 | -1.31%
Kohls - Canton | CT | 17208 | 0 | 17208 |  | 15413.56 | 1794.44 | 11.64%
Kohls - East Amherst | NY | 46400 | 0 | 46400 |  | 46048.92 | 351.08 | 0.7624%
Kohls - East Brunswick | NJ | 23830 | 0 | 23830 |  | 59629.03 | -35799.03 | -60.04%
Kohls - Edgewood | MD | 217913 | 0 | 217913 |  | 312866.83 | -94953.83 | -30.35%
Kohls - Granite Run | PA | 35544 | 0 | 35544 |  | 38124.91 | -2580.91 | -6.77%
Kohls - Greece | NY | 41359 | 0 | 41359 |  | 50159.76 | -8800.76 | -17.55%
Kohls - Hanover | PA | 19615 | 0 | 19615 |  | 42210.82 | -22595.82 | -53.53% | 1. Inverter is offline from 04/21 and is back online on 05/20 at 10:00am. | 1. SR083661
Kohls - Horsehead | NY | 35520 | 0 | 35520 |  | 36167.98 | -647.98 | -1.792%
Kohls - Hudson | NY | 30045 | 0 | 30045 |  | 36056.12 | -6011.12 | -16.67%
Kohls - Ithaca | NY | 37669 | 0 | 37669 |  | 41388.1 | -3719.1 | -8.986%
Kohls - Kingston | NY | 52599 | 0 | 52599 |  | 59509.371 | -6910.371 | -11.61% | 1. Site is communicating from 05/03 at 9:25am and no visibility to monitor equipment or inverter. | 1. SR083320
Kohls - Mechanicsburg | PA | 46986 | 0 | 46986 |  | 49289.01 | -2303.01 | -4.672%
Kohls - Middletown | NJ | 56041 | 0 | 56041 |  | 72934.91 | -16893.91 | -23.16% | 1. The inverter tripped offline at 11:45am and back online at 3:45pm on 05/21 and having multiple tripping events. | 1. SR084948
Kohls - North Amherst | NY | 35813 | 0 | 35813 |  | 44277.81 | -8464.81 | -19.12%
Kohls - Staten Island | NY | 38451.6 | 0 | 38451.6 |  | 41625.99 | -3174.39 | -7.626%
Kohls - Warminster | PA | 45580 | 0 | 45580 |  | 46481.46 | -901.46 | -1.939%
Kohls - Waterbury | CT | 42079 | 0 | 42079 |  | 42245.25 | -166.25 | -0.3935%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Jun
Silicon Ranch |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 1251894 | 0 | 1251894 | 0% | 1285796.053 | -33902.053 | -2.637% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 38861 | 0 | 38861 |  | 36643 | 2218 | 6.053%
Kohls - Auburn | NY | 38967 | 0 | 38967 |  | 43849.01 | -4882.01 | -11.13%
Kohls - Bensalem | PA | 48041 | 0 | 48041 |  | 39083.82 | 8957.18 | 22.92%
Kohls - Brick | NJ | 55066 | 0 | 55066 |  | 47157.06 | 7908.94 | 16.77%
Kohls - Buffalo | NY | 32840 | 0 | 32840 |  | 51474.12 | -18634.12 | -36.2% | 1. Meter was stopped reporting from 6/17 at 7:00 AM and still no communication, due to that the actual generation values were low | 1. SR086338
Kohls - Canton | CT | 18924 | 0 | 18924 |  | 16604.86 | 2319.14 | 13.97%
Kohls - East Amherst | NY | 42273 | 0 | 42273 |  | 46235.35 | -3962.35 | -8.57% | 1. Site tripped offline at 01:05PM on 06/15 and back online at 2:20PM on 06/15 | 1. SR086266
Kohls - East Brunswick | NJ | 56556 | 0 | 56556 |  | 61984.13 | -5428.13 | -8.757%
Kohls - Edgewood | MD | 293146 | 0 | 293146 |  | 327528.96 | -34382.96 | -10.5% | 1. Inverter 3 offline from 07:30AM on 06/08 and back online at 07:30AM on 06/11 Inverter again offline from 07:30AM on 06/18 and back online at 07:35AM on 06/22 and also Inverter again offline from 06/23 2. Inverter 1 tripped offline at 07:00AM on 06/28 and back online at 07:00AM on 06/30. and also Inverter 1 again tripped offline at on 06/30 and back online at on 07/03. | 1. SR087100 2. SR087100
Kohls - Granite Run | PA | 45726 | 0 | 45726 |  | 38743.38 | 6982.62 | 18.02%
Kohls - Greece | NY | 38251 | 0 | 38251 |  | 50364.84 | -12113.84 | -24.05%
Kohls - Hanover | PA | 46174 | 0 | 46174 |  | 44187.78 | 1986.22 | 4.495%
Kohls - Horsehead | NY | 33985 | 0 | 33985 |  | 36727.28 | -2742.28 | -7.467%
Kohls - Hudson | NY | 52488 | 0 | 52488 |  | 39160.22 | 13327.78 | 34.03% | 1. Meter was stopped reporting from 12:05PM on 06/04 and again started reporting from 11:30AM on 06/19 | 1. SR085729
Kohls - Ithaca | NY | 35516 | 0 | 35516 |  | 41714.35 | -6198.35 | -14.86%
Kohls - Kingston | NY | 57081 | 0 | 57081 |  | 62809.233 | -5728.233 | -9.12%
Kohls - Mechanicsburg | PA | 56711 | 0 | 56711 |  | 51591.81 | 5119.19 | 9.922%
Kohls - Middletown | NJ | 82960 | 0 | 82960 |  | 71706.95 | 11253.05 | 15.69% | 1. Inverter was offline from 10:25AM to 12:10PM on 06/20. 2. Inverter was offline from 13:35 to 16:45 on 06/21. 3. Inverter tripped offline at 16:10 on 06/22 and back online at 08:15AM on 06/23 | 1. SR086482 2. SR086612 3. SR086720
Kohls - North Amherst | NY | 32245 | 0 | 32245 |  | 44277.81 | -12032.81 | -27.18%
Kohls - Staten Island | NY | 42365 | 0 | 42365 |  | 44319.6 | -1954.6 | -4.41% | 1. Inverter 10 was offline on 06/17 and is being RMA'd 2. Inverter 20 was offline from 06/27 | 1. SR086339,SR086973 2. SR087029
Kohls - Warminster | PA | 56614 | 0 | 56614 |  | 47753.8 | 8860.2 | 18.55%
Kohls - Waterbury | CT | 47104 | 0 | 47104 |  | 41878.69 | 5225.31 | 12.48%
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Jul
Silicon Ranch |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 1219814 | 0 | 1219814 | 0% | 1290222 | -70408 | -5.457% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 35782 | 0 | 35782 |  | 35953 | -171 | -0.4756%
Kohls - Auburn | NY | 43412 | 0 | 43412 |  | 44557 | -1145 | -2.57%
Kohls - Bensalem | PA | 42901 | 0 | 42901 |  | 39812 | 3089 | 7.759%
Kohls - Brick | NJ | 51013 | 0 | 51013 |  | 49484 | 1529 | 3.09%
Kohls - Buffalo | NY | 65280 | 0 | 65280 |  | 52881 | 12399 | 23.45% | 1.Inverter 5 tripped offline at 10:40am on 07/12 and back online at 3:30pm on 07/22. 2.Meter has not communicated from 06/17 and regained its communication on 07/13. Again meter stopped communicating on 07/23 and regained communication on 07/30. | 1.SR087625 2.SR086338
Kohls - Canton | CT | 17428 | 0 | 17428 |  | 16394 | 1034 | 6.307% | 1.Inverter was taken offline from 12:20 on 07/15 to 14:50 on 07/15. | 1.PM8439
Kohls - East Amherst | NY | 47699 | 0 | 47699 |  | 48565 | -866 | -1.783%
Kohls - East Brunswick | NJ | 59413 | 0 | 59413 |  | 61415 | -2002 | -3.26%
Kohls - Edgewood | MD | 282815 | 0 | 282815 |  | 324326 | -41511 | -12.8% | 1.Inverter 3 offline from 07/01 and back online at 07:35AM on 07/02. 2.Inverter 1 offline from 07/01 and back online at 02:40PM on 07/03. 3.Inverter 2 is offline on 07/16 and back online on 07/17 and also again offline on 07/19 and back online on 07/20. | 1.SR087100 2.SR087100 3.SR087740
Kohls - Granite Run | PA | 41499 | 0 | 41499 |  | 39471 | 2028 | 5.138%
Kohls - Greece | NY | 32688 | 0 | 32688 |  | 50411 | -17723 | -35.16%
Kohls - Hanover | PA | 33019 | 0 | 33019 |  | 44333 | -11314 | -25.52% | 1.Inverter have multiple tripping events through out the month. | 1.SR087422
Kohls - Horsehead | NY | 37604 | 0 | 37604 |  | 37006 | 598 | 1.616%
Kohls - Hudson | NY | 42163 | 0 | 42163 |  | 41900 | 263 | 0.6277% | 1.Inverter tripped offline at 03:20PM on 07/17 and back online at 4:25PM on same day. | 1.SR087851
Kohls - Ithaca | NY | 39218 | 0 | 39218 |  | 42348 | -3130 | -7.391%
Kohls - Kingston | NY | 57863 | 0 | 57863 |  | 61988 | -4125 | -6.655%
Kohls - Mechanicsburg | PA | 53334 | 0 | 53334 |  | 51760 | 1574 | 3.041%
Kohls - Middletown | NJ | 76290 | 0 | 76290 |  | 70863 | 5427 | 7.658%
Kohls - North Amherst | NY | 35059 | 0 | 35059 |  | 45023 | -9964 | -22.13% | 1.site is underperforming compared to previous year by about 2.5%, and peak power is about 9% low | 1.SR087900
Kohls - Staten Island | NY | 36847 | 0 | 36847 |  | 40968 | -4121 | -10.06% | 1.Inverter 20 offline from 07/01 and back online on 07/19 at 10:15AM and also again offline from 07/22. 2.Inverter 10 offline from 07/01 and is being RMA'd | 1.SR087994 2.SR086339,SR086973
Kohls - Warminster | PA | 49126 | 0 | 49126 |  | 48666 | 460 | 0.9452% | 1.Inverter tripped offline at 2:40 on 07/10 and back online at 04:20PM. | 1.SR087560
Kohls - Waterbury | CT | 39361 | 0 | 39361 |  | 42098 | -2737 | -6.501% | 1.Site tripped offline on 07/09 at 06:20AM and back online at 12:45PM on 07/10. | 1.SR087539
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Aug
Silicon Ranch |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 3139844 | 0 | 3139844 | 0% | 4879636.303 | -1739792.303 | -35.65%
Silicon Ranch | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 31134 | 0 | 31134 |  | 32647.29 | -1513.29 | -4.635%
Kohls - Auburn | NY | 35466 | 0 | 35466 |  | 40166.96 | -4700.96 | -11.7%
Kohls - Bensalem | PA | 39773 | 0 | 39773 |  | 38397.45 | 1375.55 | 3.582%
Kohls - Brick | NJ | 47399 | 0 | 47399 |  | 42300.23 | 5098.77 | 12.05%
Kohls - Buffalo | NY | 42103 | 0 | 42103 |  | 48752.2 | -6649.2 | -13.64% | 1.Inverter 5 underperforming ~10kW, possibly 2 strings down. | 1.SR089711
Kohls - Canton | CT | 15464 | 0 | 15464 |  | 15010.35 | 453.65 | 3.022%
Kohls - East Amherst | NY | 38077 | 0 | 38077 |  | 42693.13 | -4616.13 | -10.81%
Kohls - East Brunswick | NJ | 52428 | 0 | 52428 |  | 54698.89 | -2270.89 | -4.152%
Kohls - Edgewood | MD | 275040 | 0 | 275040 |  | 288701.82 | -13661.82 | -4.732%
Kohls - Granite Run | PA | 36675 | 0 | 36675 |  | 37691 | -1016 | -2.696%
Kohls - Greece | NY | 27051 | 0 | 27051 |  | 45648.09 | -18597.09 | -40.74%
Kohls - Hanover | PA | 13530 | 0 | 13530 |  | 39416.97 | -25886.97 | -65.67% | 1.Inverter frequently tripping on and off and reporting Erroneous values from 08/08 | 1.SR087422
Kohls - Horsehead | NY | 28363 | 0 | 28363 |  | 33464.7 | -5101.7 | -15.25%
Kohls - Hudson | NY | 32446 | 0 | 32446 |  | 38526.35 | -6080.35 | -15.78% | 1.Site stopped communicating at 01:05 PM on 08/30, thermal damage to A and C phase blades and conductors in the AC Disconnect. The disconnect has been left in the off position. | 1.SR089765
Kohls - Ithaca | NY | 30408 | 0 | 30408 |  | 39654.27 | -9246.27 | -23.32%
Kohls - Kingston | NY | 47188 | 0 | 47188 |  | 56955.241 | -9767.241 | -17.15%
Kohls - Mechanicsburg | PA | 45422 | 0 | 45422 |  | 46027.84 | -605.84 | -1.316%
Kohls - Middletown | NJ | 69153 | 0 | 69153 |  | 66245.31 | 2907.69 | 4.389%
Kohls - North Amherst | NY | 9529 | 0 | 9529 |  | 40642.37 | -31113.37 | -76.55% | 1.Site tripped offline at 09:30 Am On 08/12 , inverter voltages are dropped to zero but meter voltages are available | 1.SR088924
Kohls - Staten Island | NY | 16302 | 0 | 16302 |  | 38451.05 | -22149.05 | -57.6% | 1.site tripped offline at 9:05am on 08/17 till date | 1.SR089189
Kohls - Warminster | PA | 46528 | 0 | 46528 |  | 46945.13 | -417.13 | -0.8885%
Kohls - Waterbury | CT | 37940 | 0 | 37940 |  | 38854.63 | -914.63 | -2.354%
Mojave Water Agency - Headquarters | CA | 47225 | 0 | 47225 |  | 38126 | 9099 | 23.87%
CSU - Bakersfield | CA | 12502 | 0 | 12502 |  | 175723.62 | -163221.62 | -92.89%
Greenfield USD - Fairfield ES | CA | 5479 | 0 | 5479 |  | 16661.51 | -11182.51 | -67.12%
Greenfield USD - Granite Point ES | CA | 25332 | 0 | 25332 |  | 44010.44 | -18678.44 | -42.44% | 1.Inverter 1 Pad 1 is back online at 14:40 on 08/02 2.Inverter 1 pad 1 and inverter 2 pad 1 were offline from 16:25 on 08/07 and back online at 15:30 on 08/19 | 1.SR088545 2.SR088546
Greenfield USD - Greenfield MS | CA | 15624 | 0 | 15624 |  | 29990.71 | -14366.71 | -47.9% | 1.Inverter Pad 2 Offline is offline from 08/01 and back online from 13:35 on 08/14 2.Inverter Pad 1 is offline from 08/25 and back online on 08/27 at 09:30 | 1.SR089022 2.SR089518
Greenfield USD - Horizon ES | CA | 24256 | 0 | 24256 |  | 45661.78 | -21405.78 | -46.88% | 1.Inverter 2 Pad b is offline from 08/01 and inverter 1 pad b has tripped offline on 08/14 at 16:00 and inverter 1 pad b is back online on 08/23 at 14:05 & inverter 2 pad A is offline on 08/25 through out the month | 1.SR088247, SR089669
Greenfield USD - McKee MS | CA | 17189 | 0 | 17189 |  | 27880.25 | -10691.25 | -38.35%
Greenfield USD - Plantation ES | CA | 9374 | 0 | 9374 |  | 19929.01 | -10555.01 | -52.96% | 1.Site is online from 08/15 at 08:50 | 1.SR089051
Greenfield USD - Planz ES | CA | 6294 | 0 | 6294 |  | 22548.57 | -16254.57 | -72.09%
Greenfield USD - Raffaello Palla ES | CA | 34936 | 0 | 34936 |  | 49336.57 | -14400.57 | -29.19%
Greenfield USD - Valle Verde ES | CA | 38421 | 0 | 38421 |  | 45985.76 | -7564.76 | -16.45%
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 17725.99 | -17725.99 | -100%
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 38193 | -38193 | -100% | 1.Site is back online on 08/28 | 1.SR089027
Muroc Joint USD - W. Boron ES | CA | 7600 | 0 | 7600 |  | 14088.83 | -6488.83 | -46.06% | 1.Site back online on 08/15 at 13:05 | 1.SR089028
Colusa - WTP | CA | 0 | 0 | 0 |  | 57962.212 | -57962.212 | -100% | 1.No communication to DAS, need a replacement needed for meter and modem | 1.SR089464
CDCR-North Kern State Prision | CA | 99430 | 0 | 99430 |  | 250932.45 | -151502.45 | -60.38% | 1.Inverter 3 is offline throughout the month | 1.SR089460
Muroc Joint USD - District Office | CA | 3768 | 0 | 3768 |  | 9935.02 | -6167.02 | -62.07% | 1.Site is back online on 08/15 at 13:15 | 1.SR089031
Whole Foods - Manhattan Beach | CA | 20073 | 0 | 20073 |  | 21967.92 | -1894.92 | -8.626% | 1.Inverters 3 & 8 are offline through out the month | 1.SR089461
Pioneer USD - Frontier ES | CA | 32052 | 0 | 32052 |  | 39025.04 | -6973.04 | -17.87%
Pioneer USD - Pioneer ES | CA | 18816 | 0 | 18816 |  | 39672.16 | -20856.16 | -52.57% | 1.Weather station is not communicating through out the month | 1.SR085968
Pioneer USD - Pioneer MS | CA | 40716 | 0 | 40716 |  | 53195.61 | -12479.61 | -23.46% | 1.Weather station is not communicating through out the month 2.Inverter 2 offline through out the month | 1.SR089470 2.SR089470
Kingsburg Joint UHSD - Kingsburg HS | CA | 61245 | 0 | 61245 |  | 91972.44 | -30727.44 | -33.41% | 1.Inverters A and B are offline through out the month, Pad C inverters 2 and 3 trip offline frequently | 1.SR089612
CADRB | CA | 649009 | 0 | 649009 |  | 838748 | -189739 | -22.62% | 1. Inverter 3 is being RMA'd (inverter 3 is offline from 08/19) | 1. SR086220
CDCR-CA State Prison LA County | CA | 304987 | 0 | 304987 |  | 530579 | -225592 | -42.52% | 1. Inverter 1 was not communicatig and inverter 3, 4 were offline. | 1. SR082817
Central USD Akers ES | CA | 30828 | 0 | 30828 |  | 40023 | -9195 | -22.97% | 1. Weather station is reporting 0w/m2 | No SR
CUSD - District Office | CA | 25512 | 0 | 25512 |  | 33540.14 | -8028.14 | -23.94% | 1. Inverter 1 and 2 were offline from 08/01 and back online on 08/02 at 12:05pm | 1. SR089555
Parlier - WTP | CA | 43735 | 0 | 43735 |  | 105214 | -61479 | -58.43% |  |  | d
Snowline SD - Quail Valley MS | CA | 46328 | 0 | 46328 |  | 46059.09 | 268.91 | 0.5838%
Snowline SD - Serrano HS - Middle Lot | CA | 39558 | 0 | 39558 |  | 55638 | -16080 | -28.9%
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 25006.66 | -25006.66 | -100% | 1. Site offline through out the month | 1.SR080516
Ramona - Santa Maria WTP | CA | 75841 | 0 | 75841 |  | 85658.65 | -9817.65 | -11.46%
Kohls - Redding | CA | 3328 | 0 | 3328 |  | 34726.47 | -31398.47 | -90.42% | 1.Site is offline since 8/4 | 1.SR089473 | d
Kohls - Salinas | CA | 40543 | 0 | 40543 |  | 50234.44 | -9691.44 | -19.29% | 1. Inverters 3, 7, 10, 11, 14, and 21 are offline for whole month. | 1. SR089474
Kohls - San Bernardino - Central | CA | 133441 | 0 | 133441 |  | 160429.9 | -26988.9 | -16.82%
Kohls - Sonora | CA | 32035 | 0 | 32035 |  | 35172.44 | -3137.44 | -8.92% | 1. Inverters 3, 7 and 2 were offline for whole month
CUSD - Stratford ES | CA | 24519 | 0 | 24519 |  | 24455.16 | 63.84 | 0.261%
Taft - City Hall | CA | 7913 | 0 | 7913 |  | 10929.73 | -3016.73 | -27.6% | 1.Inverter 1 is back online on 09/04 at 15:00 inverter 2 offline for whole month | 1.SR089732
Taft - Federal Prison | CA | 8481 | 0 | 8481 |  | 17202.07 | -8721.07 | -50.7% | 1. Site was offline from 08/01 to 08/02 and again site tripped offline on 08/07 and back online on 08/08 site tripped offline on 08/16 and backonline on 08/20 and site tripped offline on 08/23. | 1. SR088795
Taft - Police Department | CA | 13121 | 0 | 13121 |  | 12499.65 | 621.35 | 4.971%
Taft - WTP | CA | 0 | 0 | 0 |  |  |  |  | 1. Inverter 1 being replaced and inverter 2 logic board being replaced. | 1. SR089732
CDCR - CA Correctional Institution | CA | 7488 | 0 | 7488 |  | 26205.7 | -18717.7 | -71.43% | 1. Site was not communicated from 08/01 to 08/15 and again site stopped communicating on 08/17. | 1. SR087889, SR088675
CDCR - CA Correctional Institution II | CA | 81731 | 0 | 81731 |  | 390993 | -309262 | -79.1% | 1. Site is offline since 08/17. 2. Inverter 1 was offline for whole month. | 1. SR089260 2. SR082867
Snowline SD - Vista Verde ES | CA | 33695 | 0 | 33695 |  | 33905.04 | -210.04 | -0.6195%

## Sep
Silicon Ranch |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 2619960 | 0 | 2619960 | 0% | 4325337.137 | -1705377.137 | -39.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT | 27638 | 0 | 27638 |  | 26362.2 | 1275.8 | 4.84%
Kohls - Auburn | NY | 32620 | 0 | 32620 |  | 31190.22 | 1429.78 | 4.584%
Kohls - Bensalem | PA | 31638 | 0 | 31638 |  | 29962.04 | 1675.96 | 5.594%
Kohls - Brick | NJ | 36941 | 0 | 36941 |  | 36517.02 | 423.98 | 1.161%
Kohls - Buffalo | NY | 37035 | 0 | 37035 |  | 38218.74 | -1183.74 | -3.097% | 1.Inverter 5 underperforming ~10kW, possibly 2 strings down. | 1.SR089711
Kohls - Canton | CT | 14230 | 0 | 14230 |  | 12435.32 | 1794.68 | 14.43%
Kohls - East Amherst | NY | 35218 | 0 | 35218 |  | 33464.7 | 1753.3 | 5.239%
Kohls - East Brunswick | NJ | 43979 | 0 | 43979 |  | 47955.32 | -3976.32 | -8.292%
Kohls - Edgewood | MD | 217074 | 0 | 217074 |  | 241640.98 | -24566.98 | -10.17%
Kohls - Granite Run | PA | 27914 | 0 | 27914 |  | 29859.82 | -1945.82 | -6.517%
Kohls - Greece | NY | 24196 | 0 | 24196 |  | 37266.23 | -13070.23 | -35.07%
Kohls - Hanover | PA | 7877 | 0 | 7877 |  | 32459.26 | -24582.26 | -75.73%
Kohls - Horsehead | NY | 26157 | 0 | 26157 |  | 27028.66 | -871.66 | -3.225%
Kohls - Hudson | NY | 2433 | 0 | 2433 |  | 31907.99 | -29474.99 | -92.37% | 1.Site is back online on 09/27/2024 | 1.SR089765
Kohls - Ithaca | NY | 28124 | 0 | 28124 |  | 30083.27 | -1959.27 | -6.513% | 1.Site tripped offline from 10:35 to 11:45 on 09/26/2024 | 1.SR090362
Kohls - Kingston | NY | 44776 | 0 | 44776 |  | 46874.369 | -2098.369 | -0.044766
Kohls - Mechanicsburg | PA | 35945 | 0 | 35945 |  | 37881.76 | -1936.76 | -5.113%
Kohls - Middletown | NJ | 57157 | 0 | 57157 |  | 56934.86 | 222.14 | 0.3902%
Kohls - North Amherst | NY | 0 | 0 | 0 |  | 33415.58 | -33415.58 | -100% | 1.Site tripped offline at 09:30 Am On 08/12 , inverter voltages are dropped to zero but meter voltages are available | 1.SR088924
Kohls - Staten Island | NY | 102 | 0 | 102 |  | 31508.76 | -31406.76 | -99.68% | 1.site tripped offline at 9:05am on 08/17 till date | 1.SR089189
Kohls - Warminster | PA | 37758 | 0 | 37758 |  | 36722.6 | 1035.4 | 2.82%
Kohls - Waterbury | CT | 34680 | 0 | 34680 |  | 31542 | 3138 | 9.949%
Mojave Water Agency - Headquarters | CA | 38418 | 0 | 38418 |  | 34263.28 | 4154.72 | 12.13%
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 142101.7 | -142101.7 | -100%
Greenfield USD - Fairfield ES | CA | 10171 | 0 | 10171 |  | 14495.51 | -4324.51 | -29.83%
Greenfield USD - Granite Point ES | CA | 33770 | 0 | 33770 |  | 38120.6 | -4350.6 | -11.41%
Greenfield USD - Greenfield MS | CA | 18299 | 0 | 18299 |  | 26084.512 | -7785.512 | -29.85%
Greenfield USD - Horizon ES | CA | 8746 | 0 | 8746 |  | 39265.61 | -30519.61 | -77.73%
Greenfield USD - McKee MS | CA | 13159 | 0 | 13159 |  | 24029.59 | -10870.59 | -45.24%
Greenfield USD - Plantation ES | CA | 14580 | 0 | 14580 |  | 17115.07 | -2535.07 | -14.81% | 1. Inverter 2 pad A is offline from 08/25 and also Inverter 1 pad B offline from 9/10 through out the month | 1.SR089669
Greenfield USD - Planz ES | CA | 5417 | 0 | 5417 |  | 19725.37 | -14308.37 | -72.54%
Greenfield USD - Raffaello Palla ES | CA | 17238 | 0 | 17238 |  | 42894.12 | -25656.12 | -0.59813
Greenfield USD - Valle Verde ES | CA | 30928 | 0 | 30928 |  | 40043.15 | -9115.15 | -22.76%
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 15421.15 | -15421.15 | -1
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 34849.69 | -34849.69 | -100%
Muroc Joint USD - W. Boron ES | CA | 12443 | 0 | 12443 |  | 1286.22 | 11156.78 | 867.4%
Colusa - WTP | CA | 0 | 0 | 0 |  | 45088.645 | -45088.645 | -100% | 1.No communication to DAS, need a replacement needed for meter and modem | 1.SR089464
CDCR-North Kern State Prision | CA | 48376 | 0 | 48376 |  | 204972.6 | -156596.6 | -76.4% | 1.Inverter 3 is offline throughout the month | 1.SR089460
Muroc Joint USD - District Office | CA | 6209 | 0 | 6209 |  | 9064.28 | -2855.28 | -31.5%
Whole Foods - Manhattan Beach | CA | 15888 | 0 | 15888 |  | 17188.29 | -1300.29 | -7.565% | 1.Inverters 3 & 8 are offline through out the month | 1.SR089461,SR090375
Pioneer USD - Frontier ES | CA | 23858 | 0 | 23858 |  | 34120.85 | -10262.85 | -30.08%
Pioneer USD - Pioneer ES | CA | 5663 | 0 | 5663 |  | 34834.14 | -29171.14 | -83.74% | 1.Weather station is not communicating through out the month | 1.SR085968
Pioneer USD - Pioneer MS | CA | 30366 | 0 | 30366 |  | 46766.06 | -16400.06 | -35.07% | 1.Weather station is not communicating through out the month | 1.SR089470
Kingsburg Joint UHSD - Kingsburg HS | CA | 21281 | 0 | 21281 |  | 83165.9 | -61884.9 | -74.41% | 1.Inverters A and B are offline through out the month, Pad C inverters 2 and 3 trip offline frequently 2.Weather station stopped communicating since 9/11 through out the month. | 1. SR089612 2.SR090298
CADRB | CA | 526254 | 0 | 526254 |  | 723561 | -197307 | -27.27% | 1.Inverter 3 is being RMA'd (inverter 3 is offline from 08/19) 2.Pyranometer has been giving bad readings. Prior to 9/25, the pyranometer read at most 450 W/m2. Since then, readings are between 950 and 400 W/m2 3.weather station 1 is offline | 1.SR086220 2.SR091312 3.SR090659
CDCR-CA State Prison LA County | CA | 254730 | 0 | 254730 |  | 431625.6 | -176895.6 | -40.98% | 1.Inverter 1 was not communicatig and inverter 3, 4 were offline. | 1. SR090378
Central USD Akers ES | CA | 26547 | 0 | 26547 |  | 33556.68 | -7009.68 | -20.89% | 1.Weather station is reporting 0w/m2
CUSD - District Office | CA | 21190 | 0 | 21190 |  | 9064.28 | 12125.72 | 133.8%
Parlier - WTP | CA | 25875 | 0 | 25875 |  | 80249.57 | -54374.57 | -0.67757
Snowline SD - Quail Valley MS | CA | 35969 | 0 | 35969 |  | 38471.38 | -2502.38 | -6.505% | 1.Inverter trips on and offline frequently | 1.SR090965
Snowline SD - Serrano HS - Middle Lot | CA | 29062 | 0 | 29062 |  | 45725 | -16663 | -0.36442
Snowline SD - Pinon Hills ES | CA | 9423 | 0 | 9423 |  | 22988.18 | -13565.18 | -59.01% | 1.Site back online on 9/5 at 02:00pm | 1.SR080516
Ramona - Santa Maria WTP | CA | 17920 | 0 | 17920 |  | 74060.39 | -56140.39 | -0.75804 | 1.Inverters 1 & 2 were left offline due to AC surge warnings | 1.SR090053
Kohls - Redding | CA | 37782 | 0 | 37782 |  | 29833.35 | 7948.65 | 26.64% | 1. Weather station does not report irradiance during the day. Likely a faulty pyranometer through out the month. | 1. SR090293
Kohls - Salinas | CA | 31143 | 0 | 31143 |  | 42851.23 | -11708.23 | -0.27323 | 1.Inverters 3, 7, 10, 11, 14, and 21 are offline. Inverter 2 may have a string down through out the month | 1. SR090381,SR090380 SR089474
Kohls - San Bernardino - Central | CA | 126806 | 0 | 126806 |  | 140317 | -13511 | -9.629%
Kohls - Sonora | CA | 27863 | 0 | 27863 |  | 29667.66 | -1804.66 | -6.083% | 1.Inverters 3, 7, and 12 are offline through out month | 1.SR089477
CUSD - Stratford ES | CA | 20828 | 0 | 20828 |  | 21367.71 | -539.71 | -2.526% | 1.Inverter 1 offline from 9/14 back online on 9/19 | 1. SR090519
Taft - City Hall | CA | 5728 | 0 | 5728 |  | 9308.33 | -3580.33 | -0.38464
Taft - Federal Prison | CA | 4910 | 0 | 4910 |  | 15318.72 | -10408.72 | -67.95% | 1.Site back online on 9/21 | 1.SR088795
Taft - Police Department | CA | 11206 | 0 | 11206 |  | 10649.38 | 556.62 | 5.227%
Taft - WTP | CA | 0 | 0 | 0 |  | 68067.8 | -68067.8 | -1 | 1. Inverter 1 being replaced and inverter 2 logic board being replaced. | 1. SR089732
CDCR - CA Correctional Institution | CA | 111841 | 0 | 111841 |  | 208097.76 | -96256.76 | -0.46256 | 1.Site back online on 9/4 2.Inverter 3 offline from 9/6 back online on 9/12 at 13:40 3.Site offline from 9/24 | 1. SR087889, SR088675 2.SR090295 3. SR091141
CDCR - CA Correctional Institution II | CA | 110217 | 0 | 110217 |  | 336377.281 | -226160.281 | -0.67234 | 1.Site back online on 9/4 2.Inverter 1 offline from 9/4 through out the month | 1. SR089260 2.SR090296
Snowline SD - Vista Verde ES | CA | 26364 | 0 | 26364 |  | 28050.8 | -1686.8 | -0.060134

## Oct
Silicon Ranch |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Nov
Silicon Ranch |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Dec
Silicon Ranch |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - San Bernardino - Central | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA

## Sites
Portfolio: | Silicon Ranch
Site DAS Name | Site | State | Column1 | DAS
zz.Iron Mountain - Windsor | Iron Mountain - Windsor | CT | AF | Green Power Monitor
zz.Kohls - Auburn | Kohls - Auburn | NY | AF | Green Power Monitor
zz.Kohls - Bensalem | Kohls - Bensalem | PA | AF | Green Power Monitor
zz.Kohls - Brick | Kohls - Brick | NJ | AF | Green Power Monitor
zz.Kohls - Buffalo | Kohls - Buffalo | NY | AF | Green Power Monitor
zz.Kohls - Canton | Kohls - Canton | CT | AF | Green Power Monitor
zz.Kohls - East Amherst | Kohls - East Amherst | NY | AF | Green Power Monitor
zz.Kohls - East Brunswick | Kohls - East Brunswick | NJ | AF | Green Power Monitor
zz.Kohls - Edgewood | Kohls - Edgewood | MD | AF | Green Power Monitor
zz.Kohls - Granite Run | Kohls - Granite Run | PA | AF | Green Power Monitor
zz.Kohls - Greece | Kohls - Greece | NY | AF | Green Power Monitor
zz.Kohls - Hanover | Kohls - Hanover | PA | AF | Green Power Monitor
zz.Kohls - Horsehead | Kohls - Horsehead | NY | AF | Green Power Monitor
zz.Kohls - Hudson | Kohls - Hudson | NY | AF | Green Power Monitor
zz.Kohls - Ithaca | Kohls - Ithaca | NY | AF | Green Power Monitor
zz.Kohls - Kingston | Kohls - Kingston | NY | AF | Green Power Monitor
zz.Kohls - Mechanicsburg | Kohls - Mechanicsburg | PA | AF | Green Power Monitor
zz.Kohls - Middletown | Kohls - Middletown | NJ | AF | Green Power Monitor
zz.Kohls - North Amherst | Kohls - North Amherst | NY | AF | Green Power Monitor
zz.Kohls - Staten Island | Kohls - Staten Island | NY | AF | Green Power Monitor
zz.Kohls - Warminster | Kohls - Warminster | PA | AF | Green Power Monitor
zz.Kohls - Waterbury | Kohls - Waterbury | CT | AF | Green Power Monitor
zz.Mojave Water Agency - Headquarters | Mojave Water Agency - Headquarters | CA | AF | Green Power Monitor
zz.CSU - Bakersfield | CSU - Bakersfield | CA | AF | Green Power Monitor
zz.Greenfield USD - Fairfield ES | Greenfield USD - Fairfield ES | CA | AF | Green Power Monitor
zz.Greenfield USD - Granite Point ES | Greenfield USD - Granite Point ES | CA | AF | Green Power Monitor
zz.Greenfield USD - Greenfield MS | Greenfield USD - Greenfield MS | CA | AF | Green Power Monitor
zz.Greenfield USD - Horizon ES | Greenfield USD - Horizon ES | CA | AF | Green Power Monitor
zz.Greenfield USD - McKee MS | Greenfield USD - McKee MS | CA | AF | Green Power Monitor
zz.Greenfield USD - Plantation ES | Greenfield USD - Plantation ES | CA | AF | Green Power Monitor
zz.Greenfield USD - Planz ES | Greenfield USD - Planz ES | CA | AF | Green Power Monitor
zz.Greenfield USD - Raffaello Palla ES | Greenfield USD - Raffaello Palla ES | CA | AF | Green Power Monitor
zz.Greenfield USD - Valle Verde ES | Greenfield USD - Valle Verde ES | CA | AF | Green Power Monitor
zz.Greenfield USD - W.A. Kendrick ES | Greenfield USD - W.A. Kendrick ES | CA | AF | Green Power Monitor
zz.Muroc Joint USD - Boron HS | Muroc Joint USD - Boron HS | CA | AF | Green Power Monitor
zz.Muroc Joint USD - W. Boron ES | Muroc Joint USD - W. Boron ES | CA | AF | Green Power Monitor
zz.Colusa - WTP | Colusa - WTP | CA | AF | Green Power Monitor
zz.CDCR-North Kern State Prision | CDCR-North Kern State Prision | CA |  | Green Power Monitor
zz.Muroc Joint USD - District Office | Muroc Joint USD - District Office | CA | AF | Green Power Monitor
zz.Whole Foods - Manhattan Beach | Whole Foods - Manhattan Beach | CA | AF | Green Power Monitor
zz.Pioneer USD - Frontier ES | Pioneer USD - Frontier ES | CA | AF | Green Power Monitor
zz.Pioneer USD - Pioneer ES | Pioneer USD - Pioneer ES | CA | AF | Green Power Monitor
zz.Pioneer USD - Pioneer MS | Pioneer USD - Pioneer MS | CA | AF | Green Power Monitor
zz.Kingsburg Joint UHSD - Kingsburg HS | Kingsburg Joint UHSD - Kingsburg HS | CA | AF | Green Power Monitor
CADRB | CADRB | CA | AF | Green Power Monitor
zz.CDCR-CA State Prison LA County | CDCR-CA State Prison LA County | CA |  | Green Power Monitor
zz.Central USD Akers ES | Central USD Akers ES | CA |  | Green Power Monitor
zz.CUSD - District Office | CUSD - District Office | CA | AF | Green Power Monitor
zz.Parlier - WTP | Parlier - WTP | CA |  | Green Power Monitor
zz.Snowline SD - Quail Valley MS | Snowline SD - Quail Valley MS | CA | AF | Green Power Monitor
zz.Snowline SD - Serrano HS - Middle Lot | Snowline SD - Serrano HS - Middle Lot | CA |  | Green Power Monitor
zz.Snowline SD - Pinon Hills ES | Snowline SD - Pinon Hills ES | CA | AF | Green Power Monitor
zz.Ramona - Santa Maria WTP | Ramona - Santa Maria WTP | CA | AF | Green Power Monitor
zz.Kohls - Redding | Kohls - Redding | CA | AF | Green Power Monitor
zz.Kohls - Salinas | Kohls - Salinas | CA | AF | Green Power Monitor
zz.Kohls - San Bernardino - Central | Kohls - San Bernardino - Central | CA |  | Green Power Monitor
zz.Kohls - Sonora | Kohls - Sonora | CA | AF | Green Power Monitor
zz.CUSD - Stratford ES | CUSD - Stratford ES | CA | AF | Green Power Monitor
zz.Taft - City Hall | Taft - City Hall | CA | AF | Green Power Monitor
zz.Taft - Federal Prison | Taft - Federal Prison | CA | AF | Green Power Monitor
zz.Taft - Police Department | Taft - Police Department | CA | AF | Green Power Monitor
zz.Colusa - WTP | Taft - WTP | CA |  | Green Power Monitor
zz.CDCR - CA Correctional Institution | CDCR - CA Correctional Institution | CA |  | Green Power Monitor
zz.CDCR - CA Correctional Institution II | CDCR - CA Correctional Institution II | CA |  | Green Power Monitor
zz.Snowline SD - Vista Verde ES | Snowline SD - Vista Verde ES | CA | AF | Green Power Monitor