## Year to Date
Luminance |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2380745.3917 | 2340773.4362 | 39971.9555 | 1.708% | 8782440.5 | -6401695.1083 | -72.89%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 170095.3504 | 57596.35 | 112499.0004 | 195.3% | 56794.59 | -2591.49 | -4.563%
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 32042.4562 | -32042.4562 | -100% | 2171655.21 | -2171655.21 | -100%
Berkeley - NJ-22-C894 Berkeley II | NJ | 109808.1055 | 271422.9 | -161614.7945 | -59.54% | 2157145 | -2047336.8945 | -94.91%
BEMS Landfill East | NJ | 0 | 25314.63 | -25314.63 | -100% | 2205625.7 | -2205625.7 | -100%
Southampton - BEMS West NJ-22-C898 | NJ | 1679017 | 1954397.1 | -275380.1 | -14.09% | 2011254 | -332237 | -16.52%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 22515.8046 | 0 | 22515.8046 |  | 0 | 0
Lakewood Township - Public Works | NJ | 399309.1312 | 0 | 399309.1312 |  | 179966 | 219343.1312 | 121.9%

## 1st Qtr
Luminance |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1526713.3764 | 1623475.4862 | -96762.1098 | -5.96% | 5982362.51 | -4455649.1336 | -74.48%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 115892.2504 | 0 | 115892.2504 |  | 0 | 0
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 32042.4562 | -32042.4562 | -100% | 1495580.21 | -1495580.21 | -100%
Berkeley - NJ-22-C894 Berkeley II | NJ | 109808.1055 | 271422.9 | -161614.7945 | -59.54% | 1480295 | -1370486.8945 | -92.58%
BEMS Landfill East | NJ | 0 | 13254.93 | -13254.93 | -100% | 1554068.3 | -1554068.3 | -100%
Southampton - BEMS West NJ-22-C898 | NJ | 1043156 | 1306755.2 | -263599.2 | -20.17% | 1352961 | -309805 | -22.9%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 13246.3581 | 0 | 13246.3581 |  | 0 | 0
Lakewood Township - Public Works | NJ | 244610.6624 | 0 | 244610.6624 |  | 99458 | 145152.6624 | 145.9%

## 2nd Qtr
Luminance |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 854032.0153 | 717297.95 | 136734.0653 | 19.06% | 2800077.99 | -1946045.9747 | -69.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 54203.1 | 57596.35 | -3393.25 | -5.891% | 56794.59 | -2591.49 | -4.563%
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 676075 | -676075 | -100%
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 676850 | -676850 | -100%
BEMS Landfill East | NJ | 0 | 12059.7 | -12059.7 | -100% | 651557.4 | -651557.4 | -100%
Southampton - BEMS West NJ-22-C898 | NJ | 635861 | 647641.9 | -11780.9 | -1.819% | 658293 | -22432 | -3.408%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 9269.4465 | 0 | 9269.4465 |  | 0 | 0
Lakewood Township - Public Works | NJ | 154698.4688 | 0 | 154698.4688 |  | 80508 | 74190.4688 | 92.15%

## 3rd Qtr
Luminance |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 0 | 0
BEMS Landfill East | NJ | 0 | 0 | 0 |  | 0 | 0
Southampton - BEMS West NJ-22-C898 | NJ | 0 | 0 | 0 |  | 0 | 0
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## 4th Qtr
Luminance |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 0 | 0
BEMS Landfill East | NJ | 0 | 0 | 0 |  | 0 | 0
Southampton - BEMS West NJ-22-C898 | NJ | 0 | 0 | 0 |  | 0 | 0
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Jan
Luminance |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 391768.8975 | 660242.88 | -268473.9825 | -40.66% | 1616542 | -1224773.1025 | -75.77% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 14808.792 | N/A |  |  | N/A |  |  | 1. CSS resolved the DAS issues on 01/03, and M0 started reporting the production on 01/03. However, M1 is reporting negative values. As per the drawings, the site capacity is 365 kW, but meter M0 is reporting 295 kW, and M1 is reporting -295 kW. We have consider M0 production as total site production. Reached out to AE #557940 | 1.SR094989, SR096863 | SR096863
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 31205.78 | -31205.78 | -100% | 412354 | -412354 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1. SR093414
Berkeley - NJ-22-C894 Berkeley II | NJ | 109808.1055 | 271422.9 | -161614.7945 | -59.54% | 406892 | -297083.8945 | -73.01% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1. SR093414
BEMS Landfill East | NJ | 0 | 0 | 0 |  | 435058 | -435058 | -100% | 1.Utility company has shut down site since 06/11/24. | 1.SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 267152 | 357614.2 | -90462.2 | -25.3% | 362238 | -95086 | -26.25% | 1.Site tripped offline at 2:30AM on 01/21 due to Phase A voltage missing Fault and back online at 10AM on 01/30. | 1.SR095756
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Since meter M1 is reporting negative values from 01/03 we have consider M0 production as total site production.

## Feb
Luminance |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 431689.124 | 397154.4762 | 34534.6478 | 8.696% | 1851765.4 | -1420076.276 | -76.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 27512.157 | N/A |  |  | N/A |  |  | 1.M1 meter is reporting negative values from 01/03 and through out the Month. AE says likely an onsite issue and to swap CT lead polarity. 2.Site stopped communicating from 02/26 due to some DAS equipment was RMA'd. CSS is about to do capacity test at site after DAS issues resolved. 3. Expected and forecasted data are unavailable. | 1.SR096863 2.SR094989, SR097768 | SR094989 | SR097768
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 836.6762 | -836.6762 | -100% | 461858.4 | -461858.4 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1.SR093413
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | N/A |  |  | 456469 | -456469 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1.SR093414
BEMS Landfill East | NJ | 0 | N/A |  |  | 498875 | -498875 | -100% | 1.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 306069 | 396317.8 | -90248.8 | -22.77% | 403220 | -97151 | -24.09% | 1. Site was tripped offline at 12:15AM on 02/22 due to Phase A voltage missing fault and back online at 11:45AM on 02/28. | 1.SR097638
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 4807.5 | N/A |  |  | N/A |  |  | 1. Expected and forecasted data are unavailable.
Lakewood Township - Public Works | NJ | 93300.467 | N/A |  |  | 31343 | 61957.467 | 197.7% | 1. Forecasted data was very low and expected data are unavailable.
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Since meter M1 is reporting negative values from 01/03 we have consider M0 production as total site production.

## Mar
Luminance |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 703255.355 | 566078.13 | 137177.225 | 24.23% | 2514055.11 | -1810799.755 | -72.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 73571.3014 | N/A |  |  | N/A |  |  | 1.Site communications are back at 11:45AM on 03/25 after RMA installation. 2. We don't have expected and forecasted energy values for this site. | 1.SR094989,SR097768 | SR097768
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | N/A |  |  | 621367.81 | -621367.81 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1.SR098409,SR093413 | SR093413
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | N/A |  |  | 616934 | -616934 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1.SR098411,SR093414 | SR093414
BEMS Landfill East | NJ | 0 | 13254.93 | -13254.93 | -100% | 620135.3 | -620135.3 | -100% | 1.The site communication was back at 10:15AM and again stopped communication on 03/04 at 15:00 due to an issue with the MV breaker on the skid. The team is currently working with SMA to resolve the issue and is testing the IKI relay. Additionally, a single-phase witness test under load with the utility is pending prior to re-energization. 2.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR098408 2.SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 469935 | 552823.2 | -82888.2 | -14.99% | 587503 | -117568 | -20.01% | 1.Site tripped offline 18:15 on 03/05 and back online at 12:45 on 03/14. | 1.SR097638
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 8438.8581 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 151310.1954 | N/A |  |  | 68115 | 83195.1954 | 122.1% | 1. The forecasted values have been updated by AE, but they appear to be low.

## Apr
Luminance |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 854032.0153 | 717297.95 | 136734.0653 | 19.06% | 2800077.99 | -1946045.9747 | -69.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 54203.1 | 57596.35 | -3393.25 | -5.891% | 56794.59 | -2591.49 | -4.563%
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 676075 | -676075 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1. SR098409
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 676850 | -676850 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1. SR098411
BEMS Landfill East | NJ | 0 | 12059.7 | -12059.7 | -100% | 651557.4 | -651557.4 | -100% | 1.The site communication was back at 10:15AM and again stopped communication on 03/04 at 15:00 due to an issue with the MV breaker on the skid. The team is currently working with SMA to resolve the issue and is testing the IKI relay. Additionally, a single-phase witness test under load with the utility is pending prior to re-energization. 2.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR098408 2.SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 635861 | 647641.9 | -11780.9 | -1.819% | 658293 | -22432 | -3.408%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 9269.4465 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 154698.4688 | N/A |  |  | 80508 | 74190.4688 | 92.15% | 1. The forecasted values have been updated by AE, but they appear to be low.

## May
Luminance |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Jun
Luminance |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Jul
Luminance |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Aug
Luminance |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Sep
Luminance |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Oct
Luminance |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Nov
Luminance |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Dec
Luminance |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ

## Sites
Portfolio: | Luminance
Site DAS Name | Site | State | Update | DAS
DC-23-0001 - Raymond Elementary Redev | Raymond Ed Re-Development - DC-23-0001 | DC | AEF | PowerTrack
NJ-22-C893 - CS Energy - Berkeley I | Berkeley - NJ-22-C893 Berkeley I | NJ | AEF | PowerTrack
NJ-22-C894 - CS Energy - Berkeley II | Berkeley - NJ-22-C894 Berkeley II | NJ | AEF | PowerTrack
Southampton - BEMS East NJ-22-C897 | BEMS Landfill East | NJ |  | PowerTrack
NJ-22-C898 - BEMS Landfill West | Southampton - BEMS West NJ-22-C898 | NJ | AEF | PowerTrack
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ |  | PowerTrack
Lakewood Township - Public Works | Lakewood Township - Public Works | NJ |  | PowerTrack