## Year to Date
Luminace |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 20162945.5578 | 21335170.8862 | -1172225.3284 | -5.494% | 31329972.344 | -11167026.7862 | -35.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 397588.2504 | 307118.81 | 90469.4404 | 29.46% | 315411.41 | -33715.41 | -10.69%
Berkeley - NJ-22-C893 Berkeley I | NJ | 1279568 | 1134191.1572 | 145376.8428 | 12.82% | 5052730.53 | -3773162.53 | -74.68%
Berkeley - NJ-22-C894 Berkeley II | NJ | 2701629.3791 | 2437582.1 | 264047.2791 | 10.83% | 5070737 | -2369107.6209 | -46.72%
BEMS Landfill East | NJ | 994348.16 | 2809547.601 | -1815199.441 | -64.61% | 4588320.59 | -3593972.43 | -78.33%
Southampton - BEMS West NJ-22-C898 | NJ | 4313066 | 4805611.1 | -492545.1 | -10.25% | 4906774 | -593708 | -12.1%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 64791.6316 | 11437.18 | 53354.4516 | 466.5% | 10813 | 73.3789 | 0.6786%
Lakewood Township - Public Works | NJ | 1052641.1 | 390181.862 | 662459.238 | 169.8% | 634606.051 | 418035.049 | 65.87%
Canby - Dover - OR-23-C003 | OR | 2170130.948 | 2109428 | 60702.948 | 2.878% | 2228339 | -58208.052 | -2.612%
Estacada - Clayfield - OR-23-C001 | OR | 1703873.166 | 1717370.7 | -13497.534 | -0.7859% | 2457213 | -753339.834 | -30.66%
Willamina - Waterford - OR-23-C006 | OR | 1315230.0677 | 1652458.501 | -337228.4333 | -20.41% | 1996502.72 | -681272.6523 | -34.12%
OR-23-C005 Solops SPI - Belvedere Solar | OR | 2931711.141 | 2811509 | 120202.141 | 4.275% | 2910986 | 20725.141 | 0.712%
OR-23-C002 SPI - Cork Solar | OR | 1238367.714 | 1148734.875 | 89632.839 | 7.803% | 1157539.043 | 80828.671 | 6.983%

## 1st Qtr
Luminace |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1526713.3764 | 1623475.4862 | -96762.1098 | -5.96% | 5982362.51 | -4455649.1336 | -74.48%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 115892.2504 | 0 | 115892.2504 |  | 0 | 0
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 32042.4562 | -32042.4562 | -100% | 1495580.21 | -1495580.21 | -100%
Berkeley - NJ-22-C894 Berkeley II | NJ | 109808.1055 | 271422.9 | -161614.7945 | -59.54% | 1480295 | -1370486.8945 | -92.58%
BEMS Landfill East | NJ | 0 | 13254.93 | -13254.93 | -100% | 1554068.3 | -1554068.3 | -100%
Southampton - BEMS West NJ-22-C898 | NJ | 1043156 | 1306755.2 | -263599.2 | -20.17% | 1352961 | -309805 | -22.9%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 13246.3581 | 0 | 13246.3581 |  | 0 | 0
Lakewood Township - Public Works | NJ | 244610.6624 | 0 | 244610.6624 |  | 99458 | 145152.6624 | 145.9%
Canby - Dover - OR-23-C003 | OR | 0 | 0 | 0 |  | 0 | 0
Estacada - Clayfield - OR-23-C001 | OR | 0 | 0 | 0 |  | 0 | 0
Willamina - Waterford - OR-23-C006 | OR | 0 | 0 | 0 |  | 0 | 0
OR-23-C005 Solops SPI - Belvedere Solar | OR | 0 | 0 | 0 |  | 0 | 0
OR-23-C002 SPI - Cork Solar | OR | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
Luminace |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 8503548.1283 | 9039653.033 | -536104.9047 | -5.931% | 13787020.76 | -5283472.6317 | -38.32%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 168345.6 | 181763.78 | -13418.18 | -7.382% | 187096.3 | -18750.7 | -10.02%
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 2101906.67 | -2101906.67 | -100%
Berkeley - NJ-22-C894 Berkeley II | NJ | 1267343.2736 | 788162.7 | 479180.5736 | 60.8% | 2118046 | -850702.7264 | -40.16%
BEMS Landfill East | NJ | 2909 | 1275699.521 | -1272790.521 | -99.77% | 2062841.79 | -2059932.79 | -99.86%
Southampton - BEMS West NJ-22-C898 | NJ | 1803228 | 1916638.5 | -113410.5 | -5.917% | 2092575 | -289347 | -13.83%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 29075.4536 | 0 | 29075.4536 |  | 0 | 0
Lakewood Township - Public Works | NJ | 484004.4261 | 0 | 484004.4261 |  | 266490 | 217514.4261 | 81.62%
Canby - Dover - OR-23-C003 | OR | 1059524.378 | 1010842.3 | 48682.078 | 4.816% | 1019387 | 40137.378 | 3.937%
Estacada - Clayfield - OR-23-C001 | OR | 1217604.408 | 1107693.5 | 109910.908 | 9.923% | 1101450 | 116154.408 | 10.55%
Willamina - Waterford - OR-23-C006 | OR | 449018.424 | 862021.177 | -413002.753 | -47.91% | 938139 | -489120.576 | -52.14%
OR-23-C005 Solops SPI - Belvedere Solar | OR | 1425196.633 | 1339749.9 | 85446.733 | 6.378% | 1362976 | 62220.633 | 4.565%
OR-23-C002 SPI - Cork Solar | OR | 597298.532 | 557081.655 | 40216.877 | 7.219% | 536113 | 61185.532 | 11.41%

## 3rd Qtr
Luminace |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 10132684.0531 | 10672042.367 | -539358.3139 | -5.054% | 11560589.074 | -1427905.0209 | -12.35%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 113350.4 | 125355.03 | -12004.63 | -9.577% | 128315.11 | -14964.71 | -11.66%
Berkeley - NJ-22-C893 Berkeley I | NJ | 1279568 | 1102148.701 | 177419.299 | 16.1% | 1455243.65 | -175675.65 | -12.07%
Berkeley - NJ-22-C894 Berkeley II | NJ | 1324478 | 1377996.5 | -53518.5 | -3.884% | 1472396 | -147918 | -10.05%
BEMS Landfill East | NJ | 991439.16 | 1520593.15 | -529153.99 | -34.8% | 971410.5 | 20028.66 | 2.062%
Southampton - BEMS West NJ-22-C898 | NJ | 1466682 | 1582217.4 | -115535.4 | -7.302% | 1461238 | 5444 | 0.3726%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 22469.8199 | 11437.18 | 11032.6399 | 96.46% | 10813 | 73.3789 | 0.6786%
Lakewood Township - Public Works | NJ | 324026.0115 | 390181.862 | -66155.8505 | -16.96% | 268658.051 | 55367.9605 | 20.61%
Canby - Dover - OR-23-C003 | OR | 1110606.57 | 1098585.7 | 12020.87 | 1.094% | 1208952 | -98345.43 | -8.135%
Estacada - Clayfield - OR-23-C001 | OR | 486268.758 | 609677.2 | -123408.442 | -20.24% | 1355763 | -869494.242 | -64.13%
Willamina - Waterford - OR-23-C006 | OR | 866211.6437 | 790437.324 | 75774.3197 | 9.586% | 1058363.72 | -192152.0763 | -18.16%
OR-23-C005 Solops SPI - Belvedere Solar | OR | 1506514.508 | 1471759.1 | 34755.408 | 2.361% | 1548010 | -41495.492 | -2.681%
OR-23-C002 SPI - Cork Solar | OR | 641069.182 | 591653.22 | 49415.962 | 8.352% | 621426.043 | 19643.139 | 3.161%

## 4th Qtr
Luminace |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Raymond Ed Re-Development - DC-23-0001 | DC | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 0 | 0
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 0 | 0
BEMS Landfill East | NJ | 0 | 0 | 0 |  | 0 | 0
Southampton - BEMS West NJ-22-C898 | NJ | 0 | 0 | 0 |  | 0 | 0
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ |  | 0 |  |  | 0 | 0
Lakewood Township - Public Works | NJ |  | 0 |  |  | 0 | 0
Canby - Dover - OR-23-C003 | OR |  | 0 |  |  | 0 | 0
Estacada - Clayfield - OR-23-C001 | OR |  | 0 |  |  | 0 | 0
Willamina - Waterford - OR-23-C006 | OR |  | 0 |  |  | 0 | 0
OR-23-C005 Solops SPI - Belvedere Solar | OR |  | 0 |  |  | 0 | 0
OR-23-C002 SPI - Cork Solar | OR |  | 0 |  |  | 0 | 0

## Jan
Luminace |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 391768.8975 | 660242.88 | -268473.9825 | -40.66% | 1616542 | -1224773.1025 | -75.77% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 14808.792 | N/A |  |  | N/A |  |  | 1. CSS resolved the DAS issues on 01/03, and M0 started reporting the production on 01/03. However, M1 is reporting negative values. As per the drawings, the site capacity is 365 kW, but meter M0 is reporting 295 kW, and M1 is reporting -295 kW. We have consider M0 production as total site production. Reached out to AE #557940 | 1.SR094989, SR096863 | SR096863
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 31205.78 | -31205.78 | -100% | 412354 | -412354 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1. SR093414
Berkeley - NJ-22-C894 Berkeley II | NJ | 109808.1055 | 271422.9 | -161614.7945 | -59.54% | 406892 | -297083.8945 | -73.01% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1. SR093414
BEMS Landfill East | NJ | 0 | 0 | 0 |  | 435058 | -435058 | -100% | 1.Utility company has shut down site since 06/11/24. | 1.SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 267152 | 357614.2 | -90462.2 | -25.3% | 362238 | -95086 | -26.25% | 1.Site tripped offline at 2:30AM on 01/21 due to Phase A voltage missing Fault and back online at 10AM on 01/30. | 1.SR095756
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Since meter M1 is reporting negative values from 01/03 we have consider M0 production as total site production.

## Feb
Luminace |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 431689.124 | 397154.4762 | 34534.6478 | 8.696% | 1851765.4 | -1420076.276 | -76.69% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 27512.157 | N/A |  |  | N/A |  |  | 1.M1 meter is reporting negative values from 01/03 and through out the Month. AE says likely an onsite issue and to swap CT lead polarity. 2.Site stopped communicating from 02/26 due to some DAS equipment was RMA'd. CSS is about to do capacity test at site after DAS issues resolved. 3. Expected and forecasted data are unavailable. | 1.SR096863 2.SR094989, SR097768 | SR094989 | SR097768
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 836.6762 | -836.6762 | -100% | 461858.4 | -461858.4 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1.SR093413
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | N/A |  |  | 456469 | -456469 | -100% | 1. Site is dealing with utility-related issue throughout the month, and the EPC team is currently addressing the issue. | 1.SR093414
BEMS Landfill East | NJ | 0 | N/A |  |  | 498875 | -498875 | -100% | 1.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 306069 | 396317.8 | -90248.8 | -22.77% | 403220 | -97151 | -24.09% | 1. Site was tripped offline at 12:15AM on 02/22 due to Phase A voltage missing fault and back online at 11:45AM on 02/28. | 1.SR097638
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 4807.5 | N/A |  |  | N/A |  |  | 1. Expected and forecasted data are unavailable.
Lakewood Township - Public Works | NJ | 93300.467 | N/A |  |  | 31343 | 61957.467 | 197.7% | 1. Forecasted data was very low and expected data are unavailable.
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Since meter M1 is reporting negative values from 01/03 we have consider M0 production as total site production.

## Mar
Luminace |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 703255.355 | 566078.13 | 137177.225 | 24.23% | 2514055.11 | -1810799.755 | -72.03% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 73571.3014 | N/A |  |  | N/A |  |  | 1.Site communications are back at 11:45AM on 03/25 after RMA installation. 2. We don't have expected and forecasted energy values for this site. | 1.SR094989,SR097768 | SR097768
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | N/A |  |  | 621367.81 | -621367.81 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1.SR098409,SR093413 | SR093413
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | N/A |  |  | 616934 | -616934 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1.SR098411,SR093414 | SR093414
BEMS Landfill East | NJ | 0 | 13254.93 | -13254.93 | -100% | 620135.3 | -620135.3 | -100% | 1.The site communication was back at 10:15AM and again stopped communication on 03/04 at 15:00 due to an issue with the MV breaker on the skid. The team is currently working with SMA to resolve the issue and is testing the IKI relay. Additionally, a single-phase witness test under load with the utility is pending prior to re-energization. 2.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR098408 2.SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 469935 | 552823.2 | -82888.2 | -14.99% | 587503 | -117568 | -20.01% | 1.Site tripped offline 18:15 on 03/05 and back online at 12:45 on 03/14. | 1.SR097638
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 8438.8581 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 151310.1954 | N/A |  |  | 68115 | 83195.1954 | 122.1% | 1. The forecasted values have been updated by AE, but they appear to be low.
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## Apr
Luminace |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 854032.0153 | 717297.95 | 136734.0653 | 19.06% | 2800077.99 | -1946045.9747 | -69.5% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 54203.1 | 57596.35 | -3393.25 | -5.891% | 56794.59 | -2591.49 | -4.563%
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 676075 | -676075 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1. SR098409
Berkeley - NJ-22-C894 Berkeley II | NJ | 0 | 0 | 0 |  | 676850 | -676850 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1. SR098411
BEMS Landfill East | NJ | 0 | 12059.7 | -12059.7 | -100% | 651557.4 | -651557.4 | -100% | 1.The site communication was back at 10:15AM and again stopped communication on 03/04 at 15:00 due to an issue with the MV breaker on the skid. The team is currently working with SMA to resolve the issue and is testing the IKI relay. Additionally, a single-phase witness test under load with the utility is pending prior to re-energization. 2.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR098408 2.SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 635861 | 647641.9 | -11780.9 | -1.819% | 658293 | -22432 | -3.408%
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 9269.4465 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 154698.4688 | N/A |  |  | 80508 | 74190.4688 | 92.15% | 1. The forecasted values have been updated by AE, but they appear to be low.
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## May
Luminace |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 3877714.643 | 3723083.84 | 154630.803 | 4.153% | 5379743.8 | -1502029.157 | -27.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 54648.5 | 59815.54 | -5167.04 | -8.638% | 63486.3 | -8837.8 | -13.92% | 1. Low production due to rain
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 710210 | -710210 | -100% | 1.The site is dealing with utility-related issues due to damaged CTs and PTs in their metering bank, as has been the case throughout the month. The EPC team is currently addressing the issue. | 1.SR098409
Berkeley - NJ-22-C894 Berkeley II | NJ | 701245.2736 | 191085.9 | 510159.3736 | 267% | 710606 | -9360.7264 | -1.317% | 1.The site was dealing with utility-related issues due to damaged CTs and PTs in their metering bank.Site was back online at 16:00EDT on 05/20. | 1.SR098411
BEMS Landfill East | NJ | 0 | 586005 | -586005 | -100% | 695675.5 | -695675.5 | -100% | 1.The site communication was back at 10:15 and again stopped communication on 03/04 at 15:00 due to an issue with the MV breaker on the skid. The team is currently working with SMA to resolve the issue and is testing the IKI relay. Additionally, a single-phase witness test under load with the utility is pending prior to re-energization. 2.Utility company has shut down site since 06/11/24 due to the solar causing an issue with the grid. | 1.SR098408 2.SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 628239 | 645088.6 | -16849.6 | -2.612% | 704768 | -76529 | -10.86% | 1. Low production due to rain
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 9749.9441 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 157465.6563 | N/A |  |  | 92403 | 65062.6563 | 70.41% | 1. The forecasted values have been updated by AE, but they appear to be low.
Canby - Dover - OR-23-C003 | OR | 499021.269 | 471441.3 | 27579.969 | 5.85% | 494897 | 4124.269 | 0.8334% | 1. Multiple trackers had been stuck since 04/03 and started tracking again on 05/22. 2. Inverters 7, 8, and 16 are experiencing morning shading, with inverter 8 in particular not reaching its full production until 09:45. | 1. SR101115 2. SR101155 | SR101155
Estacada - Clayfield - OR-23-C001 | OR | 554193.004 | 515253.5 | 38939.504 | 7.557% | 532245 | 21948.004 | 4.124% | 1. Multiple trackers had been stuck since 05/07 and started tracking again on 05/22. 2. The site tripped offline at 14:00 on 05/12 and came back online at 09:00 on 05/13. | 1. SR101126 2. SR101287 | SR101287
Willamina - Waterford - OR-23-C006 | OR | 345311.5 | 387541.9 | -42230.4 | -10.9% | 464151 | -118839.5 | -25.6% | 1. All inverters are power limited to 85kW. Per As-Builts, they should be running at 122kW. 2. The site tripped offline at 10:00 on 05/23 and came back online at 11:15 on 05/29. | 1. SR101124 2. SR101894 | SR101894
OR-23-C005 Solops SPI - Belvedere Solar | OR | 641330.014 | 599695.6 | 41634.414 | 6.943% | 653170 | -11839.986 | -1.813% | 1. Site tripped offline at 16:07 on 05/15 and came back online at 08:30 on 05/20. | 1. SR101566
OR-23-C002 SPI - Cork Solar | OR | 286510.482 | 267156.5 | 19353.982 | 7.244% | 258132 | 28378.482 | 10.99%

## Jun
Luminace |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 3771801.47 | 4599271.243 | -827469.773 | -17.99% | 5607198.97 | -1835397.5 | -32.73%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 59494 | 64351.89 | -4857.89 | -7.549% | 66815.41 | -7321.41 | -10.96% | 1. Site has low production on 06/08, 06/26, 06/15, 06/16, 06/17, 06/27 due to low irradiance.
Berkeley - NJ-22-C893 Berkeley I | NJ | 0 | 0 | 0 |  | 715621.67 | -715621.67 | -100% | 1.Site was offline for whole month. | 1.SR098409
Berkeley - NJ-22-C894 Berkeley II | NJ | 566098 | 597076.8 | -30978.8 | -5.188% | 730590 | -164492 | -22.51% | 1.Site tripped offline since 13:00 on 06/27. | 1.SR103839
BEMS Landfill East | NJ | 2909 | 677634.821 | -674725.821 | -99.57% | 715608.89 | -712699.89 | -99.59% | 1.Site was offline for whole month. | 1.SR098408, SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 539128 | 623908 | -84780 | -13.59% | 729514 | -190386 | -26.1% | 1.Site tripped offline at 14:45 on 06/05 and was back online at 16:15 on 06/05,again tripped offline at 07:45 on 06/08 reporting reporting "Missing Phase A Voltage" and was back online at 10:00 on 06/09,again tripped offline at 23:45 on 06/10 and was back online at 08:15 on 06/12,again tripped offline at 20:00 on 06/14 and remained offline throughout the month. | 1.SR102671
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 10056.063 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 171840.301 | N/A |  |  | 93579 | 78261.301 | 83.63% | 1.Inverter 2.3 was underperforming by 6KW since 06/01 during peak hours and remained the same throughout the month | 1.SR103097
Canby - Dover - OR-23-C003 | OR | 560503.109 | 539401 | 21102.109 | 3.912% | 524490 | 36013.109 | 6.866%
Estacada - Clayfield - OR-23-C001 | OR | 663411.404 | 592440 | 70971.404 | 11.98% | 569205 | 94206.404 | 16.55% | 1.Tracker motor 68 was struck at -58 degrees at 08:30 pdt on 06/10 and was back at 13:45 pdt on 06/24 | 1.SR103219
Willamina - Waterford - OR-23-C006 | OR | 103706.924 | 474479.277 | -370772.353 | -78.14% | 473988 | -370281.076 | -78.12% | 1.All inverters are power limited to 85kW. Per As-Builts, they should be running at 122kW. | 1.SR101124
OR-23-C005 Solops SPI - Belvedere Solar | OR | 783866.619 | 740054.3 | 43812.319 | 5.92% | 709806 | 74060.619 | 10.43%
OR-23-C002 SPI - Cork Solar | OR | 310788.05 | 289925.155 | 20862.895 | 7.196% | 277981 | 32807.05 | 11.8%

## Jul
Luminace |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 5167208.148 | 5683836.835 | -516628.687 | -9.089% | 5773431.353 | -606223.205 | -10.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 57705 | 63485.59 | -5780.59 | -9.105% | 67817.09 | -10112.09 | -14.91% | 1. Inverter 8 tripped offline at 17:00 on 07/06 and back online on 07/07. Inverter again went offline at 9:15 on 07/07 and back online at 12:40 on the same day. and inverter 8 started late on 07/21 at 10:45. | 1. SR104065
Berkeley - NJ-22-C893 Berkeley I | NJ | 586285 | 562423.289 | 23861.711 | 4.243% | 753344.5 | -167059.5 | -22.18% | 1. The site had been offline for several months and came back online at 15:30 on 07/02. 2. Site was offline from 12:00 to 14:00 on 07/29 due to PM Event | 1. SR098409 2. PM11764
Berkeley - NJ-22-C894 Berkeley II | NJ | 697981 | 698857.1 | -876.1 | -0.1254% | 760155 | -62174 | -8.179% | 1. SIte was offline since 06/27 and back online at 13:00 on 07/03. 2. Inverter tripped offline 16:45 on 07/31 due to"Error Error" and remaied offline. | 1. SR103839 2. SR105463 | SR105463
BEMS Landfill East | NJ | 328242.16 | 743855.75 | -415613.59 | -55.87% | 283735 | 44507.16 | 15.69% | 1. The site had been offline for several months and came back online at 15:00 on 07/21. | 1.SR098408, SR086098 | SR086098
Southampton - BEMS West NJ-22-C898 | NJ | 771229 | 807871.5 | -36642.5 | -4.536% | 764197 | 7032 | 0.9202% | 1. Site started late on 07/17 at 08:30. | 1. SR102671
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 11583.441 | N/A |  |  | N/A
Lakewood Township - Public Works | NJ | 139268.824 | 195547.462 | -56278.638 | -28.78% | 94258 | 45010.824 | 47.75% | 1. Site tripped offline at 16:15 on 07/01 and back online at 8:00 on 07/09. | 1. SR103899
Canby - Dover - OR-23-C003 | OR | 606657.224 | 607264 | -606.776 | -0.09992% | 628020 | -21362.776 | -3.402%
Estacada - Clayfield - OR-23-C001 | OR | 345245.485 | 407692.8 | -62447.315 | -15.32% | 731514 | -386268.515 | -52.8% | 1. Tracker motor 26.5 was strucked since 07/07. Tracker has not returned to service and will remain open for client visibility during ongoing EPC punch lists 2. Site tripped offline at 8:30 on 07/15. This site has not returned to service and will remain open for client visibility during ongoing EPC punch lists | 1. SR104276 2. SR104461 | SR104461
Willamina - Waterford - OR-23-C006 | OR | 446366.5 | 465402.724 | -19036.224 | -4.09% | 547504.72 | -101138.22 | -18.47% | 1. Site was offline from 08:15 on 07/26 to 09:15 on 07/28 and again site was offline from 20:30 o 07/28 to end of month. 2. Since the meter did not communicate from 06/06 to 07/10, the total meter energy was backfilled on 07/10. Therefore, we used the inverter energy from 07/01 to 07/10 and added it with the production meter energy from 07/11 to 07/31. | 1. SR105123
OR-23-C005 Solops SPI - Belvedere Solar | OR | 828134.537 | 805271.2 | 22863.337 | 2.839% | 823154 | 4980.537 | 0.6051%
OR-23-C002 SPI - Cork Solar | OR | 348509.977 | 326165.42 | 22344.557 | 6.851% | 319732.043 | 28777.934 | 9.001%

## Aug
Luminace |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 4965475.9051 | 4988205.532 | -22729.6269 | -0.4557% | 5787157.721 | -821681.8159 | -14.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC | 55645.4 | 61869.44 | -6224.04 | -10.06% | 60498.02 | -4852.62 | -8.021% | 1. Inverter 4 was underproduced for whole month. | 1. SR107731
Berkeley - NJ-22-C893 Berkeley I | NJ | 693283 | 539725.412 | 153557.588 | 28.45% | 701899.15 | -8616.15 | -1.228% | 1.Site was offline at 20:15 on 08/20 and came back at 12:00 on 08/21 | 1.SR106617
Berkeley - NJ-22-C894 Berkeley II | NJ | 626497 | 679139.4 | -52642.4 | -7.751% | 712241 | -85744 | -12.04% | 1.Inverter 1 offline 16:45 on 07/31 and it came back online at 10:15 on 08/04 2.Site was offline on 08/14 and came back online at 13:15 on 08/15 3.Site was offline at 20:25 to 10:15 on 08/21 | 1.SR105463 2.SR106265 3.SR106618 | SR106265 | SR106618
BEMS Landfill East | NJ | 663197 | 776737.4 | -113540.4 | -14.62% | 687675.5 | -24478.5 | -3.56% | 1. Inverter 1 combiner 13, 14, 15 and 16 are offline since site regained its communications on 07/21. | 1.SR106977
Southampton - BEMS West NJ-22-C898 | NJ | 695453 | 774345.9 | -78892.9 | -10.19% | 697041 | -1588 | -0.2278% | 1. Site was producing as expected.
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ | 10886.3789 | 11437.18 | -550.8011 | -4.816% | 10813 | 73.3789 | 0.6786%
Lakewood Township - Public Works | NJ | 184757.1875 | 194634.4 | -9877.2125 | -5.075% | 174400.051 | 10357.1365 | 5.939%
Canby - Dover - OR-23-C003 | OR | 503949.346 | 491321.7 | 12627.646 | 2.57% | 580932 | -76982.654 | -13.25% | 1. Inverter 8 and 6 have heavy morning shading
Estacada - Clayfield - OR-23-C001 | OR | 141023.273 | 201984.4 | -60961.127 | -30.18% | 624249 | -483225.727 | -77.41% | 1.Tracker motor 26.5 was strucked since 07/07. Back online 10:00 on 08/22 2The site tripped offline at 08:30 on 07/15. The inverters came back online at 16:45 on 08/20, but the meter was not communicating as of 17:25. Meter communications were restored at 10:45 on 08/22. 3.All trackers are stowed from 8/23/25 reporting "Manual_Mode_2: Manual Mode ON Manual_Mode_3: Manual Mode ON". on 08/29 all trackers are tracking except row 18 (18.1 through 18.10) 4.Site tripped offline at 07:45 to 16:30 on 08/27 | 1.SR104276 2. SR104461 3. SR106841 4. SR107017 | SR104461 | SR106841 | SR107017
Willamina - Waterford - OR-23-C006 | OR | 419845.1437 | 325034.6 | 94810.5437 | 29.17% | 510859 | -91013.8563 | -17.82% | 1. All inverters are power limited to 85kW. Per As-Builts, they should be running at 122kW. 2.Site was back online at 12:15 on 08/05 and again site tripped offline at 08:00 on 08/08 and came back online at 16:15 on 08/11 | 1.SR101124 2. SR105123 | SR105123
OR-23-C005 Solops SPI - Belvedere Solar | OR | 678379.971 | 666487.9 | 11892.071 | 1.784% | 724856 | -46476.029 | -6.412%
OR-23-C002 SPI - Cork Solar | OR | 292559.205 | 265487.8 | 27071.405 | 10.2% | 301694 | -9134.795 | -3.028%

## Sep
Luminace |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## Oct
Luminace |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## Nov
Luminace |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## Dec
Luminace |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Raymond Ed Re-Development - DC-23-0001 | DC
Berkeley - NJ-22-C893 Berkeley I | NJ
Berkeley - NJ-22-C894 Berkeley II | NJ
BEMS Landfill East | NJ
Southampton - BEMS West NJ-22-C898 | NJ
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ
Lakewood Township - Public Works | NJ
Canby - Dover - OR-23-C003 | OR
Estacada - Clayfield - OR-23-C001 | OR
Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR
OR-23-C002 SPI - Cork Solar | OR

## Sites
Portfolio: | Luminace
Site DAS Name | Site | State | Update | DAS
DC-23-0001 - Raymond Elementary Redev | Raymond Ed Re-Development - DC-23-0001 | DC | AEF | PowerTrack
NJ-22-C893 - CS Energy - Berkeley I | Berkeley - NJ-22-C893 Berkeley I | NJ | AEF | PowerTrack
NJ-22-C894 - CS Energy - Berkeley II | Berkeley - NJ-22-C894 Berkeley II | NJ | AEF | PowerTrack
Southampton - BEMS East NJ-22-C897 | BEMS Landfill East | NJ |  | PowerTrack
NJ-22-C898 - BEMS Landfill West | Southampton - BEMS West NJ-22-C898 | NJ | AEF | PowerTrack
Lakewood Twp - Emergency Services Dev - NJ-23-0008 | Lakewood Twp - Emergency Services Dev - NJ-23-0008 | NJ |  | PowerTrack
Lakewood Township - Public Works | Lakewood Township - Public Works | NJ |  | PowerTrack
OR-23-C003 Dover - SPI | Canby - Dover - OR-23-C003 | OR | AEF | PowerTrack
OR-23-C001 SPI - Clayfield Solar | Estacada - Clayfield - OR-23-C001 | OR | AEF | PowerTrack
SPI - Waterford Solar | Willamina - Waterford - OR-23-C006 | OR
OR-23-C005 Solops SPI - Belvedere Solar | OR-23-C005 Solops SPI - Belvedere Solar | OR | AEF
Molalla - Cork - OR-23-C002 | OR-23-C002 SPI - Cork Solar | OR