## Year to Date
Hubbardston Solar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2444701 | 0 | 2444701 | 0% | 0 | 2444701 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Hubbardston Solar | MA | 2444701 | 0 | 2444701 |  | 0 | 0

## 1st Qtr
Hubbardston Solar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 456483 | 0 | 456483 | 0% | 0 | 456483 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Hubbardston Solar | MA | 456483 | 0 | 456483 |  | 0 | 0

## 2nd Qtr
Hubbardston Solar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 910501 | 0 | 910501 | 0% | 0 | 910501 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Hubbardston Solar | MA | 910501 | 0 | 910501 |  | 0 | 0

## 3rd Qtr
Hubbardston Solar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 642243 | 0 | 642243 | 0% | 0 | 642243 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Hubbardston Solar | MA | 642243 | 0 | 642243 |  | 0 | 0

## 4th Qtr
Hubbardston Solar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 435474 | 0 | 435474 | 0% | 0 | 435474 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Hubbardston Solar | MA | 435474 | 0 | 435474 |  | 0 | 0

## Jan
Hubbardston Solar |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 127070 | 0 | 127070 | 0% | 0 | 127070 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 127070 | N/A |  |  | N/A

## Feb
Hubbardston Solar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 62341 | 0 | 62341 | 0% | 0 | 62341 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 62341 | N/A |  |  | N/A

## Mar
Hubbardston Solar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 267072 | 0 | 267072 | 0% | 0 | 267072 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 267072 | N/A |  |  | N/A

## Apr
Hubbardston Solar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 291503 | 0 | 291503 | 0% | 0 | 291503 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 291503 | N/A |  |  | N/A

## May
Hubbardston Solar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 266514 | 0 | 266514 | 0% | 0 | 266514 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 266514 | N/A |  |  | N/A

## Jun
Hubbardston Solar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 352484 | 0 | 352484 | 0% | 0 | 352484 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 352484 | N/A |  |  | N/A

## Jul
Hubbardston Solar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 348305 | 0 | 348305 | 0% | 0 | 348305 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 348305 | N/A |  |  | N/A |  |  | 1. Inverter 1 Zone 1 tripped offline at 14:15 on 07/29 after technician replaced the breaker Inverter 1 Zone 1 is back online at 15:00 on 08/30. | 1. SR105290

## Aug
Hubbardston Solar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 353362 | N/A |  |  | N/A

## Sep
Hubbardston Solar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 293938 | 0 | 293938 | 0% | 0 | 293938 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 293938 | N/A |  |  | N/A

## Oct
Hubbardston Solar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 242286 | 0 | 242286 | 0% | 0 | 242286 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 242286 | N/A |  |  | N/A

## Nov
Hubbardston Solar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 145934 | 0 | 145934 | 0% | 0 | 145934 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 145934 | N/A |  |  | N/A

## Dec
Hubbardston Solar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 47254 | 0 | 47254 | 0% | 0 | 47254 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Hubbardston Solar | MA | 47254 | N/A |  |  | N/A

## Sites
Portfolio: | Hubbardston Solar
Site DAS Name | Site | State | Update | DAS
Hubbardston Solar | Hubbardston Solar | MA |  | Solrenview