## 1st Qtr
Mahopac Central School District |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Mahopac - Austin Road ES | NY |  | 0 |  |  |  | 0 | 0%
Mahopcac - Lakeview ES | NY | [5 empty] | 0 | 0%

## Year to Date
Mahopac Central School District |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Mahopac - Austin Road ES | NY |  |  |  | 0% |  | 0 | 0%
Mahopcac - Lakeview ES | NY |  |  |  | 0% |  | 0 | 0%

## 2nd Qtr
Mahopac Central School District |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 45497.5 | 0 | 45497.5 | 0% | 0 | 45497.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Mahopac - Austin Road ES | NY | 45497.5 |  |  |  |  | 0
Mahopcac - Lakeview ES | NY | 0 |  |  |  |  | 0

## 3rd Qtr
Mahopac Central School District |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 156517.838 | 0 | 156517.838 | 0% | 0 | 156517.838 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Mahopac - Austin Road ES | NY | 156517.838 |  |  |  |  | 0
Mahopcac - Lakeview ES | NY | 0 |  |  |  |  | 0

## 4th Qtr
Mahopac Central School District |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 68776.93 | 0 | 68776.93 | 0% | 0 | 68776.93 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Mahopac - Austin Road ES | NY | 60956.5 |  |  |  |  | 0
Mahopcac - Lakeview ES | NY | 7820.43 |  |  |  |  | 0

## Jan
Mahopac Central School District |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY |  |  |  | 0%
Mahopcac - Lakeview ES | NY

## Feb
Mahopac Central School District |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY
Mahopcac - Lakeview ES | NY

## Mar
Mahopac Central School District |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY
Mahopcac - Lakeview ES | NY

## Apr
Mahopac Central School District |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY
Mahopcac - Lakeview ES | NY

## May
Mahopac Central School District |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 45497.5 | 54376.7 | -8879.2 | -16.33% | 0 | 45497.5 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY | 45497.5 | 54376.7 | -8879.2 | -16.33% |  |  |  | 1.Inverter 2 (inverter 3 on Solaredge, SN: 7E89F60D) unit derating midday. | 1.SR102245
Mahopcac - Lakeview ES | NY

## Jun
Mahopac Central School District |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY
Mahopcac - Lakeview ES | NY

## Jul
Mahopac Central School District |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 56666.12 | 66456.329 | -9790.209 | -14.73% | 0 | 56666.12 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY | 56666.12 | 66456.329 | -9790.209 | -14.73% | N/A |  |  | 1.Inverter 2 (inverter 3 on Solaredge, SN: 7E89F60D) was unit derating midday for whole month. | 1.SR102245
Mahopcac - Lakeview ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was offline at 13:00 since 06/24 | 1.SR103414

## Aug
Mahopac Central School District |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 56891.83 | 67267.449 | -10375.619 | -15.42% | 0 | 56891.83 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY | 56891.83 | 67267.449 | -10375.619 | -15.42% | N/A |  |  | 1.Inverter 2 (inverter 3 on Solaredge, SN: 7E89F60D) unit derating midday for whole month. | 1.SR102245
Mahopcac - Lakeview ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was offline from 13:00 on 06/24 to end of the month. | 1. SR103414

## Sep
Mahopac Central School District |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 42959.888 | 51069.2 | -8109.312 | -15.88% | 0 | 42959.888 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Mahopac - Austin Road ES | NY | 42959.888 | 51069.2 | -8109.312 | -15.88% | N/A |  |  | 1.Inverter 2 was operating normally on 09/22 2.Inverter 2 right is underperforming by 15kW. On 09/22 technician confirmed Lower performance due to fewer optimizers. Firmware update completed. Confirmed with SE. | 1.SR102245 2.SR107701 | SR107701
Mahopcac - Lakeview ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was offline from 13:00 on 06/24 to end of the month. | 1. SR103414

## Oct
Mahopac Central School District |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 32871.2 | 41182.6 | -8311.4 | -20.18% | 0 | 32871.2 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Mahopac - Austin Road ES | NY | 32871.2 | 41182.6 | -8311.4 | -20.18% | N/A |  |  | 1..Inverter 2 right is underperforming by 15kW. On 09/22 technician confirmed Lower performance due to fewer optimizers. Firmware update completed. Confirmed with SE. | 1. SR107701 | 1.Closed
Mahopcac - Lakeview ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was offline from 13:00 on 06/24 to end of the month. | 1. SR103414 | 1.closed

## Nov
Mahopac Central School District |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 24021.5 | 26390.3 | -2368.8 | -8.976% | 0 | 24021.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Mahopac - Austin Road ES | NY | 20641.5 | 26390.3 | -5748.8 | -21.78% | N/A |  |  | 1.Inverter 2 right is underperforming by 15kW. On 09/22 technician confirmed Lower performance due to fewer optimizers. Firmware update completed. Confirmed with SE. | 1. SR107701 | 1.Closed
Mahopcac - Lakeview ES | NY | 3380 | N/A |  |  | N/A |  |  | 1.Site back online on 11/18 | 1. SR103414 | 1.Closed

## Dec
Mahopac Central School District |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 11884.23 | 25149.6 | -13265.37 | -52.75% | 0 | 11884.23 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Mahopac - Austin Road ES | NY | 7443.8 | 25149.6 | -17705.8 | -70.4% | N/A |  |  | 1.Inverter 2 right is underperforming by 15kW. On 09/22 technician confirmed Lower performance due to fewer optimizers. Firmware update completed. Confirmed with SE. | 1. SR107701 | 1.Closed
Mahopcac - Lakeview ES | NY | 4440.43 |  |  |  | N/A

## Sites
Portfolio: | Mahopac Central School District
Site DAS Name | Site | State | Update | DAS
NY: Mahopac - Austin Road ES | Mahopac - Austin Road ES | NY |  | PF Unity
NY: Mahopcac - Lakeview ES | Mahopcac - Lakeview ES | NY |  | PF Unity