## Year to Date
Pearson Venture Investments LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 146429 | 159471.673 | -13042.673 | -8.179% | 0 | 146429 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 146429 | 159471.673 | -13042.673 | -8.179% | 0 | 0

## 1st Qtr
Pearson Venture Investments LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 17215 | 30448.625 | -13233.625 | -43.46% | 0 | 17215 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 17215 | 30448.625 | -13233.625 | -43.46% | 0 | 0

## 2nd Qtr
Pearson Venture Investments LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 51225 | 49532.381 | 1692.619 | 3.417% | 0 | 51225 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 51225 | 49532.381 | 1692.619 | 3.417% | 0 | 0

## 3rd Qtr
Pearson Venture Investments LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 56587 | 54896.262 | 1690.738 | 3.08% | 0 | 56587 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 56587 | 54896.262 | 1690.738 | 3.08% | 0 | 0

## 4th Qtr
Pearson Venture Investments LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 21402 | 24594.405 | -3192.405 | -12.98% | 0 | 21402 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 21402 | 24594.405 | -3192.405 | -12.98% | 0 | 0

## Jan
Pearson Venture Investments LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 992 | 8157 | -7165 | -87.84% | 0 | 992 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 992 | 8157 | -7165 | -87.84% | N/A |  |  | 1.Inverter tripped offline at 8:45AM on 12/15/24 due to AC contactor (ABB 145-30) is fault and back online at 10:45 on 01/24/25 after technician replaced AC contactor. | 1.SR094687

## Feb
Pearson Venture Investments LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 2209 | 8625.9 | -6416.9 | -74.39% | 0 | 2209 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 2209 | 8625.9 | -6416.9 | -74.39% | N/A |  |  | 1.Low generation due to weather/snow on 02/09 to 02/25

## Mar
Pearson Venture Investments LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 14014 | 13665.725 | 348.275 | 2.549% | 0 | 14014 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 14014 | 13665.725 | 348.275 | 2.549% | N/A |  |  | 1.Inverters offline from 08:15 to 16:15 due to technician on site on 03/04. | 1. SR097756

## Apr
Pearson Venture Investments LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 17067 | 16379.148 | 687.852 | 4.2% | 0 | 17067 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 17067 | 16379.148 | 687.852 | 4.2% | N/A

## May
Pearson Venture Investments LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 15768 | 15249.131 | 518.869 | 3.403% | 0 | 15768 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 15768 | 15249.131 | 518.869 | 3.403% | N/A

## Jun
Pearson Venture Investments LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 18390 | 17904.102 | 485.898 | 2.714% | 0 | 18390 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 18390 | 17904.102 | 485.898 | 2.714% | N/A

## Jul
Pearson Venture Investments LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 20360 | 19755.696 | 604.304 | 3.059% | 0 | 20360 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 20360 | 19755.696 | 604.304 | 3.059% | N/A

## Aug
Pearson Venture Investments LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 20463 | 19809.014 | 653.986 | 3.301% | 0 | 20463 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 20463 | 19809.014 | 653.986 | 3.301% | N/A

## Sep
Pearson Venture Investments LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 15764 | 15331.552 | 432.448 | 2.821% | 0 | 15764 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 15764 | 15331.552 | 432.448 | 2.821% | N/A

## Oct
Pearson Venture Investments LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 11520 | 11500.791 | 19.209 | 0.167% | 0 | 11520 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 11520 | 11500.791 | 19.209 | 0.167% | N/A

## Nov
Pearson Venture Investments LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 6869 | 6934.19 | -65.19 | -0.9401% | 0 | 6869 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 6869 | 6934.19 | -65.19 | -0.9401% | N/A

## Dec
Pearson Venture Investments LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 3013 | 6159.424 | -3146.424 | -51.08% | 0 | 3013 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 3013 | 6159.424 | -3146.424 | -51.08% | N/A |  |  | 1.Site production was low on 12/02,12/03,12/14/12/15,12/24,12/29 due to snow

## Sites
Portfolio: | Pearson Venture Investments LLC
Site DAS Name | Site | State | Update | DAS
MA - Billerica - 2 Sterling Way | Pearson Venture Investments LLC | MA | AE | PowerTrack