## Year to Date
REC Solar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2027692.608 | 323446.485 | 1704246.123 | 526.9% | 349275.609 | 1678416.999 | 480.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Goodyear - Amazon GYR2 | AZ | 272517.602 | 280505.433 | -7987.831 | -2.848% | 280681.809 | -8164.207 | -2.909%
AZ: Tucson - Amazon - TUS2 | AZ | 306417 | 0 | 306417 |  | 0 | 0
CO: Denver - TruStile Doors | CO | 71590 | 0 | 71590 |  | 0 | 0
CO: Thornton - Amazon - DEN3 | CO | 340872 | 0 | 340872 |  | 0 | 0
CO: Greenwood Village - REC H5 Data Center | CO | 24874 | 0 | 24874 |  | 0 | 0
HI: Ewa Beach - Salvation Army Kroc Center | HI | 2555.306 | 0 | 2555.306 |  | 0 | 0
HI: Honolulu - Hawaii Foodbank | HI | 18597.8 | 25536.35 | -6938.55 | -27.17% | 27717.5 | -9119.7 | -32.9%
HI: Kailua-Kona - Home Depot #1704 | HI | 65521 | 0 | 65521 |  | 0 | 0
HI: Kapolei - Home Depot #1706 | HI | 20461 | 0 | 20461 |  | 0 | 0
HI: Laie - Polynesian Cultural Center | HI | 1358 | 0 | 1358 |  | 0 | 0
HI: Laie- BYU Hawaii (PW) | HI | 272811 | 0 | 272811 |  | 0 | 0
HI: Waianae - Makaha Surfside | HI | 18143.2 | 17404.7 | 738.5 | 4.243% | 21774.5 | -3631.3 | -16.68%
HI: Kahului - Home Depot #1703 | HI | 56778 | 0 | 56778 |  | 0 | 0
MA: Andover - Boston One Campus | MA | 8542.7 | 0.002 | 8542.698 | 427134900% | 19101.8 | -10559.1 | -55.28%
MA: Foxboro - Schneider Cocasset | MA | 12228 | 0 | 12228 |  | 0 | 0
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 84560 | 0 | 84560 |  | 0 | 0
MD: Sparrows Point - Amazon DCA1 | MD | 86650 | 0 | 86650 |  | 0 | 0
NJ: Piscataway - LVMH DC | NJ | 29273 | 0 | 29273 |  | 0 | 0
NM: Edgewood - Walmart #4201 | NM | 40525 | 0 | 40525 |  | 0 | 0
NM: Gallup - Walmart #906 | NM | 44983 | 0 | 44983 |  | 0 | 0
NV: Las Vegas - Amazon - LAS5 | NV | 39714 | 0 | 39714 |  | 0 | 0
RI: Narragansett - Anchor Storage | RI | 7720 | 0 | 7720 |  | 0 | 0
RI: North Kingstown - Walmart #2261 | RI | 20128 | 0 | 20128 |  | 0 | 0
RI: Warwick - Walmart #2373 | RI | 18698 | 0 | 18698 |  | 0 | 0
TX: Seguin - Niagara Bottling LLC | TX | 162175 | 0 | 162175 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## 1st Qtr
REC Solar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Goodyear - Amazon GYR2 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tucson - Amazon - TUS2 | AZ | 0 | 0 | 0 |  | 0 | 0
CO: Denver - TruStile Doors | CO | 0 | 0 | 0 |  | 0 | 0
CO: Thornton - Amazon - DEN3 | CO | 0 | 0 | 0 |  | 0 | 0
CO: Greenwood Village - REC H5 Data Center | CO | 0 | 0 | 0 |  | 0 | 0
HI: Ewa Beach - Salvation Army Kroc Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Honolulu - Hawaii Foodbank | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kailua-Kona - Home Depot #1704 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kapolei - Home Depot #1706 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie - Polynesian Cultural Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie- BYU Hawaii (PW) | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waianae - Makaha Surfside | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kahului - Home Depot #1703 | HI | 0 | 0 | 0 |  | 0 | 0
MA: Andover - Boston One Campus | MA | 0 | 0 | 0 |  | 0 | 0
MA: Foxboro - Schneider Cocasset | MA | 0 | 0 | 0 |  | 0 | 0
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 0 | 0 | 0 |  | 0 | 0
MD: Sparrows Point - Amazon DCA1 | MD | 0 | 0 | 0 |  | 0 | 0
NJ: Piscataway - LVMH DC | NJ | 0 | 0 | 0 |  | 0 | 0
NM: Edgewood - Walmart #4201 | NM | 0 | 0 | 0 |  | 0 | 0
NM: Gallup - Walmart #906 | NM | 0 | 0 | 0 |  | 0 | 0
NV: Las Vegas - Amazon - LAS5 | NV | 0 | 0 | 0 |  | 0 | 0
RI: Narragansett - Anchor Storage | RI | 0 | 0 | 0 |  | 0 | 0
RI: North Kingstown - Walmart #2261 | RI | 0 | 0 | 0 |  | 0 | 0
RI: Warwick - Walmart #2373 | RI | 0 | 0 | 0 |  | 0 | 0
TX: Seguin - Niagara Bottling LLC | TX | 0 | 0 | 0 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
REC Solar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Goodyear - Amazon GYR2 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tucson - Amazon - TUS2 | AZ | 0 | 0 | 0 |  | 0 | 0
CO: Denver - TruStile Doors | CO | 0 | 0 | 0 |  | 0 | 0
CO: Thornton - Amazon - DEN3 | CO | 0 | 0 | 0 |  | 0 | 0
CO: Greenwood Village - REC H5 Data Center | CO | 0 | 0 | 0 |  | 0 | 0
HI: Ewa Beach - Salvation Army Kroc Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Honolulu - Hawaii Foodbank | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kailua-Kona - Home Depot #1704 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kapolei - Home Depot #1706 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie - Polynesian Cultural Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie- BYU Hawaii (PW) | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waianae - Makaha Surfside | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kahului - Home Depot #1703 | HI | 0 | 0 | 0 |  | 0 | 0
MA: Andover - Boston One Campus | MA | 0 | 0 | 0 |  | 0 | 0
MA: Foxboro - Schneider Cocasset | MA | 0 | 0 | 0 |  | 0 | 0
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 0 | 0 | 0 |  | 0 | 0
MD: Sparrows Point - Amazon DCA1 | MD | 0 | 0 | 0 |  | 0 | 0
NJ: Piscataway - LVMH DC | NJ | 0 | 0 | 0 |  | 0 | 0
NM: Edgewood - Walmart #4201 | NM | 0 | 0 | 0 |  | 0 | 0
NM: Gallup - Walmart #906 | NM | 0 | 0 | 0 |  | 0 | 0
NV: Las Vegas - Amazon - LAS5 | NV | 0 | 0 | 0 |  | 0 | 0
RI: Narragansett - Anchor Storage | RI | 0 | 0 | 0 |  | 0 | 0
RI: North Kingstown - Walmart #2261 | RI | 0 | 0 | 0 |  | 0 | 0
RI: Warwick - Walmart #2373 | RI | 0 | 0 | 0 |  | 0 | 0
TX: Seguin - Niagara Bottling LLC | TX | 0 | 0 | 0 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
REC Solar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Goodyear - Amazon GYR2 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tucson - Amazon - TUS2 | AZ | 0 | 0 | 0 |  | 0 | 0
CO: Denver - TruStile Doors | CO | 0 | 0 | 0 |  | 0 | 0
CO: Thornton - Amazon - DEN3 | CO | 0 | 0 | 0 |  | 0 | 0
CO: Greenwood Village - REC H5 Data Center | CO | 0 | 0 | 0 |  | 0 | 0
HI: Ewa Beach - Salvation Army Kroc Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Honolulu - Hawaii Foodbank | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kailua-Kona - Home Depot #1704 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kapolei - Home Depot #1706 | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie - Polynesian Cultural Center | HI | 0 | 0 | 0 |  | 0 | 0
HI: Laie- BYU Hawaii (PW) | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waianae - Makaha Surfside | HI | 0 | 0 | 0 |  | 0 | 0
HI: Kahului - Home Depot #1703 | HI | 0 | 0 | 0 |  | 0 | 0
MA: Andover - Boston One Campus | MA | 0 | 0 | 0 |  | 0 | 0
MA: Foxboro - Schneider Cocasset | MA | 0 | 0 | 0 |  | 0 | 0
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 0 | 0 | 0 |  | 0 | 0
MD: Sparrows Point - Amazon DCA1 | MD | 0 | 0 | 0 |  | 0 | 0
NJ: Piscataway - LVMH DC | NJ | 0 | 0 | 0 |  | 0 | 0
NM: Edgewood - Walmart #4201 | NM | 0 | 0 | 0 |  | 0 | 0
NM: Gallup - Walmart #906 | NM | 0 | 0 | 0 |  | 0 | 0
NV: Las Vegas - Amazon - LAS5 | NV | 0 | 0 | 0 |  | 0 | 0
RI: Narragansett - Anchor Storage | RI | 0 | 0 | 0 |  | 0 | 0
RI: North Kingstown - Walmart #2261 | RI | 0 | 0 | 0 |  | 0 | 0
RI: Warwick - Walmart #2373 | RI | 0 | 0 | 0 |  | 0 | 0
TX: Seguin - Niagara Bottling LLC | TX | 0 | 0 | 0 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
REC Solar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 2027692.608 | 323446.485 | 1704246.123 | 526.9% | 349275.609 | 1678416.999 | 480.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Goodyear - Amazon GYR2 | AZ | 272517.602 | 280505.433 | -7987.831 | -2.848% | 280681.809 | -8164.207 | -2.909%
AZ: Tucson - Amazon - TUS2 | AZ | 306417 | 0 | 306417 |  | 0 | 0
CO: Denver - TruStile Doors | CO | 71590 | 0 | 71590 |  | 0 | 0
CO: Thornton - Amazon - DEN3 | CO | 340872 | 0 | 340872 |  | 0 | 0
CO: Greenwood Village - REC H5 Data Center | CO | 24874 | 0 | 24874 |  | 0 | 0
HI: Ewa Beach - Salvation Army Kroc Center | HI | 2555.306 | 0 | 2555.306 |  | 0 | 0
HI: Honolulu - Hawaii Foodbank | HI | 18597.8 | 25536.35 | -6938.55 | -27.17% | 27717.5 | -9119.7 | -32.9%
HI: Kailua-Kona - Home Depot #1704 | HI | 65521 | 0 | 65521 |  | 0 | 0
HI: Kapolei - Home Depot #1706 | HI | 20461 | 0 | 20461 |  | 0 | 0
HI: Laie - Polynesian Cultural Center | HI | 1358 | 0 | 1358 |  | 0 | 0
HI: Laie- BYU Hawaii (PW) | HI | 272811 | 0 | 272811 |  | 0 | 0
HI: Waianae - Makaha Surfside | HI | 18143.2 | 17404.7 | 738.5 | 4.243% | 21774.5 | -3631.3 | -16.68%
HI: Kahului - Home Depot #1703 | HI | 56778 | 0 | 56778 |  | 0 | 0
MA: Andover - Boston One Campus | MA | 8542.7 | 0.002 | 8542.698 | 427134900% | 19101.8 | -10559.1 | -55.28%
MA: Foxboro - Schneider Cocasset | MA | 12228 | 0 | 12228 |  | 0 | 0
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 84560 | 0 | 84560 |  | 0 | 0
MD: Sparrows Point - Amazon DCA1 | MD | 86650 | 0 | 86650 |  | 0 | 0
NJ: Piscataway - LVMH DC | NJ | 29273 | 0 | 29273 |  | 0 | 0
NM: Edgewood - Walmart #4201 | NM | 40525 | 0 | 40525 |  | 0 | 0
NM: Gallup - Walmart #906 | NM | 44983 | 0 | 44983 |  | 0 | 0
NV: Las Vegas - Amazon - LAS5 | NV | 39714 | 0 | 39714 |  | 0 | 0
RI: Narragansett - Anchor Storage | RI | 7720 | 0 | 7720 |  | 0 | 0
RI: North Kingstown - Walmart #2261 | RI | 20128 | 0 | 20128 |  | 0 | 0
RI: Warwick - Walmart #2373 | RI | 18698 | 0 | 18698 |  | 0 | 0
TX: Seguin - Niagara Bottling LLC | TX | 162175 | 0 | 162175 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## Jan
REC Solar |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Feb
REC Solar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Mar
REC Solar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Apr
REC Solar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## May
REC Solar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Jun
REC Solar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Jul
` |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Aug
REC Solar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Sep
REC Solar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Oct
REC Solar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Nov
REC Solar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
AZ: Goodyear - Amazon GYR2 | AZ
AZ: Tucson - Amazon - TUS2 | AZ
CO: Denver - TruStile Doors | CO
CO: Thornton - Amazon - DEN3 | CO
CO: Greenwood Village - REC H5 Data Center | CO
HI: Ewa Beach - Salvation Army Kroc Center | HI
HI: Honolulu - Hawaii Foodbank | HI
HI: Kailua-Kona - Home Depot #1704 | HI
HI: Kapolei - Home Depot #1706 | HI
HI: Laie - Polynesian Cultural Center | HI
HI: Laie- BYU Hawaii (PW) | HI
HI: Waianae - Makaha Surfside | HI
HI: Kahului - Home Depot #1703 | HI
MA: Andover - Boston One Campus | MA
MA: Foxboro - Schneider Cocasset | MA
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD
MD: Sparrows Point - Amazon DCA1 | MD
NJ: Piscataway - LVMH DC | NJ
NM: Edgewood - Walmart #4201 | NM
NM: Gallup - Walmart #906 | NM
NV: Las Vegas - Amazon - LAS5 | NV
RI: Narragansett - Anchor Storage | RI
RI: North Kingstown - Walmart #2261 | RI
RI: Warwick - Walmart #2373 | RI
TX: Seguin - Niagara Bottling LLC | TX

## Dec
REC Solar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 2027692.608 | 323446.485 | 1704246.123 | 526.9% | 349275.609 | 1678416.999 | 480.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
AZ: Goodyear - Amazon GYR2 | AZ | 272517.602 | 280505.433 | -7987.831 | -2.848% | 280681.809 | -8164.207 | -2.909%
AZ: Tucson - Amazon - TUS2 | AZ | 306417 | N/A |  |  | N/A |  |  | 1.Inverter 9D was LOTO'd for whole month. | 1.SR113193 | 1.pending
CO: Denver - TruStile Doors | CO | 71590 | N/A |  |  | N/A
CO: Thornton - Amazon - DEN3 | CO | 340872 | N/A |  |  | N/A |  |  | 1.Inverter 30 tripped offline on 09/13/25. 2. Inverter A26 tripped offline for whole month. | 1.SR113197 2. SR113670 | 1.Pending 2.Pending | SR113670
CO: Greenwood Village - REC H5 Data Center | CO | 24874 | N/A |  |  | N/A
HI: Ewa Beach - Salvation Army Kroc Center | HI | 2555.306 | N/A |  |  | N/A |  |  | 1. Inverter 1-7 and 10 stopped communicating 7/30, inverter 9 stopped communicating 9/4, inverter 8 stopped communicating 11/20 and No meter was available to verify the values. | 1. SR113199, SR112265 | 1. Closed, Pending | SR112265
HI: Honolulu - Hawaii Foodbank | HI | 18597.8 | 25536.35 | -6938.55 | -27.17% | 27717.5 | -9119.7 | -32.9% | 1. Inverters 7 and 10 were underproduced by 5kW each for whole month. | 1. SR114688 | 1. New
HI: Kailua-Kona - Home Depot #1704 | HI | 65521 | N/A |  |  | N/A
HI: Kapolei - Home Depot #1706 | HI | 20461 | N/A |  |  | N/A |  |  | 1.Site has stopped communicating at 11:40 on 12/13 and also Inverter 5 is derating midday; likely a fan issue through out the month | 1.SR113208 | 1.Closed
HI: Laie - Polynesian Cultural Center | HI | 1358 | N/A |  |  | N/A |  |  | 1.Inverter 1 was offline from 12/23 to end of the month. 2. Inverters 2 to 8 were not communicated for whole month. | 1. SR113606 2. SR112267 | 1.closed 2. Pending | SR112267
HI: Laie- BYU Hawaii (PW) | HI | 272811 | N/A |  |  | N/A |  |  | 1.Inverters 5G,7G,3E,4E,01D,3D,1C,2C,3C,4C,5C,6C,7C,2B,4B,6B was offline 2. Inverters Invs 4G, 5G, 4E, and 1-7C are not communicating. Admin Aloha Meter not communicating. 3.Inverter 11G offline, reporting inverter stopped since 12/26. Inverter 11F offline, reporting inverter stopped since 12/28. | 1. SR112273 2. SR113204 3.SR113759 | 1.Pending 2.Closed 3.Closed | SR113204 | SR113759
HI: Waianae - Makaha Surfside | HI | 18143.2 | 17404.7 | 738.5 | 4.243% | 21774.5 | -3631.3 | -16.68% | 1.Inverters 4 and 8 appear to be down a string each. | 1. SR112226 | 1.Pending
HI: Kahului - Home Depot #1703 | HI | 56778 | N/A |  |  | N/A
MA: Andover - Boston One Campus | MA | 8542.7 | 0.002 | 8542.698 | 427134900% | 19101.8 | -10559.1 | -55.28% | 1. Site production was low on 12/02 to 12/10, 12/14, 12/19, 12/23 to 12/30 due to snow 2. IMT Reference cell 2w/ Tmodule(LOT A&B), Roof 2 IMT Reference cell w/ Tmodule(North), Roof 1 IMT Reference cell w/ Tmodule(South) were not communicated for whole month. | 2. SR114693 | 2. New
MA: Foxboro - Schneider Cocasset | MA | 12228 | N/A |  |  | N/A
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD | 84560 | N/A |  |  | N/A |  |  | 1. Inverters 64-76 being isolated due to a canopy strike and inverter 11 being possibly offline. 2.The weather station is not communicating and lost communications from 17:25 on 7/23/25. | 1. SR113200 2. SR114012 | 1.pending 2.Pending | SR114012
MD: Sparrows Point - Amazon DCA1 | MD | 86650 | N/A |  |  | N/A |  |  | 1. The weather station is not communicating from 02:45 on 11/25. | 1.SR114032 | 1.pending
NJ: Piscataway - LVMH DC | NJ | 29273 | N/A |  |  | N/A
NM: Edgewood - Walmart #4201 | NM | 40525 | N/A |  |  | N/A |  |  | 1.Inverter 1 is underproducing by about 20kw. Down 10kw beginning 7/31/24, down 20kw beginning 6/09/25. | 1.SR114385 | 1.Pending
NM: Gallup - Walmart #906 | NM | 44983 | N/A |  |  | N/A
NV: Las Vegas - Amazon - LAS5 | NV | 39714 | N/A |  |  | N/A |  |  | 1.Inverters 3, 7, and 9 are not communicating and may be offline. Inverters 3 lost comms on 11/25/24. Inv 7 lost comms on 09/18/25. Inv 9 lost comms on 07/01/25 | 1.SR113211 | 1.Pending
RI: Narragansett - Anchor Storage | RI | 7720 | N/A |  |  | N/A |  |  | 1.Inverter 4 is offline since 04/05 and inverter 5 offline since 11/18. On 12/23 technician worked on Inverter 4 has been RMA'd and inverter 5 has been re-energized. | 1.SR113373 | 1.closed
RI: North Kingstown - Walmart #2261 | RI | 20128 | N/A |  |  | N/A |  |  | 1.Weather station lost communication | 1.SR113352 | 1.Closed
RI: Warwick - Walmart #2373 | RI | 18698 | N/A |  |  | N/A
TX: Seguin - Niagara Bottling LLC | TX | 162175 | N/A |  |  | N/A |  |  | 1. Inverter C6 being LOTO'd and meters were also not communicated for whole month. PAD C ad PAD D inverters were not communicated for whole month due to Data logger need to be replaced. 2. The actual value was taken from PAD A and PAD B inverters as the Meter, PAD C and PAD D inverters were not communicating | 1. SR112263, SR113988 | 1. Closed, Pending | SR113988

## Sites
Portfolio: | REC Solar
Site DAS Name | Site | State | Update | DAS
AZ: Goodyear - Amazon GYR2 | AZ: Goodyear - Amazon GYR2 | AZ |  | Powertrack
AZ: Tucson - Amazon - TUS2 | AZ: Tucson - Amazon - TUS2 | AZ |  | Green Power Monitor
CO: Denver - TruStile Doors | CO: Denver - TruStile Doors | CO |  | Green Power Monitor
CO: Thornton - Amazon - DEN3 | CO: Thornton - Amazon - DEN3 | CO |  | Green Power Monitor
CO: Greenwood Village - REC H5 Data Center | CO: Greenwood Village - REC H5 Data Center | CO |  | Green Power Monitor
HI: Ewa Beach - Salvation Army Kroc Center | HI: Ewa Beach - Salvation Army Kroc Center | HI |  | SolarEdge Platform
HI: Honolulu - Hawaii Foodbank | HI: Honolulu - Hawaii Foodbank | HI |  | Also Energy
HI: Kailua-Kona - Home Depot #1704 | HI: Kailua-Kona - Home Depot #1704 | HI |  | Green Power Monitor
HI: Kapolei - Home Depot #1706 | HI: Kapolei - Home Depot #1706 | HI |  | Green Power Monitor
HI: Laie - Polynesian Cultural Center | HI: Laie - Polynesian Cultural Center | HI |  | SolarEdge Platform
HI: Laie- BYU Hawaii (PW) | HI: Laie- BYU Hawaii (PW) | HI |  | Green Power Monitor
HI: Waianae - Makaha Surfside | HI: Waianae - Makaha Surfside | HI |  | Also Energy
HI: Kahului - Home Depot #1703 | HI: Kahului - Home Depot #1703 | HI |  | Green Power Monitor
MA: Andover - Boston One Campus | MA: Andover - Boston One Campus | MA |  | Also Energy
MA: Foxboro - Schneider Cocasset | MA: Foxboro - Schneider Cocasset | MA |  | Green Power Monitor
MD: Gaithersburg - Montgomery Cnty - PSHQ | MD: Gaithersburg - Montgomery Cnty - PSHQ | MD |  | Green Power Monitor
MD: Sparrows Point - Amazon DCA1 | MD: Sparrows Point - Amazon DCA1 | MD |  | Green Power Monitor
NJ: Piscataway - LVMH DC | NJ: Piscataway - LVMH DC | NJ |  | Green Power Monitor
NM: Edgewood - Walmart #4201 | NM: Edgewood - Walmart #4201 | NM |  | Green Power Monitor
NM: Gallup - Walmart #906 | NM: Gallup - Walmart #906 | NM |  | Green Power Monitor
NV: Las Vegas - Amazon - LAS5 | NV: Las Vegas - Amazon - LAS5 | NV |  | Green Power Monitor
RI: Narragansett - Anchor Storage | RI: Narragansett - Anchor Storage | RI |  | Green Power Monitor
RI: North Kingstown - Walmart #2261 | RI: North Kingstown - Walmart #2261 | RI |  | Green Power Monitor
RI: Warwick - Walmart #2373 | RI: Warwick - Walmart #2373 | RI |  | Green Power Monitor
TX: Seguin - Niagara Bottling LLC | TX: Seguin - Niagara Bottling LLC | TX |  | Green Power Monitor