## Year to Date
MA: Plymouth - Seacoast Realty |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 76730 | 342651.427 | -265921.427 | -77.61% | 0 | 76730 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 76730 | 342651.427 | -265921.427 | -77.61% | 0 | 0

## 1st Qtr
MA: Plymouth - Seacoast Realty |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 76730 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 0

## 2nd Qtr
MA: Plymouth - Seacoast Realty |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 161501.432 | -161501.432 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 161501.432 | -161501.432 | -100% | 0 | 0

## 3rd Qtr
MA: Plymouth - Seacoast Realty |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MA: Plymouth - Seacoast Realty |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 72206.555 | -72206.555 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 72206.555 | -72206.555 | -100% | 0 | 0

## Jan
MA: Plymouth - Seacoast Realty |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 22040 | 31721.37 | -9681.37 | -30.52% | 0 | 22040 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 22040 | 31721.37 | -9681.37 | -30.52% | N/A |  |  | 1. Low generation due to snow/rain.

## Feb
MA: Plymouth - Seacoast Realty |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 27840 | 32921.55 | -5081.55 | -15.44% | 0 | 27840 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 27840 | 32921.55 | -5081.55 | -15.44% | N/A |  |  | 1. Low generation due to snow/rain.

## Mar
MA: Plymouth - Seacoast Realty |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 26850 | 44300.52 | -17450.52 | -39.39% | 0 | 26850 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 26850 | 44300.52 | -17450.52 | -39.39% | N/A |  |  | 1. Inverter 1 started late for production on 03/09 due to "DC voltage too high Wait for grid" and selfresolved on 03/09 at 10:30AM. 2. The site tripped offline at 7:30 AM on 03/18. Following a thermal event investigation on 03/19, the site will remain offline. While panel damage appears minimal, the wiring insulation may be compromised. Further investigation and repairs are required before safely re-energizing the site. | 1. SR098309 2. SR098691 | SR098691

## Apr
MA: Plymouth - Seacoast Realty |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 49780.001 | -49780.001 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 49780.001 | -49780.001 | -100% | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## May
MA: Plymouth - Seacoast Realty |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 53928.25 | -53928.25 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 53928.25 | -53928.25 | -100% | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## Jun
MA: Plymouth - Seacoast Realty |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 57793.181 | -57793.181 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 57793.181 | -57793.181 | -100% | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## Jul
MA: Plymouth - Seacoast Realty |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## Aug
MA: Plymouth - Seacoast Realty |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## Sep
MA: Plymouth - Seacoast Realty |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691

## Oct
MA: Plymouth - Seacoast Realty |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 19103.437 | -19103.437 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
MA: Plymouth - Seacoast Realty | MA | 0 | 19103.437 | -19103.437 | -100% | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691 | 1.Closed

## Nov
MA: Plymouth - Seacoast Realty |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 27262.568 | -27262.568 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
MA: Plymouth - Seacoast Realty | MA | 0 | 27262.568 | -27262.568 | -100% | N/A |  |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691 | 1.Closed

## Dec
MA: Plymouth - Seacoast Realty |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 25840.55 | -25840.55 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 0 | 25840.55 | -25840.55 | -100% | 0 | 0 |  | 1. Site was offline from 03/18 to through out the month due to thermal event. | 1. SR098691 | 1.Closed

## Sites
Portfolio: | MA: Plymouth - Seacoast Realty
Site DAS Name | Site | State | Update | DAS
CDF (77 Industrial Park, Plymouth) | MA: Plymouth - Seacoast Realty | MA | AE | PowerTrack