## Year to Date
Yankee Sprinkler |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 197264.6435 | 0 | 197264.6435 | 0% | 215661.909 | -18397.2655 | -8.531%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 181531.625 | 0 | 181531.625 |  | 215661.909 | -34130.284 | -15.83%
Yankee Phase 2 | MA | 15733.0185 | 0 | 15733.0185 |  | 0 | 0

## 1st Qtr
Yankee Sprinkler |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 43100.5834 | 0 | 43100.5834 | 0% | 40075.24 | 3025.3434 | 7.549%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 27367.5649 | 0 | 27367.5649 |  | 40075.24 | -12707.6751 | -31.71%
Yankee Phase 2 | MA | 15733.0185 | 0 | 15733.0185 |  | 0 | 0

## 2nd Qtr
Yankee Sprinkler |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 97011.135 | 0 | 97011.135 | 0% | 73639.591 | 23371.544 | 31.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 64590.125 | 0 | 64590.125 |  | 73639.591 | -9049.466 | -12.29%
Yankee Phase 2 | MA | 32421.01 | 0 | 32421.01 |  | 0 | 0

## 3rd Qtr
Yankee Sprinkler |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 98567.5526 | 0 | 98567.5526 | 0% | 70755.071 | 27812.4817 | 39.31%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 65323.0101 | 0 | 65323.0101 |  | 70755.071 | -5432.0609 | -7.677%
Yankee Phase 2 | MA | 33244.5426 | 0 | 33244.5426 |  | 0 | 0

## 4th Qtr
Yankee Sprinkler |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 37766.693 | 0 | 37766.693 | 0% | 31192.007 | 6574.686 | 21.08%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 24250.925 | 0 | 24250.925 |  | 31192.007 | -6941.082 | -22.25%
Yankee Phase 2 | MA | 13515.768 | 0 | 13515.768 |  | 0 | 0

## Jan
Yankee Sprinkler |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 8146.373 | 0 | 8146.373 | 0% | 9310.4 | -1164.027 | -12.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 5093.965 | N/A |  |  | 9310.4 | -4216.435 | -45.29% | 1. Site production was low on 01/20 to 01/28 due to rain.
Yankee Phase 2 | MA | 3052.408 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Feb
Yankee Sprinkler |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 11707.275 | 0 | 11707.275 | 0% | 12380.68 | -673.405 | -5.439%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 7580.31 | N/A |  |  | 12380.68 | -4800.37 | -38.77% | 1. Site production was low on 02/09 to 02/14 due to rain.
Yankee Phase 2 | MA | 4126.965 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Mar
Yankee Sprinkler |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 23246.9354 | 0 | 23246.9354 | 0% | 18384.16 | 4862.7754 | 26.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 14693.2899 | N/A |  |  | 18384.16 | -3690.8701 | -20.08% | 1. Inverter 3 tripped offline at 9:15am on 03/07 reporting AC Voltage too low. After remote reset inverter back online at 11:15 on 03/07 2. Inverter 1 tripped offline at 10:00 on 03/13 reporting Power output outside specified limits. technician replaced relay board and inverter back online at 09:00 on 03/26 | 1. SR098256 2.SR098498 | SR098498
Yankee Phase 2 | MA | 8553.6455 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Apr
Yankee Sprinkler |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 30490.68 | 0 | 30490.68 | 0% | 21503.87 | 8986.81 | 41.79%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 20166.585 | N/A |  |  | 21503.87 | -1337.285 | -6.219%
Yankee Phase 2 | MA | 10324.095 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1. SR092525

## May
Yankee Sprinkler |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 32024.245 | 0 | 32024.245 | 0% | 25748.952 | 6275.293 | 24.37%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 21365.38 | N/A |  |  | 25748.952 | -4383.572 | -17.02% | 1. Site has low production/generation on 05/05,05/06, 05/09,05/10,05/20,05/21,05/22,05/25, and 05/29 due to low irradiance.
Yankee Phase 2 | MA | 10658.865 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1. SR092525

## Jun
Yankee Sprinkler |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 34496.21 | 0 | 34496.21 | 0% | 26386.769 | 8109.441 | 30.73%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 23058.16 | 0 | 23058.16 |  | 26386.769 | -3328.609 | -12.61% | 1. Site has low production/generation on 06/07,06/10,06/14,06/26, and 06/28 due to low irradiance.
Yankee Phase 2 | MA | 11438.05 | 0 | 11438.05 |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1. SR092525

## Jul
Yankee Sprinkler |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 36219.6701 | 0 | 36219.6701 | 0% | 27305 | 8914.6701 | 32.65%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 24215.395 | N/A |  |  | 27305 | -3089.605 | -11.32% | 1. Site has low production/generation on 07/10 and 07/15 due to low irradiance.
Yankee Phase 2 | MA | 12004.2751 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Aug
Yankee Sprinkler |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 36128.0426 | 0 | 36128.0426 | 0% | 24659.32 | 11468.7226 | 46.51%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 23901.8201 | N/A |  |  | 24659.32 | -757.4999 | -3.072%
Yankee Phase 2 | MA | 12226.2225 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Sep
Yankee Sprinkler |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 26219.84 | 0 | 26219.84 | 0% | 18790.751 | 7429.089 | 39.54%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 17205.795 | 0 | 17205.795 |  | 18790.751 | -1584.956 | -8.435%
Yankee Phase 2 | MA | 9014.045 | 0 | 9014.045 |  | N/A

## Oct
Yankee Sprinkler |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 18633.121 | 0 | 18633.121 | 0% | 14417.938 | 4215.183 | 29.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 12130.96 | N/A |  |  | 14417.938 | -2286.978 | -15.86%
Yankee Phase 2 | MA | 6502.161 | N/A |  |  | N/A

## Nov
Yankee Sprinkler |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 11414.672 | 0 | 11414.672 | 0% | 9034.269 | 2380.403 | 26.35%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 7335.865 | N/A |  |  | 9034.269 | -1698.404 | -18.8%
Yankee Phase 2 | MA | 4078.807 | N/A |  |  | N/A

## Dec
Yankee Sprinkler |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 7718.9 | 0 | 7718.9 | 0% | 7739.8 | -20.9 | -0.27%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 4784.1 | 0 | 4784.1 |  | 7739.8 | -2955.7 | -38.19% | 1. Site has low production on 12/02, 12/14 to 12/17, 12/19, 12/27 to 12/29 due to snow. 2. Inverter 3 was underproduced by approximately 10kW. | 2. SR064251 | 2. Closed
Yankee Phase 2 | MA | 2934.8 | 0 | 2934.8 |  | N/A |  |  | 1. Site has low production on 12/02, 12/14 to 12/17, 12/19, 12/27 to 12/29 due to snow. 2.Inverter 1 was performing low compared to peers due to several optimizers underperformance. | 2. SR092525 | 2. Pending

## Sites
Portfolio: | Yankee Sprinkler
Site DAS Name | Site | State | Update | DAS
Yankee Sprinkler Phase 1 | Yankee Phase 1 | MA |  | PowerTrack
Yankee Sprinkler Phase 2 | Yankee Phase 2 | MA |  | PowerTrack