## Year to Date
MRWSSD - Park City UT |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 7610.4646 | 112503.086 | -104892.6214 | -93.24% | 75123.444 | -67512.9794 | -89.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
UT: Park City - Signal Hill Floating | UT | 7610.4646 | 112503.086 | -104892.6214 | -93.24% | 75123.444 | -67512.9794 | -89.87%

## 1st Qtr
MRWSSD - Park City UT |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 7610.4646 | 112503.086 | -104892.6214 | -93.24% | 75123.444 | -67512.9794 | -89.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
UT: Park City - Signal Hill Floating | UT | 7610.4646 | 112503.086 | -104892.6214 | -93.24% | 75123.444 | -67512.9794 | -89.87%

## 2nd Qtr
MRWSSD - Park City UT |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
UT: Park City - Signal Hill Floating | UT | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MRWSSD - Park City UT |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
UT: Park City - Signal Hill Floating | UT | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MRWSSD - Park City UT |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
UT: Park City - Signal Hill Floating | UT | 0 | 0 | 0 |  | 0 | 0

## Jan
MRWSSD - Park City UT |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 43.9766 | 56044.05 | -56000.0734 | -99.92% | 29841.08 | -29797.1034 | -99.85%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT | 43.9766 | 56044.05 | -56000.0734 | -99.92% | 29841.08 | -29797.1034 | -99.85% | 1. Inverters dropping in and out of production regularly from 12/03. Inverters were reset on 01/23 but the production is still down as the site is covered in snow | 1. SR093826

## Feb
MRWSSD - Park City UT |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 7566.488 | 56459.036 | -48892.548 | -86.6% | 45282.364 | -37715.876 | -83.29%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT | 7566.488 | 56459.036 | -48892.548 | -86.6% | 45282.364 | -37715.876 | -83.29% | 1. Inverters have been dropping in and out of production since 12/03. They were reset on 01/23, but production remained down due to snow coverage. On 02/25/25, the site returned to expected production after the weather event. | 1. SR093826

## Mar
MRWSSD - Park City UT |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Apr
MRWSSD - Park City UT |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## May
MRWSSD - Park City UT |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Jun
MRWSSD - Park City UT |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Jul
MRWSSD - Park City UT |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Aug
MRWSSD - Park City UT |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Sep
MRWSSD - Park City UT |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Oct
MRWSSD - Park City UT |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Nov
MRWSSD - Park City UT |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Dec
MRWSSD - Park City UT |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
UT: Park City - Signal Hill Floating | UT

## Sites
Portfolio: | MRWSSD - Park City UT
Site DAS Name | Site | State | Update | DAS
Signal Hill WTP | UT: Park City - Signal Hill Floating | UT | AEF | PowerTrack