## Year to Date
Wells Fargo |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total | 2546638.6967 | 2643015.5766 | -96376.8799 | -3.646% | 2814467.463 | -267828.7663 | -9.516%
Site | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 180773.1696 | 182239.168 | -1465.9984 | -0.8044% | 187305.606 | -6532.4364 | -3.488%
CO | 29352.0104 | 0 | 29352.0104 |  | 29067.13 | 284.8804 | 0.9801%
CT | 582.4829 | 3409.6585 | -2827.1756 | -82.92% | 1568.1341 | -985.6512 | -62.86%
FL | 4940.0093 | 5930.473 | -990.4637 | -16.7% | 7155 | -2214.9907 | -30.96%
IA | 346711 | 414493.15 | -67782.15 | -16.35% | 346475.96 | 235.04 | 0.06784%
NC | 463797 | 493575.45 | -29778.45 | -6.033% | 481409.516 | -17612.516 | -3.659%
NJ | 88738.2388 | 98627.3591 | -9889.1203 | -10.03% | 92306.3969 | -3568.1581 | -3.866%
TX | 938044.1758 | 1047549.777 | -109505.6012 | -10.45% | 1118245.7 | -180201.5242 | -16.11%
AZ | 493700.6099 | 397190.541 | 96510.0689 | 24.3% | 550934.02 | -57233.4101 | -10.39%

## 1st Qtr
Wells Fargo |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total | 2546638.6967 | 2643015.5766 | -96376.8799 | -3.646% | 2814467.463 | -267828.7663 | -9.516%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 180773.1696 | 182239.168 | -1465.9984 | -0.8044% | 187305.606 | -6532.4364 | -3.488%
CO | 29352.0104 | 0 | 29352.0104 |  | 29067.13 | 284.8804 | 0.9801%
CT | 582.4829 | 3409.6585 | -2827.1756 | -82.92% | 1568.1341 | -985.6512 | -62.86%
FL | 4940.0093 | 5930.473 | -990.4637 | -16.7% | 7155 | -2214.9907 | -30.96%
IA | 346711 | 414493.15 | -67782.15 | -16.35% | 346475.96 | 235.04 | 0.06784%
NC | 463797 | 493575.45 | -29778.45 | -6.033% | 481409.516 | -17612.516 | -3.659%
NJ | 88738.2388 | 98627.3591 | -9889.1203 | -10.03% | 92306.3969 | -3568.1581 | -3.866%
TX | 938044.1758 | 1047549.777 | -109505.6012 | -10.45% | 1118245.7 | -180201.5242 | -16.11%
AZ | 493700.6099 | 397190.541 | 96510.0689 | 24.3% | 550934.02 | -57233.4101 | -10.39%

## 2nd Qtr
Wells Fargo |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 0 | 0 | 0 |  | 0 | 0
CO | 0 | 0 | 0 |  | 0 | 0
CT | 0 | 0 | 0 |  | 0 | 0
FL | 0 | 0 | 0 |  | 0 | 0
IA | 0 | 0 | 0 |  | 0 | 0
NC | 0 | 0 | 0 |  | 0 | 0
NJ | 0 | 0 | 0 |  | 0 | 0
TX | 0 | 0 | 0 |  | 0 | 0
AZ | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Wells Fargo |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 0 | 0 | 0 |  | 0 | 0
CO | 0 | 0 | 0 |  | 0 | 0
CT | 0 | 0 | 0 |  | 0 | 0
FL | 0 | 0 | 0 |  | 0 | 0
IA | 0 | 0 | 0 |  | 0 | 0
NC | 0 | 0 | 0 |  | 0 | 0
NJ | 0 | 0 | 0 |  | 0 | 0
TX | 0 | 0 | 0 |  | 0 | 0
AZ | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Wells Fargo |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 0 | 0 | 0 |  | 0 | 0
CO | 0 | 0 | 0 |  | 0 | 0
CT | 0 | 0 | 0 |  | 0 | 0
FL | 0 | 0 | 0 |  | 0 | 0
IA | 0 | 0 | 0 |  | 0 | 0
NC | 0 | 0 | 0 |  | 0 | 0
NJ | 0 | 0 | 0 |  | 0 | 0
TX | 0 | 0 | 0 |  | 0 | 0
AZ | 0 | 0 | 0 |  | 0 | 0

## Jan
Wells Fargo |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 972194.2784 | 1090495.0665 | -118300.7881 | -10.85% | 1037915.6683 | -65721.3899 | -6.332%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA | 501.8 | 0 | 501.8 |  | 661 | -159.2 | -24.08% | 1.Low generation due to weather/snow.
Otay Mesa | CA | 0 | 0 | 0 |  | 0 | 0
San Leandro | CA | 25601 | 35709.12 | -10108.12 | -28.31% | 22352.73 | 3248.27 | 14.53% | 1.Inverter 4 underperforming by 7kW since 06/11, down 2 strings. Dispatch has been scheduled. Inverter 2 underperforming by 3kW since 05/10, down 1 string. Dispatch has been scheduled. Inverter 7 underperforming by 3kW since 09/09, down 1 string. Dispatch has been scheduled. 2.The inverter 3 has a history of wire box damage, so a complete inverter and wire box upgrade was required. The current wire box string fuse configuration was not acceptable. So, Inverter 3 has been undergoing an RMA process since 07/26/24. | 1.SR091496 2.SR088261 | SR088261
Van Nuys | CA | 914 | 0 | 914 |  | 1320.568 | -406.568 | -30.79%
98th & Grant | CO | 468.1 | 0 | 468.1 |  | 1170 | -701.9 | -59.99%
Arapahoe Crossings | CO | 1869.1064 | 0 | 1869.1064 |  | 2127.951 | -258.8446 | -12.16%
Aurora City Center | CO | 976.1 | 0 | 976.1 |  | 1050 | -73.9 | -7.038%
Dry Creek | CO | 1116.8 | 0 | 1116.8 |  | 1261 | -144.2 | -11.44%
Highlands Ranch S. | CO | 875.3 | 0 | 875.3 |  | 1109 | -233.7 | -21.07% | 1.Low generation due to weather/snow.
Lone Tree | CO | 1474.8 | 0 | 1474.8 |  | 2554 | -1079.2 | -42.26% | 1.Low generation due to weather/snow.
Meridian | CO | 1503.6 | 0 | 1503.6 |  | 1505 | -1.4 | -0.09302%
Southglenn | CO | 1413.4 | 0 | 1413.4
Standley Lake | CO | 1429.4 | 0 | 1429.4 |  | 2142 | -712.6 | -33.27% | 1.Low generation due to weather/snow.
Havana Gardens | CO | 1605.7 | 0 | 1605.7 |  | 839 | 766.7 | 91.38%
East Hartford | CT | 207.4 | 701.6656 | -494.2656 | -70.44% | 271.0787 | -63.6787 | -23.49% | 1.Low generation due to weather/snow.
Norwalk | CT | -47.8668 | 1301.297 | -1349.1638 | -103.7% | 380.0995 | -427.9663 | -112.6% | 1.Weather station reporting erroneous values from 07/04/2024. Will investigate next time onsite. 2.The meter's Phase C current/power factor was experiencing intermittent glitches, which are affecting the reported energy production, but there was no impact on actual production. Will investigate next time onsite. | 1.SR088667 2.SR077700 | SR077700
Hialeah Gardens | FL | 2375.3065 | 2836.864 | -461.5575 | -16.27% | 3416 | -1040.6935 | -30.47% | 1.Low generation due to weather/snow.
W. Des Moines Campus EAST | IA | 118781 | 137811.7 | -19030.7 | -13.81% | 103900 | 14881 | 14.32%
W. Des Moines Campus SW | IA | 62762.75 | 76926.26 | -14163.51 | -18.41% | 54917.89 | 7844.86 | 14.28% | 1.Low generation due to weather/snow.
WF - CIC | NC | 116508 | 113752.8 | 2755.2 | 2.422% | 106712 | 9796 | 9.18%
Charlotte - Wells Fargo - DUC | NC | 110087 | 128961.2 | -18874.2 | -14.64% | 129978 | -19891 | -15.3% | 1.Low generation due to weather/snow.
East Windsor | NJ | 394.6 | 635.3872 | -240.7872 | -37.9% | 406.457 | -11.857 | -2.917% | 1.Low generation due to weather/snow.
Burlington | NJ | 1271.3 | 1261 | 10.3 | 0.8168% | 1086.787 | 184.513 | 16.98%
Bayonne | NJ | 1508.7 | 1667.269 | -158.569 | -9.511% | 2001.37 | -492.67 | -24.62% | 1.Low generation due to weather/snow.
Clifton | NJ | 1389.4922 | 2166.088 | -776.5958 | -35.85% | 2509.623 | -1120.1308 | -44.63% | 1.Low generation due to weather/snow.
North Elizabeth | NJ | 1257.8 | 1301.25 | -43.45 | -3.339% | 1349.336 | -91.536 | -6.784% | 1. Low generation due to weather/snow.
Haddon Westmont Plaza | NJ | 744.8 | 1160.956 | -416.156 | -35.85% | 961.447 | -216.647 | -22.53% | 1.Low generation due to weather/snow.
Parsippany | NJ | 1080 | 2126.363 | -1046.363 | -49.21% | 1075.335 | 4.665 | 0.4338% | 1.Low generation due to weather/snow.
Clark | NJ | 904.5 | 1197.726 | -293.226 | -24.48% | 915.5334 | -11.0334 | -1.205% | 1.Low generation due to weather/snow.
Closter | NJ | 183.5 | 273.6331 | -90.1331 | -32.94% | 462.303 | -278.803 | -60.31% | 1.Low generation due to weather/snow.
Holmdel | NJ | 761.3 | 3879.251 | -3117.951 | -80.38% | 803.5939 | -42.2939 | -5.263% | 1.Low generation due to weather/snow.
Ellisburg Circle Center | NJ | 357.1 | 561.869 | -204.769 | -36.44% | 450.7773 | -93.6773 | -20.78% | 1.Low generation due to weather/snow.
Nutley | NJ | 1173.7 | 1685.373 | -511.673 | -30.36% | 1646.605 | -472.905 | -28.72% | 1.Low generation due to weather/snow.
Marlton | NJ | 1398.6 | 1470.661 | -72.061 | -4.9% | 1600.195 | -201.595 | -12.6%
Middletown | NJ | 1802.6 | 1488.243 | 314.357 | 21.12% | 1620.887 | 181.713 | 11.21%
Whiting Crestwood | NJ | 2646.9 | 2942.696 | -295.796 | -10.05% | 2442.152 | 204.748 | 8.384%
Barnegat | NJ | 2473.5 | 2067.944 | 405.556 | 19.61% | 2007.527 | 465.973 | 23.21%
Manchester | NJ | 1525.8 | 1804.835 | -279.035 | -15.46% | 2136.185 | -610.385 | -28.57% | 1.Low generation due to weather/snow.
West Deptford - Woodbury | NJ | 2282.3 | 2179.223 | 103.077 | 4.73% | 1943.466 | 338.834 | 17.43%
Edison | NJ | 1779.2 | 1552.424 | 226.776 | 14.61% | 1463.914 | 315.286 | 21.54%
Flemington | NJ | 1188.6 | 1601.248 | -412.648 | -25.77% | 1235.328 | -46.728 | -3.783% | 1.Low generation due to weather/snow.
Route 22 | NJ | 1569 | 1449.958 | 119.042 | 8.21% | 1384.807 | 184.193 | 13.3%
Laurelton | NJ | 830.9 | 1039.606 | -208.706 | -20.08% | 1167.772 | -336.872 | -28.85% | 1.Low generation due to weather/snow.
Mahwah | NJ | 807.3 | 1393.127 | -585.827 | -42.05% | 1017.264 | -209.964 | -20.64% | 1.Low generation due to weather/snow.
Franklin Township WF | NJ | 1186.5 | 1355.258 | -168.758 | -12.45% | 1713.133 | -526.633 | -30.74% | 1.Low generation due to weather/snow.
Bordentown | NJ | 1339.4 | 1122.487 | 216.913 | 19.32% | 1121.857 | 217.543 | 19.39%
South Plainfield | NJ | 770.7 | 765.9506 | 4.7494 | 0.6201% | 743.5657 | 27.1343 | 3.649%
Somerset | NJ | 1156 | 2084.38 | -928.38 | -44.54% | 1055.832 | 100.168 | 9.487% | 1.Low generation due to weather/snow.
Clinton Main Relo | NJ | 988.2969 | 1560.274 | -571.9771 | -36.66% | 1074.493 | -86.1961 | -8.022% | 1.Low generation due to weather/snow.
North Brunswick | NJ | 1330.3 | 1367.243 | -36.943 | -2.702% | 1384.19 | -53.89 | -3.893% | 1.Inverter 1’s String 4 RSD was being RMA’d from 12/12/24. Dispatch has been scheduled for February. | 1.SR090252
Cherry Hill | NJ | 952.5538 | 1172.102 | -219.5482 | -18.73% | 909.5579 | 42.9959 | 4.727% | 1. Meter Phase B current intermittently underreporting, but inverter production remains unaffected. Reported energy loss may be retroactively corrected once the meter/CT issue is resolved | 1.SR077660
Hainesport | NJ | 1266 | 1241.485 | 24.515 | 1.975% | 988.3679 | 277.6321 | 28.09%
San Antonio - Ops Ctr (Bldg 106) | TX | 29278.75 | 35496.12 | -6217.37 | -17.52% | 34683.09 | -5404.34 | -15.58% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr GM | TX | 242775.1765 | 278246.8 | -35471.6235 | -12.75% | 286543 | -43767.8235 | -15.27% | 1. Underperformance due to morning hours shading
San Antonio - Ctr (Bldg 201) | TX | 30240.4375 | 35142.93 | -4902.4925 | -13.95% | 35425.63 | -5185.1925 | -14.64% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 203) | TX | 32107.5625 | 31334.81 | 772.7525 | 2.466% | 36478.64 | -4371.0775 | -11.98% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 205) | TX | 27955.0119 | 32091.94 | -4136.9281 | -12.89% | 32995.3 | -5040.2881 | -15.28% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 307) | TX | 29449.375 | 34829.83 | -5380.455 | -15.45% | 34192.67 | -4743.295 | -13.87% | 1. Underperformance due to morning hours shading
San Antonio - Ctr (Bldg 308) | TX | 30173.8545 | 34055.89 | -3882.0355 | -11.4% | 33832.77 | -3658.9155 | -10.81% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 104) | TX | 7770.2949 | 10657.28 | -2886.9851 | -27.09% | 10100 | -2329.7051 | -23.07% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 102) | TX | 32748.658 | 31328.42 | 1420.238 | 4.533% | 37503.59 | -4754.932 | -12.68% | 1. Underperformance due to morning hours shading
Lodi - Lodi Vineyard | CA | 20951.2188 | 21734.83 | -783.6113 | -3.605% | 17814 | 3137.2188 | 17.61%
Arden Fair Mall | CA | 10599.6562 | 12935.16 | -2335.5037 | -18.06% | 10608 | -8.3438 | -0.07866%
Modesto - Modesto Main | CA | 7933.9531 | 10825.7 | -2891.7469 | -26.71% | 10268.68 | -2334.7269 | -22.74% | 1. The Ambient Temperature sensor was not communicating | 1.SR091735
Stevens Creek | CA | 3096.2009 | 2594.087 | 502.1139 | 19.36% | 2416 | 680.2009 | 28.15%
Covina Main | CA | 2141.7 | 1912.706 | 228.994 | 11.97% | 2134 | 7.7 | 0.3608%
Old Ranch Town Center | CA | 642.6062 | 0 | 642.6062 |  | 910 | -267.3938 | -29.38% | 1.Low generation due to weather/snow.
Mountain Gate Plaza | CA | 5252.3032 | 0 | 5252.3032 |  | 6591 | -1338.6968 | -20.31% | 1.Low generation due to weather/snow.
Arcadia Main | CA | 1679.0975 | 0 | 1679.0975 |  | 3550 | -1870.9025 | -52.7% | 1.Site stopped communicating from 01/28, communication card was need to be replaced and dispatch was scheduled for February. | 1.SR096085
Fairfield | CA | 2185.723 | 2398.052 | -212.329 | -8.854% | 2037 | 148.723 | 7.301%
Los Gatos | CA | 1247.8238 | 1112.865 | 134.9588 | 12.13% | 0 | 1247.8238
San Marino | CA | 2293.8 | 2367.908 | -74.108 | -3.13% | 2895.003 | -601.203 | -20.77% | 1.Low generation due to weather/snow.
Buenaventura | CA | 3155.5898 | 2389.828 | 765.7618 | 32.04% | 3932.196 | -776.6062 | -19.75% | 1.Low generation due to weather/snow.
N Black Canyon Hwy, Phoenix - North | AZ | 61065.25 | 57626.77 | 3438.48 | 5.967% | 57066 | 3999.25 | 7.008%
N Black Canyon Hwy, Phoenix - South | AZ | 65447.125 | 63092.13 | 2354.995 | 3.733% | 63382 | 2065.125 | 3.258%
Building 2222, Rose Garden Ln, Phoenix | AZ | 38004.8683 | 39144.57 | -1139.7017 | -2.912% | 65567 | -27562.1317 | -42.04% | 1.The site went offline at 07:45 MST on 12/16/24. The technician arrived and found the SES-A breaker switch tripped . After re-energizing the system, the site was back online at 10:30 MST on 01/14/25. | 1.SR094853
Building 2202, Rose Garden Ln, Phoenix | AZ | 62409.375 | 32577.96 | 29831.415 | 91.57% | 50223.48 | 12185.895 | 24.26% | 1. The Virtual weather station resumed communication on 01/14.
99TH Ave & BELL | AZ | 10491.8975 | 8207.908 | 2283.9895 | 27.83% | 13506 | -3014.1025 | -22.32% | 1.Low generation due to weather/snow.
Rincon | AZ | 5659.8906 | 4142.009 | 1517.8816 | 36.65% | 4593 | 1066.8906 | 23.23%
Tucson Main Parking Garage | AZ | 7710.8025 | 9304.962 | -1594.1595 | -17.13% | 8400 | -689.1975 | -8.205% | 1.Low generation due to weather/snow.

## Feb
Wells Fargo |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 1283426.7554 | 1301887.8951 | -18461.1397 | -1.418% | 1468472.4357 | -185045.6803 | -12.6% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA | 715.3 | 0 | 715.3 |  | 734 | -18.7 | -2.548%
Otay Mesa | CA | 0 | 0 | 0 |  | 0 | 0
San Leandro | CA | 23817.5 | 28486.74 | -4669.24 | -16.39% | 25171.85 | -1354.35 | -5.38% | 1.Inverter 4 is underperforming by 7KW from 06/13/24 due to 2 non-operational strings. Inverter 2 underperforming by 3kW since 05/10/24 due to a string down and after technician replaced blown fuse on 02/20/25 inverter is producing in line with peers. Inverter 7 underperforming by 3kW since 09/09/24 due to a string down and after technician replaced blown fuse on 02/20/25 inverter is producing in line with peers. Inverter 5 underperforming by 4kW since 02/08/2 due to a string down. 2. Inverter 3 has a history of wire box damage, necessitating a complete inverter and wire box upgrade. The current wire box string fuse configuration was not acceptable. As a result, Inverter 3 has been undergoing the RMA process since 07/26/24. After the technician installed a new wire box, an arc fault was detected due to a damaged negative home run, which needs to be replaced. 3. SIte stopped communicating at 17:00 on 02/14 and regained communication at 8AM on 02/16 energy was not backfilled. | 1.SR091496 2.SR088261, SR097801 3.SR097144 | SR088261 | SR097801 | SR097144
Van Nuys | CA | 1286.2 | 0 | 1286.2 |  | 1479.198 | -192.998 | -13.05%
98th & Grant | CO | 685.8 | 0 | 685.8 |  | 1280 | -594.2 | -46.42%
Arapahoe Crossings | CO | 2273.604 | 0 | 2273.604 |  | 2351.179 | -77.575 | -3.299%
Aurora City Center | CO | 1251.8 | 0 | 1251.8 |  | 1140 | 111.8 | 9.807%
Dry Creek | CO | 1268.3 | 0 | 1268.3 |  | 1386 | -117.7 | -8.492%
Highlands Ranch S. | CO | 1187.6 | 0 | 1187.6 |  | 1265 | -77.4 | -6.119%
Lone Tree | CO | 1907.1 | 0 | 1907.1 |  | 2891 | -983.9 | -34.03% | 1. Low generation due to weather/snow.
Meridian | CO | 2004.1 | 0 | 2004.1 |  | 1699 | 305.1 | 17.96%
Southglenn | CO | 1877.4 | 0 | 1877.4
Standley Lake | CO | 1987 | 0 | 1987 |  | 2371 | -384 | -16.2% | 1. Low generation due to weather/snow.
Havana Gardens | CO | 2177 | 0 | 2177 |  | 926 | 1251 | 135.1% | 1. Low generation due to weather/snow.
East Hartford | CT | 203.1 | 980.1935 | -777.0935 | -79.28% | 429.0254 | -225.9254 | -52.66% | 1. Low generation due to weather/snow.
Norwalk | CT | 219.8497 | 426.5024 | -206.6527 | -48.45% | 487.9305 | -268.0808 | -54.94% | 1.Weather station reporting erroneous values from 07/04/2024. Will investigate next time onsite. 2.The meter's Phase C current/power factor was experiencing intermittent glitches, which are affecting the reported energy production, but there was no impact on actual production. Will investigate next time onsite. | 1.SR088667 2.SR077700 | SR077700
Hialeah Gardens | FL | 2564.7028 | 3093.609 | -528.9062 | -17.1% | 3739 | -1174.2972 | -31.41% | 1. Low generation due to weather/snow.
W. Des Moines Campus EAST | IA | 116148 | 129057.3 | -12909.3 | -10% | 124800 | -8652 | -6.933%
W. Des Moines Campus SW | IA | 49019.25 | 70697.89 | -21678.64 | -30.66% | 62858.07 | -13838.82 | -22.02% | 1. Low generation due to weather/snow.
WF - CIC | NC | 121252 | 120285.927 | 966.073 | 0.8031% | 116371 | 4881 | 4.194%
Charlotte - Wells Fargo - DUC | NC | 115950 | 130575.523 | -14625.523 | -11.2% | 128348.516 | -12398.516 | -9.66%
East Windsor | NJ | 572.2 | 628.52 | -56.32 | -8.961% | 479.2575 | 92.9425 | 19.39%
Burlington | NJ | 1564 | 1361.461 | 202.539 | 14.88% | 1358.153 | 205.847 | 15.16%
Bayonne | NJ | 1883.8 | 1981.854 | -98.054 | -4.948% | 2310.944 | -427.144 | -18.48% | 1. Low generation due to weather/snow.
Clifton | NJ | 2260.6562 | 2567.895 | -307.2387 | -11.96% | 3023.081 | -762.4248 | -25.22% | 1. Low generation due to weather/snow.
North Elizabeth | NJ | 1699.2 | 1480.147 | 219.053 | 14.8% | 1907.788 | -208.588 | -10.93% | 1. Low generation due to weather/snow.
Haddon Westmont Plaza | NJ | 1316.4 | 1300.732 | 15.668 | 1.205% | 1317.854 | -1.454 | -0.1103%
Parsippany | NJ | 1672.1 | 1810.192 | -138.092 | -7.629% | 1720.791 | -48.691 | -2.83%
Clark | NJ | 1390 | 1359.914 | 30.086 | 2.212% | 1373.208 | 16.792 | 1.223%
Closter | NJ | 355 | 417.414 | -62.414 | -14.95% | 766.5645 | -411.5645 | -53.69% | 1. Low generation due to weather/snow.
Holmdel | NJ | 1229.7 | 4382.009 | -3152.309 | -71.94% | 996.4268 | 233.2732 | 23.41% | 1. Low generation due to weather/snow.
Ellisburg Circle Center | NJ | 599.7 | 614.25 | -14.55 | -2.369% | 612.2838 | -12.5838 | -2.055%
Nutley | NJ | 1890.8 | 1981.634 | -90.834 | -4.584% | 2487.583 | -596.783 | -23.99% | 1. Low generation due to weather/snow.
Marlton | NJ | 2317.3 | 1706.001 | 611.299 | 35.83% | 2205.242 | 112.058 | 5.081% | 1. Low generation due to weather/snow.
Middletown | NJ | 2083.7 | 1649.62 | 434.08 | 26.31% | 1900.901 | 182.799 | 9.616% | 1. Low generation due to weather/snow.
Whiting Crestwood | NJ | 2872.9 | 2823.504 | 49.396 | 1.749% | 2952.801 | -79.901 | -2.706%
Barnegat | NJ | 3220.985 | 2723.455 | 497.53 | 18.27% | 2730.731 | 490.254 | 17.95% | 1. Low generation due to weather/snow.
Manchester | NJ | 1477.8 | 1829.171 | -351.371 | -19.21% | 2366.943 | -889.143 | -37.57% | 1. Low generation due to weather/snow.
West Deptford - Woodbury | NJ | 2429.7 | 2314.763 | 114.937 | 4.965% | 2342.392 | 87.308 | 3.727% | 1.Inverter 1 was offline on 02/09 due to a loss of main fault and self-resolved at 2:30 PM on 02/10. | 1.SR096618
Edison | NJ | 2143 | 1706.395 | 436.605 | 25.59% | 2079.57 | 63.43 | 3.05% | 1. Low generation due to weather/snow.
Flemington | NJ | 1790.8 | 1627.633 | 163.167 | 10.02% | 1846.784 | -55.984 | -3.031%
Route 22 | NJ | 1869.9 | 2004.301 | -134.401 | -6.706% | 1907.736 | -37.836 | -1.983%
Laurelton | NJ | 1086.7 | 1514.016 | -427.316 | -28.22% | 1506.543 | -419.843 | -27.87% | 1. Low generation due to weather/snow.
Mahwah | NJ | 1287.9 | 1575.666 | -287.766 | -18.26% | 1464.158 | -176.258 | -12.04% | 1. Low generation due to weather/snow.
Franklin Township WF | NJ | 1622 | 1491.568 | 130.432 | 8.745% | 2145.676 | -523.676 | -24.41% | 1. Low generation due to weather/snow.
Bordentown | NJ | 1431.8 | 1136.649 | 295.151 | 25.97% | 1253.191 | 178.609 | 14.25% | 1. Low generation due to weather/snow.
South Plainfield | NJ | 1015.3 | 852.2822 | 163.0178 | 19.13% | 939.1522 | 76.1478 | 8.108%
Somerset | NJ | 1472.4 | 2123.888 | -651.488 | -30.67% | 1440.229 | 32.171 | 2.234% | 1. Low generation due to weather/snow.
Clinton Main Relo | NJ | 1600.289 | [7 empty] | 1.SR090252
North Brunswick | NJ | 1727.9 | 1525.51 | 202.39 | 13.27% | 1842.835 | -114.935 | -6.237% | 1. Inverter 1's String 4 RSD was sent for RMA on 12/12/24. On 02/10/25, the technician installed a new RSD and inserted the fuse for String 5. The inverter came back online and is producing as expected | 1.SR090252
Cherry Hill | NJ | 1142.4657 | 1225.783 | -83.3173 | -6.797% | 1191.871 | -49.4053 | -4.145% | 1. Meter Phase B current intermittently underreporting, but inverter production remains unaffected. Reported energy loss may be retroactively corrected once the meter/CT issue is resolved | 1.SR077660
Hainesport | NJ | 1390.6 | 1335.822 | 54.778 | 4.101% | 1156.046 | 234.554 | 20.29%
San Antonio - Ops Ctr (Bldg 106) | TX | 32009.125 | 36207.881 | -4198.756 | -11.6% | 37510.75 | -5501.625 | -14.67% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr GM | TX | 239670.5 | 272681.187 | -33010.687 | -12.11% | 304922 | -65251.5 | -21.4% | 1. Underperformance due to morning hours shading
San Antonio - Ctr (Bldg 201) | TX | 32332.25 | 35889.978 | -3557.728 | -9.913% | 37271.57 | -4939.32 | -13.25% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 203) | TX | 33951.5 | 33073.794 | 877.706 | 2.654% | 38422.97 | -4471.47 | -11.64% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 205) | TX | 30207.426 | 32733.752 | -2526.326 | -7.718% | 35606.25 | -5398.824 | -15.16% | 1.Inverter 4 is underperforming by 5kW since 02/16, down 1 string. Dispatch has been scheduled for next PM on 10/10/25. | 1.SR097581
San Antonio - Ops Ctr (Bldg 307) | TX | 31864.313 | 35565.089 | -3700.776 | -10.41% | 36605.45 | -4741.137 | -12.95% | 1. Underperformance due to morning hours shading
San Antonio - Ctr (Bldg 308) | TX | 31694.27 | 34762.346 | -3068.076 | -8.826% | 35498.53 | -3804.26 | -10.72% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 104) | TX | 8831.266 | 10883.53 | -2052.264 | -18.86% | 10911.07 | -2079.804 | -19.06% | 1. Underperformance due to morning hours shading
San Antonio - Ops Ctr (Bldg 102) | TX | 34984.405 | 32568.2 | 2416.205 | 7.419% | 39742.42 | -4758.015 | -11.97% | 1. Underperformance due to morning hours shading
Lodi - Lodi Vineyard | CA | 23034.0938 | 24426.93 | -1392.8363 | -5.702% | 21975 | 1059.0938 | 4.82%
Arden Fair Mall | CA | 11150.0469 | 12201.88 | -1051.8331 | -8.62% | 12337 | -1186.9531 | -9.621%
Modesto - Modesto Main | CA | 8051.2031 | 9829.347 | -1778.1439 | -18.09% | 12423.09 | -4371.8869 | -35.19% | 1. The Ambient Temperature sensor was not communicating . 2.The site lost communication at 7:30 AM on 02/02 and regained at 9:45 AM on 02/06. | 1.SR091735 2.SR096229 | SR096229
Stevens Creek | CA | 2693.9403 | 2447.772 | 246.1683 | 10.06% | 2894 | -200.0597 | -6.913% | 1.On 02/18, the technician de-energized the inverter from 09:46 AM to 10:15 AM to replace the comms card. After replacing it, the inverter was re-energized. 2.The site went offline at 06:45 AM on 02/21. Upon arrival, the technician found that the breaker had tripped and reset it. The site was back online by 09:30 AM on 02/24. | 1.SR091107 2.SR097627 | SR097627
Covina Main | CA | 2712.1 | 2191.417 | 520.683 | 23.76% | 2174 | 538.1 | 24.75%
Old Ranch Town Center | CA | 861.5781 | 0 | 861.5781 |  | 990 | -128.4219 | -12.97% | 1. Low generation due to weather/snow.
Mountain Gate Plaza | CA | 6050.2033 | 0 | 6050.2033 |  | 6590 | -539.7967 | -8.191%
Arcadia Main | CA | 2375.0661 | 0 | 2375.0661 |  | 3533 | -1157.9339 | -32.77% | 1.Site stopped communicating from 01/28 and back online at 03:30PM on 02/07 . | 1.SR096085
Fairfield | CA | 2178.3008 | 2211.023 | -32.7222 | -1.48% | 2330 | -151.6992 | -6.511%
Los Gatos | CA | 1179.9865 | 1107.98 | 72.0065 | 6.499% | 0 | 1179.9865
San Marino | CA | 2791.6 | 2686.406 | 105.194 | 3.916% | 3237 | -445.4 | -13.76%
Buenaventura | CA | 3679.5781 | 2669.417 | 1010.1611 | 37.84% | 3947.291 | -267.7129 | -6.782%
N Black Canyon Hwy, Phoenix - North | AZ | 63307.75 | 60957.79 | 2349.96 | 3.855% | 61016 | 2291.75 | 3.756%
N Black Canyon Hwy, Phoenix - South | AZ | 68221.875 | 66699.73 | 1522.145 | 2.282% | 67660 | 561.875 | 0.8304% | 1.Inverter 16 is down 1 string. Dispatch has been scheduled for next PM on 05/26/25. | 1.SR097838
Building 2222, Rose Garden Ln, Phoenix | AZ | 13324.1241 | 15182.7 | -1858.5759 | -12.24% | 73696 | -60371.8759 | -81.92% | 1.The site went offline at 5:32 PM on 01/31/25. On 02/24, a technician arrived and found that the SES-A breaker switch had tripped. After re-energizing the system, the site was back online at 10:20 AM on 02/24. | 1.SR096213
Building 2202, Rose Garden Ln, Phoenix | AZ | 69359.75 | 13434.24 | 55925.51 | 416.3% | 57348.54 | 12011.21 | 20.94% | 1. The site stopped communication at 06:00PM on 02/08 and back at 03:45AM on 02/09. 2.The Virtual weather station resumed communication on 01/31 and back on 02/24. | 1.SR096533
99TH Ave & BELL | AZ | 13291.3971 | 11366.34 | 1925.0571 | 16.94% | 14489 | -1197.6029 | -8.266%
Rincon | AZ | 6553.3047 | 4885.492 | 1667.8127 | 34.14% | 5215 | 1338.3047 | 25.66% | 1. Low generation due to weather/snow.
Tucson Main Parking Garage | AZ | 8853.2 | 10567.94 | -1714.74 | -16.23% | 8772 | 81.2 | 0.9257% | 1. Low generation due to weather/snow.

## Mar
Wells Fargo |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Apr
Wells Fargo |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## May
Wells Fargo |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Jun
Wells Fargo |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Jul
Wells Fargo |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Aug
Wells Fargo |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Sep
Wells Fargo |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Oct
Wells Fargo |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Nov
Wells Fargo |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA | [5 empty] | 0
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Dec
Wells Fargo |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ

## Sites
Portfolio: | Wells Fargo
Site DAS Name | Site | State | Update | DAS
BE 191334 - Adams & Broadway | Adams & Broadway | CA | AF | PowerTrack
BE 196270 - Otay Mesa (ATM) | Otay Mesa | CA |  | PowerTrack
BE 144682 - San Leandro Ops Center | San Leandro | CA | AEF | PowerTrack
BE 191705 - Van Nuys | Van Nuys | CA | AF | PowerTrack
BE 103541 - 98th & Grant | 98th & Grant | CO | AF | PowerTrack
BE 101451 - Arapahoe Crossings | Arapahoe Crossings | CO | AF | PowerTrack
BE 120617 - Aurora City Center | Aurora City Center | CO | AF | PowerTrack
BE 101995 - Dry Creek | Dry Creek | CO | AEF | PowerTrack
BE 102040 - Highlands Ranch South | Highlands Ranch S. | CO | AF | PowerTrack
BE 120717 - Lone Tree | Lone Tree | CO | AF | PowerTrack
BE 103553 - Meridian | Meridian | CO | AF | PowerTrack
BE 105797 - Southglenn Relocation | Southglenn | CO |  | PowerTrack
BE 120768 - Standley Lake | Standley Lake | CO | AF | PowerTrack
BE 106004 - Havana Gardens | Havana Gardens | CO | AF | PowerTrack
BE 144783 - East Hartford | East Hartford | CT | AEF | PowerTrack
BE 144725 - Norwalk Post Road | Norwalk | CT | AEF | PowerTrack
BE 107447 - Hialeah Gardens | Hialeah Gardens | FL | AEF | PowerTrack
BE 150496 - West Des Moines Campus - East | W. Des Moines Campus EAST | IA | AEF | PowerTrack
BE 150496 - West Des Moines Campus - SW | W. Des Moines Campus SW | IA | AEF | PowerTrack
BE 141278 - CIC | WF - CIC | NC |  | PowerTrack
BE 141954 - DUC | Charlotte - Wells Fargo - DUC | NC |  | PowerTrack
BE 140171 - East Windsor | East Windsor | NJ | AEF | PowerTrack
BE 141423 - Burlington Springside | Burlington | NJ | AEF | PowerTrack
BE 141327 - Bayonne Office | Bayonne | NJ | AEF | PowerTrack
BE 141382 - Clifton Office | Clifton | NJ | AEF | PowerTrack
BE 141427 - North Elizabeth Office | North Elizabeth | NJ | AEF | PowerTrack
BE 145739 - Westmont Plaza | Haddon Westmont Plaza | NJ | AEF | PowerTrack
BE 141464 - Parsippany Route 46 | Parsippany | NJ | AEF | PowerTrack
BE 141467 - Clark Office | Clark | NJ | AEF | PowerTrack
BE 141468 - Closter Office | Closter | NJ | AEF | PowerTrack
BE 140216 - Holmdel - Rt. 35 | Holmdel | NJ | AEF | PowerTrack
BE 144566 - Ellisburg Circle Center | Ellisburg Circle Center | NJ | AEF | PowerTrack
BE 141317 - Nutley Franklin | Nutley | NJ | AEF | PowerTrack
BE 140334 - Marlton | Marlton | NJ | AEF | PowerTrack
BE 140262 - Middletown - UC | Middletown | NJ | AEF | PowerTrack
BE 141443 - Whiting Crestwood | Whiting Crestwood | NJ | AEF | PowerTrack
BE 141441 - Barnegat Office | Barnegat | NJ | AEF | PowerTrack
BE 141445 - Manchester Office | Manchester | NJ | AEF | PowerTrack
BE 144269 - West Deptford / Woodbury | West Deptford - Woodbury | NJ | AEF | PowerTrack
BE 141344 - Edison Office | Edison | NJ | AEF | PowerTrack
BE 142050 - Flemington | Flemington | NJ | AEF | PowerTrack
BE 140332 - Rt. 22 Springfield | Route 22 | NJ | AEF | PowerTrack
BE 141466 - Laurelton Office | Laurelton | NJ | AEF | PowerTrack
BE 142088 - Mahwah | Mahwah | NJ | AEF | PowerTrack
BE 144110 - Franklin Township | Franklin Township WF | NJ | AEF | PowerTrack
BE 144103 - Bordentown | Bordentown | NJ | AEF | PowerTrack
BE 141918 - South Plainfield Oak Park | South Plainfield | NJ | AEF | PowerTrack
BE 144813 - Somerset | Somerset | NJ | AEF | PowerTrack
BE 145709 - Clinton | Clinton Main Relo | NJ |  | PowerTrack
BE 143233 - North Brunswick Financial Ctr | North Brunswick | NJ | AEF | PowerTrack
BE 141916 - Cherry Hill Short Hills | Cherry Hill | NJ | AEF | PowerTrack
BE 142875 - Hainesport Crossroads | Hainesport | NJ | AEF | PowerTrack
BE 144679 - 106 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 106) | TX |  | PowerTrack
BE 144679 - GM - San Antonio Ops | San Antonio - Ops Ctr GM | TX |  | PowerTrack
BE 144679 - 201 - San Antonio Ops | San Antonio - Ctr (Bldg 201) | TX |  | PowerTrack
BE 144679 - 203 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 203) | TX |  | PowerTrack
BE 144679 - 205 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 205) | TX |  | PowerTrack
BE 144679 - 307 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 307) | TX |  | PowerTrack
BE 144679 - 308 - San Antonio Ops | San Antonio - Ctr (Bldg 308) | TX |  | PowerTrack
BE 144679 - 104 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 104) | TX |  | PowerTrack
BE 144679 - 102 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 102) | TX |  | PowerTrack
BE 105499 - Lodi Vineyard | Lodi - Lodi Vineyard | CA | AEF | PowerTrack
BE 144486 - Arden Fair Mall | Arden Fair Mall | CA | AEF | PowerTrack
BE 199250 - Modesto Main | Modesto - Modesto Main | CA | AEF | PowerTrack
BE 199506 - Stevens Creek | Stevens Creek | CA | AEF | PowerTrack
BE 101173 - Covina Main | Covina Main | CA | AEF | PowerTrack
BE 144507 - Old Ranch Town Center | Old Ranch Town Center | CA | AF | PowerTrack
BE 191411 - Mountain Gate Plaza | Mountain Gate Plaza | CA | AF | PowerTrack
BE 144410 - Arcadia Main | Arcadia Main | CA | AF | PowerTrack
BE 199190 - Fairfield | Fairfield | CA | AEF | PowerTrack
BE 199487 - Los Gatos | Los Gatos | CA | AEF | PowerTrack
BE 199892 - San Marino | San Marino | CA | AEF | PowerTrack
BE 199924 - Buenaventura | Buenaventura | CA | AEF | PowerTrack
BE 101497 - N Black Canyon Hwy, Phoenix - North | N Black Canyon Hwy, Phoenix - North | AZ | AEF | PowerTrack
BE 101497 - N Black Canyon Hwy, Phoenix - South | N Black Canyon Hwy, Phoenix - South | AZ | AEF | PowerTrack
BE 102073 - Building 2222, Rose Garden Ln, Phoenix | Building 2222, Rose Garden Ln, Phoenix | AZ | AEF | PowerTrack
BE 102566 - Building 2202, Rose Garden Ln, Phoenix | Building 2202, Rose Garden Ln, Phoenix | AZ | AEF | PowerTrack
BE 192010 - 99TH Ave & BELL | 99TH Ave & BELL | AZ | AEF | PowerTrack
BE 192156 - Rincon | Rincon | AZ | AEF | PowerTrack
BE 198359 - Tucson Main Parking Garage | Tucson Main Parking Garage | AZ | AEF | PowerTrack