## Year to Date
MN8 Bond |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1466670.495 | 598848.697 | 867821.798 | 144.9% | 1390648.92 | 76021.575 | 5.467%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 210801.245 | 270715.3 | -59914.055 | -22.13% | 245116 | -34314.755 | -14%
Clara Barton | MA | 75008 | 103429.7 | -28421.7 | -27.48% | 84152.73 | -9144.73 | -10.87%
Fairhaven Solar | MA | 81167 | 102088.8 | -20921.8 | -20.49% | 63407.73 | 17759.27 | 28.01%
Plympton-1 | MA | 93853 | 118991.5 | -25138.5 | -21.13% | 79023.03 | 14829.97 | 18.77%
French River 2 | MA | 83186 | 0 | 83186 |  | 78833 | 4353 | 5.522%
French River 3 | MA | 167756 | 0 | 167756 |  | 150550.6 | 17205.4 | 11.43%
French River 4 | MA | 160751 | 3623.397 | 157127.603 | 4336% | 156969.5 | 3781.5 | 2.409%
French River 5 | MA | 176194 | 0 | 176194 |  | 153979.5 | 22214.5 | 14.43%
French River 6 | MA | 156515 | 0 | 156515 |  | 147739.1 | 8775.9 | 5.94%
Stillwater River 1A | MA | 42298 | 0 | 42298 |  | 37895.25 | 4402.75 | 11.62%
Stillwater River 2 | MA | 91752 | 0 | 91752 |  | 79375.89 | 12376.11 | 15.59%
Stillwater River 3 | MA | 91880 | 0 | 91880 |  | 78136.73 | 13743.27 | 17.59%
Stillwater River 4 | MA | 35509.25 | 0 | 35509.25 |  | 35469.86 | 39.39 | 0.1111%

## 1st Qtr
MN8 Bond |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1466670.495 | 598848.697 | 867821.798 | 144.9% | 1390648.92 | 76021.575 | 5.467%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 210801.245 | 270715.3 | -59914.055 | -22.13% | 245116 | -34314.755 | -14%
Clara Barton | MA | 75008 | 103429.7 | -28421.7 | -27.48% | 84152.73 | -9144.73 | -10.87%
Fairhaven Solar | MA | 81167 | 102088.8 | -20921.8 | -20.49% | 63407.73 | 17759.27 | 28.01%
Plympton-1 | MA | 93853 | 118991.5 | -25138.5 | -21.13% | 79023.03 | 14829.97 | 18.77%
French River 2 | MA | 83186 | 0 | 83186 |  | 78833 | 4353 | 5.522%
French River 3 | MA | 167756 | 0 | 167756 |  | 150550.6 | 17205.4 | 11.43%
French River 4 | MA | 160751 | 3623.397 | 157127.603 | 4336% | 156969.5 | 3781.5 | 2.409%
French River 5 | MA | 176194 | 0 | 176194 |  | 153979.5 | 22214.5 | 14.43%
French River 6 | MA | 156515 | 0 | 156515 |  | 147739.1 | 8775.9 | 5.94%
Stillwater River 1A | MA | 42298 | 0 | 42298 |  | 37895.25 | 4402.75 | 11.62%
Stillwater River 2 | MA | 91752 | 0 | 91752 |  | 79375.89 | 12376.11 | 15.59%
Stillwater River 3 | MA | 91880 | 0 | 91880 |  | 78136.73 | 13743.27 | 17.59%
Stillwater River 4 | MA | 35509.25 | 0 | 35509.25 |  | 35469.86 | 39.39 | 0.1111%

## 2nd Qtr
MN8 Bond |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 |  | 0 | 0
Clara Barton | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven Solar | MA | 0 | 0 | 0 |  | 0 | 0
Plympton-1 | MA | 0 | 0 | 0 |  | 0 | 0
French River 2 | MA | 0 | 0 | 0 |  | 0 | 0
French River 3 | MA | 0 | 0 | 0 |  | 0 | 0
French River 4 | MA | 0 | 0 | 0 |  | 0 | 0
French River 5 | MA | 0 | 0 | 0 |  | 0 | 0
French River 6 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 1A | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 2 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 3 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 4 | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MN8 Bond |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 |  | 0 | 0
Clara Barton | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven Solar | MA | 0 | 0 | 0 |  | 0 | 0
Plympton-1 | MA | 0 | 0 | 0 |  | 0 | 0
French River 2 | MA | 0 | 0 | 0 |  | 0 | 0
French River 3 | MA | 0 | 0 | 0 |  | 0 | 0
French River 4 | MA | 0 | 0 | 0 |  | 0 | 0
French River 5 | MA | 0 | 0 | 0 |  | 0 | 0
French River 6 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 1A | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 2 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 3 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 4 | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MN8 Bond |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 |  | 0 | 0
Clara Barton | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven Solar | MA | 0 | 0 | 0 |  | 0 | 0
Plympton-1 | MA | 0 | 0 | 0 |  | 0 | 0
French River 2 | MA | 0 | 0 | 0 |  | 0 | 0
French River 3 | MA | 0 | 0 | 0 |  | 0 | 0
French River 4 | MA | 0 | 0 | 0 |  | 0 | 0
French River 5 | MA | 0 | 0 | 0 |  | 0 | 0
French River 6 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 1A | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 2 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 3 | MA | 0 | 0 | 0 |  | 0 | 0
Stillwater River 4 | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
MN8 Bond |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 1466670.495 | 598848.697 | 867821.798 | 144.9% | 1390648.92 | 76021.575 | 5.467%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA | 210801.245 | 270715.3 | -59914.055 | -22.13% | 245116 | -34314.755 | -14% | 1.Weather station was not communicated between 01:00am to 10:00am on 01/21, 01:00am to 10:00am on 01/22 and 01:00am to 9:00am on 01/23. | 1.SR095757
Clara Barton | MA | 75008 | 103429.7 | -28421.7 | -27.48% | 84152.73 | -9144.73 | -10.87% | 1.Site was offline from 01:45AM to 13:30 on 01/01 due to utility power outage, again tripped offline at 11:30AM and back online at 08:45AM on 01/03 after technicians closed in the site. 2.Inverter 8.1 started late for its production at 09:45AM on 01/10. 3.Site tripped offline at 18:30 on 01/18 due to Phase A voltage missing fault and back online at 06:45 on 01/19. 4.Inverter 3.01 was offline and DC voltages are high, at 730V on 01/26 after technician shutoff Arc fall protection through the cluster controller, inverter was back online and producing from 01/27. 5.Inverter 1.4 tripped offline at 14:15 on 01/29 and back online on 01/30. 6.Inverter 1.7 tripped offline at 15:30 on 01/30 due to Overcurrrent single input fault and after remote reset Inverter was back online at 12PM on 01/31. 7.Site tripped offline at 16:45 from 01/31 due to utility power outage. | 1.SR095205 2.SR095462 3.SR095699 4.SR095993 5.SR096131 6.SR096175 7.SR096198 | SR095462 | SR095699 | SR095993 | SR096131 | SR096175 | SR096198
Fairhaven Solar | MA | 81167 | 102088.8 | -20921.8 | -20.49% | 63407.73 | 17759.27 | 28.01% | 1.Inverter 31 tripped offline at 12:15PM on 12/31/24 after remote reset inverter back online at 11:30AM on 01/02/25. 2.Inverter 18 tripped offline at 9AM and later back online at 15:45 on 01/10. 3.Inverter 4 was offline from 11:30 to 13:30 on 01/17 due to ARC fault. 4.Inverter 47 tripped offline at 12:30PM on 01/28 and after remote reset inverter back online at 11AM on 01/29. 5.Inverter 1 was offline on 01/30 due to residual current too high, after remote reset inverter self-resolved at 12PM on 01/31. 6.Inverter 59 was offline since 09/06 due to 6411 error and is being RMA'd. | 1.SR095187 2.SR095474 3.SR095667 4.SR096083 5.SR096156 6.SR090080 | SR095474 | SR095667 | SR096083 | SR096156 | SR090080
Plympton-1 | MA | 93853 | 118991.5 | -25138.5 | -21.13% | 79023.03 | 14829.97 | 18.77% | 1.Inverter 3.13C was underproducing by 3KW from 12/16/24 due to string 2's positive fuse was bad, after technician replaced the fuse the inverter is producing similar to its peers from 01/28/25. | 1.SR095283
French River 2 | MA | 83186 | 0 | 83186 |  | 78833 | 4353 | 5.522% | 1.Site was offline from 11:15 to 14:00 on 01/07 due to Relay opened because of Curtailment. 2. Inverter 8 was offline for whole month due to black card being RMA'd. 3. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1.SR095364 2. SR096115 | SR096115
French River 3 | MA | 167756 | 0 | 167756 |  | 150550.6 | 17205.4 | 11.43% | 1.Site tripped offline as relay tripped at 14:45 on 01/27 due to CES curtailment and auto reclosed when curtailment ended at 07:45AM on 01/28. 2.Inverter 35 tripped offline from 01/25 due to ground fault error. 3. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1.SR096038 2.SR096169 | SR096169
French River 4 | MA | 160751 | 3623.397 | 157127.603 | 4336% | 156969.5 | 3781.5 | 2.409% | 1.Site was offline from 11:15 to 16:00 on 01/07 due to relay opened and later technician manually closed SEL. 2.Site tripped offline as relay tripped at 14:45 on 01/27 due to CES curtailment and after technician reclosed the site back online at 14:00 on 01/28. 3. Expected energy has been reporting erroneous values since January 2025. Ameresco is working with AE for resolution (Case #556214). | 1.SR095361 2.SR096039 | SR096039
French River 5 | MA | 176194 | 0 | 176194 |  | 153979.5 | 22214.5 | 14.43% | 1. Inverter 78 tripped offline at 11:45AM on 01/12 later self-resolved and back online on 01/13. Additonally technician checked-in updated country code and power cycled the inverter. 2.Inverters 40 and 163 were offline from 01/25 and resumed production at 14:45 on 01/30 after technician checked in and seated home run connections properly. 3. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1. SR095502 2.SR096084 | SR096084
French River 6 | MA | 156515 | 0 | 156515 |  | 147739.1 | 8775.9 | 5.94% | 1. Inverter 99 6A has been offline since 01/02/2024 due to a faulty DC relay board, and it was RMA'd on 01/03/25 by a technician according to the instructions from the SolarEdge team. On 01/16/25, the technician replaced the RMA'd relay board after discovering an 8x14 fault on the inverter. SolarEdge has RMA'd the inverter. After replacing the RMA'd inverter, it was brought back online at 11:30 AM on 01/28/25. 2. Inverter 90 6A tripped offline at 11:15 AM on 01/09/25. On 01/13/25, the technician found it in night mode with two faulty optimizers, which were replaced. SolarEdge RMA'd the optimizers, and the technician updated the serial numbers in the platform. The inverter remained in night mode. SolarEdge then RMA'd the relay board, and the technician replaced it from stock. SolarEdge removed the inverter from night mode, and it back online at 14:00 the same day. 3. Inverter 76 6A tripped offline at 11:30 AM on 01/29/25. On 01/30/25, the technician checked AC and DC power with no issues found. After adjusting the parameter settings, the inverter came back online at 12:30 PM the same day. 4. Inverter 62 6B tripped offline at 07:45 AM on 01/06/25 due to high DC voltage and came back online at 16:15 the same day. Since 01/07/25, it experienced a production delay. On 01/13/25, the technician tested AC and DC voltages, updated the country code, paired optimizers, and power cycled the inverter. It then back online at 09:00AM the same day. 5. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1. SR095227 2. SR095457 3. SR096133 4. SR093893 | SR095457 | SR096133 | SR093893
Stillwater River 1A | MA | 42298 | 0 | 42298 |  | 37895.25 | 4402.75 | 11.62% | 1. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214)
Stillwater River 2 | MA | 91752 | 0 | 91752 |  | 79375.89 | 12376.11 | 15.59% | 1. Inverter 8 2C was brought back online at 16:45 on 01/13/25 after the technician configured the IP address according to the instructions from the AlsoEnergy technical support team. 2. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1. SR093664, SR094895 | SR094895
Stillwater River 3 | MA | 91880 | 0 | 91880 |  | 78136.73 | 13743.27 | 17.59% | 1. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214)
Stillwater River 4 | MA | 35509.25 | 0 | 35509.25 |  | 35469.86 | 39.39 | 0.1111% | 1. Inverter 14 4A have been RMA'd due to a faulty relay board replacement. 2. Site was tripped offline at 11:17AM on 01/07/25 due to curtailment and came back online at 14:15 on same day. 3. Inverter 19 4A was taken offline from 10:00 AM to 11:30 AM on 01/13/25 to perform a String Inverter Visual Inspection and fuse testing. The technician found a faulty optimizer 19.04, which has been RMA'd as per SolarEdge team’s instructions. 4. Inverter 10 4A was taken offline from 12:45 to 14:00 on 01/13/25 to perform a String Inverter Visual Inspection and fuse testing. The technician found a faulty optimizer 10.0.321, which has been RMA'd as per SolarEdge team’s instructions. 5. Expected energy value has not been reporting since January 2025. Ameresco is working with AE for resolution (Case #556214) | 1. SR087080 2. SR095366 3. SR092794 4. SR092793 | SR095366 | SR092794 | SR092793
Note on D10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Accurate expected energy values were reported until December 2024. However, the current values appear erroneous despite the weather station functioning correctly.

## Feb
MN8 Bond |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Mar
MN8 Bond |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Apr
MN8 Bond |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## May
MN8 Bond |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Jun
MN8 Bond |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Jul
MN8 Bond |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Aug
MN8 Bond |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Sep
MN8 Bond |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Oct
MN8 Bond |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Nov
MN8 Bond |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Dec
MN8 Bond |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Grafton II | MA
Clara Barton | MA
Fairhaven Solar | MA
Plympton-1 | MA
French River 2 | MA
French River 3 | MA
French River 4 | MA
French River 5 | MA
French River 6 | MA
Stillwater River 1A | MA
Stillwater River 2 | MA
Stillwater River 3 | MA
Stillwater River 4 | MA

## Sites
Portfolio: | MN8 Bond
Site DAS Name | Site | State | Update | DAS
MA-02-001 - Grafton II | Grafton II | MA |  | PowerTrack
MA-02-002 - Clara Barton | Clara Barton | MA |  | PowerTrack
MA-02-003 - Fairhaven Solar | Fairhaven Solar | MA |  | PowerTrack
MA-02-004 - Plympton | Plympton-1 | MA |  | PowerTrack
MA-02-005A - French River 2 | French River 2 | MA |  | PowerTrack
MA-02-005B - French River 3 | French River 3 | MA |  | PowerTrack
MA-02-005C - French River 4 | French River 4 | MA |  | PowerTrack
MA-02-005D - French River 5 | French River 5 | MA |  | PowerTrack
MA-02-005E - French River 6 | French River 6 | MA |  | PowerTrack
MA-02-006A - Stillwater River 1A | Stillwater River 1A | MA |  | PowerTrack
MA-02-006B - Stillwater River 2 | Stillwater River 2 | MA |  | PowerTrack
MA-02-006C - Stillwater River 3 | Stillwater River 3 | MA |  | PowerTrack
MA-02-006D - Stillwater River 4 | Stillwater River 4 | MA |  | PowerTrack