## Year to Date
MN8 KEF |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1276010.8373 | 1821502.574 | -545491.7367 | -29.95% | 1592252.09 | -316241.2527 | -19.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 60069.5544 | 103795.4 | -43725.8456 | -42.13% | 95772.53 | -35702.9756 | -37.28%
Orange A KB | MA | 64320.283 | 86329.8 | -22009.517 | -25.49% | 78506.72 | -14186.437 | -18.07%
Goshen A | MA | 49163 | 93145.65 | -43982.65 | -47.22% | 45346.04 | 3816.96 | 8.417%
Phillipston A KB | MA | 52361 | 133149.1 | -80788.1 | -60.67% | 48584.34 | 3776.66 | 7.773%
Uxbridge D | MA | 79311 | 118820.9 | -39509.9 | -33.25% | 102742.7 | -23431.7 | -22.81%
West Bridgewater A&B | MA | 140442 | 203218.3 | -62776.3 | -30.89% | 168220.8 | -27778.8 | -16.51%
Sutton A | MA | 54236 | 92857.71 | -38621.71 | -41.59% | 92964.7 | -38728.7 | -41.66%
North Adams A | MA | 61430 | 85432.94 | -24002.94 | -28.1% | 97969.54 | -36539.54 | -37.3%
North Adams B | MA | 45389 | 3439.174 | 41949.826 | 1220% | 97969.54 | -52580.54 | -53.67%
Clarksburg A | MA | 33591 | 74718.88 | -41127.88 | -55.04% | 97524.52 | -63933.52 | -65.56%
Swansea B | MA | 94569 | 125325.5 | -30756.5 | -24.54% | 51394 | 43175 | 84.01%
Wareham 2 | MA | 87644 | 97399.22 | -9755.22 | -10.02% | 102713.9 | -15069.9 | -14.67%
Kingston 1 KB | MA | 71770 | 101770 | -30000 | -29.48% | 78160.59 | -6390.59 | -8.176%
Kingston 2 KB | MA | 57696 | 63140.3 | -5444.3 | -8.623% | 62736.91 | -5040.91 | -8.035%
Holliston B | MA | 61173 | 103746 | -42573 | -41.04% | 97654.44 | -36481.44 | -37.36%
Fairhaven C | MA | 176084 | 223072.8 | -46988.8 | -21.06% | 175840.8 | 243.2 | 0.1383%
Plympton A-2 | MA | 86762 | 112140.9 | -25378.9 | -22.63% | 98150.02 | -11388.02 | -11.6%

## 1st Qtr
MN8 KEF |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1276010.8373 | 1821502.574 | -545491.7367 | -29.95% | 1592252.09 | -316241.2527 | -19.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 60069.5544 | 103795.4 | -43725.8456 | -42.13% | 95772.53 | -35702.9756 | -37.28%
Orange A KB | MA | 64320.283 | 86329.8 | -22009.517 | -25.49% | 78506.72 | -14186.437 | -18.07%
Goshen A | MA | 49163 | 93145.65 | -43982.65 | -47.22% | 45346.04 | 3816.96 | 8.417%
Phillipston A KB | MA | 52361 | 133149.1 | -80788.1 | -60.67% | 48584.34 | 3776.66 | 7.773%
Uxbridge D | MA | 79311 | 118820.9 | -39509.9 | -33.25% | 102742.7 | -23431.7 | -22.81%
West Bridgewater A&B | MA | 140442 | 203218.3 | -62776.3 | -30.89% | 168220.8 | -27778.8 | -16.51%
Sutton A | MA | 54236 | 92857.71 | -38621.71 | -41.59% | 92964.7 | -38728.7 | -41.66%
North Adams A | MA | 61430 | 85432.94 | -24002.94 | -28.1% | 97969.54 | -36539.54 | -37.3%
North Adams B | MA | 45389 | 3439.174 | 41949.826 | 1220% | 97969.54 | -52580.54 | -53.67%
Clarksburg A | MA | 33591 | 74718.88 | -41127.88 | -55.04% | 97524.52 | -63933.52 | -65.56%
Swansea B | MA | 94569 | 125325.5 | -30756.5 | -24.54% | 51394 | 43175 | 84.01%
Wareham 2 | MA | 87644 | 97399.22 | -9755.22 | -10.02% | 102713.9 | -15069.9 | -14.67%
Kingston 1 KB | MA | 71770 | 101770 | -30000 | -29.48% | 78160.59 | -6390.59 | -8.176%
Kingston 2 KB | MA | 57696 | 63140.3 | -5444.3 | -8.623% | 62736.91 | -5040.91 | -8.035%
Holliston B | MA | 61173 | 103746 | -42573 | -41.04% | 97654.44 | -36481.44 | -37.36%
Fairhaven C | MA | 176084 | 223072.8 | -46988.8 | -21.06% | 175840.8 | 243.2 | 0.1383%
Plympton A-2 | MA | 86762 | 112140.9 | -25378.9 | -22.63% | 98150.02 | -11388.02 | -11.6%

## 2nd Qtr
MN8 KEF |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 |  | 0 | 0
Orange A KB | MA | 0 | 0 | 0 |  | 0 | 0
Goshen A | MA | 0 | 0 | 0 |  | 0 | 0
Phillipston A KB | MA | 0 | 0 | 0 |  | 0 | 0
Uxbridge D | MA | 0 | 0 | 0 |  | 0 | 0
West Bridgewater A&B | MA | 0 | 0 | 0 |  | 0 | 0
Sutton A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams B | MA | 0 | 0 | 0 |  | 0 | 0
Clarksburg A | MA | 0 | 0 | 0 |  | 0 | 0
Swansea B | MA | 0 | 0 | 0 |  | 0 | 0
Wareham 2 | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 1 KB | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 2 KB | MA | 0 | 0 | 0 |  | 0 | 0
Holliston B | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven C | MA | 0 | 0 | 0 |  | 0 | 0
Plympton A-2 | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MN8 KEF |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 |  | 0 | 0
Orange A KB | MA | 0 | 0 | 0 |  | 0 | 0
Goshen A | MA | 0 | 0 | 0 |  | 0 | 0
Phillipston A KB | MA | 0 | 0 | 0 |  | 0 | 0
Uxbridge D | MA | 0 | 0 | 0 |  | 0 | 0
West Bridgewater A&B | MA | 0 | 0 | 0 |  | 0 | 0
Sutton A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams B | MA | 0 | 0 | 0 |  | 0 | 0
Clarksburg A | MA | 0 | 0 | 0 |  | 0 | 0
Swansea B | MA | 0 | 0 | 0 |  | 0 | 0
Wareham 2 | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 1 KB | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 2 KB | MA | 0 | 0 | 0 |  | 0 | 0
Holliston B | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven C | MA | 0 | 0 | 0 |  | 0 | 0
Plympton A-2 | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MN8 KEF |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 |  | 0 | 0
Orange A KB | MA | 0 | 0 | 0 |  | 0 | 0
Goshen A | MA | 0 | 0 | 0 |  | 0 | 0
Phillipston A KB | MA | 0 | 0 | 0 |  | 0 | 0
Uxbridge D | MA | 0 | 0 | 0 |  | 0 | 0
West Bridgewater A&B | MA | 0 | 0 | 0 |  | 0 | 0
Sutton A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams A | MA | 0 | 0 | 0 |  | 0 | 0
North Adams B | MA | 0 | 0 | 0 |  | 0 | 0
Clarksburg A | MA | 0 | 0 | 0 |  | 0 | 0
Swansea B | MA | 0 | 0 | 0 |  | 0 | 0
Wareham 2 | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 1 KB | MA | 0 | 0 | 0 |  | 0 | 0
Kingston 2 KB | MA | 0 | 0 | 0 |  | 0 | 0
Holliston B | MA | 0 | 0 | 0 |  | 0 | 0
Fairhaven C | MA | 0 | 0 | 0 |  | 0 | 0
Plympton A-2 | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
MN8 KEF |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 1276010.8373 | 1821502.574 | -545491.7367 | -29.95% | 1592252.09 | -316241.2527 | -19.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | 60069.5544 | 103795.4 | -43725.8456 | -42.13% | 95772.53 | -35702.9756 | -37.28%
Orange A KB | MA | 64320.283 | 86329.8 | -22009.517 | -25.49% | 78506.72 | -14186.437 | -18.07%
Goshen A | MA | 49163 | 93145.65 | -43982.65 | -47.22% | 45346.04 | 3816.96 | 8.417% | 1.Inverter 3.15 tripped offline at 02:00PM on 01/30 due to Arc warning key stop later self resolved at 07:00AM on 01/31. | 1.SR096163
Phillipston A KB | MA | 52361 | 133149.1 | -80788.1 | -60.67% | 48584.34 | 3776.66 | 7.773%
Uxbridge D | MA | 79311 | 118820.9 | -39509.9 | -33.25% | 102742.7 | -23431.7 | -22.81%
West Bridgewater A&B | MA | 140442 | 203218.3 | -62776.3 | -30.89% | 168220.8 | -27778.8 | -16.51% | 1.Inverter 1.03 has been RMA'd and offline since 12/18, and was brought back online at 2:45 PM on 01/27 by a technician after replacing the RMA'd inverter with a new inverter. 2.Inverter 5.04 has been RMA'd, and the inverter is currently operating with a string down. | 1.SR094920 2.SR094966 | SR094966
Sutton A | MA | 54236 | 92857.71 | -38621.71 | -41.59% | 92964.7 | -38728.7 | -41.66%
North Adams A | MA | 61430 | 85432.94 | -24002.94 | -28.1% | 97969.54 | -36539.54 | -37.3%
North Adams B | MA | 45389 | 3439.174 | 41949.826 | 1220% | 97969.54 | -52580.54 | -53.67% | 1.Weather station stopped communicating since 07/16/24, and the technician brought it back online at 12:45 PM on 01/30 by replacing the integrated weather station with an ambient temperature sensor by connecting to power logger port 1 and power logger port 2 is being RMA'd. | 1.SR087828
Clarksburg A | MA | 33591 | 74718.88 | -41127.88 | -55.04% | 97524.52 | -63933.52 | -65.56%
Swansea B | MA | 94569 | 125325.5 | -30756.5 | -24.54% | 51394 | 43175 | 84.01% | 1.Inverter 1.5 was offline and being RMA'd since 11/05/2024, and was brought back online at 02:00PM on 01/09/2025 by a technician after being replaced with a new inverter. | 1.SR092911
Wareham 2 | MA | 87644 | 97399.22 | -9755.22 | -10.02% | 102713.9 | -15069.9 | -14.67% | 1.Inverter 2.11 tripped offline at 09:45 AM on 01/08 due to an ARC Protection fault. A technician later cleared the fault and brought it back online at 09:15 AM on 01/09. 2.Site tripped offline at 06:00AM on 01/18 due to utility outage and back online at 12:15PM on 01/18. | 1.SR095394 2.SR095692 | SR095692
Kingston 1 KB | MA | 71770 | 101770 | -30000 | -29.48% | 78160.59 | -6390.59 | -8.176% | 1.Inverter 2.5 tripped offline on 01/01 due to 'Insulation Resistance Low - Isolation Error' and later back online at 10:28 AM on 01/02. | 1. SR095225
Kingston 2 KB | MA | 57696 | 63140.3 | -5444.3 | -8.623% | 62736.91 | -5040.91 | -8.035%
Holliston B | MA | 61173 | 103746 | -42573 | -41.04% | 97654.44 | -36481.44 | -37.36% | 1.Inverters 17, 19, 14, 27, 11, 15, 25, 26, 9, 20, 24 & 18 are underperforming approximately 44KW down due to shading. | 1.SR094409
Fairhaven C | MA | 176084 | 223072.8 | -46988.8 | -21.06% | 175840.8 | 243.2 | 0.1383% | 1.Inverter 8 was offline on 01/03, 01/05, 01/06, 01/08, 01/11 and 01/15 due to Bus sum high fault and technician stated that inverter should be RMA'D from 01/16. 2.Inverter 10 was being RMA'd from 11/04/24 and was offline on 01/03, 01/08, 01/14 due to bus sum high fault and on 01/16 technician checked- in and replaced RMA'd inverter with New stock, voltages tested good and production was restored. 3.Inverter 19 has not communicating since 11/19/24, production cannot be confirmed at meter. On 01/15 technician checked in and stated that inverter was dropped offline due to a thermal event within the powerhead and communication board is being RMA'd and on 01/16, technician replaced faulty communications board and get the inverter to begin communicating again via the DAS platform. | 1.SR088896 2.SR092913 3.SR093031 | SR092913 | SR093031
Plympton A-2 | MA | 86762 | 112140.9 | -25378.9 | -22.63% | 98150.02 | -11388.02 | -11.6% | 1.Site tripped offline at 10:15AM due to SEL relay open and back online at 10:30AM after remote reset on attempted on 01/02. 2.Inverter 1 was offline due to hardware overcurrent fault following brief site outage from 10:15AM to 10:30AM on 01/02 where the site was closed remotely and on 01/03 inverter has self-resolved. | 1.SR095226 2.SR095230 | SR095230

## Feb
MN8 KEF |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Mar
MN8 KEF |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Apr
MN8 KEF |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1. Inverter 1.3 tripped offline on 04/05 at 10:24 and back online at 14:17 | 1. SR083119
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## May
MN8 KEF |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Jun
MN8 KEF |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1. Site was offline from 18:45 on 06/19 and back online at 22:15 on 06/19 | 1. SR086454
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Jul
MN8 KEF |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1.Site tripped offline from 7/7 at 07:45 and back online on 7/9 at 13:15. 2.Site tripped offline from 15:30 to 16:00 on 7/24. | 1.SR087437 2.SR088137
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Aug
MN8 KEF |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1.Site tripped offline on 08/08 at 18:45 and back online on 08/09 at 08:30 | 1.SR088809
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Sep
MN8 KEF |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Oct
MN8 KEF |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1.Site tripped offline at 9:45 AM on 10/17 and back online at 15:00 PM. | 1.SR092241
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Nov
MN8 KEF |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1.Inverter 3.5 (58%), Inverter 1.1 (78.6%), Inverter 3.4 (87%), Inverter 1.2 (89%), Inverter 1.4 (94%), Inverter 2.3 (94%), Inverter 3.3 (95%) are having large underperformance possibilly due to heavy seasonal shading | 1.SR093598
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Dec
MN8 KEF |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Williamsburg A | MA | [7 empty] | 1. Inverter 3.5 began late for production at 10:30AM. | 1. SR095173
Orange A KB | MA
Goshen A | MA
Phillipston A KB | MA
Uxbridge D | MA
West Bridgewater A&B | MA
Sutton A | MA
North Adams A | MA
North Adams B | MA
Clarksburg A | MA
Swansea B | MA
Wareham 2 | MA
Kingston 1 KB | MA
Kingston 2 KB | MA
Holliston B | MA
Fairhaven C | MA
Plympton A-2 | MA

## Sites
Portfolio: | MN8 KEF
Site DAS Name | Site | State | Update | DAS
MA-11-001 - Williamsburg A #1058 | Williamsburg A | MA |  | PowerTrack
MA-11-002 - Orange A KB | Orange A KB | MA |  | PowerTrack
MA-11-003 - Goshen A #1052 | Goshen A | MA |  | PowerTrack
MA-11-004 - Phillipston A KB | Phillipston A KB | MA |  | PowerTrack
MA-11-005 - Uxbridge D | Uxbridge D | MA |  | PowerTrack
MA-11-006 - West Bridgewater A&B #1063 | West Bridgewater A&B | MA |  | PowerTrack
MA-11-007 - Sutton A #1054 | Sutton A | MA |  | PowerTrack
MA-11-008 - North Adams A #1079 | North Adams A | MA |  | PowerTrack
MA-11-009 - North Adams B #1080 | North Adams B | MA |  | PowerTrack
MA-11-010 - Clarksburg A #1081 | Clarksburg A | MA |  | PowerTrack
MA-11-011 - Swansea B #1098 | Swansea B | MA |  | PowerTrack
MA-11-012 - Wareham 2 | Wareham 2 | MA |  | PowerTrack
MA-11-013 - Kingston 1 KB | Kingston 1 KB | MA |  | PowerTrack
MA-11-014 - Kingston 2 KB | Kingston 2 KB | MA |  | PowerTrack
MA-11-015 - Holliston B | Holliston B | MA |  | PowerTrack
MA-11-016 - Fairhaven C | Fairhaven C | MA |  | PowerTrack
MA-11-017 - Plympton A | Plympton A-2 | MA |  | PowerTrack