## Year to Date
Cushman & Wakefield |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 367292.559 | 0 | 367292.559 | 0% | 0 | 367292.559 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Arvin - Bank of America | CA | 677.786 | 0 | 677.786 |  | 0 | 0
Bell - Bank of America | CA | 14503.65 | 0 | 14503.65 |  | 0 | 0
Chula Vista - Bank of America | CA | 8334.762 | 0 | 8334.762 |  | 0 | 0
Cupertino - Bank of America | CA | 10231.529 | 0 | 10231.529 |  | 0 | 0
Diamond Bar - Bank of America | CA | 19152.597 | 0 | 19152.597 |  | 0 | 0
El Centro - Bank of America | CA | 18828.979 | 0 | 18828.979 |  | 0 | 0
Moreno Valley - Bank of America | CA | 31266.235 | 0 | 31266.235 |  | 0 | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Roseville - Bank of America | CA | 45495.043 | 0 | 45495.043 |  | 0 | 0
San Bernardino - Bank of America | CA | 575.25 | 0 | 575.25 |  | 0 | 0
San Diego - Bank of America | CA | 789.245 | 0 | 789.245 |  | 0 | 0
Stockton - Bank of America | CA | 12582.8 | 0 | 12582.8 |  | 0 | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Aurora - BA - Colfax Ave | CO | 10350.043 | 0 | 10350.043 |  | 0 | 0
Aurora - BA - Parker Rd | CO | 15823.552 | 0 | 15823.552 |  | 0 | 0
Broomfield - Bank of America | CO | 10048.238 | 0 | 10048.238 |  | 0 | 0
Colorado Springs - Bank of America | CO | 17194.405 | 0 | 17194.405 |  | 0 | 0
Denver - BA - 49th Ave | CO | 8035.442 | 0 | 8035.442 |  | 0 | 0
Denver - BA Wadsworth Blvd | CO | 14676.005 | 0 | 14676.005 |  | 0 | 0
Fort Collins - Bank of America | CO | 9745.712 | 0 | 9745.712 |  | 0 | 0
Lafayette - Bank of America | CO | 13945.018 | 0 | 13945.018 |  | 0 | 0
Lakewood - Bank of America | CO | 7983.938 | 0 | 7983.938 |  | 0 | 0
Longmont - Bank of America | CO | 5974.178 | 0 | 5974.178 |  | 0 | 0
Thornton - Bank of America | CO | 8561.579 | 0 | 8561.579 |  | 0 | 0
Calumet City - Bank of America | IL | 14794.057 | 0 | 14794.057 |  | 0 | 0
Downers Grove - Bank of America | IL | 16235.592 | 0 | 16235.592 |  | 0 | 0
Bloomington - Bank of America | MN | 7679.794 | 0 | 7679.794 |  | 0 | 0
Clayton - Bank of America | MO | 13339.748 | 0 | 13339.748 |  | 0 | 0
Manchester - Bank of America | MO | 10685.537 | 0 | 10685.537 |  | 0 | 0
Las Vegas - BA - Eastern Ave | NV | 345.364 | 0 | 345.364 |  | 0 | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  | 0 | 0
Riverton - Bank of America | UT | 16375.957 | 0 | 16375.957 |  | 0 | 0
Salt Lake City - Bank of America | UT | 3060.524 | 0 | 3060.524 |  | 0 | 0

## 1st Qtr
Cushman & Wakefield |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 109546.9 | 0 | 109546.9 | 0% | 0 | 109546.9 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Arvin - Bank of America | CA | 242.4 | 0 | 242.4 |  | 0 | 0
Bell - Bank of America | CA | 5494 | 0 | 5494 |  | 0 | 0
Chula Vista - Bank of America | CA | 2635.3 | 0 | 2635.3 |  | 0 | 0
Cupertino - Bank of America | CA | 2148.1 | 0 | 2148.1 |  | 0 | 0
Diamond Bar - Bank of America | CA | 6675.8 | 0 | 6675.8 |  | 0 | 0
El Centro - Bank of America | CA | 6302.5 | 0 | 6302.5 |  | 0 | 0
Moreno Valley - Bank of America | CA | 9931.2 | 0 | 9931.2 |  | 0 | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Roseville - Bank of America | CA | 13690.4 | 0 | 13690.4 |  | 0 | 0
San Bernardino - Bank of America | CA | 164.1 | 0 | 164.1 |  | 0 | 0
San Diego - Bank of America | CA | 519.6 | 0 | 519.6 |  | 0 | 0
Stockton - Bank of America | CA | 3168.1 | 0 | 3168.1 |  | 0 | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Aurora - BA - Colfax Ave | CO | 2330.4 | 0 | 2330.4 |  | 0 | 0
Aurora - BA - Parker Rd | CO | 6937.7 | 0 | 6937.7 |  | 0 | 0
Broomfield - Bank of America | CO | 2685.2 | 0 | 2685.2 |  | 0 | 0
Colorado Springs - Bank of America | CO | 5772.9 | 0 | 5772.9 |  | 0 | 0
Denver - BA - 49th Ave | CO | 2811.7 | 0 | 2811.7 |  | 0 | 0
Denver - BA Wadsworth Blvd | CO | 3998.8 | 0 | 3998.8 |  | 0 | 0
Fort Collins - Bank of America | CO | 2483.9 | 0 | 2483.9 |  | 0 | 0
Lafayette - Bank of America | CO | 3988.5 | 0 | 3988.5 |  | 0 | 0
Lakewood - Bank of America | CO | 2180.9 | 0 | 2180.9 |  | 0 | 0
Longmont - Bank of America | CO | 817.1 | 0 | 817.1 |  | 0 | 0
Thornton - Bank of America | CO | 2589.5 | 0 | 2589.5 |  | 0 | 0
Calumet City - Bank of America | IL | 4081.5 | 0 | 4081.5 |  | 0 | 0
Downers Grove - Bank of America | IL | 4372.3 | 0 | 4372.3 |  | 0 | 0
Bloomington - Bank of America | MN | 732.3 | 0 | 732.3 |  | 0 | 0
Clayton - Bank of America | MO | 4230.2 | 0 | 4230.2 |  | 0 | 0
Manchester - Bank of America | MO | 3265.5 | 0 | 3265.5 |  | 0 | 0
Las Vegas - BA - Eastern Ave | NV | 88.2 | 0 | 88.2 |  | 0 | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  | 0 | 0
Riverton - Bank of America | UT | 4602.2 | 0 | 4602.2 |  | 0 | 0
Salt Lake City - Bank of America | UT | 606.6 | 0 | 606.6 |  | 0 | 0

## 2nd Qtr
Cushman & Wakefield |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 193421.44 | 0 | 193421.44 | 0% | 0 | 193421.44 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 320.526 | 0 | 320.526 |  |  | 0
Bell - Bank of America | CA | 6647.688 | 0 | 6647.688 |  |  | 0
Chula Vista - Bank of America | CA | 4183.342 | 0 | 4183.342 |  |  | 0
Cupertino - Bank of America | CA | 7810.127 | 0 | 7810.127 |  |  | 0
Diamond Bar - Bank of America | CA | 9042.05 | 0 | 9042.05 |  |  | 0
El Centro - Bank of America | CA | 9536.975 | 0 | 9536.975 |  |  | 0
Moreno Valley - Bank of America | CA | 15867.794 | 0 | 15867.794 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 23639.884 | 0 | 23639.884 |  |  | 0
San Bernardino - Bank of America | CA | 292.03 | 0 | 292.03 |  |  | 0
San Diego - Bank of America | CA | 193.694 | 0 | 193.694 |  |  | 0
Stockton - Bank of America | CA | 7033.036 | 0 | 7033.036 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 4022.693 | 0 | 4022.693 |  |  | 0
Aurora - BA - Parker Rd | CO | 7467 | 0 | 7467 |  |  | 0
Broomfield - Bank of America | CO | 5397.397 | 0 | 5397.397 |  |  | 0
Colorado Springs - Bank of America | CO | 8614.213 | 0 | 8614.213 |  |  | 0
Denver - BA - 49th Ave | CO | 3854.313 | 0 | 3854.313 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 7985.949 | 0 | 7985.949 |  |  | 0
Fort Collins - Bank of America | CO | 5335.039 | 0 | 5335.039 |  |  | 0
Lafayette - Bank of America | CO | 7397.195 | 0 | 7397.195 |  |  | 0
Lakewood - Bank of America | CO | 4315.261 | 0 | 4315.261 |  |  | 0
Longmont - Bank of America | CO | 3815.243 | 0 | 3815.243 |  |  | 0
Thornton - Bank of America | CO | 4433.688 | 0 | 4433.688 |  |  | 0
Calumet City - Bank of America | IL | 7962.201 | 0 | 7962.201 |  |  | 0
Downers Grove - Bank of America | IL | 8850.595 | 0 | 8850.595 |  |  | 0
Bloomington - Bank of America | MN | 6266.156 | 0 | 6266.156 |  |  | 0
Clayton - Bank of America | MO | 6674.488 | 0 | 6674.488 |  |  | 0
Manchester - Bank of America | MO | 5301.011 | 0 | 5301.011 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 215.647 | 0 | 215.647 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 8706.453 | 0 | 8706.453 |  |  | 0
Salt Lake City - Bank of America | UT | 2239.752 | 0 | 2239.752 |  |  | 0

## 3rd Qtr
Cushman & Wakefield |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 64324.219 | 0 | 64324.219 | 0% | 0 | 64324.219 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 114.86 | 0 | 114.86 |  |  | 0
Bell - Bank of America | CA | 2361.962 | 0 | 2361.962 |  |  | 0
Chula Vista - Bank of America | CA | 1516.12 | 0 | 1516.12 |  |  | 0
Cupertino - Bank of America | CA | 273.302 | 0 | 273.302 |  |  | 0
Diamond Bar - Bank of America | CA | 3434.747 | 0 | 3434.747 |  |  | 0
El Centro - Bank of America | CA | 2989.504 | 0 | 2989.504 |  |  | 0
Moreno Valley - Bank of America | CA | 5467.241 | 0 | 5467.241 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 8164.759 | 0 | 8164.759 |  |  | 0
San Bernardino - Bank of America | CA | 119.12 | 0 | 119.12 |  |  | 0
San Diego - Bank of America | CA | 75.951 | 0 | 75.951 |  |  | 0
Stockton - Bank of America | CA | 2381.664 | 0 | 2381.664 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 3996.95 | 0 | 3996.95 |  |  | 0
Aurora - BA - Parker Rd | CO | 1418.852 | 0 | 1418.852 |  |  | 0
Broomfield - Bank of America | CO | 1965.641 | 0 | 1965.641 |  |  | 0
Colorado Springs - Bank of America | CO | 2807.292 | 0 | 2807.292 |  |  | 0
Denver - BA - 49th Ave | CO | 1369.429 | 0 | 1369.429 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 2691.256 | 0 | 2691.256 |  |  | 0
Fort Collins - Bank of America | CO | 1926.773 | 0 | 1926.773 |  |  | 0
Lafayette - Bank of America | CO | 2559.323 | 0 | 2559.323 |  |  | 0
Lakewood - Bank of America | CO | 1487.777 | 0 | 1487.777 |  |  | 0
Longmont - Bank of America | CO | 1341.835 | 0 | 1341.835 |  |  | 0
Thornton - Bank of America | CO | 1538.391 | 0 | 1538.391 |  |  | 0
Calumet City - Bank of America | IL | 2750.356 | 0 | 2750.356 |  |  | 0
Downers Grove - Bank of America | IL | 3012.697 | 0 | 3012.697 |  |  | 0
Bloomington - Bank of America | MN | 681.338 | 0 | 681.338 |  |  | 0
Clayton - Bank of America | MO | 2435.06 | 0 | 2435.06 |  |  | 0
Manchester - Bank of America | MO | 2119.026 | 0 | 2119.026 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 41.517 | 0 | 41.517 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 3067.304 | 0 | 3067.304 |  |  | 0
Salt Lake City - Bank of America | UT | 214.172 | 0 | 214.172 |  |  | 0

## 4th Qtr
Cushman & Wakefield |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Bell - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Chula Vista - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Cupertino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Diamond Bar - Bank of America | CA | 0 | 0 | 0 |  |  | 0
El Centro - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Moreno Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Bernardino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Diego - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Stockton - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 0 | 0 | 0 |  |  | 0
Aurora - BA - Parker Rd | CO | 0 | 0 | 0 |  |  | 0
Broomfield - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Colorado Springs - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 0 | 0 | 0 |  |  | 0
Fort Collins - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lafayette - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lakewood - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Longmont - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Thornton - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Calumet City - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Downers Grove - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Bloomington - Bank of America | MN | 0 | 0 | 0 |  |  | 0
Clayton - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Manchester - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 0 | 0 | 0 |  |  | 0
Salt Lake City - Bank of America | UT | 0 | 0 | 0 |  |  | 0

## Jan
Cushman & Wakefield |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 25654.3 | 0 | 25654.3 | 0% | 0 | 25654.3 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 81.5 | N/A |  |  | N/A |  |  | 1. Site was offline on 01/03/25 at 07:30AM due to a power generation shutdown by command. Enphase later sent a command to reset the site remotely, but it remained offline until the gateway reported back, and the issue was resolved at 13:00 the same day. | 1. SR095278
Bell - Bank of America | CA | 1491.7 | N/A |  |  | N/A
Chula Vista - Bank of America | CA | 458.5 | N/A |  |  | N/A |  |  | 1. Site was offline from 12/30/24 because someone had turned OFF the disconnect. It was remotely turned back ON on 01/15/25 at 15:15, bringing the site back online | 1. SR095189
Cupertino - Bank of America | CA | 0 | N/A |  |  | N/A |  |  | 1. Gateway stopped reporting since 12/19/24. | 1. SR095095
Diamond Bar - Bank of America | CA | 1557.8 | N/A |  |  | N/A |  |  | 1. 12 microinverters have not reported since 9/28/24 due to improper mapping with Enphase. On 01/13/25, the technician found the site map inadequate for locating them. To resolve this, we’ll schedule a follow-up visit with an additional technician and a lift to update the site information in the Enphase Enlighten portal. | 1. SR091352
El Centro - Bank of America | CA | 1875.6 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 3150 | N/A |  |  | N/A |  |  | 1. 10 microinverters have not producing since 01/13/25 and remained offline through the month. | 1. SR095528
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 4319 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 29.9 | N/A |  |  | N/A |  |  | 1. Site has been offline since 01/21/25 due to a possible disconnection.This indicates it was shut off from its past history and back online at 09:00 on 01/31/25. | 1. SR095900
San Diego - Bank of America | CA | 42.2 | N/A |  |  | N/A
Stockton - Bank of America | CA | 935.3 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A
Aurora - BA - Colfax Ave | CO | 484.6 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 1419.2 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 491.3 | N/A |  |  | N/A |  |  | 1. 1 microinverter have not producing since 01/08/25 and remained offline through the month. | 1. SR095596
Colorado Springs - Bank of America | CO | 1148.4 | N/A |  |  | N/A
Denver - BA - 49th Ave | CO | 966.8 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 358.8 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 219.5 | N/A |  |  | N/A |  |  | 1. Site has been offline since 08/21/24 due to heat anomalies on the breaker affecting the conduit. On 01/15/25, the technician re-energized it and brought it back online at 14:00 | 1. SR095597, SR089922 & SR095037 | SR089922 | SR095037
Lafayette - Bank of America | CO | 514.2 | N/A |  |  | N/A |  |  | 1. Meter was capturing only half of the inverter production due to a faulty CT since 10/31/24. On 01/15/25 at 11:15AM, the technician replaced the RMA'd IQ Gateway, installed 3 new CTs on the supply wires, updated the software, and re-paired all devices. Proper current readings were verified through the Enphase app, and the system back to normal. | 1. SR092849, SR095290 | SR095290
Lakewood - Bank of America | CO | 346.1 | N/A |  |  | N/A
Longmont - Bank of America | CO | 281.1 | N/A |  |  | N/A |  |  | 1. 1 microinverter have not producing since 01/18/25 and remained offline through the month. | 1. SR096191
Thornton - Bank of America | CO | 481 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 1023.4 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 997.5 | N/A |  |  | N/A
Bloomington - Bank of America | MN | 156.4 | N/A |  |  | N/A |  |  | 1. Microinverter 1 (202305093235) has not been reporting since 12/02/24 and was RMA'd on 12/22/24. Parts are needed to bring it back online. | 1. SR094909
Clayton - Bank of America | MO | 804 | N/A |  |  | N/A
Manchester - Bank of America | MO | 686.6 | N/A |  |  | N/A
Las Vegas - BA - Eastern Ave | NV | 56.2 | N/A |  |  | N/A
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 1155.6 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 122.1 | N/A |  |  | N/A

## Feb
Cushman & Wakefield |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 31847.3 | 0 | 31847.3 | 0% | 0 | 31847.3 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 73 | N/A |  |  | N/A
Bell - Bank of America | CA | 1743 | N/A |  |  | N/A
Chula Vista - Bank of America | CA | 968 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 293 | N/A |  |  | N/A |  |  | 1. The gateway stopped reporting on 12/19/24. On 02/18/25, the technician found the disconnect open and re-energized the site at 06:30 AM. It stopped reporting again on 02/20/25 and was restored at 06:30 AM on 02/24 after contacting the site. | 1. SR095095, SR097621 | SR097621
Diamond Bar - Bank of America | CA | 2229 | N/A |  |  | N/A |  |  | 1. 12 microinverters have not reported since 9/28/24 due to improper mapping with Enphase. On 01/13/25, the technician found the site map inadequate for locating them. To resolve this, we’ll schedule a follow-up visit with an additional technician and a lift to update the site information in the Enphase Enlighten portal. | 1. SR091352
El Centro - Bank of America | CA | 1684 | N/A |  |  | N/A |  |  | 1. Site was offline from 02/07/25 due to a power off command and brought back online on 02/11/25 after remote reset by enphase | 1. SR096470
Moreno Valley - Bank of America | CA | 3058 | N/A |  |  | N/A |  |  | 1. 10 microinverters have not producing since 01/13/25 and remained offline through the month. | 1. SR095528
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 3965.3 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 43 | N/A |  |  | N/A |  |  | 1. Site was offline from 12:45 on 02/03/25 due to a disconnect, which self-resolved on 02/07 at 08:15. It went offline again from 15:30 on 02/09 and self-resolved on 02/11 at 06:00. The site was offline from 02/14 and came back online on 02/17. On 02/19, the technician updated the gateway firmware as per Enphase instructions. | 1. SR095900
San Diego - Bank of America | CA | 33 | N/A |  |  | N/A
Stockton - Bank of America | CA | 758 | N/A |  |  | N/A |  |  | 1. Site was offline from 02/07/25 due to a power off command and brought back online on 02/10/25 at 14:30 after remote reset by enphase. | 1. SR095166
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A
Aurora - BA - Colfax Ave | CO | 699 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 2054 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 760 | N/A |  |  | N/A |  |  | 1. One microinverter has not been producing since 01/08/25. It was RMA'd on 02/27/25 and remained offline throughout the month. | 1. SR095596
Colorado Springs - Bank of America | CO | 1767 | N/A |  |  | N/A
Denver - BA - 49th Ave | CO | 653 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 1289 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 794 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 1223 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 611 | N/A |  |  | N/A
Longmont - Bank of America | CO | 536 | N/A |  |  | N/A |  |  | 1. One microinverter has not been producing since 01/18/25 and self-resolved, coming back online on 02/03. | 1. SR096191
Thornton - Bank of America | CO | 774 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 1028 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 1081 | N/A |  |  | N/A
Bloomington - Bank of America | MN | 130 | N/A |  |  | N/A |  |  | 1. Microinverter 1 (202305093235) has not been reporting since 12/02/24 and was RMA'd on 12/22/24. Parts are needed to bring it back online. | 1. SR094909
Clayton - Bank of America | MO | 1206 | N/A |  |  | N/A
Manchester - Bank of America | MO | 894 | N/A |  |  | N/A |  |  | 1. Microinverter 121938054429 has not been reporting from 7:15 on 02/20/25 and remained offline throughout the month. | 1. SR097762
Las Vegas - BA - Eastern Ave | NV | 12 | N/A |  |  | N/A |  |  | 1. Site stopped reporting from 02/08/25. Likely AC Disconnect is off. | 1. SR096627
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 1326 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 163 | N/A |  |  | N/A

## Mar
Cushman & Wakefield |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 52045.3 | 0 | 52045.3 | 0% | 0 | 52045.3 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 87.9 | N/A |  |  | N/A
Bell - Bank of America | CA | 2259.3 | N/A |  |  | N/A
Chula Vista - Bank of America | CA | 1208.8 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 1855.1 | N/A |  |  | N/A
Diamond Bar - Bank of America | CA | 2889 | N/A |  |  | N/A |  |  | 1. 12 microinverters haven't reported since 09/28/24 due to incorrect mapping with Enphase. On 01/13/25, the tech found the site map inadequate. On 03/20/25, the technician lifted all modules on Array 2, optimizers photographed, and manual mapping started. Enphase portal mapping doesn't match on-site. Need to return to finish mapping Arrays 1 & 2, then submit to Enphase for correction. | 1. SR091352
El Centro - Bank of America | CA | 2742.9 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 3723.2 | N/A |  |  | N/A |  |  | 1. 10 microinverters have not producing since 01/13/25.On 03/25/25, technician tested Array 1 J-Box connections – all passed, NEC compliant. Replaced all wire nuts and Wagos with new ones. Found 18 microinverters offline and unmapped. Started mapping all 84 units and confirmed with Enphase; all serials added and mapped. Restored 83 units. One unit (S/N: 202403005673, Array 1, Row 4, Col 5) still offline – MCI head damaged. AC/DC tests passed. Opened RMA with Enphase. Installed spare (S/N: 202401030429) from van, updated mapping. Enphase confirmed new unit is producing the same day. | 1. SR095528
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 5406.1 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 91.2 | N/A |  |  | N/A
San Diego - Bank of America | CA | 444.4 | N/A |  |  | N/A
Stockton - Bank of America | CA | 1474.8 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A
Aurora - BA - Colfax Ave | CO | 1146.8 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 3464.5 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 1433.9 | N/A |  |  | N/A |  |  | 1. One microinverter (202305093235) has not been producing since 01/08/25. It was RMA'd on 02/27/25 and remained offline throughout the month. | 1. SR095596
Colorado Springs - Bank of America | CO | 2857.5 | N/A |  |  | N/A
Denver - BA - 49th Ave | CO | 1191.9 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 2351 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 1470.4 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 2251.3 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 1223.8 | N/A |  |  | N/A
Longmont - Bank of America | CO |  | N/A |  |  | N/A
Thornton - Bank of America | CO | 1334.5 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 2030.1 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 2293.8 | N/A |  |  | N/A
Bloomington - Bank of America | MN | 445.9 | N/A |  |  | N/A
Clayton - Bank of America | MO | 2220.2 | N/A |  |  | N/A
Manchester - Bank of America | MO | 1684.9 | N/A |  |  | N/A |  |  | 1. Microinverter 121938054429 has not been reporting from 7:15 on 02/20/25 and remained offline throughout the month. | 1. SR097762, PM9175
Las Vegas - BA - Eastern Ave | NV | 20 | N/A |  |  | N/A |  |  | 1.The site stopped reporting from 02/08/25, likely due to the AC disconnect being off. Site is communicating and producing normally from 03/22 | 1.SR096627
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 2120.6 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 321.5 | N/A |  |  | N/A

## Apr
Cushman & Wakefield |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 64215.7 | 0 | 64215.7 | 0% | 0 | 64215.7 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 89.6 | N/A |  |  | N/A
Bell - Bank of America | CA | 2536.2 | N/A |  |  | N/A
Chula Vista - Bank of America | CA | 1426.9 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 2190.9 | N/A |  |  | N/A
Diamond Bar - Bank of America | CA | 2886.7 | N/A |  |  | N/A |  |  | 1. 12 microinverters have not reported since 09/28/24 due to incorrect mapping in the Enphase system. On 01/13/25, a technician identified the site map as inadequate. On 03/20/25, all modules on Array 2 were lifted, optimizers photographed, and manual mapping was started. However, the Enphase portal mapping still doesn't match the physical layout. The technician needs to return to complete mapping for Arrays 1 and 2 and submit the corrected map to Enphase. On 04/17/25, Array 3 was mapped, and on 04/18/25, mapping continued on the west-facing array, with modules removed to retrieve microinverter serial numbers. Despite these efforts, the microinverters are still not reporting. | 1. SR091352
El Centro - Bank of America | CA | 3171.8 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 4841 | N/A |  |  | N/A
Redlands - Bank of America | CA |  | N/A |  |  | N/A
Roseville - Bank of America | CA | 6982.8 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 111.9 | N/A |  |  | N/A
San Diego - Bank of America | CA | 62.5 | N/A |  |  | N/A
Stockton - Bank of America | CA | 1974.5 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A |  |  | 1. Three SMAs have been offline since 04/15. On 04/23, the technician found major thermal damage around the capacitors, which need to be replaced in order to bring the inverters back online. | 1. SR099807
Aurora - BA - Colfax Ave | CO | 1222.2 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 3514.4 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 1547.5 | N/A |  |  | N/A |  |  | 1. One microinverter (202305093235) has not been producing since 01/08/25. It was RMA'd on 02/27/25 and remained offline throughout the month. | 1.SR095596
Colorado Springs - Bank of America | CO | 2757.6 | N/A |  |  | N/A
Denver - BA - 49th Ave | CO | 1212.4 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 2345.5 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 1644.4 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 2243 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 1280.4 | N/A |  |  | N/A
Longmont - Bank of America | CO | 1194.3 | N/A |  |  | N/A
Thornton - Bank of America | CO | 1347.7 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 2184.3 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 2439.1 | N/A |  |  | N/A
Bloomington - Bank of America | MN | 5105.3 | N/A |  |  | N/A |  |  | 1. One microinverter (202305093235) is not reporting the production data.Issue to be addressed on PM | 1.SR101279
Clayton - Bank of America | MO | 1970.4 | N/A |  |  | N/A
Manchester - Bank of America | MO | 1474 | N/A |  |  | N/A |  |  | 1. Microinverter 121938054429 has not been reporting from 7:15 on 02/20/25 and remained offline throughout the month. | 1. SR097762, PM9175
Las Vegas - BA - Eastern Ave | NV | 70.8 | N/A |  |  | N/A
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 2575.5 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 1812.1 | N/A |  |  | N/A

## May
Cushman & Wakefield |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 66518.4 | 0 | 66518.4 | 0% | 0 | 66518.4 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 112.1 | N/A |  |  | N/A
Bell - Bank of America | CA | 2216.4 | N/A |  |  | N/A |  |  | 1. 8 microinverters have been offline since 5/10 due to an AC frequency out-of-range issue. Enphase approved a remote RMA on 5/19, pending confirmation and shipping details from ROC and the OEM. 2. Gateway not reporting since 05/22 at 16:16 and later self resolved on 05/29. | 1. SR101589, SR101905 2. SR101905 | SR101905 | SR101905
Chula Vista - Bank of America | CA | 1383.4 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 2776.4 | N/A |  |  | N/A
Diamond Bar - Bank of America | CA | 2908.8 | N/A |  |  | N/A |  |  | 1. 12 microinverters(gray) have not reported since 09/28/24; 9 of them were previously RMA’d. On 05/29/25, Enphase confirmed 13 microinverters(white) are missing from the array builder. A device scan was run waiting 24 hours before replacing old SNs with new ones via the self-service install replacement option. Awaiting Enphase's response on data. | 1. SR102087, SR091352 | SR091352
El Centro - Bank of America | CA | 3257.5 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 5356 | N/A |  |  | N/A |  |  | 1. one microinverter have not reporting since 05/28 and remained offline throughout the month. | 1. SR102088
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 8405.8 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 108.5 | N/A |  |  | N/A |  |  | 1. Microinverters did not report from 19:10 on 05/20 to 06:35 on 05/23 due to a mapping issue, which requires further troubleshooting. | 1. SR101846
San Diego - Bank of America | CA | 64.3 | N/A |  |  | N/A
Stockton - Bank of America | CA | 2540.7 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A |  |  | 1. Three SMAs have been offline since 04/15. On 04/23, a technician found major thermal damage around the capacitors, requiring replacement. On 05/14, SMA requested as-builts to review and recommend an alternate inverter model for repowering, as the same series is no longer available | 1. SR099807
Aurora - BA - Colfax Ave | CO | 1401.3 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 3952.6 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 1947.5 | N/A |  |  | N/A |  |  | 1. One microinverter (202305093235) has not produced since 01/08. It was RMA’d on 02/27, and on 05/02, the technician replaced three microinverters, which came back online at 10:15 the same day | 1. SR095596
Colorado Springs - Bank of America | CO | 2966.3 | N/A |  |  | N/A
Denver - BA - 49th Ave | CO | 1348.2 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 2916.1 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 1819.1 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 2615.1 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 1549.6 | N/A |  |  | N/A
Longmont - Bank of America | CO | 1309.4 | N/A |  |  | N/A
Thornton - Bank of America | CO | 1552.1 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 2801.4 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 3092.4 | N/A |  |  | N/A |  |  | 1. One microinverter have not reporting since 05/10 and remained offline throughout the month. Issue to be addressed on PM | 1. SR101326
Bloomington - Bank of America | MN | 624.6 | N/A |  |  | N/A |  |  | 1. One microinverter (202305093235) is not reporting the production data.Issue to be addressed on PM | 1. SR101279
Clayton - Bank of America | MO | 2398.7 | N/A |  |  | N/A
Manchester - Bank of America | MO | 1926.2 | N/A |  |  | N/A |  |  | 1. Microinverter 121938054429 has not been reporting from 7:15 on 02/20/25 and remained offline throughout the month. | 1. SR097762, PM9175
Las Vegas - BA - Eastern Ave | NV | 72.1 | N/A |  |  | N/A
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 2895.9 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 199.9 | N/A |  |  | N/A

## Jun
Cushman & Wakefield |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 62687.34 | 0 | 62687.34 | 0% | 0 | 62687.34 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 118.826 | N/A |  |  | N/A
Bell - Bank of America | CA | 1895.088 | N/A |  |  | N/A |  |  | 1. 8 microinverters have been offline since 05/10/2025 due to "AC Frequency Out of Range" and are currently undergoing the RMA process. | 1. SR101589
Chula Vista - Bank of America | CA | 1373.042 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 2842.827 | N/A |  |  | N/A
Diamond Bar - Bank of America | CA | 3246.55 | N/A |  |  | N/A |  |  | 1. 12 microinverters are not reporting (gray) and have possibly been offline since 04/18/2025. Out of these, 9 have already been RMA'd. Additionally, it was confirmed that 13 microinverters are missing (white) from the Array Builder. A device scan was initiated, and a 24-hour wait period is being observed before replacing the old serial numbers with new ones using the Self-Service "Install Replacement" option. Awaiting Enphase’s response regarding the data | 1. SR102087
El Centro - Bank of America | CA | 3107.675 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 5670.794 | N/A |  |  | N/A |  |  | 1. One microinverter has not been reporting since 05/28/2025 and is currently undergoing the RMA process. | 1. SR102088
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 8251.284 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 71.63 | N/A |  |  | N/A |  |  | 1. The site experienced communication losses on 06/01, 06/02, 06/03, 06/05, 06/06, 06/07, 06/11, 06/21, 06/22, 06/23, 06/24, 06/25, 06/26, and 06/28, and production during these periods cannot be confirmed. Additionally, site production dropped to 13 W from 08:30 to 14:15 on 06/19. The site resumed production later at 15:30 on 06/20 and again at 17:45 on 06/29. | 1. SR101846
San Diego - Bank of America | CA | 66.894 | N/A |  |  | N/A
Stockton - Bank of America | CA | 2517.836 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A
Aurora - BA - Colfax Ave | CO | 1399.193 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 0 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 1902.397 | N/A |  |  | N/A
Colorado Springs - Bank of America | CO | 2890.313 | N/A |  |  | N/A |  |  | 1. Microinverter 202305093250 lost communications on 6/4. Possibly offline. | 1. SR102639
Denver - BA - 49th Ave | CO | 1293.713 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 2724.349 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 1871.539 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 2539.095 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 1485.261 | N/A |  |  | N/A
Longmont - Bank of America | CO | 1311.543 | N/A |  |  | N/A
Thornton - Bank of America | CO | 1533.888 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 2976.501 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 3319.095 | N/A |  |  | N/A |  |  | 1. One microinverter has not been reporting since 06/15 | 1. SR103077
Bloomington - Bank of America | MN | 536.256 | N/A |  |  | N/A
Clayton - Bank of America | MO | 2305.388 | N/A |  |  | N/A |  |  | 1. Microinverters 202305094113 and 202305090271 have been offline since 06/27 and are currently undergoing the RMA process. | 1. SR103670
Manchester - Bank of America | MO | 1900.811 | N/A |  |  | N/A
Las Vegas - BA - Eastern Ave | NV | 72.747 | N/A |  |  | N/A
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A
Riverton - Bank of America | UT | 3235.053 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 227.752 | N/A |  |  | N/A

## Jul
Cushman & Wakefield |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 64324.219 | 0 | 64324.219 | 0% | 0 | 64324.219 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0 | N/A |  |  | N/A
Apple Valley - Bank of America | CA | 0 | N/A |  |  | N/A
Arvin - Bank of America | CA | 114.86 | N/A |  |  | N/A
Bell - Bank of America | CA | 2361.962 | N/A |  |  | N/A |  |  | 1. 8 microinverters have been offline since 05/10/2025 due to "AC Frequency Out of Range" and are currently undergoing the RMA process. | 1. SR101589
Chula Vista - Bank of America | CA | 1516.12 | N/A |  |  | N/A
Cupertino - Bank of America | CA | 273.302 | N/A |  |  | N/A |  |  | 1. Site gateway was not reported from 7/4/25 to end of the month. | 1. SR104091
Diamond Bar - Bank of America | CA | 3434.747 | N/A |  |  | N/A |  |  | 1. 12 microinverters are not reporting (gray) and have possibly been offline since 04/18/2025. Out of these, 9 have already been RMA'd. Additionally, it was confirmed that 13 microinverters are missing (white) from the Array Builder. A device scan was initiated, and a 24-hour wait period is being observed before replacing the old serial numbers with new ones using the Self-Service "Install Replacement" option. Awaiting Enphase’s response regarding the data | 1.SR102087
El Centro - Bank of America | CA | 2989.504 | N/A |  |  | N/A
Moreno Valley - Bank of America | CA | 5467.241 | N/A |  |  | N/A |  |  | 1. One microinverter has not been reporting since 05/28/2025 and is currently undergoing the RMA process. | 1. SR102088
Redlands - Bank of America | CA | 0 | N/A |  |  | N/A
Roseville - Bank of America | CA | 8164.759 | N/A |  |  | N/A
San Bernardino - Bank of America | CA | 119.12 | N/A |  |  | N/A |  |  | 1. The site experienced communication losses on 07/01, 07/08, 07/30, 07/31, and production during these periods cannot be confirmed. | 1. SR101846
San Diego - Bank of America | CA | 75.951 | N/A |  |  | N/A
Stockton - Bank of America | CA | 2381.664 | N/A |  |  | N/A
Victorville - Bank of America | CA | 0 | N/A |  |  | N/A |  |  | 1. 3 micro inverters to have major thermal damage around the capacitors were offline for whole month. | 1. SR099807
Aurora - BA - Colfax Ave | CO | 3996.95 | N/A |  |  | N/A
Aurora - BA - Parker Rd | CO | 1418.852 | N/A |  |  | N/A
Broomfield - Bank of America | CO | 1965.641 | N/A |  |  | N/A
Colorado Springs - Bank of America | CO | 2807.292 | N/A |  |  | N/A |  |  | 1. Microinverter 202305093250 lost communications on 6/4. Possibly offline. | 1.SR102639
Denver - BA - 49th Ave | CO | 1369.429 | N/A |  |  | N/A
Denver - BA Wadsworth Blvd | CO | 2691.256 | N/A |  |  | N/A
Fort Collins - Bank of America | CO | 1926.773 | N/A |  |  | N/A
Lafayette - Bank of America | CO | 2559.323 | N/A |  |  | N/A
Lakewood - Bank of America | CO | 1487.777 | N/A |  |  | N/A
Longmont - Bank of America | CO | 1341.835 | N/A |  |  | N/A
Thornton - Bank of America | CO | 1538.391 | N/A |  |  | N/A
Calumet City - Bank of America | IL | 2750.356 | N/A |  |  | N/A
Downers Grove - Bank of America | IL | 3012.697 | N/A |  |  | N/A |  |  | 1. One microinverter has not been reporting since 06/15. Micro inveretr back online on 07/18 | 1. SR103077
Bloomington - Bank of America | MN | 681.338 | N/A |  |  | N/A
Clayton - Bank of America | MO | 2435.06 | N/A |  |  | N/A |  |  | 1. Microinverters 202305094113 and 202305090271 have been offline since 06/27 and are currently undergoing the RMA process. On 07/24 technicain Replaced 3 micro inverters and 45/45 producing. | 1. SR103670
Manchester - Bank of America | MO | 2119.026 | N/A |  |  | N/A
Las Vegas - BA - Eastern Ave | NV | 41.517 | N/A |  |  | N/A
Las Vegas - BA - Town Ctr Dr | NV | 0 | N/A |  |  | N/A |  |  | 1. Site stopped communicating on 7/18/25. AC disconnect may be off. Requesting the customer to check breaker | 1.SR104706
Riverton - Bank of America | UT | 3067.304 | N/A |  |  | N/A
Salt Lake City - Bank of America | UT | 214.172 | N/A |  |  | N/A

## Aug
Cushman & Wakefield |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA |  | 0 |  |  | 0
Apple Valley - Bank of America | CA |  | 0
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Sep
Cushman & Wakefield |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA |  | 0 |  |  | 0
Apple Valley - Bank of America | CA |  | 0
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Oct
Cushman & Wakefield |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA |  | 0 |  |  | 0
Apple Valley - Bank of America | CA |  | 0
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT
0

## Nov
Cushman & Wakefield |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Dec
Cushman & Wakefield |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA |  | 0 |  |  | 0
Apple Valley - Bank of America | CA |  | 0
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Sites
Portfolio: | Cushman & Wakefield
Site DAS Name | Site | State | Update | DAS
| Adelanto - Bank of America | CA |  | Enlighten Manager
| Apple Valley - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-D36 (Arvin, CA) | Arvin - Bank of America | CA |  | Enlighten Manager
Bank of America - CA8-122 (Bell, CA) (240 VAC High Leg Delta) | Bell - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-G59 (Chula Vista, CA) | Chula Vista - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-F39 (Cupertino, CA) | Cupertino - Bank of America | CA |  | Enlighten Manager
Bank of America - CA7-202 (Diamond Bar, CA) | Diamond Bar - Bank of America | CA |  | Enlighten Manager
Bank of America - CA0-119 (El Centro, CA) | El Centro - Bank of America | CA |  | Enlighten Manager
Bank of America - CA6-174 (Moreno Valley, CA) | Moreno Valley - Bank of America | CA |  | Enlighten Manager
| Redlands - Bank of America | CA |  | Enlighten Manager
Bank of America - CA2-113 (Roseville, CA) | Roseville - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-E84 (San Bernardino, CA) | San Bernardino - Bank of America | CA |  | Enlighten Manager
Bank of America (San Diego, CA) | San Diego - Bank of America | CA |  | Enlighten Manager
Bank of America - CA2-154 (Stockton, CA) | Stockton - Bank of America | CA |  | Enlighten Manager
| Victorville - Bank of America | CA |  | Enlighten Manager
BOA, Arapahoe Crossings #CO1-112 | Aurora - BA - Colfax Ave | CO |  | Enlighten Manager
BOA, Chambers Plaza #COW-139 | Aurora - BA - Parker Rd | CO |  | Enlighten Manager
BOA, BroomFeild #COW-107 | Broomfield - Bank of America | CO |  | Enlighten Manager
BOA, Garden of the Gods #CO1-140 | Colorado Springs - Bank of America | CO |  | Enlighten Manager
BOA, Green Valley Ranch #CO1-121 | Denver - BA - 49th Ave | CO |  | Enlighten Manager
BOA, South Wadsworth #COW-113 | Denver - BA Wadsworth Blvd | CO |  | Enlighten Manager
BOA, Front Range Village #COW-143 | Fort Collins - Bank of America | CO |  | Enlighten Manager
Bank of America - COW-135 (Lafayette, CO) | Lafayette - Bank of America | CO |  | Enlighten Manager
BOA, Lakewood #COW-115 | Lakewood - Bank of America | CO |  | Enlighten Manager
BOA,Village at the Peaks #CO1-109 | Longmont - Bank of America | CO |  | Enlighten Manager
BOA, Thornton #COW-118 | Thornton - Bank of America | CO |  | Enlighten Manager
Bank of America - IL4-020 (River Oaks, IL) | Calumet City - Bank of America | IL |  | Enlighten Manager
BOA, WoodRidge IL2-251 | Downers Grove - Bank of America | IL |  | Enlighten Manager
| Bloomington - Bank of America | MN |  | Enlighten Manager
Bank of America - Forsyth (Clayton, MO) | Clayton - Bank of America | MO |  | Enlighten Manager
Bank of America - MO1-064 (Manchester, MO) | Manchester - Bank of America | MO |  | Enlighten Manager
Bank Of America (Las Vegas, NV) | Las Vegas - BA - Eastern Ave | NV |  | Enlighten Manager
| Las Vegas - BA - Town Ctr Dr | NV |  | Enlighten Manager
Bank of America - UTW-024 (Riverton, UT) | Riverton - Bank of America | UT |  | Enlighten Manager
Bank of America - UT3-111 (Salt Lake City, UT) | Salt Lake City - Bank of America | UT |  | Enlighten Manager