## Year to Date
GoodFinch |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1539597.7649 | 1456547.233 | 83050.5319 | 5.702% | 2267383.481 | -727785.7161 | -32.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | 13735.3357 | 8816.846 | 4918.4897 | 55.79% | 13564.61 | 170.7257 | 1.259%
AZ: Tempe - ASU - Fulton | AZ | 51105 | 60589.7 | -9484.7 | -15.65% | 68756 | 0 | 0%
AZ: Superior - JFK Elementary | AZ | 12132.1797 | 0 | 12132.1797 |  | 18696 | -6563.8203 | -35.11%
AZ: Tempe - ASU - Noble | AZ | 12583.4615 | 15025.43 | -2441.9685 | -16.25% | 15254.26 | 0 | 0%
AZ: Tempe - ASU - Parking #3 | AZ | 34337.6125 | 35477.84 | -1140.2275 | -3.214% | 31619.08 | 2718.5325 | 8.598%
AZ: Tempe - ASU - PE East | AZ | 30211.9078 | 25952.9 | 4259.0078 | 16.41% | 31934.71 | 0 | 0%
AZ: Tempe - ASU - Schwada | AZ | 9176.8897 | 10685.01 | -1508.1203 | -14.11% | 13894 | -4717.1103 | -33.95%
AZ: Phoenix - Starshine Academy | AZ | 6047.8 | 0 | 6047.8 |  | 11002 | 0 | 0%
AZ: Yuma Airport | AZ | 66601 | 94129.73 | -27528.73 | -29.25% | 82137 | -15536 | -18.91%
AZ: Globe - Gila CC | AZ | 20373.3752 | 0 | 20373.3752 |  | 18652 | 0 | 0%
AZ: Payson - Gila CC | AZ | 15205.8845 | 6558.912 | 8646.9725 | 131.8% | 15449 | -243.1155 | -1.574%
AZ: Mesa - Sequoia Charter School | AZ | 32820.18 | 0 | 32820.18 |  | 52037 | 0 | 0%
AZ: Tempe - SCNM | AZ | 67507.7494 | 49080.48 | 18427.2694 | 37.55% | 91007 | -23499.2506 | -25.82%
DE: Newark - Clayton Hall | DE | 21726 | 23826.591 | -2100.591 | -8.816% | 20228.258 | 0 | 0%
DE: Newark - UOD Field House | DE | 55764 | 0 | 55764 |  | 49697 | 6067 | 12.21%
DE: Newark - UOD 461 Wyoming | DE | 0 | 36216.917 | -36216.917 | -100% | 37582.678 | 0 | 0%
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 10048 | 13191.17 | -3143.17 | -23.83% | 13676.54 | -3628.54 | -26.53%
HI: Waipahu - 94-099 Waipahu St - PV | HI | 14836 | 11475.55 | 3360.45 | 29.28% | 13669.23 | 0 | 0%
MD: Presston - Bird-in-Hand | MD | 145779 | 144638.7 | 1140.3 | 0.7884% | 179658.6 | -33879.6 | -18.86%
MD: Easton - Shortall | MD | 188462 | 193996.5 | -5534.5 | -2.853% | 158875.9 | 0 | 0%
MA: Boston - Seaport Solar | MA | 85397.5 | 14365.66 | 71031.84 | 494.5% | 86009.04 | -611.54 | -0.711%
MA: Dedham - Sprague Street | MA | 185825 | 0 | 185825 |  | 193250.7 | 0 | 0%
MA: Boston - Summer Street | MA | 0 | 64247.81 | -64247.81 | -100% | 409224.3 | -409224.3 | -100%
MA: Leominster - Spectro Coatings | MA | 38126.625 | 39199.727 | -1073.102 | -2.738% | 38210.937 | 0 | 0%
MA: Braintree - RCAB | MA | 147058 | 182019.3 | -34961.3 | -19.21% | 146482.8 | 575.2 | 0.3927%
NH: Rochester - Portland Street | NH | 11535.627 | 8215.936 | 3319.691 | 40.41% | 9368.774 | 0 | 0%
NH: Portsmouth - Portsmouth HS | NH | 44411.625 | 0 | 44411.625 |  | 35518.29 | 8893.335 | 25.04%
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | 38047.6174 | 40396.32 | -2348.7026 | -5.814% | 30355.12 | 7692.4974 | 25.34%
NH Rochester - Spaulding HS | NH | 19594.5 | 16446 | 3148.5 | 19.14% | 15033.3 | 0 | 0%
NH: Rochester - McClelland ES | NH | 13246.875 | 13989 | -742.125 | -5.305% | 9803.669 | 3443.206 | 35.12%
NH: Rochester - Brock St Vocational | NH | 17978.1291 | 17518.42 | 459.7091 | 2.624% | 13220.3 | 0 | 0%
OH: Cleveland - CV Kinsman | OH | 714.0703 | 138037.1 | -137323.0297 | -99.48% | 133750 | -133035.9297 | -99.47%
OH: Cleveland - CV Wooster | OH | 21528 | 0 | 21528 |  | 32092 | 0 | 0%
PR: Aguadilla - Coca Cola | PR | 15714 | 20085.89 | -4371.89 | -21.77% | 23213 | -7499 | -32.31%
PR: Bayamon - Coca Cola | PR | 53577 | 82116.61 | -28539.61 | -34.75% | 86974 | 0 | 0%
PR: Carolina - St. Francis | PR | 18667 | 64278.93 | -45611.93 | -70.96% | 44155 | -25488 | -57.72%
DC: Washington - Essex Condominium | DC | 4372 | 5738.845 | -1366.845 | -23.82% | 5313.959 | 0 | 0%
DC: Chevy Chase -Sinai | DC | 10028.82 | 14969.03 | -4940.21 | -33% | 12371.16 | -2342.34 | -18.93%
DC: Washington - Weinberg 1 | DC | 1770 | 1824.103 | -54.103 | -2.966% | 1843.51 | 0 | 0%
DC: Washington - Weinberg 2 | DC | 1604 | 1599.906 | 4.094 | 0.2559% | 1860.756 | -256.756 | -13.8%
DC: Washington - Weinberg 3 | DC | 1948 | 1836.37 | 111.63 | 6.079% | 1942 | 0 | 0%

## 1st Qtr
GoodFinch |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-099 Waipahu St - PV | HI | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Essex Condominium | DC | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
GoodFinch |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-099 Waipahu St - PV | HI | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Essex Condominium | DC | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
GoodFinch |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 1539597.7649 | 1456547.233 | 83050.5319 | 5.702% | 2267383.481 | -727785.7161 | -32.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | 13735.3357 | 8816.846 | 4918.4897 | 55.79% | 13564.61 | 170.7257 | 1.259%
AZ: Tempe - ASU - Fulton | AZ | 51105 | 60589.7 | -9484.7 | -15.65% | 68756 | -17651 | -25.67%
AZ: Superior - JFK Elementary | AZ | 12132.1797 | 0 | 12132.1797 |  | 18696 | -6563.8203 | -35.11%
AZ: Tempe - ASU - Noble | AZ | 12583.4615 | 15025.43 | -2441.9685 | -16.25% | 15254.26 | -2670.7985 | -17.51%
AZ: Tempe - ASU - Parking #3 | AZ | 34337.6125 | 35477.84 | -1140.2275 | -3.214% | 31619.08 | 2718.5325 | 8.598%
AZ: Tempe - ASU - PE East | AZ | 30211.9078 | 25952.9 | 4259.0078 | 16.41% | 31934.71 | -1722.8022 | -5.395%
AZ: Tempe - ASU - Schwada | AZ | 9176.8897 | 10685.01 | -1508.1203 | -14.11% | 13894 | -4717.1103
AZ: Phoenix - Starshine Academy | AZ | 6047.8 | 0 | 6047.8 |  | 11002 | -4954.2 | -45.03%
AZ: Yuma Airport | AZ | 66601 | 94129.73 | -27528.73 | -29.25% | 82137 | -15536
AZ: Globe - Gila CC | AZ | 20373.3752 | 0 | 20373.3752 |  | 18652 | 1721.3752 | 9.229%
AZ: Payson - Gila CC | AZ | 15205.8845 | 6558.912 | 8646.9725 | 131.8% | 15449 | -243.1155
AZ: Mesa - Sequoia Charter School | AZ | 32820.18 | 0 | 32820.18 |  | 52037 | -19216.82 | -36.93%
AZ: Tempe - SCNM | AZ | 67507.7494 | 49080.48 | 18427.2694 | 37.55% | 91007 | -23499.2506
DE: Newark - Clayton Hall | DE | 21726 | 23826.591 | -2100.591 | -8.816% | 20228.258 | 1497.742 | 7.404%
DE: Newark - UOD Field House | DE | 55764 | 0 | 55764 |  | 49697 | 6067
DE: Newark - UOD 461 Wyoming | DE | 0 | 36216.917 | -36216.917 | -100% | 37582.678 | -37582.678 | -100%
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 10048 | 13191.17 | -3143.17 | -23.83% | 13676.54 | -3628.54
HI: Waipahu - 94-099 Waipahu St - PV | HI | 14836 | 11475.55 | 3360.45 | 29.28% | 13669.23 | 1166.77 | 8.536%
MD: Presston - Bird-in-Hand | MD | 145779 | 144638.7 | 1140.3 | 0.7884% | 179658.6 | -33879.6
MD: Easton - Shortall | MD | 188462 | 193996.5 | -5534.5 | -2.853% | 158875.9 | 29586.1 | 18.62%
MA: Boston - Seaport Solar | MA | 85397.5 | 14365.66 | 71031.84 | 494.5% | 86009.04 | -611.54
MA: Dedham - Sprague Street | MA | 185825 | 0 | 185825 |  | 193250.7 | -7425.7 | -3.843%
MA: Boston - Summer Street | MA | 0 | 64247.81 | -64247.81 | -100% | 409224.3 | -409224.3
MA: Leominster - Spectro Coatings | MA | 38126.625 | 39199.727 | -1073.102 | -2.738% | 38210.937 | -84.312 | -0.2206%
MA: Braintree - RCAB | MA | 147058 | 182019.3 | -34961.3 | -19.21% | 146482.8 | 575.2
NH: Rochester - Portland Street | NH | 11535.627 | 8215.936 | 3319.691 | 40.41% | 9368.774 | 2166.853 | 23.13%
NH: Portsmouth - Portsmouth HS | NH | 44411.625 | 0 | 44411.625 |  | 35518.29 | 8893.335
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | 38047.6174 | 40396.32 | -2348.7026 | -5.814% | 30355.12 | 7692.4974
NH Rochester - Spaulding HS | NH | 19594.5 | 16446 | 3148.5 | 19.14% | 15033.3 | 4561.2 | 30.34%
NH: Rochester - McClelland ES | NH | 13246.875 | 13989 | -742.125 | -5.305% | 9803.669 | 3443.206
NH: Rochester - Brock St Vocational | NH | 17978.1291 | 17518.42 | 459.7091 | 2.624% | 13220.3 | 4757.8291 | 35.99%
OH: Cleveland - CV Kinsman | OH | 714.0703 | 138037.1 | -137323.0297 | -99.48% | 133750 | -133035.9297
OH: Cleveland - CV Wooster | OH | 21528 | 0 | 21528 |  | 32092 | -10564 | -32.92%
PR: Aguadilla - Coca Cola | PR | 15714 | 20085.89 | -4371.89 | -21.77% | 23213 | -7499
PR: Bayamon - Coca Cola | PR | 53577 | 82116.61 | -28539.61 | -34.75% | 86974 | -33397 | -38.4%
PR: Carolina - St. Francis | PR | 18667 | 64278.93 | -45611.93 | -70.96% | 44155 | -25488
DC: Washington - Essex Condominium | DC | 4372 | 5738.845 | -1366.845 | -23.82% | 5313.959 | -941.959 | -17.73%
DC: Chevy Chase -Sinai | DC | 10028.82 | 14969.03 | -4940.21 | -33% | 12371.16 | -2342.34
DC: Washington - Weinberg 1 | DC | 1770 | 1824.103 | -54.103 | -2.966% | 1843.51 | -73.51 | -3.988%
DC: Washington - Weinberg 2 | DC | 1604 | 1599.906 | 4.094 | 0.2559% | 1860.756 | -256.756
DC: Washington - Weinberg 3 | DC | 1948 | 1836.37 | 111.63 | 6.079% | 1942 | 6 | 0.309%

## 4th Qtr
GoodFinch |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 0 | 0 | 0 |  | 0 | 0
HI: Waipahu - 94-099 Waipahu St - PV | HI | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Essex Condominium | DC | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | 0 | 0 | 0 |  | 0 | 0

## Jan
GoodFinch |  |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Feb
GoodFinch |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Mar
GoodFinch |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Apr
GoodFinch |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## May
GoodFinch |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Jun
GoodFinch |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Jul
GoodFinch |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 1539597.7649 | 1456547.233 | 83050.5319 | 5.702% | 2267383.481 | -727785.7161 | -32.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | 13735.3357 | 8816.846 | 4918.4897 | 55.79% | 13564.61 | 170.7257 | 1.259%
AZ: Tempe - ASU - Fulton | AZ | 51105 | 60589.7 | -9484.7 | -15.65% | 68756 | -17651 | -25.67% | 1. The weather station has been reporting erroneous values during evening hours, showing readings around 600–800 W/m², while nearby sites are reporting approximately 300 W/m². | 1. SR101016
AZ: Superior - JFK Elementary | AZ | 12132.1797 | N/A |  |  | 18696 | -6563.8203 | -35.11% | 1. Meter 1 did not communicate from 07/02 and production of inverter 1 cannot be confirmed. Upon arrival technician found dead squirrels on meter enclosure and also a blown fuse on phase B at utility disconnect later it came back online at 11:00AM on 07/31 | 1. SR103955
AZ: Tempe - ASU - Noble | AZ | 12583.4615 | 15025.43 | -2441.9685 | -16.25% | 15254.26 | -2670.7985 | -17.51% | 1. Low production/generation due to low irradiance on 07/20
AZ: Tempe - ASU - Parking #3 | AZ | 34337.6125 | 35477.84 | -1140.2275 | -3.214% | 31619.08 | 2718.5325 | 8.598% | 1. Inverter 2 underperforming by 10 kW (2 strings) for whole month | 1. SR104268
AZ: Tempe - ASU - PE East | AZ | 30211.9078 | 25952.9 | 4259.0078 | 16.41% | 31934.71 | -1722.8022 | -5.395%
AZ: Tempe - ASU - Schwada | AZ | 9176.8897 | 10685.01 | -1508.1203 | -14.11% | 13894 | -4717.1103 | -33.95% | 1.Site has been repeatedly tripping offline since it was reenergized on 7/22, and was online with occasional spikes in production | 1. SR105035 ,SR104591 | SR104591
AZ: Phoenix - Starshine Academy | AZ | 6047.8 | N/A |  |  | 11002 | -4954.2 | -45.03% | 1.Meter production dropping to zero on Multiple days throughout the month, but not consistently.Replacement is still inprogress for meter and 12 broken modules replacement. 2. Site trips offline in the afternoon. Some inverter(s) trip offline mid morning as well. (site does not have inverter communications in PowerTrack). | 1.SR099666 2. SR105159 | SR105159
AZ: Yuma Airport | AZ | 66601 | 94129.73 | -27528.73 | -29.25% | 82137 | -15536 | -18.91% | 1.Inverters 1 & 2 are operational but not communicating. Further troubleshooting is needed to resolve both the underperformance and communication issues of Inverter 1&2. | 1. SR101037
AZ: Globe - Gila CC | AZ | 20373.3752 | N/A |  |  | 18652 | 1721.3752 | 9.229%
AZ: Payson - Gila CC | AZ | 15205.8845 | 6558.912 | 8646.9725 | 131.8% | 15449 | -243.1155 | -1.574% | 1. Expected values are too low observed during monthly reports. The weather station at site is virtual weather station. | 1.SR093028
AZ: Mesa - Sequoia Charter School | AZ | 32820.18 | N/A |  |  | 52037 | -19216.82 | -36.93% | 1.Meter build 5 & 6 is dropping by 20 kW on most days, possibly two inverters tripping offline 2.Meter Build 8 & 9 contiously tripping and self-resolving through out the month | 1.SR103804 2.SR105439 | SR105439
AZ: Tempe - SCNM | AZ | 67507.7494 | 49080.48 | 18427.2694 | 37.55% | 91007 | -23499.2506 | -25.82% | 1.Inverter 2 has been sporadically derating during high irradiance days. | 1.SR091894
DE: Newark - Clayton Hall | DE | 21726 | 23826.591 | -2100.591 | -8.816% | 20228.258 | 1497.742 | 7.404%
DE: Newark - UOD Field House | DE | 55764 | N/A |  |  | 49697 | 6067 | 12.21% | 1.POA was not communicating and quote send to Also energy. Generate hold off dispatch and will investigate in future. | 1.SR091181
DE: Newark - UOD 461 Wyoming | DE | 0 | 36216.917 | -36216.917 | -100% | 37582.678 | -37582.678 | -100% | 1.Inverter was offline since 06/17.Technician checked in and found that line 3 AC bus bar in inverter is corroded with thermal marks and 5A ground fault fuse was blown.He mentioned that the inverter will be de-energized until the parts are replaced. | 1. SR103078
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI | 10048 | 13191.17 | -3143.17 | -23.83% | 13676.54 | -3628.54 | -26.53% | 1.Inverter 2 has been offline since 03/28, reporting a fault current. 2.The meter power dropped to zero and also lost communication multiple times throughout the month. | 1. SR100622 2.SR100771 | SR100771
HI: Waipahu - 94-099 Waipahu St - PV | HI | 14836 | 11475.55 | 3360.45 | 29.28% | 13669.23 | 1166.77 | 8.536%
MD: Presston - Bird-in-Hand | MD | 145779 | 144638.7 | 1140.3 | 0.7884% | 179658.6 | -33879.6 | -18.86% | 1. Inverter 4 is derating at 20kW from 06/23and reporting "Fans are defective Sensor defect". On 07/18 technician was Installed the new fan and producing as expected with peer inverters. 2.The site was de-energized on 07/09 at 06:49 for a transformer replacement. After the replacement, the site came back online at 08:15 on 07/16 3. Inverter 1 derated to 20 kW starting at 14:00 on 07/18. A technician found one failed fan, which is currently under RMA. The inverter will continue to derate until the fan is replaced | 1.SR103354 2. SR104105 3. SR104590 | SR104105 | SR104590
MD: Easton - Shortall | MD | 188462 | 193996.5 | -5534.5 | -2.853% | 158875.9 | 29586.1 | 18.62% | 1.Inverter 3 dropped a string from 4/28 2. Inverter A13 is derating from 07/28 at 20.10kW and reporting "fan fault". | 1. SR103711 2. SR105203 | SR105203
MA: Boston - Seaport Solar | MA | 85397.5 | 14365.66 | 71031.84 | 494.5% | 86009.04 | -611.54 | -0.711% | 1.Weather station is barely reporting from 12/06 at 08:30. This issue will be troubleshooting next time onsite | 1.SR095305
MA: Dedham - Sprague Street | MA | 185825 | 0 | 185825 |  | 193250.7 | -7425.7 | -3.843% | 1.The weather station stopped communicating on 05/04. The communication issue will persist until further repairs are completed. | 1. SR101010
MA: Boston - Summer Street | MA | 0 | 64247.81 | -64247.81 | -100% | 409224.3 | -409224.3 | -100% | 1.The site tripped offline at 11:00 on 05/04 due to a fire accident. The fire spread to the solar modules associated with Inverters 5-22, with visible damage observed in that array section. DC strings for Inverters 2.9, 2.10, and 2.11, along with the wire tray next to Inverter 2.9, also appear to have been damaged. Troubleshooting is still in progress | 1. SR100985,SR101223 | SR101223
MA: Leominster - Spectro Coatings | MA | 38126.625 | 39199.727 | -1073.102 | -2.738% | 38210.937 | -84.312 | -0.2206%
MA: Braintree - RCAB | MA | 147058 | 182019.3 | -34961.3 | -19.21% | 146482.8 | 575.2 | 0.3927% | 1. Inverters 4&11 are experiencing heavy shading due to surrounding trees throughout the day from 11/07/2024. | 1. SR093047
NH: Rochester - Portland Street | NH | 11535.627 | 8215.936 | 3319.691 | 40.41% | 9368.774 | 2166.853 | 23.13%
NH: Portsmouth - Portsmouth HS | NH | 44411.625 | N/A |  |  | 35518.29 | 8893.335 | 25.04% | 1. Inverter 6 is down a string since 07/07 | 1.SR104785
NH: Portsmouth - Portsmouth WTP | NH | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site stopped communicating from 01/14 at 2:15AM, After further troubleshooting technician found a failed Modem portion. We have reached out to AlsoEnergy for assistance. 2.Site is not communicating. After troubleshooting with AlsoEnergy, they recommended replacing the modem. They were not able to gather the requested data from the data logger without a working internet connection, otherwise the data is coded and illegible. For ease of troubleshooting, AE recommended their modem be paired with the site. | 1. SR102704 2.SR104999 | SR104999
NH: Rochester - Rochester MS | NH | 38047.6174 | 40396.32 | -2348.7026 | -5.814% | 30355.12 | 7692.4974 | 25.34%
NH Rochester - Spaulding HS | NH | 19594.5 | 16446 | 3148.5 | 19.14% | 15033.3 | 4561.2 | 30.34%
NH: Rochester - McClelland ES | NH | 13246.875 | 13989 | -742.125 | -5.305% | 9803.669 | 3443.206 | 35.12%
NH: Rochester - Brock St Vocational | NH | 17978.1291 | 17518.42 | 459.7091 | 2.624% | 13220.3 | 4757.8291 | 35.99%
OH: Cleveland - CV Kinsman | OH | 714.0703 | 138037.1 | -137323.0297 | -99.48% | 133750 | -133035.9297 | -99.47% | 1.Site tripped offline at 16:00 on 06/28 and inverters are reporting at constant value through out the month and site came back online on 07/22 2. Inverter 2 failed to start for production from 07/22 after site re-energization. | 1.SR103721 2. SR104748 | SR104748
OH: Cleveland - CV Wooster | OH | 21528 | N/A |  |  | 32092 | -10564 | -32.92% | 1. 8 inverters are offline from 09/05/24 according to the SMA Sunny Portal and need to be replaced. Gen Cap will work directly with Rural Solar. | 1. SR092556
PR: Aguadilla - Coca Cola | PR | 15714 | 20085.89 | -4371.89 | -21.77% | 23213 | -7499 | -32.31% | 1. Inverter 2 was offline for whole month due to fault current. 2. Inverter 3 was offline for whole month due to Interference device fault | 1.SR099268 2.SR093354 | SR093354
PR: Bayamon - Coca Cola | PR | 53577 | 82116.61 | -28539.61 | -34.75% | 86974 | -33397 | -38.4% | 1. Inverter 11 was offline for whole month. 2. Inverter 14 was offline for whole month. 3. Inverter 15 was offline for whole month. 4. Inverter 16 was offline for whole month. 5. Inverter 25 was offline for whole month. 6. Inverter 26 was offline for whole month. 7.Inverter 17 offline from 07/10 | 1. SR101102 2. SR101744 3. SR100464 4. SR098883 5. SR092332 6. SR095649 7. SR101102 | SR101744 | SR100464 | SR098883 | SR092332 | SR095649 | SR101102
PR: Carolina - St. Francis | PR | 18667 | 64278.93 | -45611.93 | -70.96% | 44155 | -25488 | -57.72% | 1. Inverter 1 was offline for whole month 2. Inverter 4 was offline for whole month 3. Inverter 7 was offline for whole month 4. Inverter 10 was offline for whole month 5. Inverter 16 was offline for whole month 6. Inverter 17 was offline for whole month 7. Inverter 15 was offline for most of the days in month 8. Inverter 2 was offline from 06/04 through out the month. 9. Inverter 5 was offline from 06/12 through out the month. 10.Site tripped offline at 10:30 from 07/09 and it came back online on 07/11 11.Inverter 6 offline from 07/10 | 1. SR102198 2. SR101942, SR088869 3. SR092209 4. SR101998 5. SR092255 6. SR092751 7. SR092095 8. SR101997 9. SR103021 10. SR104199 11. SR104453 | SR101942 | SR088869 | SR092209 | SR101998 | SR092255 | SR092751 | SR092095 | SR101997 | SR103021 | SR104199 | SR104453
DC: Washington - Essex Condominium | DC | 4372 | 5738.845 | -1366.845 | -23.82% | 5313.959 | -941.959 | -17.73% | 1.Low production/generation due to low irradiance 07/10 , 07/31
DC: Chevy Chase -Sinai | DC | 10028.82 | 14969.03 | -4940.21 | -33% | 12371.16 | -2342.34 | -18.93% | 1.Inverter 9 offline from 07/09 | 1. SR104194
DC: Washington - Weinberg 1 | DC | 1770 | 1824.103 | -54.103 | -2.966% | 1843.51 | -73.51 | -3.988%
DC: Washington - Weinberg 2 | DC | 1604 | 1599.906 | 4.094 | 0.2559% | 1860.756 | -256.756 | -13.8% | 1.Low production/generation due to low irradiance on 07/10
DC: Washington - Weinberg 3 | DC | 1948 | 1836.37 | 111.63 | 6.079% | 1942 | 6 | 0.309%

## Aug
GoodFinch |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Sep
GoodFinch |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Oct
GoodFinch |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Nov
GoodFinch |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Dec
GoodFinch |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ
AZ: Tempe - ASU - Fulton | AZ
AZ: Superior - JFK Elementary | AZ
AZ: Tempe - ASU - Noble | AZ
AZ: Tempe - ASU - Parking #3 | AZ
AZ: Tempe - ASU - PE East | AZ
AZ: Tempe - ASU - Schwada | AZ
AZ: Phoenix - Starshine Academy | AZ
AZ: Yuma Airport | AZ
AZ: Globe - Gila CC | AZ
AZ: Payson - Gila CC | AZ
AZ: Mesa - Sequoia Charter School | AZ
AZ: Tempe - SCNM | AZ
DE: Newark - Clayton Hall | DE
DE: Newark - UOD Field House | DE
DE: Newark - UOD 461 Wyoming | DE
HI: Waipahu - 94-246 Leoku St - E.F.G. | HI
HI: Waipahu - 94-099 Waipahu St - PV | HI
MD: Presston - Bird-in-Hand | MD
MD: Easton - Shortall | MD
MA: Boston - Seaport Solar | MA
MA: Dedham - Sprague Street | MA
MA: Boston - Summer Street | MA
MA: Leominster - Spectro Coatings | MA
MA: Braintree - RCAB | MA
NH: Rochester - Portland Street | NH
NH: Portsmouth - Portsmouth HS | NH
NH: Portsmouth - Portsmouth WTP | NH
NH: Rochester - Rochester MS | NH
NH Rochester - Spaulding HS | NH
NH: Rochester - McClelland ES | NH
NH: Rochester - Brock St Vocational | NH
OH: Cleveland - CV Kinsman | OH
OH: Cleveland - CV Wooster | OH
PR: Aguadilla - Coca Cola | PR
PR: Bayamon - Coca Cola | PR
PR: Carolina - St. Francis | PR
DC: Washington - Essex Condominium | DC
DC: Chevy Chase -Sinai | DC
DC: Washington - Weinberg 1 | DC
DC: Washington - Weinberg 2 | DC
DC: Washington - Weinberg 3 | DC

## Sites
Portfolio: | GoodFinch
Site DAS Name | Site | State | Update | DAS | SOL#
ASU - Farmer | AZ: Tempe - ASU - Farmer | AZ |  | PowerTrack | SOL-10748
ASU - Fulton | AZ: Tempe - ASU - Fulton | AZ |  | PowerTrack | SOL-10749
JFK Elementary | AZ: Superior - JFK Elementary | AZ |  | PowerTrack | SOL-10758
ASU - Noble | AZ: Tempe - ASU - Noble | AZ |  | PowerTrack | SOL-10750
ASU - Parking #3 | AZ: Tempe - ASU - Parking #3 | AZ |  | PowerTrack | SOL-10751
ASU - PE East | AZ: Tempe - ASU - PE East | AZ |  | PowerTrack | SOL-10752
ASU - Schwada | AZ: Tempe - ASU - Schwada | AZ |  | PowerTrack | SOL-10753
Starshine | AZ: Phoenix - Starshine Academy | AZ |  | PowerTrack | SOL-10757
Yuma Airport | AZ: Yuma Airport | AZ |  | PowerTrack | SOL-10754
GCC Globe Solar PV | AZ: Globe - Gila CC | AZ |  | PowerTrack | SOL-10751
GCC Payson Solar PV | AZ: Payson - Gila CC | AZ |  | PowerTrack | SOL-10748
Sequoia Charter School | AZ: Mesa - Sequoia Charter School | AZ |  | PowerTrack | SOL-10759
Southwest College Naturopathic Medicine | AZ: Tempe - SCNM | AZ |  | PowerTrack | SOL-10760
Clayton Hall | DE: Newark - Clayton Hall | DE |  | PowerTrack | SOL-10820
Field House | DE: Newark - UOD Field House | DE |  | PowerTrack | SOL-10821
Wyoming Road | DE: Newark - UOD 461 Wyoming | DE |  | PowerTrack | SOL-10819
Leoku | HI: Waipahu - 94-246 Leoku St - E.F.G. | HI |  | PowerTrack | SOL-10071
Waipahu | HI: Waipahu - 94-099 Waipahu St - PV | HI |  | PowerTrack | SOL-10068
Bird in Hand | MD: Presston - Bird-in-Hand | MD |  | PowerTrack | SOL-10092
Shortal | MD: Easton - Shortall | MD |  | PowerTrack | SOL-10091
Seaport | MA: Boston - Seaport Solar | MA |  | PowerTrack | SOL-10772
Sprague St | MA: Dedham - Sprague Street | MA |  | PowerTrack | SOL-10773
Summer St | MA: Boston - Summer Street | MA |  | PowerTrack | SOL-10764
Claremont Flock | MA: Leominster - Spectro Coatings | MA |  | PowerTrack | SOL-10074
RCAB - Pastoral Center | MA: Braintree - RCAB | MA |  | PowerTrack | SOL-10838
Portland St | NH: Rochester - Portland Street | NH |  | PowerTrack | SOL-10771
Portsmouth HS | NH: Portsmouth - Portsmouth HS | NH |  | PowerTrack | SOL-10769
Portsmouth WTP | NH: Portsmouth - Portsmouth WTP | NH |  | PowerTrack | SOL-10770
Rochester Middle School (Brock Street) | NH: Rochester - Rochester MS | NH |  | PowerTrack | SOL-10765
Spaulding HS | NH Rochester - Spaulding HS | NH |  | PowerTrack | SOL-10767
McClelland ES | NH: Rochester - McClelland ES | NH |  | PowerTrack | SOL-10766
Rochester Technical School (Wakefield Street) | NH: Rochester - Brock St Vocational | NH |  | PowerTrack | SOL-10768
CV Kinsman | OH: Cleveland - CV Kinsman | OH |  | PowerTrack | SOL-10762
CV Wooster | OH: Cleveland - CV Wooster | OH |  | PowerTrack | SOL-10763
Aguadilla | PR: Aguadilla - Coca Cola | PR |  | PowerTrack | SOL-10072
Bayamon | PR: Bayamon - Coca Cola | PR |  | PowerTrack | SOL-10073
St Francis | PR: Carolina - St. Francis | PR |  | PowerTrack | SOL-10034
The Essex - DC | DC: Washington - Essex Condominium | DC |  | PowerTrack | SOL-10036
Temple Sinai | DC: Chevy Chase -Sinai | DC |  | PowerTrack | SOL-10028
Weinberg 1 | DC: Washington - Weinberg 1 | DC |  | PowerTrack | SOL-10039
Weinberg 2 | DC: Washington - Weinberg 2 | DC |  | PowerTrack | SOL-10045
Weinberg 3 | DC: Washington - Weinberg 3 | DC |  | PowerTrack | SOL-10042