## Performance
2022 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | - | - | - | - | - | -
February | - | - | - | - | - | -
March | - | - | - | - | - | -
April | - | - | - | - | - | -
May | - | - | - | - | - | -
June | - | - | - | - | - | -
July | 643983.64 | 786087.75 | 81.92% | 643983.64 | 1020000 | 63.14%
August | 955413.065 | 1059761.767 | 90.15% | 955413.065 | 947000 | 100.9%
September | 652911.485 | 745525.321 | 87.58% | 652911.485 | 820000 | 79.62%
October | 657773.309 | 711257.232 | 92.48% | 657773.309 | 645000 | 102%
November | 540605 | 577417.38 | 93.62% | 540605 | 503000 | 107.5%
December | 402544 | 411397 | 97.85% | 402544 | 362000 | 111.2%
Annual | 3853230.499 | 4291446.45 | 89.79% | 3853230.499 | 4297000 | 89.67%
2023 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | 296126 | 319719 | 92.62% | 296126 | 445000 | 66.55%
February | 516517 | 535814 | 96.4% | 516517 | 572000 | 90.3%
March | 670965 | 811206 | 82.71% | 670965 | 764000 | 87.82%
April | 764674 | 843764.79 | 90.63% | 764674 | 848000 | 90.17%
May | 1055955 | 1190129.96 | 88.73% | 1055955 | 938000 | 112.6%
June | 818602 | 856238.6 | 95.6% | 818602 | 936000 | 87.46%
July | 887033 | 975142 | 90.96% | 887033 | 1020000 | 86.96%
August | 780776 | 902336 | 86.53% | 780776 | 947000 | 82.45%
September | 528867 | 760330 | 69.56% | 528867 | 820000 | 64.5%
October | 415886 | 680192.71 | 61.14% | 415886 | 645000 | 64.48%
November | 363338 | 558937.89 | 65.01% | 363338 | 503000 | 72.23%
December | 215103 | 333205.19 | 64.56% | 215103 | 362000 | 59.42%
Annual | 7313842 | 8767016.14 | 83.42% | 7313842 | 8800000 | 83.11%
2024 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | 133982 | 302347.78 | 44.31% | 133982 | 445000 | 30.11%
February | 439827 | 705308.78 | 62.36% | 439827 | 572000 | 76.89%
March | 466214 | 737894.71 | 63.18% | 466214 | 764000 | 61.02%
April | 467608 | 795294.51 | 58.8% | 467608 | 848000 | 55.14%
May | 468870 | 905912 | 51.76% | 468870 | 938000 | 49.99%
June | 635750 | 1045096.54 | 60.83% | 635750 | 936000 | 67.92%
July | 624711 | 1023673.2 | 61.03% | 624711 | 1020000 | 61.25%
August | 512553 | 848215.25 | 60.43% | 512553 | 947000 | 54.12%
September | 536346 | 869984.3 | 61.65% | 536346 | 820000 | 65.41%
October | 784691 | 895599.78 | 87.62% | 784691 | 645000 | 121.7%
November | 579154 | 594285 | 97.45% | 579154 | 503000 | 115.1%
December | 415754 | 465111.64 | 89.39% | 415754 | 362000 | 114.8%
Annual | 6065460 | 9188723.49 | 66.01% | 6065460 | 8800000 | 68.93%
2025 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | 404374 | 535600.9 | 75.5% | 404374 | 445000 | 90.87%
February | 183625 | 512303.96 | 35.84% | 183625 | 572000 | 32.1%
March | 657708 | 849860.97 | 77.39% | 657708 | 764000 | 86.09%
April | 743200 | 830340.65 | 89.51% | 743200 | 848000 | 87.64%
May | 693857 | 706207.39 | 98.25% | 693857 | 938000 | 73.97%
June | 880140 | 906239.26 | 97.12% | 880140 | 936000 | 94.03%
July | 858351 | 949786.33 | 90.37% | 858351 | 1020000 | 84.15%
August
September
October
November
December
Annual | 4421255 | 5290339.46 | 83.57% | 4421255 | 5523000 | 80.05%

## Service Work
Customer | Asset | Request | Date | Status | Pending | Priority | Summary | Site Equipment | Purchase Order | Invoice Date | Invoice Number
Grasshopper | MA: New Bedford - Philips Road Condos | SR058449 | 2021-06-11 12:26 | Closed |  | Low | Ameresco UM - Other |  |  | 2021-09-22 | 7785
Grasshopper | MA: Blackstone–142 Blackstone St | SR060831 | 2021-12-23 10:30 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8144
Grasshopper | MA: Dighton - Brooks Street | SR060832 | 2021-12-23 10:33 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8145
Grasshopper | MA: Hopkinton – 17 Wilson St | SR060834 | 2021-12-23 11:00 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8146
Grasshopper | MA: Granville – 0 Hayes Rd | SR060835 | 2021-12-23 11:06 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8147
Grasshopper | MA: Granville – 0 Hayes Rd | SR063974 | 2022-07-12 19:03 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  | Site Visit/ Training
Grasshopper | MA: Blackstone–142 Blackstone St | SR064975 | 2022-08-25 08:39 | Closed |  | PV Monitoring - Minor | Ameresco UM - Commissioning
Grasshopper | MA: Hopkinton – 17 Wilson St | SR065196 | 2022-08-31 08:42 | Closed |  | PV Monitoring - Minor | Ameresco UM - Commissioning
Grasshopper | MA: Granville – 0 Hayes Rd | SR065847 | 2022-09-21 15:52 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2022-10-04 | 10279
Grasshopper | MA: Blackstone–142 Blackstone St | SR065888 | 2022-09-22 11:16 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2022-11-22 | 10064
Grasshopper | MA: Granville – 0 Hayes Rd | SR065909 | 2022-09-23 07:31 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 3.26 Solectria125K(96%)
Grasshopper | MA: Granville – 0 Hayes Rd | SR065925 | 2022-09-23 13:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.13 Solectria125K |  | 2022-10-04 | 10278
Grasshopper | MA: Granville – 0 Hayes Rd | SR065928 | 2022-09-23 14:47 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2022-11-30 | 10582
Grasshopper | MA: Granville – 0 Hayes Rd | SR065936 | 2022-09-23 18:06 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR066116 | 2022-09-29 15:44 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR066216 | 2022-10-02 18:47 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.15 Solectria125K | Received to Westboro warehouse | 2022-11-15 | 10506
Grasshopper | MA: Granville – 0 Hayes Rd | SR066238 | 2022-10-04 11:08 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Hopkinton – 17 Wilson St | SR066247 | 2022-10-04 15:09 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2022-11-22 | 10372
Grasshopper | MA: Granville – 0 Hayes Rd | SR066327 | 2022-10-06 10:30 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 2.13 Solectria125K |  | 2022-11-21 | 10539
Grasshopper | MA: Granville – 0 Hayes Rd | SR066349 | 2022-10-07 13:55 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 2.15 Solectria125K
Grasshopper | MA: Granville – 0 Hayes Rd | SR066506 | 2022-10-19 08:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.34 Solectria125K(91%)
Grasshopper | MA: Granville – 0 Hayes Rd | SR066614 | 2022-10-26 09:33 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.12 Solectria125K |  | 2022-11-01 | 10404
Grasshopper | MA: Granville – 0 Hayes Rd | SR066867 | 2022-11-10 09:15 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Inv 3.34 Solectria125K(91%)
Grasshopper | MA: Granville – 0 Hayes Rd | SR066877 | 2022-11-11 09:50 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.12 Solectria125K |  | 44881 | 10509
Grasshopper | MA: Granville – 0 Hayes Rd | SR066880 | 2022-11-11 10:44 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.13 Solectria125K | Received to Westboro warehouse
Grasshopper | MA: Granville – 0 Hayes Rd | SR066941 | 2022-11-15 10:22 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.29 Solectria125K(91%) |  | 2022-11-22 | 10562
Grasshopper | MA: Granville – 0 Hayes Rd | SR066944 | 2022-11-15 12:18 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2022-11-22 | 10561
Grasshopper | MA: Granville – 0 Hayes Rd | SR066961 | 2022-11-16 10:07 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.15 Solectria125K |  | 2022-11-22 | 10560
Grasshopper | MA: Granville – 0 Hayes Rd | SR066994 | 2022-11-19 16:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.29 Solectria125K(91%) | Received to Westboro warehouse | 2023-01-17 | 11192
Grasshopper | MA: Granville – 0 Hayes Rd | SR067010 | 2022-11-21 10:51 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR067011 | 2022-11-21 10:54 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Inv 3.29 Solectria125K(91%)
Grasshopper | MA: Granville – 0 Hayes Rd | SR067012 | 2022-11-21 11:09 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure |  | Logger reset
Grasshopper | MA: Granville – 0 Hayes Rd | SR067043 | 2022-11-22 12:03 | Closed |  | PV Monitoring - Major | Ameresco UM - Partial Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR067094 | 2022-11-27 15:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.12 Solectria125K | Inverter Troubleshooting | 2023-01-17 | 11191
Grasshopper | MA: Granville – 0 Hayes Rd | SR067109 | 2022-11-29 12:00 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 2.15 Solectria125K | Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR067284 | 2022-12-06 17:29 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 3.36 Solectria125K(38%) | Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR067328 | 2022-12-07 17:04 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Hopkinton – 17 Wilson St | SR067688 | 2022-12-15 15:43 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2022-12-19 | 10939
Grasshopper | MA: Hopkinton – 17 Wilson St | SR067761 | 2022-12-16 10:35 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2022-12-23 | 11052
Grasshopper | MA: Granville – 0 Hayes Rd | SR067818 | 2022-12-20 13:02 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure |  |  | 2022-12-29 | 11093
Grasshopper | MA: Granville – 0 Hayes Rd | SR067877 | 2022-12-22 14:21 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2022-12-22 | 11044
Grasshopper | MA: Granville – 0 Hayes Rd | SR067901 | 2022-12-23 10:54 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.07 Solectria125K
Grasshopper | MA: Blackstone–142 Blackstone St | SR068211 | 2023-01-05 13:40 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-01-17 | 11190
Grasshopper | MA: Granville – 0 Hayes Rd | SR068253 | 2023-01-08 15:52 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.29 Solectria125K(91%) | Received to Westboro warehouse | 2023-02-28 | 11479
Grasshopper | MA: Hopkinton – 17 Wilson St | SR068275 | 2023-01-09 15:58 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-01-17 | 11193
Grasshopper | MA: Granville – 0 Hayes Rd | SR068280 | 2023-01-10 10:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.02 Solectria125K(99%) | Received to Westboro warehouse
Grasshopper | MA: Granville – 0 Hayes Rd | SR068325 | 2023-01-12 09:55 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.22 Solectria125K | received Westborough | 2023-02-06 | 11365
Grasshopper | MA: Granville – 0 Hayes Rd | SR068365 | 2023-01-16 09:56 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.32 Solectria125K(91%) | Received to Westboro warehouse | 2023-02-06 | 11363
Grasshopper | MA: Hopkinton – 17 Wilson St | SR068672 | 2023-02-02 10:50 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-02-09 | 11392
Grasshopper | MA: Hopkinton – 17 Wilson St | SR068673 | 2023-02-02 11:14 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR069139 | 2023-02-22 11:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 3.36 Solectria125K(38%) | Received to Westboro warehouse | 2023-04-21 | 12371
Grasshopper | MA: Granville – 0 Hayes Rd | SR069497 | 2023-03-06 14:41 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-03-06 | 11632
Grasshopper | MA: Hopkinton – 17 Wilson St | SR069507 | 2023-03-06 22:39 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-03-13 | 11669
Grasshopper | MA: Granville – 0 Hayes Rd | SR069661 | 2023-03-13 15:05 | Closed |  | PV - Site Maintenance | Site Maintenance - Snow Plowing - Civil Work |  |  | 2023-05-17 | 12573
Grasshopper | MA: Blackstone–142 Blackstone St | SR069669 | 2023-03-13 15:59 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-04-21 | 11683
Grasshopper | MA: Granville – 0 Hayes Rd | SR069961 | 2023-03-20 17:19 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) |  | 2023-03-31 | 12139
Grasshopper | MA: Granville – 0 Hayes Rd | SR069962 | 2023-03-20 17:46 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR069970 | 2023-03-21 09:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-07-20 | 13353
Grasshopper | MA: Granville – 0 Hayes Rd | SR069977 | 2023-03-21 13:58 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR070354 | 2023-03-30 17:43 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.32 Solectria125K(91%)
Grasshopper | MA: Blackstone–142 Blackstone St | SR070898 | 2023-04-18 15:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Module Replacement
Grasshopper | MA: Granville – 0 Hayes Rd | SR070953 | 2023-04-20 12:21 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-06-13 | 12735
Grasshopper | MA: Granville – 0 Hayes Rd | SR071004 | 2023-04-21 18:14 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 3.30 Solectria125K(91%)
Grasshopper | MA: Granville – 0 Hayes Rd | SR071770 | 2023-05-22 08:32 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.15 Solectria125K |  | 2023-05-31 | 12665
Grasshopper | MA: Granville – 0 Hayes Rd | SR072106 | 2023-05-31 12:23 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2023-06-05 | 12683
Grasshopper | MA: Granville – 0 Hayes Rd | SR072219 | 2023-06-04 16:55 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.20 Solectria125K | Received to Westboro warehouse | 2023-06-14 | 12740
Grasshopper | MA: Granville – 0 Hayes Rd | SR072307 | 2023-06-06 12:16 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-07-28 | 13418
Grasshopper | MA: Blackstone–142 Blackstone St | SR072308 | 2023-06-06 12:17 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-07-28 | 13419
Grasshopper | MA: Granville – 0 Hayes Rd | SR072573 | 2023-06-11 14:30 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-06-22 | 12841
Grasshopper | MA: Blackstone–142 Blackstone St | SR072604 | 2023-06-12 13:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-06-13 | 12734
Grasshopper | MA: Granville – 0 Hayes Rd | SR072643 | 2023-06-13 15:19 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) |  | 2023-06-22 | 12842
Grasshopper | MA: Granville – 0 Hayes Rd | SR072674 | 2023-06-14 14:30 | Closed |  | PV Monitoring - Major | Ameresco UM - Medium Voltage Troubleshooting | PV - SWBD 02 - 2000A - AC Switchboard |  | 2023-06-27 | 13003
Grasshopper | MA: Granville – 0 Hayes Rd | SR072675 | 2023-06-14 14:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Medium Voltage Troubleshooting | PV - SWBD 03 - 2000A - AC Switchboard |  | 2023-06-27 | 13004
Grasshopper | MA: Granville – 0 Hayes Rd | SR072763 | 2023-06-19 11:33 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.05 Solectria125K |  | 2023-06-22 | 12831
Grasshopper | MA: Blackstone–142 Blackstone St | SR072888 | 2023-06-22 07:36 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-08-30 | 13779
Grasshopper | MA: Granville – 0 Hayes Rd | SR073072 | 2023-06-26 11:16 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | T2 - 1500kva Transformer |  | 2023-07-03 | 13267
Grasshopper | MA: Granville – 0 Hayes Rd | SR073123 | 2023-06-26 15:13 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-06-26 | 12971
Grasshopper | MA: Blackstone–142 Blackstone St | SR073133 | 2023-06-26 16:22 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-06-26 | 12977
Grasshopper | MA: Granville – 0 Hayes Rd | SR073495 | 2023-07-03 07:58 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 2.20 Solectria125K |  | 2023-07-13 | 13321
Grasshopper | MA: Blackstone–142 Blackstone St | SR073596 | 2023-07-06 11:16 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting |  |  | 2023-07-17 | 13290
Grasshopper | MA: Blackstone–142 Blackstone St | SR073633 | 2023-07-07 11:14 | Closed |  | PV Operations - Service Level Agreements | Sungrow BESS Service |  |  | 2023-08-04 | 13277
Grasshopper | MA: Granville – 0 Hayes Rd | SR073728 | 2023-07-11 10:34 | Closed |  | PV Monitoring - Minor | Ameresco UM - String Repair and/or Testing | Inv 2.24 Solectria125K |  | 2023-07-13 | 13322
Grasshopper | MA: Granville – 0 Hayes Rd | SR073759 | 2023-07-11 17:08 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-07-13 | 13319
Grasshopper | MA: Blackstone–142 Blackstone St | SR073850 | 2023-07-14 08:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting | CB 1.1.3 - DC 1500v Combiner Box |  | 2023-10-30 | 13343
Grasshopper | MA: Granville – 0 Hayes Rd | SR073857 | 2023-07-14 11:01 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-07-17 | 13336
Grasshopper | MA: Granville – 0 Hayes Rd | SR073921 | 2023-07-17 11:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.05 Solectria125K |  | 2023-07-28 | 13413
Grasshopper | MA: Granville – 0 Hayes Rd | SR074367 | 2023-07-28 02:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Blackstone–142 Blackstone St | SR074651 | 2023-08-06 08:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure
Grasshopper | MA: Hopkinton – 17 Wilson St | SR074652 | 2023-08-06 08:40 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure
Grasshopper | MA: Blackstone–142 Blackstone St | SR075127 | 2023-08-15 08:05 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR075138 | 2023-08-15 12:50 | Closed |  | PV - Site Maintenance | Ameresco VM - General Site Work |  |  | 2023-09-27 | 13693
Grasshopper | MA: Granville – 0 Hayes Rd | SR075237 | 2023-08-18 12:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-08-24 | 13686
Grasshopper | MA: Blackstone–142 Blackstone St | SR075313 | 2023-08-21 16:21 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Hopkinton – 17 Wilson St | SR075314 | 2023-08-21 16:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR075356 | 2023-08-23 07:23 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR075446 | 2023-08-26 12:27 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-08-28 | 13739
Grasshopper | MA: Granville – 0 Hayes Rd | SR075638 | 2023-08-31 13:43 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) |  | 2023-09-05 | 13875
Grasshopper | MA: Granville – 0 Hayes Rd | SR075855 | 2023-09-07 14:32 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) |  | 2023-09-11 | 13924
Grasshopper | MA: Granville – 0 Hayes Rd | SR075888 | 2023-09-08 16:22 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-10-10 | 14611
Grasshopper | MA: Granville – 0 Hayes Rd | SR076111 | 2023-09-15 15:34 | Closed |  | PV - Site Maintenance | Subcontractor - Mowing |  |  | 2023-09-15 | 13963
Grasshopper | MA: Granville – 0 Hayes Rd | SR076112 | 2023-09-15 15:35 | Closed |  | PV - Site Maintenance | Subcontractor - Mowing |  |  | 45184 | 13964
Grasshopper | MA: Blackstone–142 Blackstone St | SR076122 | 2023-09-15 16:47 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-09-15 | 13969
Grasshopper | MA: Blackstone–142 Blackstone St | SR076123 | 2023-09-15 16:48 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-09-15 | 13970
Grasshopper | MA: Blackstone–142 Blackstone St | SR076472 | 2023-09-20 13:22 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-09-20 | 14115
Grasshopper | MA: Blackstone–142 Blackstone St | SR076478 | 2023-09-20 14:09 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-12-20 | 15683
Grasshopper | MA: Granville – 0 Hayes Rd | SR076528 | 2023-09-21 12:19 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 45190 | 14139
Grasshopper | MA: Granville – 0 Hayes Rd | SR076527 | 2023-09-21 12:19 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-06-20 | 18574
Grasshopper | MA: Granville – 0 Hayes Rd | SR076529 | 2023-09-21 12:25 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-12-20 | 15681
Grasshopper | MA: Granville – 0 Hayes Rd | SR077199 | 2023-10-04 08:35 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-11-09 | 14890
Grasshopper | MA: Granville – 0 Hayes Rd | SR077198 | 2023-10-04 08:35 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR078135 | 2023-11-08 08:45 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2024-10-01 | 19970
Grasshopper | MA: Hopkinton – 17 Wilson St | SR078177 | 2023-11-09 20:48 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR078431 | 2023-11-20 13:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-11-28 | 15016
Grasshopper | MA: Blackstone–142 Blackstone St | SR078430 | 2023-11-20 13:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Hopkinton – 17 Wilson St | SR078763 | 2023-12-03 03:02 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR078860 | 2023-12-05 09:19 | Closed |  | PV Monitoring - Minor | Subcontractor UM - Electrical - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR079459 | 2023-12-18 12:52 | Closed |  | PV Monitoring Weather - 12-18-2023 | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Blackstone–142 Blackstone St | SR079566 | 2023-12-20 07:38 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-12-26 | 15777
Grasshopper | MA: Granville – 0 Hayes Rd | SR079570 | 2023-12-20 09:57 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-03-19 | 16682
Grasshopper | MA: Blackstone–142 Blackstone St | SR079572 | 2023-12-20 10:12 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-03-19 | 16680
Grasshopper | MA: Hopkinton – 17 Wilson St | SR079577 | 2023-12-20 10:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-12-26 | 15778
Grasshopper | MA: Hopkinton – 17 Wilson St | SR079607 | 2023-12-20 14:41 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Hopkinton – 17 Wilson St | SR079740 | 2023-12-27 06:08 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Hopkinton – 17 Wilson St | SR080039 | 2024-01-08 08:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2024-01-16 | 15984
Grasshopper | MA: Hopkinton – 17 Wilson St | SR080038 | 2024-01-08 08:31 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR080246 | 2024-01-15 21:16 | Closed |  | BESS Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Blackstone–142 Blackstone St | SR080251 | 2024-01-16 09:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 45308 | 15989
Grasshopper | MA: Blackstone–142 Blackstone St | SR080261 | 2024-01-16 11:51 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Sungrow 125kw Inverter 01
Grasshopper | MA: Granville – 0 Hayes Rd | SR080578 | 2024-01-29 12:22 | Closed |  | PV - Site Maintenance | Ameresco UM - Snow Plowing
Grasshopper | MA: Granville – 0 Hayes Rd | SR080841 | 2024-02-07 16:49 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 45331 | 16246
Grasshopper | MA: Blackstone–142 Blackstone St | SR080842 | 2024-02-07 16:50 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 45331 | 16244
Grasshopper | MA: Hopkinton – 17 Wilson St | SR080872 | 2024-02-08 17:54 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2024-02-13 | 16264
Grasshopper | Grasshopper - Corporate | SR080900 | 2024-02-09 13:31 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45386 | 16247
Grasshopper | MA: Granville – 0 Hayes Rd | SR081188 | 2024-02-22 11:24 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 45348 | 16406
Grasshopper | MA: Blackstone–142 Blackstone St | SR081342 | 2024-02-26 14:36 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2024-02-29 | 16451
Grasshopper | MA: Hopkinton – 17 Wilson St | SR081361 | 2024-02-27 10:27 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2024-02-28 | 16426
Grasshopper | MA: Hopkinton – 17 Wilson St | SR081446 | 2024-02-29 09:00 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2024-03-01 | 16467
Grasshopper | MA: Hopkinton – 17 Wilson St | SR081466 | 2024-02-29 13:29 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2024-03-25 | 17124
Grasshopper | MA: Hopkinton – 17 Wilson St | SR081577 | 2024-03-05 11:23 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45376 | 16548
Grasshopper | MA: Blackstone–142 Blackstone St | SR081578 | 2024-03-05 11:24 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45369 | 16550
Grasshopper | MA: Granville – 0 Hayes Rd | SR081579 | 2024-03-05 11:25 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45369 | 16549
Grasshopper | MA: Blackstone–142 Blackstone St | SR082095 | 2024-03-19 10:17 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 45463 | 18573
Grasshopper | MA: Hopkinton – 17 Wilson St | SR082096 | 2024-03-19 10:22 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-03-19 | 16683
Grasshopper | MA: Hopkinton – 17 Wilson St | SR082097 | 2024-03-19 10:29 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 45463 | 18572
Grasshopper | MA: Hopkinton – 17 Wilson St | SR082334 | 2024-03-21 13:12 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2024-03-25 | 17120
Grasshopper | MA: Hopkinton – 17 Wilson St | SR082770 | 2024-03-26 09:10 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45377 | 17143
Grasshopper | MA: Hopkinton – 17 Wilson St | SR083243 | 2024-04-09 09:28 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2024-04-26 | 17392
Grasshopper | MA: Granville – 0 Hayes Rd | SR083473 | 2024-04-16 08:04 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2024-05-14 | 17935
Grasshopper | MA: Hopkinton – 17 Wilson St | SR083769 | 2024-04-24 07:50 | Closed |  | PV - Site Maintenance | Ameresco VM - General Site Work
Grasshopper | MA: Granville – 0 Hayes Rd | SR084134 | 2024-05-02 09:10 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2024-05-20 | 17996
Grasshopper | MA: Hopkinton – 17 Wilson St | SR084271 | 2024-05-04 16:56 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2024-05-13 | 17896
Grasshopper | MA: Blackstone–142 Blackstone St | SR084285 | 2024-05-06 08:29 | Closed |  | PV Monitoring - Subcontractor | Subcontractor UM - Electrical - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR084306 | 2024-05-06 12:24 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 45566 | 21171
Grasshopper | MA: Granville – 0 Hayes Rd | SR084305 | 2024-05-06 12:24 | Closed |  | PV - Site Maintenance | Vegetative Maintenance
Grasshopper | MA: Blackstone–142 Blackstone St | SR084736 | 2024-05-15 13:16 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2024-08-02 | 19597
Grasshopper | MA: Hopkinton – 17 Wilson St | SR084754 | 2024-05-15 18:57 | Closed |  | PV Monitoring - Minor | Subcontractor - Site Work - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR084819 | 2024-05-17 17:43 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 45434 | 18039
Grasshopper | MA: Blackstone–142 Blackstone St | SR084882 | 2024-05-19 19:03 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | Grasshopper - Corporate | SR084929 | 2024-05-21 07:16 | Closed |  | PV - Site Maintenance | Subcontractor - Site Work - Other |  |  | 2024-05-24 | 18066
Grasshopper | MA: Blackstone–142 Blackstone St | SR086074 | 2024-06-12 10:05 | Closed |  | PV - Site Maintenance | Subcontractor - Mowing
Grasshopper | MA: Hopkinton – 17 Wilson St | SR086505 | 2024-06-20 13:54 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-09-17 | 20492
Grasshopper | MA: Blackstone–142 Blackstone St | SR086507 | 2024-06-20 13:57 | Pending | Quarterly Invoice | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment
Grasshopper | MA: Blackstone–142 Blackstone St | SR086506 | 2024-06-20 13:57 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 45552 | 20491
Grasshopper | MA: Granville – 0 Hayes Rd | SR086510 | 2024-06-20 14:29 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-09-17 | 20490
Grasshopper | MA: Blackstone–142 Blackstone St | SR086841 | 2024-06-24 11:48 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 45471 | 19074
Grasshopper | MA: Blackstone–142 Blackstone St | SR086888 | 2024-06-25 08:05 | Closed |  | PV - Site Maintenance | Ameresco - Mowing
Grasshopper | MA: Hopkinton – 17 Wilson St | SR087002 | 2024-06-26 12:20 | Closed |  | PV Monitoring - Minor | Subcontractor - Site Work - Other
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR087639 | 2024-07-13 09:36 | Closed |  | BESS Monitoring - Major | Sungrow BESS Service
Grasshopper | MA: Blackstone–142 Blackstone St | SR087725 | 2024-07-15 14:44 | Closed |  | High Level Projects/Tracking | Ameresco UM - Combiner Box Troubleshooting |  |  | 2024-08-02 | 19615
Grasshopper | MA: Blackstone–142 Blackstone St | SR088060 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.3.5 - DC 1500v Combiner Box |  | 2024-07-23 | 19424
Grasshopper | MA: Blackstone–142 Blackstone St | SR088061 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.4.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088062 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.5.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088063 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.5.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088064 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.1.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088055 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.2.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088056 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.2.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088057 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.3.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088058 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.3.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088059 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.3.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088051 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.1.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088052 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.1.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088053 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.2.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088054 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.2.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088044 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.2.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088045 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.2.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088046 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.2.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088047 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.2.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088048 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.2.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088049 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.2.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088050 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.1.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088040 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088041 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.1.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088042 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.1.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088043 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.1.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088036 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088037 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088038 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088039 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088031 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088032 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.3 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088033 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.4 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088034 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088035 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.3.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088026 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.5.5 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088027 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.1.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088028 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.1.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088029 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088030 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 3.2.2 - DC 1500v Combiner Box |  | 45609 | 20225
Grasshopper | MA: Blackstone–142 Blackstone St | SR088022 | 2024-07-23 12:57 | Closed |  | PV Monitoring - Major | Ameresco UM - Required Return Visit |  |  | 45687 | 20223
Grasshopper | MA: Blackstone–142 Blackstone St | SR088023 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.1.1 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088024 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 1.1.2 - DC 1500v Combiner Box
Grasshopper | MA: Blackstone–142 Blackstone St | SR088025 | 2024-07-23 12:57 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | CB 2.3.4 - DC 1500v Combiner Box
Grasshopper | MA: Hopkinton – 17 Wilson St | SR088084 | 2024-07-24 07:34 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 45504 | 19578
Grasshopper | MA: Blackstone–142 Blackstone St | SR088090 | 2024-07-24 08:55 | Closed |  | High Level Projects/Tracking | Ameresco UM - Combiner Box Troubleshooting |  |  | 2024-11-12 | 19484
Grasshopper | MA: Blackstone–142 Blackstone St | SR088549 | 2024-08-02 16:04 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Blackstone–142 Blackstone St | SR088602 | 2024-08-05 09:04 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR088636 | 2024-08-05 13:26 | Closed |  | PV Monitoring - Minor | Ameresco UM - Communications Failure |  | yellowstone, dsp, interface | 2024-09-24 | 20840
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089112 | 2024-08-15 11:59 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Sungrow 125kw INV 2-1-2
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089109 | 2024-08-15 11:59 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Sungrow 125kw INV 2-1-3
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089110 | 2024-08-15 11:59 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Sungrow 125kw INV 2-1-1
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089111 | 2024-08-15 11:59 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | Sungrow 125kw INV 2-1-4
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089106 | 2024-08-15 11:59 | Closed |  | PV - Site Maintenance | Ameresco - Mowing
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089107 | 2024-08-15 11:59 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | PVB 02 - AC Panelboard |  | 45747 | 21779
Grasshopper | MA: Hopkinton – 17 Wilson St | SR089108 | 2024-08-15 11:59 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit | NGR 02 - Neutral Ground Reactor
Grasshopper | MA: Granville – 0 Hayes Rd | SR089342 | 2024-08-20 20:55 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2024-08-26 | 19905
Grasshopper | MA: Granville – 0 Hayes Rd | SR089368 | 2024-08-21 10:48 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Blackstone–142 Blackstone St | SR089573 | 2024-08-26 16:28 | Closed |  | High Level Projects/Tracking | Ameresco UM - Site Outage |  |  | 2024-08-30 | 20011
Grasshopper | MA: Granville – 0 Hayes Rd | SR091059 | 2024-09-23 08:42 | Closed |  | PV Monitoring - Minor | Ameresco UM - Communications Failure |  |  | 2024-10-22 | 21481
Grasshopper | MA: Granville – 0 Hayes Rd | SR091507 | 2024-09-30 16:38 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2024-10-09 | 21316
Grasshopper | MA: Granville – 0 Hayes Rd | SR091576 | 2024-10-01 15:25 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | PV - SWBD 03 - 2000A - AC Switchboard |  | 45586 | 21448
Grasshopper | MA: Granville – 0 Hayes Rd | SR091574 | 2024-10-01 15:25 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | PV - SWBD 01 - 2000A - AC Switchboard
Grasshopper | MA: Granville – 0 Hayes Rd | SR091575 | 2024-10-01 15:25 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | PV - SWBD 02 - 2000A - AC Switchboard
Grasshopper | MA: Hopkinton – 17 Wilson St | SR091717 | 2024-10-03 11:01 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Hopkinton – 17 Wilson St | SR091798 | 2024-10-04 12:38 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2024-10-09 | 21314
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR091991 | 2024-10-10 12:06 | Closed |  | PV Monitoring - Minor | Subcontractor UM - Electrical - Other
Grasshopper | MA: Hopkinton – 17 Wilson St | SR092031 | 2024-10-11 08:06 | Closed |  | PV Monitoring - Minor | Subcontractor UM - Electrical - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR092236 | 2024-10-17 09:42 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Hopkinton – 17 Wilson St | SR092289 | 2024-10-18 07:19 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2024-10-30 | 21652
Grasshopper | MA: Granville – 0 Hayes Rd | SR092382 | 2024-10-21 09:22 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting |  |  | 2025-01-14 | 21488
Grasshopper | MA: Granville – 0 Hayes Rd | SR092745 | 2024-10-29 15:42 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting |  |  | 2024-11-01 | 21768
Grasshopper | MA: Granville – 0 Hayes Rd | SR093004 | 2024-11-06 11:42 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) | CTs & K1 contactors | 2024-11-14 | 21915
Grasshopper | MA: Blackstone–142 Blackstone St | SR093093 | 2024-11-08 18:37 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR093148 | 2024-11-11 13:25 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR093454 | 2024-11-20 09:37 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2025-01-17 | 23375
Grasshopper | MA: Blackstone–142 Blackstone St | SR094627 | 2024-12-14 09:31 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-12-14 | 22727
Grasshopper | MA: Granville – 0 Hayes Rd | SR094628 | 2024-12-14 09:36 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-12-14 | 22731
Grasshopper | MA: Hopkinton – 17 Wilson St | SR094629 | 2024-12-14 09:39 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2024-12-14 | 22734
Grasshopper | MA: Granville – 0 Hayes Rd | SR094817 | 2024-12-17 09:56 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting | Inv 1.12 Solectria125K
Grasshopper | MA: Blackstone - 307 Blackstone St | SR095384 | 2025-01-07 18:01 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-02-13 | 23760
Grasshopper | MA: Granville – 0 Hayes Rd | SR095463 | 2025-01-10 10:05 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting | Inv 2.20 Solectria125K | DSP & interface board | 2025-01-23 | 23458
Grasshopper | MA: Granville – 0 Hayes Rd | SR095476 | 2025-01-10 14:21 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting | Inv 2.20 Solectria125K |  | 2025-01-17 | 23374
Grasshopper | MA: Blackstone - 307 Blackstone St | SR095524 | 2025-01-13 15:15 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-27 | 23512
Grasshopper | MA: Hopkinton – 17 Wilson St | SR095745 | 2025-01-20 11:59 | Closed |  | PV - Site Maintenance | Ameresco - Snow Plowing |  |  | 2025-01-23 | 23446
Grasshopper | MA: Blackstone - 307 Blackstone St | SR095763 | 2025-01-21 08:29 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-27 | 23511
Grasshopper | MA: Hopkinton – 17 Wilson St | SR095764 | 2025-01-21 08:30 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR095834 | 2025-01-21 16:43 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-23 | 23456
Grasshopper | MA: Granville – 0 Hayes Rd | SR095835 | 2025-01-21 16:44 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-23 | 23457
Grasshopper | MA: Hopkinton – 17 Wilson St | SR095862 | 2025-01-22 16:44 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  | 30' wire 2-4 wire Fasteners | 2025-04-08 | 25958
Grasshopper | MA: Dighton - Brooks Street | SR095863 | 2025-01-22 16:50 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-24 | 23473
Grasshopper | MA: Granville – 0 Hayes Rd | SR095985 | 2025-01-26 10:27 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  |  | 2025-01-28 | 23551
Grasshopper | MA: Blackstone–142 Blackstone St | SR096062 | 2025-01-28 13:32 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-01-30 | 23577
Grasshopper | MA: Hopkinton – 17 Wilson St | SR096063 | 2025-01-28 13:39 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting
Grasshopper | MA: Blackstone - 307 Blackstone St | SR096123 | 2025-01-29 17:20 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-01-31 | 23599
Grasshopper | MA: Granville – 0 Hayes Rd | SR096162 | 2025-01-30 15:50 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  | S3 Power invoice - need | 2025-03-25 | 23751
Grasshopper | MA: Granville – 0 Hayes Rd | SR096200 | 2025-01-31 22:59 | Closed |  | PV Monitoring - Major | Ameresco Communications Troubleshooting
Grasshopper | MA: Blackstone - 307 Blackstone St | SR096250 | 2025-02-03 12:05 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-02-04 | 23667
Grasshopper | MA: Granville – 0 Hayes Rd | SR096339 | 2025-02-05 14:26 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-02-19 | 23840
Grasshopper | MA: Blackstone–142 Blackstone St | SR096611 | 2025-02-10 12:54 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2025-03-14 | 24295
Grasshopper | MA: Granville – 0 Hayes Rd | SR096612 | 2025-02-10 13:03 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2025-03-14 | 24293
Grasshopper | MA: Hopkinton – 17 Wilson St | SR096613 | 2025-02-10 13:05 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2025-03-14 | 24292
Grasshopper | MA: Hopkinton – 17 Wilson St | SR096725 | 2025-02-12 08:48 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2025-02-13 | 23753
Grasshopper | MA: Hopkinton – 17 Wilson St | SR097618 | 2025-02-21 12:16 | Closed |  | PV - Site Maintenance | Ameresco - General Site Work |  |  | 2025-02-27 | 23874
Grasshopper | MA: Blackstone - 307 Blackstone St | SR097733 | 2025-02-24 16:03 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2025-03-14 | 24291
Grasshopper | MA: Granville – 0 Hayes Rd | SR097806 | 2025-02-26 00:07 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting | Inv 1.01 Solectria125K(99%) |  | 2025-02-26 | 23974
Grasshopper | MA: Granville – 0 Hayes Rd | SR097813 | 2025-02-26 08:32 | Closed |  | PV - Site Maintenance | Ameresco - Snow Plowing |  |  | 2025-02-27 | 23986
Grasshopper | MA: Hopkinton – 17 Wilson St | SR098050 | 2025-03-04 13:26 | Closed |  | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-03-25 | 24443
Grasshopper | MA: Hopkinton – 17 Wilson St | SR098051 | 2025-03-04 13:28 | Closed |  | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-06-12 | 24442
Grasshopper | MA: Granville – 0 Hayes Rd | SR098052 | 2025-03-04 13:33 | Closed |  | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-04-04 | 24441
Grasshopper | MA: Blackstone–142 Blackstone St | SR098053 | 2025-03-04 13:35 | Closed |  | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-03-28 | 24440
Grasshopper | MA: Blackstone–142 Blackstone St | SR098054 | 2025-03-04 13:36 | Pending | Pending Ops Review | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-03-18 | 24439
Grasshopper | MA: Granville – 0 Hayes Rd | SR098244 | 2025-03-07 08:11 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR098458 | 2025-03-12 14:14 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  | IF, DSP, Yellowstone | 2025-04-14 | 26056
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR098702 | 2025-03-18 12:31 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Blackstone - 307 Blackstone St | SR098714 | 2025-03-18 15:36 | Closed |  | PV - Site Maintenance | Ameresco - Site Maintenance Inspection |  |  | 2025-03-25 | 24461
Grasshopper | MA: Hopkinton – 17 Wilson St | SR098750 | 2025-03-19 11:29 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-03-20 | 24516
Grasshopper | MA: Granville – 0 Hayes Rd | SR099728 | 2025-04-12 15:05 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-04-15 | 26066
Grasshopper | MA: Granville – 0 Hayes Rd | SR099960 | 2025-04-17 15:05 | Pending | Manufacturer Response | PV Monitoring - Major | Ameresco - Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR100214 | 2025-04-23 12:14 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  |  | 2025-05-08 | 26654
Grasshopper | MA: Hopkinton – 17 Wilson St | SR100298 | 2025-04-24 10:37 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2025-06-25 | 28197
Grasshopper | MA: Dighton - Brooks Street | SR100299 | 2025-04-24 10:39 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2025-06-11 | 26763
Grasshopper | MA: Granville – 0 Hayes Rd | SR100300 | 2025-04-24 10:42 | Pending | SM Manager Review | PV - Site Maintenance | Vegetative Maintenance
Grasshopper | MA: Blackstone–142 Blackstone St | SR100301 | 2025-04-24 10:43 | Pending | SM Manager Review | PV - Site Maintenance | Vegetative Maintenance
Grasshopper | MA: Blackstone - 307 Blackstone St | SR100344 | 2025-04-24 12:58 | Closed |  | PV - Site Maintenance | Ameresco - General Site Work |  |  | 2025-05-08 | 26265
Grasshopper | MA: Granville – 0 Hayes Rd | SR100565 | 2025-04-28 14:45 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  |  | 45775 | 26302
Grasshopper | MA: Granville – 0 Hayes Rd | SR100564 | 2025-04-28 14:45 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR100608 | 2025-04-29 08:37 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  |  | 2025-04-29 | 26306
Grasshopper | MA: Granville – 0 Hayes Rd | SR100714 | 2025-04-30 11:56 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-05-05 | 26580
Grasshopper | MA: Blackstone–142 Blackstone St | SR100795 | 2025-04-30 18:33 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-05-06 | 26590
Grasshopper | MA: Hopkinton – 17 Wilson St | SR100955 | 2025-05-03 11:13 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-05-06 | 26592
Grasshopper | MA: Granville – 0 Hayes Rd | SR100973 | 2025-05-03 23:14 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting | Inv 1.08 Solectria125K
Grasshopper | MA: Granville – 0 Hayes Rd | SR101105 | 2025-05-07 11:33 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-05-08 | 26653
Grasshopper | MA: Hopkinton – 17 Wilson St | SR101119 | 2025-05-07 13:56 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Hopkinton – 17 Wilson St | SR102527 | 2025-06-05 12:50 | Closed |  | PV - Site Maintenance | Ameresco - General Site Work |  |  | 2025-06-26 | 27186
Grasshopper | MA: Blackstone–142 Blackstone St | SR102538 | 2025-06-05 13:59 | Closed |  | PV Monitoring - Major | Ameresco Racking/Structural Troubleshooting |  |  | 2025-07-16 | 27185
Grasshopper | MA: Granville – 0 Hayes Rd | SR102861 | 2025-06-11 18:08 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 2025-06-13 | 27333
Grasshopper | MA: Hopkinton – 17 Wilson St | SR102914 | 2025-06-13 01:25 | Closed |  | BESS Monitoring - Major | Ameresco BESS Service Troubleshooting |  |  | 2025-06-18 | 28095
Grasshopper | MA: Hopkinton – 17 Wilson St | SR103369 | 2025-06-24 09:04 | Pending | SM Manager Review | PV - Site Maintenance | Vegetative Maintenance
Grasshopper | MA: Hopkinton – 17 Wilson St | SR103378 | 2025-06-24 10:17 | Closed |  | BESS Monitoring - Major | Ameresco BESS Battery Module Troubleshooting
Grasshopper | MA: Blackstone–142 Blackstone St | SR103778 | 2025-06-30 14:43 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Blackstone - 307 Blackstone St | SR103879 | 2025-07-02 08:43 | Closed |  | BESS Monitoring - Major | Ameresco BESS Service Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR103972 | 2025-07-03 12:01 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 45845 | 28888
Grasshopper | MA: Granville – 0 Hayes Rd | SR104658 | 2025-07-20 10:21 | Closed |  | PV Monitoring - Major | Ameresco Site Outage Troubleshooting |  |  | 45860 | 29220
Grasshopper | MA: Granville – 0 Hayes Rd | SR104749 | 2025-07-22 08:43 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR104764 | 2025-07-22 12:08 | Closed |  | Planned Outage | Ameresco - Planned Site Outage |  |  | 45873 | 29575
Grasshopper | MA: Dighton - Brooks Street | SR104922 | 2025-07-24 08:24 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 45867 | 29418
Grasshopper | MA: Granville – 0 Hayes Rd | SR105266 | 2025-07-29 11:58 | Closed |  | PV Monitoring - Major | Ameresco - Inverter Troubleshooting |  |  | 45868 | 29412
Grasshopper | MA: Granville – 0 Hayes Rd | SR105265 | 2025-07-29 11:58 | Pending | Pending Ops Review | PV Monitoring - Major | Ameresco - Inverter Troubleshooting
Total