## Year to Date
National Grid |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 100474.875 | 118733.465 | -18258.59 | -15.38% | 92904.794 | 7570.081 | 8.148%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NGRID - PIII - Electric St, Athol | MA | 100474.875 | 118733.465 | -18258.59 | -15.38% | 92904.794 | 7570.081 | 8.148%

## 1st Qtr
National Grid |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 29140.25 | 47290.046 | -18149.796 | -38.38% | 40673.865 | -11533.615 | -28.36%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NGRID - PIII - Electric St, Athol | MA | 29140.25 | 47290.046 | -18149.796 | -38.38% | 40673.865 | -11533.615 | -28.36%

## 2nd Qtr
National Grid |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 71334.625 | 71443.419 | -108.794 | -0.1523% | 52230.929 | 19103.696 | 36.58%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NGRID - PIII - Electric St, Athol | MA | 71334.625 | 71443.419 | -108.794 | -0.1523% | 52230.929 | 19103.696 | 36.58%

## 3rd Qtr
National Grid |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NGRID - PIII - Electric St, Athol | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
National Grid |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NGRID - PIII - Electric St, Athol | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
National Grid |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 6491.875 | 12474.984 | -5983.109 | -47.96% | 11373.686 | -4881.811 | -42.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 6491.875 | 12474.984 | -5983.109 | -47.96% | 11373.686 | -4881.811 | -42.92% | 1.Due to snow event site production was low.

## Feb
National Grid |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 2997.625 | 14983.39 | -11985.765 | -79.99% | 12988.131 | -9990.506 | -76.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 2997.625 | 14983.39 | -11985.765 | -79.99% | 12988.131 | -9990.506 | -76.92% | 1.The phase A current on the meter has been low since 02/06. Upon the technician's arrival on 02/18, it was stated that the modules were covered with 8 inches of snow, preventing access to the pad. Production was low due to the snow. | 1.SR096944

## Mar
National Grid |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 19650.75 | 19831.672 | -180.922 | -0.9123% | 16312.048 | 3338.702 | 20.47%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 19650.75 | 19831.672 | -180.922 | -0.9123% | 16312.048 | 3338.702 | 20.47%

## Apr
National Grid |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 23253.25 | 23051.089 | 202.161 | 0.877% | 16489.264 | 6763.986 | 41.02%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 23253.25 | 23051.089 | 202.161 | 0.877% | 16489.264 | 6763.986 | 41.02%

## May
National Grid |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 22218.625 | 22177.871 | 40.754 | 0.1838% | 18018.297 | 4200.328 | 23.31%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 22218.625 | 22177.871 | 40.754 | 0.1838% | 18018.297 | 4200.328 | 23.31%

## Jun
National Grid |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 25862.75 | 26214.459 | -351.709 | -1.342% | 17723.368 | 8139.382 | 45.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA | 25862.75 | 26214.459 | -351.709 | -1.342% | 17723.368 | 8139.382 | 45.92%

## Jul
National Grid |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Aug
National Grid |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Sep
National Grid |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Oct
National Grid |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Nov
National Grid |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Dec
National Grid |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NGRID - PIII - Electric St, Athol | MA

## Sites
Portfolio: | National Grid
Site DAS Name | Site | State | Update | DAS
PIII - Electric St, Athol | NGRID - PIII - Electric St, Athol | MA | AEF | PowerTrack