## Year to Date
Pearson Venture Investments LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 68440 | 79981.006 | -11541.006 | -14.43% | 0 | 68440 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 68440 | 79981.006 | -11541.006 | -14.43% | 0 | 0

## 1st Qtr
Pearson Venture Investments LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 17215 | 30448.625 | -13233.625 | -43.46% | 0 | 17215 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 17215 | 30448.625 | -13233.625 | -43.46% | 0 | 0

## 2nd Qtr
Pearson Venture Investments LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 51225 | 49532.381 | 1692.619 | 3.417% | 0 | 51225 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 51225 | 49532.381 | 1692.619 | 3.417% | 0 | 0

## 3rd Qtr
Pearson Venture Investments LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Pearson Venture Investments LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pearson Venture Investments LLC | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Pearson Venture Investments LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 992 | 8157 | -7165 | -87.84% | 0 | 992 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 992 | 8157 | -7165 | -87.84% | N/A |  |  | 1.Inverter tripped offline at 8:45AM on 12/15/24 due to AC contactor (ABB 145-30) is fault and back online at 10:45 on 01/24/25 after technician replaced AC contactor. | 1.SR094687

## Feb
Pearson Venture Investments LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 2209 | 8625.9 | -6416.9 | -74.39% | 0 | 2209 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 2209 | 8625.9 | -6416.9 | -74.39% | N/A |  |  | 1.Low generation due to weather/snow on 02/09 to 02/25

## Mar
Pearson Venture Investments LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 14014 | 13665.725 | 348.275 | 2.549% | 0 | 14014 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 14014 | 13665.725 | 348.275 | 2.549% | N/A |  |  | 1.Inverters offline from 08:15 to 16:15 due to technician on site on 03/04. | 1. SR097756

## Apr
Pearson Venture Investments LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 17067 | 16379.148 | 687.852 | 4.2% | 0 | 17067 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 17067 | 16379.148 | 687.852 | 4.2% | N/A

## May
Pearson Venture Investments LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 15768 | 15249.131 | 518.869 | 3.403% | 0 | 15768 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 15768 | 15249.131 | 518.869 | 3.403% | N/A

## Jun
Pearson Venture Investments LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 18390 | 17904.102 | 485.898 | 2.714% | 0 | 18390 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA | 18390 | 17904.102 | 485.898 | 2.714% | N/A

## Jul
Pearson Venture Investments LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Aug
Pearson Venture Investments LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Sep
Pearson Venture Investments LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Oct
Pearson Venture Investments LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Nov
Pearson Venture Investments LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Dec
Pearson Venture Investments LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pearson Venture Investments LLC | MA |  |  |  |  | 0

## Sites
Portfolio: | Pearson Venture Investments LLC
Site DAS Name | Site | State | Update | DAS
MA - Billerica - 2 Sterling Way | Pearson Venture Investments LLC | MA | AE | PowerTrack