## Year to Date
Will Canton |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 26517.3755 | 0 | 26517.3755 | 0% | 27605 | -1087.6245 | -3.94%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 26517.3755 | 0 | 26517.3755 |  | 27605 | -1087.6245 | -3.94%

## 1st Qtr
Will Canton |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 26517.3755 | 0 | 26517.3755 | 0% | 27605 | -1087.6245 | -3.94%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 26517.3755 | 0 | 26517.3755 |  | 27605 | -1087.6245 | -3.94%

## 2nd Qtr
Will Canton |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Will Canton |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Will Canton |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Will Canton |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 6232 | 0 | 6232 | 0% | 6997 | -765 | -10.93%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 6232 | N/A |  |  | 6997 | -765 | -10.93% | 1.Low generation due to weather/snow.

## Feb
Will Canton |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 5952.688 | 0 | 5952.688 | 0% | 8738 | -2785.312 | -31.88%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 5952.688 | N/A |  |  | 8738 | -2785.312 | -31.88% | 1.Low generation due to weather/snow.

## Mar
Will Canton |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 14332.6875 | 0 | 14332.6875 | 0% | 11870 | 2462.6875 | 20.75%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 14332.6875 | N/A |  |  | 11870 | 2462.6875 | 20.75%

## Apr
Will Canton |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0 | [5 empty] | 1. Inverter 1 left unit was offline from 03/27 and later back online at 16:40 on 04/30. | 1. SR083210

## May
Will Canton |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Jun
Will Canton |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Jul
Will Canton |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Aug
Will Canton |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Sep
Will Canton |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Oct
Will Canton |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Nov
Will Canton |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Dec
Will Canton |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Sites
Portfolio: | Will Canton
Site DAS Name | Site | State | Update | DAS
155 Will Drive | MA: Canton - Will Canton | MA | AF | PowerTrack