## Year to Date
Cave Creek USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 343815 | 192646 | 151169 | 78.47% | 0 | 343815 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Cave Creek - DWES | AZ | 125662 | 97376 | 28286 | 29.05% | 0 | 0 | 0%
AZ: Cave Creek - HTES | AZ | 126367 | 95270 | 31097 | 32.64% | 0 | 0 | 0%
AZ: Cave Creek - LMES | AZ | 91786 | 0 | 91786 | 0% | 0 | 0 | 0%

## 1st Qtr
Cave Creek USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 343815 | 192646 | 151169 | 78.47% | 0 | 343815 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Cave Creek - DWES | AZ | 125662 | 97376 | 28286 | 29.05% | 0 | 0 | 0%
AZ: Cave Creek - HTES | AZ | 126367 | 95270 | 31097 | 32.64% | 0 | 0 | 0%
AZ: Cave Creek - LMES | AZ | 91786 | 0 | 91786 | 0% | 0 | 0 | 0%

## 2nd Qtr
Cave Creek USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Cave Creek - DWES | AZ | 0 | 0 | 0 | 0% |  | 0 | 0%
AZ: Cave Creek - HTES | AZ | 0 | 0 | 0 | 0% |  | 0 | 0%
AZ: Cave Creek - LMES | AZ | 0 | 0 | 0 | 0% |  | 0 | 0%

## 3rd Qtr
Cave Creek USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Cave Creek - DWES | AZ | 0 | 0 | 0 | 0% | 0 | 0 | 0%
AZ: Cave Creek - HTES | AZ | 0 | 0 | 0 | 0% | 0 | 0 | 0%
AZ: Cave Creek - LMES | AZ | 0 | 0 | 0 | 0% | 0 | 0 | 0%

## 4th Qtr
Cave Creek USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Cave Creek - DWES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Cave Creek - HTES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Cave Creek - LMES | AZ | 0 | 0 | 0 |  |  | 0

## Jan
Cave Creek USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 87444 | 58113 | 29331 | 50.47% | 0 | 87444 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ | 32931 | 30249 | 2682 | 8.866% | N/A |  |  | 1. Site was offline from 12:15 to 13:30 on 01/21 for the installation of new CTs and a meter. The system's readings returned to the correct range after troubleshooting on site. 2. Inverter 1-4 experienced multiple trip events throughout the month. 3. Inverter 1-6 was offline on 01/15/25, self-resolved, and came back online at 07:30 AM on 01/20/25. Inverter again went offline on 01/27/25 andbackonline on 01/28/25 4. Inverter 3-2 tripped offline at 08:30 on 01/20/25 and later self resolved, back online on 01/21. | 1. SR094032 2. SR094314, SR094074 & SR092118 3. SR095603, SR097617 4. SR095749
AZ: Cave Creek - HTES | AZ | 26765 | 27864 | -1099 | -3.944% | N/A |  |  | 1.Inverter 1-7 is offline through the month. due to faulting on start up from Grid Frequency failures. 2. Site was offline from 10:15 to 11:00 on 01/22 for the installation of new CTs and a meter. The system's readings returned to the correct range from 01/23 3. Inverter 1-3 was offline throughout the month due to a frozen screen issue. | 1. SR075156, SR094079 2. SR087559, SR095887 3. SR091482
AZ: Cave Creek - LMES | AZ | 27748 | N/A |  | 0% | N/A

## Feb
Cave Creek USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 115381 | 59593 | 55788 | 93.62% | 0 | 115381 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ | 41596 | 30973 | 10623 | 34.3% | N/A |  |  | 1.Inverter 1-4 experienced multiple trip events throughout the month. 2. Inverters 1-6 was offline multiple times throughout the month, including on 02/01, 02/09, 02/14, 02/21, and 02/26, with self-resolving on 02/02, 02/11, 02/15, and 02/27. On 02/18, a technician identified a Display error 121 (Grid Overvolt), reenergized the inverter, and brought it back online at 11:00 AM the same day. Additional troubleshooting was required. 3. Inverter 3-2 tripped offline at 13:30 on 02/03 and self resolved, back online at 07:45 on 02/04 | 1. SR094314, SR094074 ,SR092118 & SR096716 2. SR095603, SR097617 3. SR095749 | SR094074 | SR092118 | SR096716 | SR095603 | SR097617 | SR095749
AZ: Cave Creek - HTES | AZ | 45127 | 28620 | 16507 | 57.68% | N/A |  |  | 1. Inverter 1.6 is underperforming by 5kW and is undergoing further troubleshooting during the PM event. 2. Inverter 1-7 is offline through the month. due to faulting on start up from Grid Frequency failures. 3. Inverter 1-3 was offline throughout the month due to a frozen screen issue. | 1. SR097459 2. SR075156, SR094079 3. SR091482 | SR075156 | SR094079 | SR091482
AZ: Cave Creek - LMES | AZ | 28658 | N/A |  |  | N/A

## Mar
Cave Creek USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 140990 | 74940 | 66050 | 88.14% | 0 | 140990 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ | 51135 | 36154 | 14981 | 41.44% | N/A |  |  | 1. Inverter 1.6 was frequently offline throughout the month. 2. Inverter 1.4 was offline on multiple days the entire month including 03/12 - 03/14 and 03/26 - 03/28 | 1. SR097617 2. SR094314 | SR094314
AZ: Cave Creek - HTES | AZ | 54475 | 38786 | 15689 | 40.45% | N/A |  |  | 1. Inverter 1.4 was offline on 03/26 and back online on 03/27 2. Inverter 1-3 was offline throughout the month due to a frozen screen issue. 3. Inverter 1.6 is underperforming by 5kW and is undergoing further troubleshooting during the PM event. | 1. SR099023 2. SR091482 3. SR097459 | SR091482 | SR097459
AZ: Cave Creek - LMES | AZ | 35380 | N/A |  |  | N/A

## Apr
Cave Creek USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## May
Cave Creek USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Jun
Cave Creek USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Jul
Cave Creek USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Aug
Cave Creek USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Sep
Cave Creek USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Oct
Cave Creek USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Nov
Cave Creek USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Dec
Cave Creek USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Cave Creek - DWES | AZ |  |  |  |  | 0
AZ: Cave Creek - HTES | AZ |  |  |  |  | 0
AZ: Cave Creek - LMES | AZ |  |  |  |  | 0

## Sites
Portfolio: | Cave Creek USD
Site DAS Name | Site | State | Update | DAS
AZ: Cave Creek - DWES | AZ: Cave Creek - DWES | AZ
AZ: Cave Creek - HTES | AZ: Cave Creek - HTES | AZ
AZ: Cave Creek - LMES | AZ: Cave Creek - LMES | AZ