## Year to Date
City of Peoria |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 655206.0701 | 712019.158 | -56813.0879 | -7.979% | 843734.095 | -188528.0249 | -22.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 16438.5716 | 13214.384 | 3224.1876 | 24.4% | 31379.92 | -14941.3484 | -47.61%
AZ: Peoria - Fire Station 191 | AZ | 35607.0577 | 29471.68 | 6135.3777 | 20.82% | 35090 | 517.0577 | 1.474%
AZ: Peoria - Fire Station 195 | AZ | 16126.3727 | 15853 | 273.3727 | 1.724% | 20370.467 | -4244.0943 | -20.83%
AZ: Peoria - Fire Station 196 | AZ | 11645.5506 | 0 | 11645.5506 | 0% | 0 | 0 | 0%
AZ: Peoria - Fire Station 197 | AZ | 26828.251 | 20934.264 | 5893.987 | 28.15% | 25656.448 | 1171.803 | 4.567%
AZ: Peoria - Sunrise Library | AZ | 44263.8755 | 48704.12 | -4440.2445 | -9.117% | 79922 | -35658.1245 | -44.62%
AZ: Peoria - Beardsley WWTP | AZ | 363381.5211 | 457366.8 | -93985.2789 | -20.55% | 481988 | -118606.4789 | -24.61%
AZ: Peoria - City Hall | AZ | 84771.5 | 84735.99 | 35.51 | 0.04191% | 109694.26 | -24922.76 | -22.72%
AZ: Peoria - Pinnacle Peak | AZ | 56143.37 | 41738.92 | 14404.45 | 34.51% | 59633 | -3489.63 | -5.852%

## 1st Qtr
City of Peoria |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 655206.0701 | 712019.158 | -56813.0879 | -7.979% | 843734.095 | -188528.0249 | -22.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 16438.5716 | 13214.384 | 3224.1876 | 24.4% | 31379.92 | -14941.3484 | -47.61%
AZ: Peoria - Fire Station 191 | AZ | 35607.0577 | 29471.68 | 6135.3777 | 20.82% | 35090 | 517.0577 | 1.474%
AZ: Peoria - Fire Station 195 | AZ | 16126.3727 | 15853 | 273.3727 | 1.724% | 20370.467 | -4244.0943 | -20.83%
AZ: Peoria - Fire Station 196 | AZ | 11645.5506 | 0 | 11645.5506 |  | 0 | 0
AZ: Peoria - Fire Station 197 | AZ | 26828.251 | 20934.264 | 5893.987 | 28.15% | 25656.448 | 1171.803 | 4.567%
AZ: Peoria - Sunrise Library | AZ | 44263.8755 | 48704.12 | -4440.2445 | -9.117% | 79922 | -35658.1245 | -44.62%
AZ: Peoria - Beardsley WWTP | AZ | 363381.5211 | 457366.8 | -93985.2789 | -20.55% | 481988 | -118606.4789 | -24.61%
AZ: Peoria - City Hall | AZ | 84771.5 | 84735.99 | 35.51 | 0.04191% | 109694.26 | -24922.76 | -22.72%
AZ: Peoria - Pinnacle Peak | AZ | 56143.37 | 41738.92 | 14404.45 | 34.51% | 59633 | -3489.63 | -5.852%

## 2nd Qtr
City of Peoria |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
City of Peoria |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
City of Peoria |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  | 0 | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  | 0 | 0

## Jan
City of Peoria |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 199670.5197 | 211030.343 | -11359.8233 | -5.383% | 240385.531 | -40715.0113 | -16.94%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4541.7308 | 3143.672 | 1398.0588 | 44.47% | 8134.858 | -3593.1272 | -44.17% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 191 | AZ | 10257.812 | 8419.47 | 1838.342 | 21.83% | 10085 | 172.812 | 1.714%
AZ: Peoria - Fire Station 195 | AZ | 4326.997 | 4190.793 | 136.204 | 3.25% | 5677.115 | -1350.118 | -23.78% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 196 | AZ | 3551.5721 | N/A |  |  | N/A
AZ: Peoria - Fire Station 197 | AZ | 7907.7082 | 6118.168 | 1789.5402 | 29.25% | 7167.768 | 739.9402 | 10.32%
AZ: Peoria - Sunrise Library | AZ | 10860.3876 | 11826.14 | -965.7524 | -8.166% | 22243 | -11382.6124 | -51.17% | 1.Inverter A2 offline since 11/16 and it has being RMA'd on 01/17/25 and parts need to be replaced in order to bring the inverter back online. | 1.SR095419, SR095527
AZ: Peoria - Beardsley WWTP | AZ | 118837.562 | 142158.8 | -23321.238 | -16.41% | 138763 | -19925.438 | -14.36% | 1. Inverter A1 was tripped offline from 11/22/24 at 10AM due to grid under frequency fault. On 11/27/24 Technician checked in and stated that A1 breaker tripped and need to be replaced. 2.Inverter B4 tripped offline from 11/20/24 at 14:55 due to fault loss of main. Inverters A2,A3,B1 and B4 communication cards are RMA'd from 11/20/24. | 1.SR093529 2.SR093188,SR095798
AZ: Peoria - City Hall | AZ | 23022.25 | 22244.83 | 777.42 | 3.495% | 31732.79 | -8710.54 | -27.45% | 1.Inverters A1 and B1 was offline on 01/27 and back online by self-resolving on 01/28. | 1.SR096023
AZ: Peoria - Pinnacle Peak | AZ | 16364.5 | 12928.47 | 3436.03 | 26.58% | 16582 | -217.5 | -1.312%

## Feb
City of Peoria |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 194986.9587 | 222363.403 | -27376.4443 | -12.31% | 258753.632 | -63766.6733 | -24.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4854.693 | 3954.458 | 900.235 | 22.77% | 9358.742 | -4504.049 | -48.13% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 191 | AZ | 11051.3435 | 9038.8 | 2012.5435 | 22.27% | 10724 | 327.3435 | 3.052%
AZ: Peoria - Fire Station 195 | AZ | 4953.8892 | 4847.543 | 106.3462 | 2.194% | 6363.29 | -1409.4008 | -22.15% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 196 | AZ | 3857.9369 | N/A |  |  | N/A
AZ: Peoria - Fire Station 197 | AZ | 8375.3907 | 6480.332 | 1895.0587 | 29.24% | 7871.1 | 504.2907 | 6.407%
AZ: Peoria - Sunrise Library | AZ | 11635.7291 | 14669.5 | -3033.7709 | -20.68% | 24948 | -13312.2709 | -53.36% | 1.Inverter A2 was offline since 11/16/24 due to fault 0130-bus over total voltage and it was being RMA'd from 01/17/25. | 1.SR095419, SR095527 | SR095527
AZ: Peoria - Beardsley WWTP | AZ | 108575.6062 | 143331.7 | -34756.0938 | -24.25% | 147181 | -38605.3938 | -26.23% | 1.Inverter C4 went offline on 02/03 at 14:45 due to a "Fault Loss of Main" and remained offline. On 02/07, the technician checked in and found that inverter C4's breaker needs replacement. 2.Inverter A1 was tripped offline from 11/22/24 at 10AM due to grid under frequency fault. On 11/27/24 Technician checked in and stated that A1 breaker tripped and need to be replaced. 3.Inverter B4 tripped offline from 11/20/24 at 14:55 due to fault loss of main. Inverters A2,A3,B1 and B4 communication cards are RMA'd from 11/20/24. 4.Inverter B2 was offline from 02/07 due to "error-Grid vout lim" fault and back online at 10:15 on 02/13 after technician power cycled inverter. 5.Trackers are intermittently getting stuck from 02/07. | 1.SR096265 2.SR093529, SR097564 & SR097790 3.SR093188,SR095798 & SR097614 4.SR096846 5.SR096516 | SR093529 | SR097564 | SR097790 | SR093188 | SR095798 | SR097614 | SR096846 | SR096516
AZ: Peoria - City Hall | AZ | 24285 | 25684.79 | -1399.79 | -5.45% | 33703.5 | -9418.5 | -27.95%
AZ: Peoria - Pinnacle Peak | AZ | 17397.37 | 14356.28 | 3041.09 | 21.18% | 18604 | -1206.63 | -6.486%

## Mar
City of Peoria |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 260548.5918 | 278625.412 | -18076.8202 | -6.488% | 344594.932 | -84046.3402 | -24.39%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 7042.1478 | 6116.254 | 925.8938 | 15.14% | 13886.32 | -6844.1722 | -49.29% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 191 | AZ | 14297.9021 | 12013.41 | 2284.4921 | 19.02% | 14281 | 16.9021 | 0.1184%
AZ: Peoria - Fire Station 195 | AZ | 6845.4864 | 6814.664 | 30.8224 | 0.4523% | 8330.062 | -1484.5756 | -17.82% | 1. The delta values between Actual and Expected are within range, and the site is performing as expected. However, the delta between Actual and Forecasted is slightly on the higher side, which could possibly be due to an issue with the Forecasted data.
AZ: Peoria - Fire Station 196 | AZ | 4236.0416 | N/A |  |  | N/A
AZ: Peoria - Fire Station 197 | AZ | 10545.1521 | 8335.764 | 2209.3882 | 26.5% | 10617.58 | -72.4279 | -0.6822% | 1.DC String 9 has zero volts and was RMA'D from 03/05. | 1.SR088393
AZ: Peoria - Sunrise Library | AZ | 21767.7588 | 22208.48 | -440.7212 | -1.984% | 32731 | -10963.2412 | -33.49% | 1.Inverter A2 was offline since 11/16/24 due to fault 0130-bus over total voltage and it was being RMA'd from 01/17/25. On 03/19 technician replaced defective inverter with new unit, inverter back online at 12:45PM. | 1.SR095527
AZ: Peoria - Beardsley WWTP | AZ | 135968.3529 | 171876.3 | -35907.9471 | -20.89% | 196044 | -60075.6471 | -30.64% | 1.Inverter C4 was offline from 02/03 at 14:45 due to Fault Loss of main. On 02/07 technician checked in and stated that AC breaker is de-rating and should be replaced. Inverter was remained offline through out the month. 2.Meter was intermittently lost communication through out the month. 3.Inverter A1 was tripped offline from 11/22/24 at 10AM due to grid under frequency fault. On 11/27/24 Technician checked in and stated that A1 breaker tripped and need to be replaced. 4.Inverter D3 strings 5,11 and 13 were isolated from 03/12 and inverter was being run by rest of the operational strings. 5.Inverter B4 tripped offline from 11/20/24 at 14:55 due to fault loss of main. Inverters A2,A3,B1 and B4 communication cards are RMA'd from 11/20/24. 6.5.Trackers are intermittently getting stuck from 02/07. On 02/19, technician checked in and stated that intermittent stucking issues likely due to programming/calibration and Trackers set to stow position to avoid misalignment. | 1.SR096265 2.SR097818 3.SR093529, SR097564 & SR097790 4.SR098598, SR98599 & PM9746. 5.SR093188, SR095798 and SR097614 6.SR096516 | SR097818 | SR093529 | SR097564 | SR097790 | SR098598 | SR98599 | SR093188 | SR095798 | SR097614 | SR096516
AZ: Peoria - City Hall | AZ | 37464.25 | 36806.37 | 657.88 | 1.787% | 44257.97 | -6793.72 | -15.35% | 1.Inverters A1 and B1 tripped at 08:00 AM on 03/06 and back online at 07:30 AM on 03/07 | 1.SR098215
AZ: Peoria - Pinnacle Peak | AZ | 22381.5 | 14454.17 | 7927.33 | 54.84% | 24447 | -2065.5 | -8.449%

## Apr
City of Peoria |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## May
City of Peoria |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Jun
City of Peoria |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Jul
City of Peoria |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Aug
City of Peoria |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Sep
City of Peoria |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Oct
City of Peoria |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Nov
City of Peoria |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Dec
City of Peoria |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Sites
Portfolio: | City of Peoria
Site DAS Name | Site | State | Update | DAS
City of Peoria, . - Beardsley WWTP - Admin Building | AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
Fire station 191(Peoria) | AZ: Peoria - Fire Station 191 | AZ | AEF
Fire Station 195 (Peoria) | AZ: Peoria - Fire Station 195 | AZ | AEF
Fire Station 196(Peoria) | AZ: Peoria - Fire Station 196 | AZ | AEF
Fire Station 197 (Peoria) | AZ: Peoria - Fire Station 197 | AZ | AEF
City of Peoria, . - Sunrise Library | AZ: Peoria - Sunrise Library | AZ
Beardsley WWTP - Trackers & East Canopy | AZ: Peoria - Beardsley WWTP | AZ | AEF
City of Peoria, . - DCS - Municipal Complex | AZ: Peoria - City Hall | AZ
City of Peoria, . - Pinnacle Peak | AZ: Peoria - Pinnacle Peak | AZ