## Year to Date
Greenbacker Capital |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 11287095.4432 | 12057670.9549 | -770575.5117 | -6.391% | 7707275.33 | 3579820.1132 | 46.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
10 Walpole Park South | MA | 28480.5 | 30150.152 | -1669.652 | -5.538% | 30894.78 | -2414.28 | -7.815%
15 Walpole Park South | MA | 99535.5 | 124192.25 | -24656.75 | -19.85% | 105340.49 | -5804.99 | -5.511%
19 Walpole Park South | MA | 59076.125 | 73197.7 | -14121.575 | -19.29% | 67768.36 | -8692.235 | -12.83%
23 Walpole Park South | MA | 76139 | 94797.78 | -18658.78 | -19.68% | 88133.96 | -11994.96 | -13.61%
24 Walpole Park South | MA | 120525.5 | 112494.58 | 8030.92 | 7.139% | 135652.04 | -15126.54 | -11.15%
25 Walpole Park South | MA | 115304.0628 | 140624.52 | -25320.4572 | -18.01% | 138033.84 | -22729.7772 | -16.47%
3 Walpole Park South | MA | 142878.6875 | 187677.3 | -44798.6125 | -23.87% | 161958.48 | -19079.7925 | -11.78%
4 Walpole Park South | MA | 86259.5 | 108634.01 | -22374.51 | -20.6% | 92343.57 | -6084.07 | -6.589%
Brockton | MA | 149376.5 | 153472.93 | -4096.43 | -2.669% | 153606.27 | -4229.77 | -2.754%
Canton | MA | 135542 | 167175.7 | -31633.7 | -18.92% | 147523.69 | -11981.69 | -8.122%
Chelsea | MA | 251627 | 284169.8 | -32542.8 | -11.45% | 247313.42 | 4313.58 | 1.744%
Hamilton Landfill | MA | 176669.6 | 278430 | -101760.4 | -36.55% | 0 | 176669.6
Holliston | MA | 329638 | 377648.67 | -48010.67 | -12.71% | 392025.68 | -62387.68 | -15.91%
Natick HS - Carports | MA | 105302.9 | 164122.85 | -58819.95 | -35.84% | 0 | 105302.9
Norton | MA | 0 | 0 | 0 |  | 0 | 0
Palmer - Boston Rd. | MA | 143516 | 164176.06 | -20660.06 | -12.58% | 177011 | -33495 | -18.92%
Shirley Bartkus | MA | 217882.5578 | 308199.7 | -90317.1422 | -29.3% | 240628 | -22745.4422 | -9.453%
Stoughton | MA | 171818 | 141376.62 | 30441.38 | 21.53% | 162931.05 | 8886.95 | 5.454%
Wellfleet Landfill | MA | 210714 | 196967.8 | 13746.2 | 6.979% | 0 | 210714
Wilmington Garage & Building 7 | MA | 182135.125 | 283219.88 | -101084.755 | -35.69% | 244076.21 | -61941.085 | -25.38%
Woburn | MA | 296544.5 | 483276.2 | -186731.7 | -38.64% | 345279.41 | -48734.91 | -14.11%
Friendship Solar 1 | MD | 905797 | 959345.1 | -53548.1 | -5.582% | 997729.3 | -91932.3 | -9.214%
Friendship Solar 2 | MD | 900552 | 985864.9 | -85312.9 | -8.654% | 1000565.5 | -100013.5 | -9.996%
101 Carnegie Center | NJ | 342707.354 | 416221.708 | -73514.354 | -17.66% | 0 | 342707.354
302 Carnegie Center | NJ | 152769.524 | 175506.75 | -22737.226 | -12.96% | 0 | 152769.524
510 Carnegie Center | NJ | 366376.853 | 450788.4 | -84411.547 | -18.73% | 0 | 366376.853
701 Carnegie Center | NJ | 295715.548 | 353851.2 | -58135.652 | -16.43% | 0 | 295715.548
Hudson County Correction | NJ | 382514.555 | 336163.78 | 46350.775 | 13.79% | 364717.01 | 17797.545 | 4.88%
ER Bison Solar | PA | 426729 | 0 | 426729 |  | 434940 | -8211 | -1.888%
Danville | IL | 788803.73 | 0 | 788803.73 |  | 0 | 788803.73
Camden - Campbell Soup HQ | NJ | 616249 | 971787.4149 | -355538.4149 | -36.59% | 1018009.01 | -401760.01 | -39.47%
Westport - Pine Hill | MA | 700840.3211 | 711236.4 | -10396.0789 | -1.462% | 960794.26 | -259953.9389 | -27.06%
Oaks Landfill - ANEM | MD | 764378.8 | 931117.2 | -166738.4 | -17.91% | 0 | 573344.3
Oaks Landfill - CS2 | MD | 765667.7 | 936388.9 | -170721.2 | -18.23% | 0 | 560672.3
Oaks Landfill - CS1 | MD | 779029 | 955394.7 | -176365.7 | -18.46% | 0 | 584094.9

## 1st Qtr
Greenbacker Capital |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 11287095.4432 | 12057670.9549 | -770575.5117 | -6.391% | 7707275.33 | 3579820.1132 | 46.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
10 Walpole Park South | MA | 28480.5 | 30150.152 | -1669.652 | -5.538% | 30894.78 | -2414.28 | -7.815%
15 Walpole Park South | MA | 99535.5 | 124192.25 | -24656.75 | -19.85% | 105340.49 | -5804.99 | -5.511%
19 Walpole Park South | MA | 59076.125 | 73197.7 | -14121.575 | -19.29% | 67768.36 | -8692.235 | -12.83%
23 Walpole Park South | MA | 76139 | 94797.78 | -18658.78 | -19.68% | 88133.96 | -11994.96 | -13.61%
24 Walpole Park South | MA | 120525.5 | 112494.58 | 8030.92 | 7.139% | 135652.04 | -15126.54 | -11.15%
25 Walpole Park South | MA | 115304.0628 | 140624.52 | -25320.4572 | -18.01% | 138033.84 | -22729.7772 | -16.47%
3 Walpole Park South | MA | 142878.6875 | 187677.3 | -44798.6125 | -23.87% | 161958.48 | -19079.7925 | -11.78%
4 Walpole Park South | MA | 86259.5 | 108634.01 | -22374.51 | -20.6% | 92343.57 | -6084.07 | -6.589%
Brockton | MA | 149376.5 | 153472.93 | -4096.43 | -2.669% | 153606.27 | -4229.77 | -2.754%
Canton | MA | 135542 | 167175.7 | -31633.7 | -18.92% | 147523.69 | -11981.69 | -8.122%
Chelsea | MA | 251627 | 284169.8 | -32542.8 | -11.45% | 247313.42 | 4313.58 | 1.744%
Hamilton Landfill | MA | 176669.6 | 278430 | -101760.4 | -36.55% | 0 | 176669.6
Holliston | MA | 329638 | 377648.67 | -48010.67 | -12.71% | 392025.68 | -62387.68 | -15.91%
Natick HS - Carports | MA | 105302.9 | 164122.85 | -58819.95 | -35.84% | 0 | 105302.9
Norton | MA | 0 | 0 | 0 |  | 0 | 0
Palmer - Boston Rd. | MA | 143516 | 164176.06 | -20660.06 | -12.58% | 177011 | -33495 | -18.92%
Shirley Bartkus | MA | 217882.5578 | 308199.7 | -90317.1422 | -29.3% | 240628 | -22745.4422 | -9.453%
Stoughton | MA | 171818 | 141376.62 | 30441.38 | 21.53% | 162931.05 | 8886.95 | 5.454%
Wellfleet Landfill | MA | 210714 | 196967.8 | 13746.2 | 6.979% | 0 | 210714
Wilmington Garage & Building 7 | MA | 182135.125 | 283219.88 | -101084.755 | -35.69% | 244076.21 | -61941.085 | -25.38%
Woburn | MA | 296544.5 | 483276.2 | -186731.7 | -38.64% | 345279.41 | -48734.91 | -14.11%
Friendship Solar 1 | MD | 905797 | 959345.1 | -53548.1 | -5.582% | 997729.3 | -91932.3 | -9.214%
Friendship Solar 2 | MD | 900552 | 985864.9 | -85312.9 | -8.654% | 1000565.5 | -100013.5 | -9.996%
101 Carnegie Center | NJ | 342707.354 | 416221.708 | -73514.354 | -17.66% | 0 | 342707.354
302 Carnegie Center | NJ | 152769.524 | 175506.75 | -22737.226 | -12.96% | 0 | 152769.524
510 Carnegie Center | NJ | 366376.853 | 450788.4 | -84411.547 | -18.73% | 0 | 366376.853
701 Carnegie Center | NJ | 295715.548 | 353851.2 | -58135.652 | -16.43% | 0 | 295715.548
Hudson County Correction | NJ | 382514.555 | 336163.78 | 46350.775 | 13.79% | 364717.01 | 17797.545 | 4.88%
ER Bison Solar | PA | 426729 | 0 | 426729 |  | 434940 | -8211 | -1.888%
Danville | IL | 788803.73 | 0 | 788803.73 |  | 0 | 788803.73
Camden - Campbell Soup HQ | NJ | 616249 | 971787.4149 | -355538.4149 | -36.59% | 1018009.01 | -401760.01 | -39.47%
Westport - Pine Hill | MA | 700840.3211 | 711236.4 | -10396.0789 | -1.462% | 960794.26 | -259953.9389 | -27.06%
Oaks Landfill - ANEM | MD | 764378.8 | 931117.2 | -166738.4 | -17.91% | 0 | 573344.3
Oaks Landfill - CS2 | MD | 765667.7 | 936388.9 | -170721.2 | -18.23% | 0 | 560672.3
Oaks Landfill - CS1 | MD | 779029 | 955394.7 | -176365.7 | -18.46% | 0 | 584094.9

## 2nd Qtr
Greenbacker Capital |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
10 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
15 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
19 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
23 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
24 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
25 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
3 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
4 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
Brockton | MA | 0 | 0 | 0 |  | 0 | 0
Canton | MA | 0 | 0 | 0 |  | 0 | 0
Chelsea | MA | 0 | 0 | 0 |  | 0 | 0
Hamilton Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Holliston | MA | 0 | 0 | 0 |  | 0 | 0
Natick HS - Carports | MA | 0 | 0 | 0 |  | 0 | 0
Norton | MA | 0 | 0 | 0 |  | 0 | 0
Palmer - Boston Rd. | MA | 0 | 0 | 0 |  | 0 | 0
Shirley Bartkus | MA | 0 | 0 | 0 |  | 0 | 0
Stoughton | MA | 0 | 0 | 0 |  | 0 | 0
Wellfleet Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Wilmington Garage & Building 7 | MA | 0 | 0 | 0 |  | 0 | 0
Woburn | MA | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 1 | MD | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 2 | MD | 0 | 0 | 0 |  | 0 | 0
101 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
302 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
510 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
701 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
Hudson County Correction | NJ | 0 | 0 | 0 |  | 0 | 0
ER Bison Solar | PA | 0 | 0 | 0 |  | 0 | 0
Danville | IL | 0 | 0 | 0 |  | 0 | 0
Camden - Campbell Soup HQ | NJ | 0 | 0 | 0 |  | 0 | 0
Westport - Pine Hill | MA | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - ANEM | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS2 | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS1 | MD | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Greenbacker Capital |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
10 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
15 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
19 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
23 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
24 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
25 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
3 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
4 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
Brockton | MA | 0 | 0 | 0 |  | 0 | 0
Canton | MA | 0 | 0 | 0 |  | 0 | 0
Chelsea | MA | 0 | 0 | 0 |  | 0 | 0
Hamilton Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Holliston | MA | 0 | 0 | 0 |  | 0 | 0
Natick HS - Carports | MA | 0 | 0 | 0 |  | 0 | 0
Norton | MA | 0 | 0 | 0 |  | 0 | 0
Palmer - Boston Rd. | MA | 0 | 0 | 0 |  | 0 | 0
Shirley Bartkus | MA | 0 | 0 | 0 |  | 0 | 0
Stoughton | MA | 0 | 0 | 0 |  | 0 | 0
Wellfleet Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Wilmington Garage & Building 7 | MA | 0 | 0 | 0 |  | 0 | 0
Woburn | MA | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 1 | MD | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 2 | MD | 0 | 0 | 0 |  | 0 | 0
101 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
302 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
510 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
701 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
Hudson County Correction | NJ | 0 | 0 | 0 |  | 0 | 0
ER Bison Solar | PA | 0 | 0 | 0 |  | 0 | 0
Danville | IL | 0 | 0 | 0 |  | 0 | 0
Camden - Campbell Soup HQ | NJ | 0 | 0 | 0 |  | 0 | 0
Westport - Pine Hill | MA | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - ANEM | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS2 | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS1 | MD | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Greenbacker Capital |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
10 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
15 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
19 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
23 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
24 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
25 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
3 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
4 Walpole Park South | MA | 0 | 0 | 0 |  | 0 | 0
Brockton | MA | 0 | 0 | 0 |  | 0 | 0
Canton | MA | 0 | 0 | 0 |  | 0 | 0
Chelsea | MA | 0 | 0 | 0 |  | 0 | 0
Hamilton Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Holliston | MA | 0 | 0 | 0 |  | 0 | 0
Natick HS - Carports | MA | 0 | 0 | 0 |  | 0 | 0
Norton | MA | 0 | 0 | 0 |  | 0 | 0
Palmer - Boston Rd. | MA | 0 | 0 | 0 |  | 0 | 0
Shirley Bartkus | MA | 0 | 0 | 0 |  | 0 | 0
Stoughton | MA | 0 | 0 | 0 |  | 0 | 0
Wellfleet Landfill | MA | 0 | 0 | 0 |  | 0 | 0
Wilmington Garage & Building 7 | MA | 0 | 0 | 0 |  | 0 | 0
Woburn | MA | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 1 | MD | 0 | 0 | 0 |  | 0 | 0
Friendship Solar 2 | MD | 0 | 0 | 0 |  | 0 | 0
101 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
302 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
510 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
701 Carnegie Center | NJ | 0 | 0 | 0 |  | 0 | 0
Hudson County Correction | NJ | 0 | 0 | 0 |  | 0 | 0
ER Bison Solar | PA | 0 | 0 | 0 |  | 0 | 0
Danville | IL | 0 | 0 | 0 |  | 0 | 0
Camden - Campbell Soup HQ | NJ | 0 | 0 | 0 |  | 0 | 0
Westport - Pine Hill | MA | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - ANEM | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS2 | MD | 0 | 0 | 0 |  | 0 | 0
Oaks Landfill - CS1 | MD | 0 | 0 | 0 |  | 0 | 0

## Jan
Greenbacker Capital |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 2570856.9448 | 3159610.8919 | -588753.9471 | -18.63% | 1580526.447 | 990330.4978 | 62.66% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA | 6082.5625 | 6594.437 | -511.8745 | -7.762% | 6789.067 | -706.5045 | -10.41% | 1. Site production was low due to rain/ snow.
15 Walpole Park South | MA | 22096 | 34986.43 | -12890.43 | -36.84% | 21495.47 | 600.53 | 2.794% | 1. Site production was low due to rain/ snow.
19 Walpole Park South | MA | 12286.625 | 18535.3 | -6248.675 | -33.71% | 14377.87 | -2091.245 | -14.54% | 1. Site production was low due to rain/ snow.
23 Walpole Park South | MA | 17017.5 | 24815.12 | -7797.62 | -31.42% | 18470.54 | -1453.04 | -7.867% | 1.Inverter 1&3 tripped offline at 12:45PM on 01/04 due to Grid Line Voltage Out of Range fault and back online at 11:45AM on 01/06 after technician re-energised, Inverter 2 stopped communicating at 12:30PM from 01/04, upon technician arrival he found inverter 2 was also offline and is being RMA'd. | 1.SR095312
24 Walpole Park South | MA | 23711.25 | 19088.14 | 4623.11 | 24.22% | 28498.52 | -4787.27 | -16.8% | 1.Inverter 10 tripped offline from 06/18/24 due to Relay fault - Fault0100 and is being RMA'd. 2.Inverter 8 was offline on 01/18 and back online on 01/19. 3.Site was taken offline from 09:15AM to 10:15AM on 01/13 due to technicians checked-in to replace the SEL751a relay battery. | 1.SR089997 2.SR095693 3.SR094233 | SR095693 | SR094233
25 Walpole Park South | MA | 24218 | 32717.42 | -8499.42 | -25.98% | 28984.84 | -4766.84 | -16.45% | 1.Inverter 13 was RMA'd since 08/20/24 due to thermal event in powerhead of the inverter. | 1.SR089170, SR095220 | SR095220
3 Walpole Park South | MA | 32137.6875 | 51986.12 | -19848.4325 | -38.18% | 34626.19 | -2488.5025 | -7.187% | 1.Inverter 9 was offline from 11/02/24 due to Protect 0010 fault and is being RMA'd . 2.The site was taken offline at 10:30 AM on 01/22 as the technician checked in to replace the SEL 751 UPS battery cluster and site was brought back online at 14:30 on 01/23. | 1.SR089564, SR093404 2.SR093406 | SR093404 | SR093406
4 Walpole Park South | MA | 18926.5 | 30719.42 | -11792.92 | -38.39% | 19589.08 | -662.58 | -3.382% | 1. Site production was low due to rain/ snow.
Brockton | MA | 35242.5 | 41958.95 | -6716.45 | -16.01% | 35711.3 | -468.8 | -1.313% | 1. Site production was low due to rain/ snow.
Canton | MA | 30237.25 | 44905.17 | -14667.92 | -32.66% | 30749.97 | -512.72 | -1.667% | 1. Site production was low due to rain/ snow.
Chelsea | MA | 66681 | 78143.31 | -11462.31 | -14.67% | 54727.88 | 11953.12 | 21.84% | 1.Inverter B3 is being RMA'd from 12/19/24. 2.Site was taken offfline from 08:30AM to 11:00AM on 01/13 due to technicians checked-in to examine Transformer-1. 3.Inverter C1 tripped offline at 9AM on 01/03 due to Bus hardware overvoltage fault and back online on 01/04, Inverter C1 failed to restart post transformer inspection and was faulted with a "Fault 0020" fault code and after technician powercycled, inverter resumed its production. 4.Inverters C6 & D5 tripped offline at 14:30 on 01/18 due to Steady state GFCI fault and self-resolved on 01/19. 5.Inverter C6 tripped offline at 12:15PM on 01/31. | 1.SR093500 2.SR094025 3.SR094028, SR095517 4.SR095697 5.SR096199 | SR094025 | SR094028 | SR095517 | SR095697 | SR096199
Hamilton Landfill | MA | 39385.7 | 87354.4 | -47968.7 | -54.91% | 0 | 39385.7 |  | 1. Site production was low due to rain/ snow.
Holliston | MA | 79918 | 88133.87 | -8215.87 | -9.322% | 84310.38 | -4392.38 | -5.21% | 1.Inverter 2 right unit has multiple tripping events throughout the month due to low irradiance days. | 1.SR095300, SR095690 | SR095690
Natick HS - Carports | MA | 23101.5 | 43562.15 | -20460.65 | -46.97% | 0 | 23101.5 |  | 1. Site production was low due to rain/ snow.
Norton | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site tripped offline on 04/01/24 at 16:00 and still offline. Ameresco received a Scope of Work to conduct repairs on the existing system to prepare it safely for partial re-energization. | 1.SR092249,SR093403 & SR096031 | SR093403 | SR096031
Palmer - Boston Rd. | MA | 34752 | 49692.76 | -14940.76 | -30.07% | 45090 | -10338 | -22.93% | 1.The site tripped offline at 22:54 on 01/29 due to an open SEL relay caused by a utility power under-voltage loss. It was brought back online at 13:30 on 01/30 after the technician closed the relay and re-energized the site. | 1.SR096132
Shirley Bartkus | MA | 52517.5578 | 87390.5 | -34872.9422 | -39.9% | 65151 | -12633.4422 | -19.39% | 1. Inverter 34 tripped offline at 03:15 PM on 01/02 and was RMA'd. The technician brought it back online at 01:45 PM on 01/09 by replacing the inverter. 2. Inverter 12 started late for production on 01/04 and 01/05 and went offline on 01/06. On 01/07, technicians confirmed that the inverter had been RMA'd and brought it back online at 02:15 PM on 01/10 by replacing it with a new one. 3. Site tripped offline at 02:24 AM on 01/22 due to a missing Phase A voltage. The technician brought it back online at 08:27 AM on 01/22 by re-energizing the site. 4.Inverter 27 has been offline since 09/05/2024 and is currently being RMA'd. | 1.SR095279 2.SR095309,SR095058 3.SR095843 4.SR089983 | SR095309 | SR095058 | SR095843 | SR089983
Stoughton | MA | 42082 | 42134.57 | -52.57 | -0.1248% | 35429.71 | 6652.29 | 18.78%
Wellfleet Landfill | MA | 37109.9 | 40845.2 | -3735.3 | -9.145% | 0 | 37109.9 |  | 1. Inverters 11 and 12 tripped offline at 09:15 AM on 01/11 due to a generic inverter fault and came back online at 09:00 AM on 01/23. | 1. SR095497
Wilmington Garage & Building 7 | MA | 40128.75 | 74682.38 | -34553.63 | -46.27% | 51215.54 | -11086.79 | -21.65% | 1. Inverter 12 has been RMA'D and offline. 2.Due to snow event, the site has performed very low on 01/11 to 01/30 | 1.SR094678 2.SR096154 | SR096154
Woburn | MA | 70710.5 | 143603 | -72892.5 | -50.76% | 69288.01 | 1422.49 | 2.053% | 1.Inverter 17 is offline since 12/25/2024 due to reporting ARC Protection Fault and technician broought it back online at 08:15AM on 01/06 . 2.Inverter 2 tripped offline on 01/13 and is being RMA'd. The technician stated that the inverters are showing fault codes related to bus overvoltage and arc faults. 3.Inverter 17 tripped offline at 08:45 AM on 01/14, reporting an ARC protection fault. The technician brought it back online at 02:15 PM by clearing the faults. 4.Inverter 3 tripped offline at 07:54 AM on 01/15, reporting an ARC protection fault. The technician brought it back online at 09:00 AM on 01/16 by clearing the fault. 5.Inverter 17 tripped offline at 07:49 AM on 01/16, reporting an ARC protection fault. The technician brought it back online at 01:00 PM by clearing the faults. 6.Inverter 27 tripped offline at 07:46 AM on 01/25 due to an ARC protection fault. The technician brought it back online at 09:45 AM on 01/27 by clearing the fault. | 1.SR095079 2.SR095518 3.SR095538 4.SR095579 5.SR095616 6.SR095972 | SR095518 | SR095538 | SR095579 | SR095616 | SR095972
Friendship Solar 1 | MD | 249779 | 269841.3 | -20062.3 | -7.435% | 251554.7 | -1775.7 | -0.7059% | 1.Inverters 1 to 8 are underperforming by 10KW possibly due to seasonal shading. | 1.SR092108
Friendship Solar 2 | MD | 244225 | 284533.5 | -40308.5 | -14.17% | 248916.6 | -4691.6 | -1.885% | 1. Site production was low due to rain/ snow.
101 Carnegie Center | NJ | 67113.5 | 112416 | -45302.5 | -40.3% | 0 | 67113.5 |  | 1. Inverter 19 tripped offline at 12:30PM on 01/ 11 and back online at 07:00AM on 01/12 due to Generic inverter fault. 2. Inverter 02 tripped offline at 10:45 AM on 01/17 and back online at 07:00 AM on 01/18. Additionally, Inverters 2, 18, and 19 tripped offline at 12:45 PM on 01/18 and back online at 07:00 AM on 01/19 due to a generic fault. | 1. SR095495 2. SR095674 | SR095674
302 Carnegie Center | NJ | 32360.8 | 47003.55 | -14642.75 | -31.15% | 0 | 32360.8 |  | 1. Site production was low due to rain/ snow.
510 Carnegie Center | NJ | 66360.4 | 119861.4 | -53501 | -44.64% | 0 | 66360.4 |  | 1. Inverters 2, 5, 6, 12, and 24 tripped offline at 11:45 AM on 01/11 and back online at 07:00 AM on 01/12. Again, Inverters 1, 2, 5, 6, and 24 tripped offline at 10:30 AM on 01/17 and back online at 07:00 AM on 01/18. Then, Inverters 1, 2, 5, 6, 9, 12, 14, 15, and 24 tripped offline at 12:30 PM on 01/18 and back online at 07:00 AM on 01/19. Lastly, Inverters 2, 5, 6, and 24 tripped offline at 08:15 AM on 01/31 due to a "Generic Inverter Fault. | 1. SR095494
701 Carnegie Center | NJ | 61625.285 | 91246.2 | -29620.915 | -32.46% | 0 | 61625.285 |  | 1. Site production was low due to rain/ snow.
Hudson County Correction | NJ | 85632.077 | 85344.2 | 287.877 | 0.3373% | 86957.91 | -1325.833 | -1.525%
ER Bison Solar | PA | 93337 | 0 | 93337 |  | 100651 | -7314 | -7.267% | 1. Inverter 2 tripped offline at 11:45 AM on 01/07 and back online at 09:15 AM on 01/21. It tripped offline again at 12:15 PM on 01/23 and back online at 10:00 AM on 01/24 due to the grid line voltage over limit fault & broken module and is being RMA'd. | 1. SR095360, SR092627, SR095903 | SR092627 | SR095903
Danville | IL | 235052.1 | 0 | 235052.1 |  | 0 | 235052.1
Camden - Campbell Soup HQ | NJ | 136065 | 211584.3949 | -75519.3949 | -35.69% | 247940.87 | -111875.87 | -45.12% | 1. Meter MTRO1 has no communicatuion whole month due to an faulty meter. Additional troubleshooting is required. The actual energy which we updated was addition of four meters. 2. On 01/27/25, during a PM event, the technician identified 8 faulty modules on the CTC roof that needed replacement. 3. On 01/02 technician was onsite replaced powerhead and communication card for inverters 66 and 67 and they started reporting. 4. Inverter 4-1 was offline since 12/30/24 due to an faulty combiner box. Working with SMA for replacement. | 1. SR094890, SR094283 2. SR095761, PM11788. 3. SR094889 4. SR095199 | SR094283 | SR095761 | SR094889 | SR095199
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD | 191034.5 | 295011.1 | -103976.6 | -35.24% | 0 |  |  | 1. Inverter C02 didn't started for production and remained offline whole day. On 01/10 technician powercycled and inverter back online at 11:40AM. However inverter again tripped offline at 14:55 on the same day. On 01/23 technician replaced contactors and inverter back online at 11:35AM. | 1. SR095429
Oaks Landfill - CS2 | MD | 204995.4 | 297441.8 | -92446.4 | -31.08% | 0 |  |  | 1. Inverter B8 didn't started for production and after a remote reset inverter back online at 10:40AM on 01/16. However on 01/21 inverter again not started and remained offline whole day. On 01/22 technician troubleshooted and brought inverter back online at 10:40AM. | 1. SR095620
Oaks Landfill - CS1 | MD | 194934.1 | 303478.8 | -108544.7 | -35.77% | 0 |  |  | 1. Site production was low due to rain/ snow.

## Feb
Greenbacker Capital |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 3016821.2016 | 3451366.027 | -434544.8254 | -12.59% | 2547649.923 | 469171.2786 | 18.42%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA | 6516.625 | 9844.495 | -3327.87 | -33.8% | 9440.373 | -2923.748 | -30.97% | 1. Site production was low due to rain/ snow.
15 Walpole Park South | MA | 21837.25 | 36784.89 | -14947.64 | -40.64% | 32560.05 | -10722.8 | -32.93% | 1. Site production was low due to rain/ snow.
19 Walpole Park South | MA | 12228.625 | 22549.93 | -10321.305 | -45.77% | 20740.84 | -8512.215 | -41.04% | 1. Site production was low due to rain/ snow.
23 Walpole Park South | MA | 16135.25 | 28847.06 | -12711.81 | -44.07% | 26843.33 | -10708.08 | -39.89% | 1.Inverter 2 was being RMA'D and offline since 01/04. 2. Site production was low due to rain/ snow. | 1.SR095312
24 Walpole Park South | MA | 26878.5 | 36446.02 | -9567.52 | -26.25% | 41222.64 | -14344.14 | -34.8% | 1.Inverter 10 has been offline since 06/18/24 due to a relay fault (Fault0100) and is being RMA'd. Upon the technician's arrival on 02/26, the inverter was brought back online at 11:00 AM by replacing the old inverter with a new one. 2. Site production was low due to rain/ snow. | 1.SR089997
25 Walpole Park South | MA | 26057.5 | 44560.8 | -18503.3 | -41.52% | 42155.98 | -16098.48 | -38.19% | 1.Inverter 13 was RMA'd since 08/20/24 due to thermal event in powerhead of the inverter. 2. Site production was low due to rain/ snow. | 1.SR089170, SR095220 | SR095220
3 Walpole Park South | MA | 29594.5 | 56389.79 | -26795.29 | -47.52% | 49000.49 | -19405.99 | -39.6% | 1.Inverter 9 was offline from 11/02/24 due to Protect 0010 fault and is being RMA'd 2. Site production was low due to rain/ snow. | 1.SR089564, SR093404 | SR093404
4 Walpole Park South | MA | 18725 | 32601.8 | -13876.8 | -42.56% | 28311.4 | -9586.4 | -33.86% | 1. Site production was low due to rain/ snow.
Brockton | MA | 40084 | 46732.03 | -6648.03 | -14.23% | 45176.38 | -5092.38 | -11.27% | 1. Site production was low due to rain/ snow.
Canton | MA | 30642 | 51143.48 | -20501.48 | -40.09% | 47910.52 | -17268.52 | -36.04% | 1. Site production was low due to rain/ snow.
Chelsea | MA | 57572 | 85329.99 | -27757.99 | -32.53% | 76722.24 | -19150.24 | -24.96% | 1.Inverter C6 tripped offline at 12:15PM on 01/31 and back online at 07:00AM on 02/01. 2..Inverter B3 is being RMA'd from 12/19/24. | 1.SR096199 2.SR093500 | SR093500
Hamilton Landfill | MA | 37244.9 | 84502.5 | -47257.6 | -55.92% | 0 | 37244.9 |  | 1.The site was in battery mode at 11:00 PM on 01/31. On 02/01, upon the technician's arrival, the site was re-energized and brought back online at 10:45 AM on 02/01. 2. Site production was low due to rain/ snow. | 1.SR096206
Holliston | MA | 58828 | 110053.2 | -51225.2 | -46.55% | 122550.9 | -63722.9 | -52% | 1.Inverter 6 middle unit tripped at 02:45PM reporting DC Isolation fault and back online at 07:15AM on 02/08. | 1.SR096522
Natick HS - Carports | MA | 20164.9 | 49332.8 | -29167.9 | -59.12% | 0 | 20164.9 |  | 1. Site production was low due to rain/ snow.
Norton | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site tripped offline on 04/01/24 at 16:00 and still offline. Ameresco received a Scope of Work to conduct repairs on the existing system to prepare it safely for partial re-energization. | 1.SR096031, SR093403 | SR093403
Palmer - Boston Rd. | MA | 44869.5 | 50040.7 | -5171.2 | -10.33% | 62743 | -17873.5 | -28.49% | 1. Site production was low due to rain/ snow.
Shirley Bartkus | MA | 47532.5 | 102227.3 | -54694.8 | -53.5% | 77292 | -29759.5 | -38.5% | 1.Inverter 27 has been offline since 09/05/2024 and is currently being RMA'd. 2. 1. Site production was low due to rain/ snow. | 1.SR089983
Stoughton | MA | 40713.5 | 44340.04 | -3626.54 | -8.179% | 49251.51 | -8538.01 | -17.34% | 1. Site production was low due to rain/ snow.
Wellfleet Landfill | MA | 70649.4 | 63196.6 | 7452.8 | 11.79% | 0 | 70649.4
Wilmington Garage & Building 7 | MA | 24053.5 | 86845 | -62791.5 | -72.3% | 78334.27 | -54280.77 | -69.29% | 1.Inverter 12 has been RMA'D and offline. 2. Site production was low due to rain/ snow. | 1.SR094678
Woburn | MA | 42553 | 149835.2 | -107282.2 | -71.6% | 111577.8 | -69024.8 | -61.86% | 1.Inverter 2 came back online at 10:15 on 02/24 after the technician replaced the faulty powerhead. 2. Site tripped offline at 09:45 on 02/17/25. On 02/18, the technician reset the SEL relay and re-energized the site at 09:15. 3. Site production was low due to rain/ snow. | 1. SR095518 2. SR097183 | SR097183
Friendship Solar 1 | MD | 252166 | 261838.7 | -9672.7 | -3.694% | 309128.4 | -56962.4 | -18.43% | 1. Inverter 4 tripped offline at 15:45 on 02/16/25 and self resolved at 07:00 on 02/17/25 | 1.SR097175
Friendship Solar 2 | MD | 251622 | 269520.3 | -17898.3 | -6.641% | 320858.4 | -69236.4 | -21.58% | 1. Site production was low due to rain/ snow.
101 Carnegie Center | NJ | 100716.62 | 116147.902 | -15431.282 | -13.29% | 0 | 100716.62 |  | 1. Inverter 19 tripped offline at 09:15 on 02/ 06 and back online at 07:00AM on 02/07 due to Generic inverter fault. 2. On 01/15/25, the technician found a faulty module in Inverter 8 string 8-9 during string testing, requiring replacement. 3. Inverters 14, 15, 18, 19 & 21 are tripped offline at 07:45 on 02/26/25 due to a "Generic Inverter Fault"and the technician adjusted the GFCI parameters, bringing them back online at 15:15 the same day. | 1. SR095495 2. SR095573 3. SR095674 | SR095573 | SR095674
302 Carnegie Center | NJ | 44694.589 | 48280.5 | -3585.911 | -7.427% | 0 | 44694.589
510 Carnegie Center | NJ | 109429.522 | 125043.8 | -15614.278 | -12.49% | 0 | 109429.522 |  | 1. Inverters 2, 5, 6, and 24 tripped offline at 08:15 AM on 01/31 due to a "Generic Inverter Fault" and self-resolved on 02/01. Inverters 2 and 24 tripped again at 10:30 on 02/03 and came back online on 02/04. Inverters 2, 5, and 24 tripped at 11:10 on 02/09 and self-resolved on 02/10. On 02/26, Inverters 1, 2, 5, and 14 went offline, and the technician adjusted the GFCI parameters, bringing them back online at 13:15 the same day. | 1. SR095494
701 Carnegie Center | NJ | 85922.263 | 98223 | -12300.737 | -12.52% | 0 | 85922.263 |  | 1. Inverter 4 & 6 tripped offline at 10:45 on 02/27/25 due to an Generic inverter fault. on 02/28, the technician adjusted the parametres and brought back online at 07:00 the same day. | 1. SR097872
Hudson County Correction | NJ | 112037.289 | 99361.98 | 12675.309 | 12.76% | 104683.2 | 7354.089 | 7.025%
ER Bison Solar | PA | 123697 | 0 | 123697 |  | 138798 | -15101 | -10.88% | 1. Site production was low due to rain/ snow.
Danville | IL | 245073.86 | 0 | 245073.86 |  | 0 | 245073.86
Camden - Campbell Soup HQ | NJ | 176271 | 288404.22 | -112133.22 | -38.88% | 330103.7 | -153832.7 | -46.6% | 1. Meter MTRO1 has no communicatuion whole month due to an faulty meter. On 03/10 technican troubleshooted but didnot worked. Meter require replacement. 2. Inverter 4-1 was offline since 12/30/24 due to an faulty combiner box. On 02/03/25, the technician replaced faulty onces with new CB and site brought back online at 07:27 on 02/04. 3. On 01/27/25, during a PM event, the technician identified 8 faulty modules on the CTC roof that needed replacement. 4. On 01/15/25, during a PM event , the technician identified faulty positive DC terminal at Inverter 7-5 and additional troubleshooting is required to restore power. 5. Numerous inverters in the BNB Camden site do not communicate to PowerFactors. Many appear to be duplicates. | 1. SR093773, SR094890 2. SR095199 3. SR095761, PM11788, SR096555 4. SR096557, SR096558, PM11794 5. SR097964 | SR094890 | SR095199 | SR095761 | SR096555 | SR096557 | SR096558 | SR097964
Westport - Pine Hill | MA | 149810.5086 | 177997.7 | -28187.1914 | -15.84% | 422244.5 | -272433.9914 | -64.52% | 1. Site was offline due to faulty utility recloser from 12:30 on 02/17/25 and Eversource Tech was able to close the recloser, site is back online at 15:30 on 02/25/25. | 1. SR097196, SR097608 | SR097608
Oaks Landfill - ANEM | MD | 227626.1 | 255454.2 | -27828.1 | -10.89% | 0 | 227626.1 |  | 1. Site production was low due to rain/ snow.
Oaks Landfill - CS2 | MD | 232986.3 | 257135.7 | -24149.4 | -9.392% | 0 | 232986.3 |  | 1. Inverter B08 experienced late started issue throughout the month and on 02/28 technician troubleshooted but didn't work and inverter IGBT on phase A was being RMA'd. | 1. SR096221
Oaks Landfill - CS1 | MD | 231887.7 | 262354.4 | -30466.7 | -11.61% | 0 | 231887.7 |  | 1. Site production was low due to rain/ snow.

## Mar
Greenbacker Capital |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 5699417.2968 | 5446694.036 | 252723.2608 | 4.64% | 3579098.96 | 2120318.3368 | 59.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA | 15881.3125 | 13711.22 | 2170.0925 | 15.83% | 14665.34 | 1215.9725 | 8.291%
15 Walpole Park South | MA | 55602.25 | 52420.93 | 3181.32 | 6.069% | 51284.97 | 4317.28 | 8.418% | 1.The weather station equipment on the DAS is showing some odd readings | 1.SR070225
19 Walpole Park South | MA | 34560.875 | 32112.47 | 2448.405 | 7.624% | 32649.65 | 1911.225 | 5.854%
23 Walpole Park South | MA | 42986.25 | 41135.6 | 1850.65 | 4.499% | 42820.09 | 166.16 | 0.388% | 1.Inverter 2 was being RMA'D and offline since 01/04. | 1.SR095312
24 Walpole Park South | MA | 69935.75 | 56960.42 | 12975.33 | 22.78% | 65930.88 | 4004.87 | 6.074%
25 Walpole Park South | MA | 65028.5628 | 63346.3 | 1682.2628 | 2.656% | 66893.02 | -1864.4572 | -2.787% | 1.Inverter 13 was RMA'd since 08/20/24 due to thermal event in powerhead of the inverter. | 1.SR095220,SR089170 | SR089170
3 Walpole Park South | MA | 81146.5 | 79301.39 | 1845.11 | 2.327% | 78331.8 | 2814.7 | 3.593% | 1.Inverter 9 was offline from 11/02/24 due to Protect 0010 fault and is being RMA'd . | 1.SR089564, SR093404 | SR093404
4 Walpole Park South | MA | 48608 | 45312.79 | 3295.21 | 7.272% | 44443.09 | 4164.91 | 9.371%
Brockton | MA | 74050 | 64781.95 | 9268.05 | 14.31% | 72718.59 | 1331.41 | 1.831% | 1.The site tripped offline at 04:00 AM on 03/07. Upon the technician's arrival on the same day, it was found that the main breaker had tripped. The site was brought back online at 09:00 AM on 03/07 by closing the main breaker. 2.The site tripped offline at 07:15 AM on 03/09. Upon the technician's arrival on the same day, it was found that the main breaker was open. The site was brought back online at 03:15 PM on 03/09 by closing the main breaker. 3.Inverter 6 tripped offline at 16:30 on 03/11 and reporting an 'Error.' Upon the technician's arrival on 03/12, he re-energized the inverter and brought it back online at 12:45 on 03/12 and the inverter is running with two strings down. 4.Inverter 6 is underperforming by 6KW. | 1.SR098239 2.SR098314 3.SR098404 4.SR099133 | SR098314 | SR098404 | SR099133
Canton | MA | 74662.75 | 71127.05 | 3535.7 | 4.971% | 68863.2 | 5799.55 | 8.422% | 1. Inverter 3 tripped offline at 15:45 on 03/10 due to an ARC fault. Upon the technician's arrival, he cleared the fault and brought it back online at 11:45 on 03/12. | 1.SR098378
Chelsea | MA | 127374 | 120696.5 | 6677.5 | 5.532% | 115863.3 | 11510.7 | 9.935% | 1.The Inverter B3 is being RMA'd since 12/19/24, awaiting Greenbeckers' response to proceed with the replacement of the inverter. | 1.SR093500
Hamilton Landfill | MA | 100039 | 106573.1 | -6534.1 | -6.131% | 0 | 100039
Holliston | MA | 190892 | 179461.6 | 11430.4 | 6.369% | 185164.4 | 5727.6 | 3.093% | 1.Inverter 11 middle unit tripped offline at 13:15 on 03/10, Upon technicians arrival on 03/12 brought it back online at 09:00. 2.Inverter 6 left unit tripped offline at 14:00 on 03/08 ,Upon technicians arrival on 03/12 brought it back online at 08:00. 3.Inverter 1 right unit was underperforming by 15KW from 02/28. | 1.SR098367 2.SR098369 3.SR099134 | SR098369 | SR099134
Natick HS - Carports | MA | 62036.5 | 71227.9 | -9191.4 | -12.9% | 0 | 62036.5 |  | 1. Site production was low on 03/05, 03/16, 03/17 and 03/24 due to bad weather.
Norton | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site tripped offline on 04/01/24 at 16:00 and still offline. Ameresco received a Scope of Work to conduct repairs on the existing system to prepare it safely for partial re-energization. | 1.SR096031, SR093403, SR097902, SR098208, SR099015 | SR093403 | SR097902 | SR098208 | SR099015
Palmer - Boston Rd. | MA | 63894.5 | 64442.6 | -548.1 | -0.8505% | 69178 | -5283.5 | -7.638% | 1. The site was offline at 3:00 AM on 03/07 due to the SEL relay being in the open position. After the technician reset the SEL relay, the site came back online at 10:15 AM on 03/08. | 1. SR098246
Shirley Bartkus | MA | 117832.5 | 118581.9 | -749.4 | -0.632% | 98185 | 19647.5 | 20.01% | 1.The site was offline at 10:30 AM to 2:15 PM on 03/07, but it later self-resolved. | 1. SR098268
Stoughton | MA | 89022.5 | 54902.01 | 34120.49 | 62.15% | 78249.83 | 10772.67 | 13.77% | 1. Inverter 7 was offline on multiple days on 03/21, 03/24, and 03/30, due to a bus differential high fault. | 1. SR098865
Wellfleet Landfill | MA | 102954.7 | 92926 | 10028.7 | 10.79% | 0 | 102954.7
Wilmington Garage & Building 7 | MA | 117952.875 | 121692.5 | -3739.625 | -3.073% | 114526.4 | 3426.475 | 2.992% | 1.Inverter 12 has been RMA'D and offline,Awaiting for the Greenbackers approval for the replacement of new inverter. | 1.SR094678
Woburn | MA | 183281 | 189838 | -6557 | -3.454% | 164413.6 | 18867.4 | 11.48%
Friendship Solar 1 | MD | 403852 | 427665.1 | -23813.1 | -5.568% | 437046.2 | -33194.2 | -7.595%
Friendship Solar 2 | MD | 404705 | 431811.1 | -27106.1 | -6.277% | 430790.5 | -26085.5 | -6.055%
101 Carnegie Center | NJ | 174877.234 | 187657.806 | -12780.572 | -6.811% | 0 | 174877.234 |  | 1.Inverter 8 was taken offline by technicians on 03/12 from 13:00 to 13:30 to replace a module in Inverter 8's array. | 1.SR095573
302 Carnegie Center | NJ | 75714.135 | 80222.7 | -4508.565 | -5.62% | 0 | 75714.135 |  | 1.Site was taken offline from 07:00 to 10:30 on 03/15 due to a planned outage. After the outage was completed, the site was re-energized. | 1.SR097601
510 Carnegie Center | NJ | 190586.931 | 205883.2 | -15296.269 | -7.43% | 0 | 190586.931 |  | 1.Site was offline from 22:15 on 03/15 to 07:00 on 03/16 | 1.SR098621
701 Carnegie Center | NJ | 148168 | 164382 | -16214 | -9.864% | 0 | 148168
Hudson County Correction | NJ | 184845.189 | 151457.6 | 33387.589 | 22.04% | 173075.9 | 11769.289 | 6.8% | 1.Inverter 3 was offline from 03/17 due to isolation fault.On 03/19,a technician was able to troubleshoot inverter 3 and it is back online producing on site, however the communication board has been RMA'd and mentioned that inverter 3 will not have communication until the board is replaced. | 1.SR098681
ER Bison Solar | PA | 209695 | 0 | 209695 |  | 195491 | 14204 | 7.266% | 1. Inverter 02 tripped offline at 14:15 on 03/10 due to out of range grid line voltage. On 03/11, a technician found DC voltage present but no AC voltage due to a tripped breaker. After resetting it, the inverter was back online and producing at 10:35 AM 2. Inverter 10 &11 tripped offline at 15:55 on 03/25 due to out of range grid line voltage.And Both the inverters are back online at 17:06 EDT on 03/25. | 1.SR098348 2.SR098978 | SR098978
Danville | IL | 308677.77 | 0 | 308677.77 |  | 0 | 308677.77 |  | 1.Site was offline from 02:35 PM on 03/28 to 01:30 PM on 03/29 due to an utility outage. | 1.SR099112
Camden - Campbell Soup HQ | NJ | 303913 | 471798.8 | -167885.8 | -35.58% | 439964.44 | -136051.44 | -30.92% | 1. Meter MTRO1 has no communicatuion whole month due to an faulty meter. it's needed to be replaced and additional troubleshooting is required to restore communications. 2. On 01/27/25, during a PM event, the technician identified 8 faulty modules on the CTC roof that needed replacement. 3. On 01/15/25, during a PM event , the technician identified faulty positive DC terminal at Inverter 7-5. On 03/10 technician visited the site and Wirebox being RMA'd. Further troubleshoot needed. 4. Several inverters at BNB Camden aren't communicating with PowerFactors, with many duplicates. On 03/10, a technician found comms issues, rewired inverters into a daisy chain, and confirmed comms. Only inverter 02-02 required an RMA'd comm board. Remote access to the CTC roof cell modem was confirmed with Zoë from Greenbacker. A return visit is needed once the RMA'd comm board arrives. | 1. SR093773, SR094890 2. SR095761, PM11788, SR096555 3. SR096557, SR096558, PM11794 4. SR097964 | SR094890 | SR095761 | SR096555 | SR096557 | SR096558 | SR097964
Westport - Pine Hill | MA | 551029.8125 | 533238.7 | 17791.1125 | 3.336% | 538549.76 | 12480.0525 | 2.317%
Oaks Landfill - ANEM | MD | 345718.2 | 380651.9 | -34933.7 | -9.177% | 0 | 345718.2
Oaks Landfill - CS2 | MD | 327686 | 381811.4 | -54125.4 | -14.18% | 0 | 327686 |  | 1.Inverter 8 has been RMA'd since 02/28 and will remain offline.On 03/12, a technician replaced the Phase A IGBT, but the fault remained. On 03/28, a technician replaced the DSP and IF boards but the issue persisted. Technician has reached out to Solectria for assistance, and they confirmed IGBT on phase A has still an issue and need to be replaced along with IGHT to interface ribbon and mentioned Inverter 8 will remain offline until parts are replaced. | 1.SR096221
Oaks Landfill - CS1 | MD | 352207.2 | 389561.5 | -37354.3 | -9.589% | 0 | 352207.2

## Apr
Greenbacker Capital |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## May
Greenbacker Capital |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Jun
Greenbacker Capital |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Jul
Greenbacker Capital | [5 empty] | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Aug
Greenbacker Capital |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Sep
Greenbacker Capital |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Oct
Greenbacker Capital |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Nov
Greenbacker Capital |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Dec
Greenbacker Capital |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
10 Walpole Park South | MA
15 Walpole Park South | MA
19 Walpole Park South | MA
23 Walpole Park South | MA
24 Walpole Park South | MA
25 Walpole Park South | MA
3 Walpole Park South | MA
4 Walpole Park South | MA
Brockton | MA
Canton | MA
Chelsea | MA
Hamilton Landfill | MA
Holliston | MA
Natick HS - Carports | MA
Norton | MA
Palmer - Boston Rd. | MA
Shirley Bartkus | MA
Stoughton | MA
Wellfleet Landfill | MA
Wilmington Garage & Building 7 | MA
Woburn | MA
Friendship Solar 1 | MD
Friendship Solar 2 | MD
101 Carnegie Center | NJ
302 Carnegie Center | NJ
510 Carnegie Center | NJ
701 Carnegie Center | NJ
Hudson County Correction | NJ
ER Bison Solar | PA
Danville | IL
Camden - Campbell Soup HQ | NJ
Westport - Pine Hill | MA
Oaks Landfill - ANEM | MD
Oaks Landfill - CS2 | MD
Oaks Landfill - CS1 | MD

## Sites
Portfolio: | Greenbacker Capital
Site DAS Name | Site | State | Update | DAS
10 Walpole Park South [0664] | 10 Walpole Park South | MA | AEF | PowerTrack
15 Walpole Park South [0668] | 15 Walpole Park South | MA | AEF | PowerTrack
19 Walpole Park South [0670] | 19 Walpole Park South | MA | AEF | PowerTrack
23 Walpole Park South [0676] | 23 Walpole Park South | MA | AEF | PowerTrack
24 Walpole Park South [0667] | 24 Walpole Park South | MA | AEF | PowerTrack
25 Walpole Park South [0665] | 25 Walpole Park South | MA | AEF | PowerTrack
3 Walpole Park South [0666] | 3 Walpole Park South | MA | AEF | PowerTrack
4 Walpole Park South [0669] | 4 Walpole Park South | MA | AEF | PowerTrack
Brockton [0662] | Brockton | MA | AEF | PowerTrack
Canton [0672] | Canton | MA | AEF | PowerTrack
Chelsea [0663] | Chelsea | MA | AEF | PowerTrack
Hamilton MA Landfill | Hamilton Landfill | MA |  | InAccess
Holliston [0674] | Holliston | MA | AEF | PowerTrack
MA: Natick HS - Carports | Natick HS - Carports | MA |  | InAccess
Norton [0671] | Norton | MA | AEF | PowerTrack
Palmer - Boston Rd. [0637] | Palmer - Boston Rd. | MA | AEF | PowerTrack
Shirley Bartkus [0632] | Shirley Bartkus | MA | AE | PowerTrack
Stoughton [0661] | Stoughton | MA | AEF | PowerTrack
MA: Wellfleet Landfill | Wellfleet Landfill | MA |  | InAccess
Wilmington Garage & Building 7 [0675] | Wilmington Garage & Building 7 | MA | AEF | PowerTrack
Woburn [0673] | Woburn | MA | AEF | PowerTrack
Friendship Solar 1 [0569] | Friendship Solar 1 | MD | AEF | PowerTrack
Friendship Solar 2 [0570] | Friendship Solar 2 | MD | AEF | PowerTrack
101 Carnegie Center | 101 Carnegie Center | NJ |  | InAccess
302 Carnegie Center | 302 Carnegie Center | NJ |  | InAccess
510 Carnegie Center | 510 Carnegie Center | NJ |  | InAccess
701 Carnegie Center | 701 Carnegie Center | NJ |  | InAccess
Hudson County Correction [0470] | Hudson County Correction | NJ | AEF | PowerTrack
ER Bison Solar [0371] | ER Bison Solar | PA | AEF | PowerTrack
Danville | Danville | IL |  | InAccess
Camden - Campbell Soup HQ | Camden - Campbell Soup HQ | NJ |  | PowerFactor
Pine Hill [0702] | Westport - Pine Hill | MA | AF | PowerTrack
Gaithersburg - Oaks C ANEM | Oaks Landfill - ANEM | MD |  | InAccess
Gaithersburg - Oaks A CS1 | Oaks Landfill - CS2 | MD |  | InAccess
Gaithersburg - Oaks B CS2 | Oaks Landfill - CS1 | MD |  | InAccess