## Year to Date
HAJJAR SOLAR LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 138923.53 | 0 | 138923.53 | 0% | 167101.31 | -28177.78 | -16.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 47225.25 | 0 | 47225.25 |  | 66238.2 | -19012.95 | -28.7%
Hanover - Hajjar Solar LLC | MA | 91698.28 | 0 | 91698.28 |  | 100863.11 | -9164.83 | -9.086%

## 1st Qtr
HAJJAR SOLAR LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 138923.53 | 0 | 138923.53 | 0% | 167101.31 | -28177.78 | -16.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 47225.25 | 0 | 47225.25 |  | 66238.2 | -19012.95 | -28.7%
Hanover - Hajjar Solar LLC | MA | 91698.28 | 0 | 91698.28 |  | 100863.11 | -9164.83 | -9.086%

## 2nd Qtr
HAJJAR SOLAR LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0
Hanover - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
HAJJAR SOLAR LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0
Hanover - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
HAJJAR SOLAR LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0
Hanover - Hajjar Solar LLC | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
HAJJAR SOLAR LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 28219.31 | 0 | 28219.31 | 0% | 28052.3 | 167.01 | 0.5954%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 9957.75 | N/A |  |  | 11033 | -1075.25 | -9.746% | 1.Inverter 1 left unit has tripped offline at 11AM on 12/31 and back online on 01/02, it has been RMA'd since 11/18/24. Inverter 1 primary unit has been RMA'D since 01/15. 2.Inverter 2 left unit was offline from 12/30/24 and back online on 01/04/25. | 1.SR090032, SR095614. 2.SR095301 & SR095351 | SR095614 | SR095301 | SR095351
Hanover - Hajjar Solar LLC | MA | 18261.56 | N/A |  |  | 17019.3 | 1242.26 | 7.299%

## Feb
HAJJAR SOLAR LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 37139.0254 | 0 | 37139.0254 | 0% | 50160.96 | -13021.9346 | -25.96%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 12463.6254 | N/A |  |  | 18443.24 | -5979.6146 | -32.42% | 1.Inverter 1 left unit tripped offline at 14:00 on 02/23 and remained offline through-out the month. Inverter 1 primary unit has been RMA'D since 01/15 back online on 02/16. 2.Inverter 2 left unit was offline from 02/25 and right unit was offline from 02/28. 3. Low generation due to snow/rain. | 1.SR090032, SR095614 & SR097696 2.SR097934 | SR095614 | SR097696 | SR097934
Hanover - Hajjar Solar LLC | MA | 24675.4 | N/A |  |  | 31717.72 | -7042.32 | -22.2% | 1.Low generation due to rain/snow.

## Mar
HAJJAR SOLAR LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 73565.1946 | 0 | 73565.1946 | 0% | 88888.05 | -15322.8554 | -17.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 24803.8746 | N/A |  |  | 36761.96 | -11958.0854 | -32.53% | 1.Inverter 1 left unit tripped offline from 14:00 on 02/23 and remained offline through out the month. 2.Inverter 2 left unit was offline from 02/25 and back online on 03/02. On 03/03 technician RMA'd left unit. Inverter 2 right unit was offline on 02/28 and back online on 03/01. Agian offline on 03/06, 03/07, 03/17 and 03/18. Inverter 2 central unit was tripped offline from 15:00 on 03/24. On 03/26, technician RMA'D center relay board. 3.Inverters 2&3 were offline on 03/17 and back online on 03/18. Inverter 2 was offline from 03/30. | 1.SR095614 & SR097696 2. SR097934 &SR099467 3. SR098663 | SR097696 | SR097934 | SR099467 | SR098663
Hanover - Hajjar Solar LLC | MA | 48761.32 | N/A |  |  | 52126.09 | -3364.77 | -6.455% | 1. Inverter 2 middle unit began derating by 15 kW on 03/03. A technician was dispatched and performed an optimizer repair and firmware update. However, the issue reoccurred on 03/04 and has persisted throughout the month. The issue is suspected to be related to a failing optimizer or moisture affecting MC4 connectors under certain conditions. Further investigation is needed with LV technicians. | 1.SR097974

## Apr
HAJJAR SOLAR LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## May
HAJJAR SOLAR LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Jun
HAJJAR SOLAR LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Jul
HAJJAR SOLAR LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Aug
HAJJAR SOLAR LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Sep
HAJJAR SOLAR LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Oct
HAJJAR SOLAR LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Nov
HAJJAR SOLAR LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Dec
HAJJAR SOLAR LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA |  | 0
Hanover - Hajjar Solar LLC | MA |  | 0

## Sites
Portfolio: | HAJJAR SOLAR LLC
Site DAS Name | Site | State | Update | DAS
24 Norfolk Ave | South Easton - Hajjar Solar LLC | MA |  | PowerTrack
389 Columbia Road | Hanover - Hajjar Solar LLC | MA | AF | PowerTrack