## Year to Date
Joseph City USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 234886.19 | 174011.614 | 60874.576 | 34.98% | 105944.583 | 128941.607 | 121.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 234886.19 | 174011.614 | 60874.576 | 34.98% | 105944.583 | 128941.607 | 121.7%

## 1st Qtr
Joseph City USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 234886.19 | 174011.614 | 60874.576 | 34.98% | 105944.583 | 128941.607 | 121.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 234886.19 | 174011.614 | 60874.576 | 34.98% | 105944.583 | 128941.607 | 121.7%

## 2nd Qtr
Joseph City USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Joseph City USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Joseph City USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0

## Jan
Joseph City USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 22909.19 | 62902.922 | -39993.732 | -63.58% | 25787.395 | -2878.205 | -11.16%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 22909.19 | 62902.922 | -39993.732 | -63.58% | 25787.395 | -2878.205 | -11.16% | 1.Inverter A11 is derating multiple times by approximately 11 kW during midday throughout the month and is being RMA'D. 2. Pad C inverters have stopped communicating from 08/23 possibly offline. 3.Weather station on Pad C is experiencing frequent communication outages. 4.Inverter B15 has tripped offline at 12:15PM on 01/31. | 1.SR093126 2.SR089462,SR088994 3.SR087336,SR089462 4.SR096205 | SR089462 | SR088994 | SR087336 | SR089462 | SR096205

## Feb
Joseph City USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 24281 | 52666.08 | -28385.08 | -53.9% | 32456.19 | -8175.19 | -25.19%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 24281 | 52666.08 | -28385.08 | -53.9% | 32456.19 | -8175.19 | -25.19% | 1.Inverter A11 is derating multiple times by approximately 11 kW during midday throughout the month and is being RMA'D. 2.Pad C inverters have stopped communicating from 08/23 possibly offline. 3.Weather station on Pad C is experiencing frequent communication outages. 4.Inverter B15 tripped offline at 12:30 PM on 01/31, restored on 02/01, tripped again at 12:15 PM on 02/03, back online on 02/04, and tripped once again from 11:30 AM to 5:00 PM on 02/04. | 1.SR093126 2.SR089462,SR088994 3.SR087336,SR089462 4.SR096205 | SR089462 | SR088994 | SR087336 | SR089462 | SR096205

## Mar
Joseph City USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 187696 | 58442.612 | 129253.388 | 221.2% | 47700.998 | 139995.002 | 293.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 187696 | 58442.612 | 129253.388 | 221.2% | 47700.998 | 139995.002 | 293.5% | 1.Inverter A11 is derating multiple times by approximately 11 kW during midday and was being RMA'D from 12/05/24. On 03/12, technician replaced cooling fan on the CPS 14KTL inverter. 2.Meter pad B was not communicating from 01/22/25 and POA Pyranometer SE-C1 was giving abnormal readings. 3.Pad C inverters have stopped communicating from 08/23/24 possibly offline and resumed communications and back online on 03/14/25. Weather station on Pad C is experiencing frequent communication outages. 4.Inverter C08 derating by 3 kW on 03/24, 03/25, 03/27 and 03/29. | 1.SR093126 2.SR098771 3.SR089462 & SR088994 4.SR098976 | SR098771 | SR089462 | SR088994 | SR098976

## Apr
Joseph City USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## May
Joseph City USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Jun
Joseph City USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Jul
Joseph City USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Aug
Joseph City USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Sep
Joseph City USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Oct
Joseph City USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Nov
Joseph City USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Dec
Joseph City USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Sites
Portfolio: | Joseph City USD
Site DAS Name | Site | State | Update | DAS
JCUSD | AZ: Joseph City USD | AZ