## Year to Date
Las Cruces - East Mesa WTP |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 0 | 21563.412 | -21563.412 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NM: Las Cruces - East Mesa WTP | MA | 0 | 21563.412 | -21563.412 | -100% | 0 | 0

## 1st Qtr
Las Cruces - East Mesa WTP |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 21563.412 | -21563.412 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NM: Las Cruces - East Mesa WTP | MA | 0 | 21563.412 | -21563.412 | -100% | 0 | 0

## 2nd Qtr
Las Cruces - East Mesa WTP |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NM: Las Cruces - East Mesa WTP | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Las Cruces - East Mesa WTP |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NM: Las Cruces - East Mesa WTP | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Las Cruces - East Mesa WTP |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NM: Las Cruces - East Mesa WTP | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Las Cruces - East Mesa WTP |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA | 0 | 0 | 0 |  | N/A |  |  | 1.Inverter stopped communicating on 08/31/23. No meter in PowerTrack to confirm production inverter is likely offline. | 1.SR099075

## Feb
Las Cruces - East Mesa WTP |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA | 0 | 0 | 0 |  | N/A |  |  | 1.Inverter stopped communicating on 08/31/23. No meter in PowerTrack to confirm production inverter is likely offline | 1.SR099075

## Mar
Las Cruces - East Mesa WTP |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 21563.412 | -21563.412 | -100% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA | 0 | 21563.412 | -21563.412 | -100% | N/A |  |  | 1.Inverter stopped communicating on 08/31/23. No meter in PowerTrack to confirm production inverter is likely offline | 1.SR099075

## Apr
Las Cruces - East Mesa WTP |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## May
Las Cruces - East Mesa WTP |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Jun
Las Cruces - East Mesa WTP |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Jul
Las Cruces - East Mesa WTP |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Aug
Las Cruces - East Mesa WTP |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Sep
Las Cruces - East Mesa WTP |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Oct
Las Cruces - East Mesa WTP |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Nov
Las Cruces - East Mesa WTP |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Dec
Las Cruces - East Mesa WTP |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NM: Las Cruces - East Mesa WTP | MA

## Sites
Portfolio: | Las Cruces - East Mesa WTP
Site DAS Name | Site | State | Update | DAS
East Mesa Water Reclamation Plant | NM: Las Cruces - East Mesa WTP | MA |  | InAccess