## Year to Date
Lee Company |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 37375.0469 | 0 | 37375.0469 | 0% | 0 | 37375.0469 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Westbrook - Building #41 | CT | 37375.0469 | 0 | 37375.0469 |  | 0 | 0

## 1st Qtr
Lee Company |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 37375.0469 | 0 | 37375.0469 | 0% | 0 | 37375.0469 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Westbrook - Building #41 | CT | 37375.0469 | 0 | 37375.0469 |  | 0 | 0

## 2nd Qtr
Lee Company |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Westbrook - Building #41 | CT | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Lee Company |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Westbrook - Building #41 | CT | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Lee Company |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Westbrook - Building #41 | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
Lee Company |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 7940.3594 | 0 | 7940.3594 | 0% | 0 | 7940.3594 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT | 7940.3594 | N/A |  |  | N/A |  |  | 1. Aerial thermal inspection indicates that Arrays 3A and 3B connected to Inverter 1 are offline and the DMGI for Inverter 1 is due for replacement. 2. Low generation due to snow/rain. | 1.SR092880,SR089716, PM4611 | SR089716

## Feb
Lee Company |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 11022.7656 | 0 | 11022.7656 | 0% | 0 | 11022.7656 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT | 11022.7656 | N/A |  |  | N/A |  |  | 1.Aerial thermal inspection indicates that Arrays 3A and 3B connected to Inverter 1 are offline and the DMGI for Inverter 1 is due for replacement. 2. Low generation due to snow/rain. | 1.SR092880,SR089716, PM4611 | SR089716

## Mar
Lee Company |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 18411.9219 | 0 | 18411.9219 | 0% | 0 | 18411.9219 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT | 18411.9219 | N/A |  |  | N/A |  |  | 1.Aerial thermal inspection indicates that Arrays 3A and 3B connected to Inverter 1 are offline and the DMGI for Inverter 1 is due for replacement. | 1.SR092880,SR089716, PM4611 | SR089716

## Apr
Lee Company |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT

## May
Lee Company |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Jun
Lee Company |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Jul
Lee Company |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Aug
Lee Company |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Sep
Lee Company |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Oct
Lee Company |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Nov
Lee Company |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Dec
Lee Company |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Westbrook - Building #41 | CT |  | 0 |  |  | 0

## Sites
Portfolio: | Lee Company
Site DAS Name | Site | State | Update | DAS
Lee Building 41 | CT: Westbrook - Building #41 | CT | A | PowerTrack