## Year to Date
MAC Phase I |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 557750 | 205548.089 | 352201.911 | 171.3% | 264890.577 | 292859.423 | 110.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 557750 | 205548.089 | 352201.911 | 171.3% | 264890.577 | 292859.423 | 110.6%

## 1st Qtr
MAC Phase I |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 557750 | 205548.089 | 352201.911 | 171.3% | 264890.577 | 292859.423 | 110.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 557750 | 205548.089 | 352201.911 | 171.3% | 264890.577 | 292859.423 | 110.6%

## 2nd Qtr
MAC Phase I |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MAC Phase I |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MAC Phase I |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  | 0 | 0

## Jan
MAC Phase I |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 127800 | 43735.538 | 84064.462 | 192.2% | 62344.347 | 65455.653 | 105%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 127800 | 43735.538 | 84064.462 | 192.2% | 62344.347 | 65455.653 | 105% | 1.Inverter 3.1 has tripped offline at 9:00AM CST on 12/27/24 due to electric arc fault and remained offline through out the month. Waiting on keys from MAC airport to enter the electrical room where the DAS is located. 2. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR094282

## Feb
MAC Phase I |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 155800 | 64556.829 | 91243.171 | 141.3% | 83139.427 | 72660.573 | 87.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 155800 | 64556.829 | 91243.171 | 141.3% | 83139.427 | 72660.573 | 87.4% | 1. Inverter 3.1 tripped offline at 9 CST on 12/27/24 due to an arc fault. On 02/26, the technician reconfigured the IP on the vCluster controller to regain access. Upon inspection, it was found that all 15A fuses on the negative side and one on the positive side were blown and need to be replaced. 2.Inverter 1.7 was offline on 02/15 due to Insulation resistance fault and back online on 02/16. From 02/23 to 02/26 Inverter was offline daily between 7:00 to 13:00 due to Insulation resistance fault. 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR094282, SR096592 2.SR097147 | SR096592 | SR097147

## Mar
MAC Phase I |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 274150 | 97255.722 | 176894.278 | 181.9% | 119406.803 | 154743.197 | 129.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 274150 | 97255.722 | 176894.278 | 181.9% | 119406.803 | 154743.197 | 129.6% | 1.Inverter 3.1 was offline from 09:00 AM on 12/27/24 due to electric arc fault. Fuse holder is being RMA’d from 03/11. 2.Inverter 3.12 tripped at 6:00 PM CDT on 03/24/25 reporting an interference device. On 03/31, a technician visited the site and mentioned that further troubleshooting is required, including access to the front of the inverter for further evaluation. 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR096592 2.SR098967 | SR098967

## Apr
MAC Phase I |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## May
MAC Phase I |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Jun
MAC Phase I |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Jul
MAC Phase I |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Aug
MAC Phase I |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sep
MAC Phase I |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Oct
MAC Phase I |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Nov
MAC Phase I |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Dec
MAC Phase I |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sites
Portfolio: | MAC Phase I
Site DAS Name | Site | State | Update | DAS
MAC | MAC - Phase 1 | MN |  | PowerTrack