## Year to Date
MA: Palmer - 105 North Street |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 552922 | 0 | 552922 | 0% | 0 | 552922 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 552922 | 0 | 552922 |  | 0 | 0

## 1st Qtr
MA: Palmer - 105 North Street |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 552922 | 0 | 552922 | 0% | 0 | 552922 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 552922 | 0 | 552922 |  | 0 | 0

## 2nd Qtr
MA: Palmer - 105 North Street |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MA: Palmer - 105 North Street |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MA: Palmer - 105 North Street |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
MA: Palmer - 105 North Street |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 143914 | 0 | 143914 | 0% | 0 | 143914 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 143914 | N/A |  |  | N/A |  |  | 1.Inverter 2 is showing low production on 01/22 and is offline and inverter was back to normal production from 01/26 | 1.SR095926

## Feb
MA: Palmer - 105 North Street |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 138085 | 0 | 138085 | 0% | 0 | 138085 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 138085 | N/A |  |  | N/A |  |  | 1. Inverters are offline on 02/16 and on 02/17 technician found inverters are online, after a powercycle comms are restored. | 1. SR097163

## Mar
MA: Palmer - 105 North Street |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 270923 | 0 | 270923 | 0% | 0 | 270923 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 270923 | N/A |  |  | N/A

## Apr
MA: Palmer - 105 North Street |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## May
MA: Palmer - 105 North Street |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Jun
MA: Palmer - 105 North Street |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Jul
MA: Palmer - 105 North Street |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Aug
MA: Palmer - 105 North Street |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Sep
MA: Palmer - 105 North Street |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Oct
MA: Palmer - 105 North Street |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Nov
MA: Palmer - 105 North Street |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Dec
MA: Palmer - 105 North Street |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA |  | 0 |  |  | 0

## Sites
Portfolio: | MA: Palmer - 105 North Street
Site DAS Name | Site | State | Update | DAS
MA - Palmer Solar | MA: Palmer - 105 North Street | MA | A | Solrenview