## Year to Date
RINGS END |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 48284.3275 | 0 | 48284.3275 | 0% | 53385.403 | -5101.0755 | -9.555%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 25250.7 | 0 | 25250.7 |  | 25784.303 | -533.603 | -2.069%
Milford - Rings End | CT | 13111.985 | 0 | 13111.985 |  | 13669 | -557.015 | -4.075%
New Milford - Rings End | CT | 9921.6425 | 0 | 9921.6425 |  | 13932.1 | -4010.4575 | -28.79%

## 1st Qtr
RINGS END |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 48284.3275 | 0 | 48284.3275 | 0% | 53385.403 | -5101.0755 | -9.555%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 25250.7 | 0 | 25250.7 |  | 25784.303 | -533.603 | -2.069%
Milford - Rings End | CT | 13111.985 | 0 | 13111.985 |  | 13669 | -557.015 | -4.075%
New Milford - Rings End | CT | 9921.6425 | 0 | 9921.6425 |  | 13932.1 | -4010.4575 | -28.79%

## 2nd Qtr
RINGS END |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
RINGS END |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
RINGS END |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
RINGS END |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 12740.6425 | 0 | 12740.6425 | 0% | 12946.1 | -205.4575 | -1.587%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 6650.53 | N/A |  |  | 6291.7 | 358.83 | 5.703% | 1.Low generation due to weather/snow on 01/20 , 01/21
Milford - Rings End | CT | 3552.22 | N/A |  |  | 3298 | 254.22 | 7.708% | 1. Inverter 2 tripped offline at 08:45 AM on 01/18/25. On 01/23/25, the technician performed a reset inhibition and brought it back online at 09:30. 2. Inverter 1 & 2 are offline from 01/29/25 due to an ARC fault and remained offline through the month. 3. Low generation due to weather/snow on 01/21 ,01/22 | 1. SR095695 2. SR096102 | SR096102
New Milford - Rings End | CT | 2537.8925 | N/A |  |  | 3356.4 | -818.5075 | -24.39% | 1. Inverter 2 was underperforming approximately 18kW compared to peer as Strings 2.2 and 2.3 have been disconnected from 09/03 for further troubleshooting. 2. Low generation due to weather/snow 01/06 ,01/31 | 1. SR088902

## Feb
RINGS END |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 11728.335 | 0 | 11728.335 | 0% | 16349.5 | -4621.165 | -28.26%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 6751.05 | N/A |  |  | 7839.8 | -1088.75 | -13.89% | 1. Site was offline from 13:00 on 02/03/25 and came back online at 14:15 on 02/05/25, after the technician re-energized it. 2. Low generation due to weather/snow on 02/09 to 02/13 | 1. SR096277
Milford - Rings End | CT | 2518.835 | N/A |  |  | 4205 | -1686.165 | -40.1% | 1. Inverter 1 & 2 back online at 10:15 on 02/25/25, after the technician re-energized them. 2. Low generation due to weather/snow on 02/09 to 02/13 | 1. SR096102
New Milford - Rings End | CT | 2458.45 | N/A |  |  | 4304.7 | -1846.25 | -42.89% | 1. Inverter 2 was underperforming approximately 18kW compared to peer as Strings 2.2 and 2.3 have been disconnected from 09/03 for further troubleshooting. 2. Low generation due to weather/snow on 02/09 to 02/13 | 1. SR088902

## Mar
RINGS END |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 23815.35 | 0 | 23815.35 | 0% | 24089.803 | -274.453 | -1.139%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 11849.12 | N/A |  |  | 11652.803 | 196.317 | 1.685% | 1.Low generation due to weather/snow on 03/24
Milford - Rings End | CT | 7040.93 | N/A |  |  | 6166 | 874.93 | 14.19% | 1.Inverter 1 was offline from 03/06 and remained offline for rest of the month 2.Low generation due to weather/snow on 03/24 | 1.SR098202
New Milford - Rings End | CT | 4925.3 | N/A |  |  | 6271 | -1345.7 | -21.46% | 1. Inverter 2 was underperforming by approximately 18 kW compared to its peer, as Strings 2.2 and 2.3 have been disconnected since 09/03/24 for further troubleshooting. Four optimizers required to repair Strings 2.2 and 2.3 have been RMAd from 10/30/24 2.Inverter 1 intermittently tripped on 03/25 due to high voltage on Line 3. The issue self-resolved on 03/26. 3.Low generation due to weather/snow on 03/24 | 1.SR088902 2.SR098985 | SR098985

## Apr
RINGS END |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## May
RINGS END |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Jun
RINGS END |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Jul
RINGS END |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Aug
RINGS END |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Sep
RINGS END |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Oct
RINGS END |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Nov
RINGS END |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Dec
RINGS END |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT |  | 0
Milford - Rings End | CT |  | 0
New Milford - Rings End | CT |  | 0

## Sites
Portfolio: | RINGS END
Site DAS Name | Site | State | Update | DAS
Ring's End - Branford Store | Branford - Rings End | CT | AF | PowerTrack
Ring's End - Milford | Milford - Rings End | CT | AF | PowerTrack
Ring's End - New Milford | New Milford - Rings End | CT | A | PowerTrack