## Year to Date
MA: Plymouth - Seacoast Realty |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 76730 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 0

## 1st Qtr
MA: Plymouth - Seacoast Realty |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 76730 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 76730 | 108943.44 | -32213.44 | -29.57% | 0 | 0

## 2nd Qtr
MA: Plymouth - Seacoast Realty |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MA: Plymouth - Seacoast Realty |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MA: Plymouth - Seacoast Realty |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Plymouth - Seacoast Realty | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
MA: Plymouth - Seacoast Realty |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 22040 | 31721.37 | -9681.37 | -30.52% | 0 | 22040 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 22040 | 31721.37 | -9681.37 | -30.52% | N/A |  |  | 1. Low generation due to snow/rain.

## Feb
MA: Plymouth - Seacoast Realty |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 27840 | 32921.55 | -5081.55 | -15.44% | 0 | 27840 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 27840 | 32921.55 | -5081.55 | -15.44% | N/A |  |  | 1. Low generation due to snow/rain.

## Mar
MA: Plymouth - Seacoast Realty |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 26850 | 44300.52 | -17450.52 | -39.39% | 0 | 26850 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA | 26850 | 44300.52 | -17450.52 | -39.39% | N/A |  |  | 1. Inverter 1 started late for production on 03/09 due to "DC voltage too high Wait for grid" and selfresolved on 03/09 at 10:30AM. 2. The site tripped offline at 7:30 AM on 03/18. Following a thermal event investigation on 03/19, the site will remain offline. While panel damage appears minimal, the wiring insulation may be compromised. Further investigation and repairs are required before safely re-energizing the site. | 1. SR098309 2. SR098691 | SR098691

## Apr
MA: Plymouth - Seacoast Realty |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## May
MA: Plymouth - Seacoast Realty |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Jun
MA: Plymouth - Seacoast Realty |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Jul
MA: Plymouth - Seacoast Realty |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Aug
MA: Plymouth - Seacoast Realty |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Sep
MA: Plymouth - Seacoast Realty |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Oct
MA: Plymouth - Seacoast Realty |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Nov
MA: Plymouth - Seacoast Realty |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Dec
MA: Plymouth - Seacoast Realty |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Plymouth - Seacoast Realty | MA |  |  |  |  | 0

## Sites
Portfolio: | MA: Plymouth - Seacoast Realty
Site DAS Name | Site | State | Update | DAS
CDF (77 Industrial Park, Plymouth) | MA: Plymouth - Seacoast Realty | MA | AE | PowerTrack