## Year to Date
Solar Income LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 161679.8702 | 0 | 161679.8702 | 0% | 85045.15 | 76634.7202 | 90.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 70966.8902 | 0 | 70966.8902 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 90712.9801 | 0 | 90712.9801 |  | 85045.15 | 5667.8301 | 6.664%

## 1st Qtr
Solar Income LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 161679.8702 | 0 | 161679.8702 | 0% | 85045.15 | 76634.7202 | 90.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 70966.8902 | 0 | 70966.8902 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 90712.9801 | 0 | 90712.9801 |  | 85045.15 | 5667.8301 | 6.664%

## 2nd Qtr
Solar Income LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Solar Income LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Solar Income LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
Solar Income LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 44086.4597 | 0 | 44086.4597 | 0% | 22894.69 | 21191.7697 | 92.56%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 19387.4897 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. 2. Virtual weather stopped communicating from 04/01/2024. | 1. SR096097,SR091134 2. SR092275 | SR091134 | SR092275
Westbrook - Lee Building 82 | CT | 24698.97 | N/A |  |  | 22894.69 | 1804.28 | 7.881% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to programme new weather station data due to poor WiFi. | 1. SR085123

## Feb
Solar Income LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 47513.7902 | 0 | 47513.7902 | 0% | 26976.46 | 20537.3302 | 76.13%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 20619.4902 | N/A |  |  | N/A |  |  | 1. Inverter 4 tripped offline at 02:00 PM on 02/10 due to a fault and possible 3-phase arc detection. Additionally, the DC relay board has been RMA'd. The inverter will remain offline until the replacement is installed. 2. Virtual weather stopped communicating from 04/01/2024. 3. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. | 1. SR096681 2. SR092275 3. SR096097,SR091134 | SR092275 | SR096097 | SR091134
Westbrook - Lee Building 82 | CT | 26894.3 | N/A |  |  | 26976.46 | -82.16 | -0.3046% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Mar
Solar Income LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 70079.6203 | 0 | 70079.6203 | 0% | 35174 | 34905.6203 | 99.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 30959.9103 | N/A |  |  | N/A |  |  | 1. Inverter 4 tripped offline at 02:00 PM on 02/10 due to a fault and possible 3-phase arc detection. Additionally, the DC relay board has been RMA'd. On 03/13 Technician replaced DC Relay Board inverter back online at 11:30 2. Virtual weather stopped communicating from 04/01/2024. 3.Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. | 1. SR096681 2.SR092275 3. SR096097,SR091134 | SR092275 | SR096097 | SR091134
Westbrook - Lee Building 82 | CT | 39119.7101 | N/A |  |  | 35174 | 3945.7101 | 11.22% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Apr
Solar Income LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## May
Solar Income LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Jun
Solar Income LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Jul
Solar Income LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Aug
Solar Income LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Sep
Solar Income LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Oct
Solar Income LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Nov
Solar Income LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Dec
Solar Income LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Sites
Portfolio: | Solar Income LLC
Site DAS Name | Site | State | Update | DAS
Lee Company - B9 | Westbrook - Lee Building 9 | CT | AEF | PowerTrack
The Lee Company B82 | Westbrook - Lee Building 82 | CT | AEF | PowerTrack