## Year to Date
Starbucks |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 318156.25 | 334868.81 | -16712.56 | -4.991% | 442270.8 | -124114.55 | -28.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 318156.25 | 334868.81 | -16712.56 | -4.991% | 442270.8 | -124114.55 | -28.06%

## 1st Qtr
Starbucks |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 318156.25 | 334868.81 | -16712.56 | -4.991% | 442270.8 | -124114.55 | -28.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 318156.25 | 334868.81 | -16712.56 | -4.991% | 442270.8 | -124114.55 | -28.06%

## 2nd Qtr
Starbucks |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Starbucks |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Starbucks |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 0 | 0 | 0 |  | 0 | 0

## Jan
Starbucks |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 83161.5 | 63583.33 | 19578.17 | 30.79% | 104430.52 | -21269.02 | -20.37%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 83161.5 | 63583.33 | 19578.17 | 30.79% | 104430.52 | -21269.02 | -20.37% | 1.Irradiance sensor was reporting zero since 05/28/24. On 01/13/25, Tehnician replaced POA sensor and it was reporting normal. 2.Inverter 5 was tripped offline from 08/11/24 at 13:30 due to Power module fault and was being RMA'D from 01/13/25. 3.Inverter 7 was derating approxmately by 40kw from 07/21/24 due to powerhead failure. On 01/13, technician replaced powerhead on Inverter 7 and inverter is producing in line with peers. 4.The meter isn't fully capturing inverter production, dropping by 1/3rd in the afternoon—possible CT issue, with Phase A showing no current since 07/08/24. On 01/13, technician cleaned significant debris and rodent infestation the CTs resumed normal operation. 5. On 01/17, one of the meter CTs is reading negative values, causing it to report only 2/3 of the site's production; AP is addressing the configuration issue and resolved the issue on same day. | 1.SR086768 2.SR088914 3.SR089045 4.SR087462 & SR090982 5.SR095656

## Feb
Starbucks |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 107471.25 | 113240.01 | -5768.76 | -5.094% | 138959.28 | -31488.03 | -22.66%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 107471.25 | 113240.01 | -5768.76 | -5.094% | 138959.28 | -31488.03 | -22.66% | 1.Inverter 5 was tripped offline from 08/11/24 at 13:30 due to Power module fault and was being RMA'D from 01/13/25. | 1.SR088914

## Mar
Starbucks |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 127523.5 | 158045.47 | -30521.97 | -19.31% | 198881 | -71357.5 | -35.88%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 127523.5 | 158045.47 | -30521.97 | -19.31% | 198881 | -71357.5 | -35.88% | 1.Inverter 5 was tripped offline from 08/11/24 at 13:30 due to Power module fault and was being RMA'D from 01/13/25. On 03/19, the technician replaced the RMA'd inverter with a new unit, restoring it online and producing normally. 2.Meter is intermittently underperforming in morning hours by about 53 kW or a third of the site's capacity from 3/8. | 1.SR088914 2.SR098334 | SR098334

## Apr
Starbucks |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## May
Starbucks |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Jun
Starbucks |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Jul
Starbucks |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Aug
Starbucks |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Sep
Starbucks |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Oct
Starbucks |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Nov
Starbucks |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Dec
Starbucks |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Sites
Portfolio: | Starbucks
Site DAS Name | Site | State | Update | DAS
NV: Starbucks - Minden | NV: Starbucks - Minden | NV