## Year to Date
Superior USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 56093 | 0 | 56093 | 0% | 0 | 56093 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 56093 | 0 | 56093 | 0% | 0 | 0 | 0%

## 1st Qtr
Superior USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 56093 | 0 | 56093 | 0% | 0 | 56093 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 56093 | 0 | 56093 | 0% | 0 | 0 | 0%

## 2nd Qtr
Superior USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Superior USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Superior USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 0 | 0 | 0 |  | 0 | 0

## Jan
Superior USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 18389 | 0 | 18389 | 0% | 0 | 18389 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 18389 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline at 16:00 on 01/04 and back online at 9:15 on 01/08. On 01/10 technician replaced Surge Trap Device and reenergized inverter and confirmed production. | 1.SR094077

## Feb
Superior USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 21250 | 0 | 21250 | 0% | 0 | 21250 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 21250 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline from 02/27 at 8:30am through out the month. | 1.SR097894

## Mar
Superior USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 16454 | 0 | 16454 | 0% | 0 | 16454 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 16454 | N/A |  |  | N/A |  |  | 1.Inverter 2 has tripped offline from 02/27 at 8:30am and was being RMA'D from 03/27. | 1.SR097894

## Apr
Superior USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  | 0 |  |  | 0

## May
Superior USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Jun
Superior USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Jul
Superior USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Aug
Superior USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Sep
Superior USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Oct
Superior USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Nov
Superior USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0 |  |  |  | 1.SR094077

## Dec
Superior USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ |  |  |  |  | 0

## Sites
Portfolio: | Superior USD
Site DAS Name | Site | State | Update | DAS
AZ: Superior - Superior High School | AZ: Superior High School | AZ