## Year to Date
Troy School District |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 461942.57 | 103007.17 | 358935.4 | 348.5% | 0 | 461942.57 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 68519.5 | 0 | 68519.5 |  | 0 | 0
Joliet - Heritage Trail | IL | 71279.5 | 0 | 71279.5 |  | 0 | 0
Plainfield - Troy | IL | 84493.07 | 0 | 84493.07 |  | 0 | 0
Plainfield - William B Orenic | IL | 76819 | 0 | 76819 |  | 0 | 0
Shorewood - Cronin | IL | 84906.5 | 103007.17 | -18100.67 | -17.57% | 0 | 0
Shorewood - Hofer | IL | 75925 | 0 | 75925 |  | 0 | 0

## 1st Qtr
Troy School District |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 461942.57 | 103007.17 | 358935.4 | 348.5% | 0 | 461942.57 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 68519.5 | 0 | 68519.5 |  | 0 | 0
Joliet - Heritage Trail | IL | 71279.5 | 0 | 71279.5 |  | 0 | 0
Plainfield - Troy | IL | 84493.07 | 0 | 84493.07 |  | 0 | 0
Plainfield - William B Orenic | IL | 76819 | 0 | 76819 |  | 0 | 0
Shorewood - Cronin | IL | 84906.5 | 103007.17 | -18100.67 | -17.57% | 0 | 0
Shorewood - Hofer | IL | 75925 | 0 | 75925 |  | 0 | 0

## 2nd Qtr
Troy School District |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 0 | 0 | 0 |  | 0 | 0
Joliet - Heritage Trail | IL | 0 | 0 | 0 |  | 0 | 0
Plainfield - Troy | IL | 0 | 0 | 0 |  | 0 | 0
Plainfield - William B Orenic | IL | 0 | 0 | 0 |  | 0 | 0
Shorewood - Cronin | IL | 0 | 0 | 0 |  | 0 | 0
Shorewood - Hofer | IL | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Troy School District |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 0 | 0 | 0 |  | 0 | 0
Joliet - Heritage Trail | IL | 0 | 0 | 0 |  | 0 | 0
Plainfield - Troy | IL | 0 | 0 | 0 |  | 0 | 0
Plainfield - William B Orenic | IL | 0 | 0 | 0 |  | 0 | 0
Shorewood - Cronin | IL | 0 | 0 | 0 |  | 0 | 0
Shorewood - Hofer | IL | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Troy School District |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 0 | 0 | 0 |  |  | 0
Joliet - Heritage Trail | IL | 0 | 0 | 0 |  |  | 0
Plainfield - Troy | IL | 0 | 0 | 0 |  |  | 0
Plainfield - William B Orenic | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Cronin | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Hofer | IL | 0 | 0 | 0 |  |  | 0

## Jan
Troy School District |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 89649 | 28100 | 61549 | 219% | 0 | 89649 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 12686 | N/A |  |  | N/A
Joliet - Heritage Trail | IL | 13469 | N/A |  |  | N/A
Plainfield - Troy | IL | 16785 | N/A |  |  | N/A
Plainfield - William B Orenic | IL | 15189 | N/A |  |  | N/A |  |  | 1. Inverters 2, 3, 4, and 5 were tripped offline at 8:30 AM on 01/30/25 due to a permanent static GFCI fault (16) and issue self-resolved on 01/31/25. | 1. SR096152
Shorewood - Cronin | IL | 16823 | 28100 | -11277 | -40.13% | N/A |  |  | 1. Low generation due to snow/rain
Shorewood - Hofer | IL | 14697 | N/A |  |  | N/A |  |  | 1. Low generation due to snow/rain
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Feb
Troy School District |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 146034.66 | 31465 | 114569.66 | 364.1% | 0 | 146034.66 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 21859 | N/A |  |  | N/A
Joliet - Heritage Trail | IL | 22097 | N/A |  |  | N/A
Plainfield - Troy | IL | 27054.16 | N/A |  |  | N/A
Plainfield - William B Orenic | IL | 24770.5 | N/A |  |  | N/A |  |  | 1.Inverters 2, 3, 4, and 5 were tripped offline at 9:30 AM on 02/06 due to a permanent static GFCI fault (16) and self-resolved on 02/07. Inverters 3, 4, and 5 tripped offline again at 1:15 PM on 02/08 and were later resolved on 02/09. Upon the technician's arrival on 02/11, the parameters were adjusted, and the inverters were brought back online. | 1. SR096152
Shorewood - Cronin | IL | 26290 | 31465 | -5175 | -16.45% | N/A |  |  | 1. Low generation due to snow/rain
Shorewood - Hofer | IL | 23964 | N/A |  |  | N/A |  |  | 1. Low generation due to snow/rain
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.

## Mar
Troy School District |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 226258.91 | 43442.17 | 182816.74 | 420.8% | 0 | 226258.91 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 33974.5 | N/A |  |  | N/A
Joliet - Heritage Trail | IL | 35713.5 | N/A |  |  | N/A
Plainfield - Troy | IL | 40653.91 | N/A |  |  | N/A
Plainfield - William B Orenic | IL | 36859.5 | N/A |  |  | N/A
Shorewood - Cronin | IL | 41793.5 | 43442.17 | -1648.67 | -3.795% | N/A
Shorewood - Hofer | IL | 37264 | N/A |  |  | N/A
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April - 2024.

## Apr
Troy School District |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## May
Troy School District |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Jun
Troy School District |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Jul
Troy School District |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Aug
Troy School District |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Sep
Troy School District |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April

## Oct
Troy School District |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Nov
Troy School District |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected energy not available from April
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Dec
Troy School District |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Sites
Portfolio: | Troy School District
Site DAS Name | Site | State | Update | DAS
IL: Joliet - Craughwell ES | Joliet - Craughwell | IL |  | AssetPlanner
IL: Joliet - Heritage Trail | Joliet - Heritage Trail | IL |  | AssetPlanner
IL: Plainfield - Troy MS | Plainfield - Troy | IL |  | AssetPlanner
IL: Plainfield - William B Orenic IS | Plainfield - William B Orenic | IL |  | AssetPlanner
IL: Shorewood - Cronin ES | Shorewood - Cronin | IL |  | AssetPlanner
IL: Shorewood - Hofer ES | Shorewood - Hofer | IL |  | AssetPlanner