## Year to Date
Valmont Industries |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 150698.188 | 112449.57 | 38248.618 | 34.01% | 0 | 150698.188 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 150698.188 | 112449.57 | 38248.618 | 34.01% | 0 | 0

## 1st Qtr
Valmont Industries |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 150698.188 | 112449.57 | 38248.618 | 34.01% | 0 | 150698.188 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 150698.188 | 112449.57 | 38248.618 | 34.01% | 0 | 0

## 2nd Qtr
Valmont Industries |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Valmont Industries |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Valmont Industries |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 0 | 0 | 0 |  |  | 0

## Jan
Valmont Industries |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 26968.676 | 22909.665 | 4059.011 | 17.72% | 0 | 26968.676 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 26968.676 | 22909.665 | 4059.011 | 17.72% | N/A |  |  | 1.All trackers were stuck since 12/19/24. | 1.SR092973

## Feb
Valmont Industries |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 41511.574 | 30572.197 | 10939.377 | 35.78% | 0 | 41511.574 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 41511.574 | 30572.197 | 10939.377 | 35.78% | N/A |  |  | 1.All trackers were stuck since 12/19/24. | 1.SR092973

## Mar
Valmont Industries |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 82217.938 | 58967.708 | 23250.23 | 39.43% | 0 | 82217.938 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 82217.938 | 58967.708 | 23250.23 | 39.43% | N/A |  |  | 1.Inverter 2 tripped offline at 16:00 on 03/02 due to Grid Line Voltage Out of Range and back online at 8:45AM on 03/03. Again tripped offline from 12:00PM to 12:45PM on 03/11 due to Grid Line Voltage Out of Range. 2.Site tripped offline at 17:00 on 03/30 due to storm and remained offline whole month. 3.All trackers were stuck since 12/19/24 and Volmont site team working on trackers. | 1.SR097973 2.SR099153 3.SR092973 | SR099153 | SR092973

## Apr
Valmont Industries |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## May
Valmont Industries |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Jun
Valmont Industries |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Jul
Valmont Industries |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  | 0 |  |  | 0

## Aug
Valmont Industries |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  | 0 |  |  | 0 |  |  |  | 2. SR089346

## Sep
Valmont Industries |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  |  |  |  | 0

## Oct
Valmont Industries |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  |  |  |  | 0

## Nov
Valmont Industries |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  |  |  |  | 0 |  |  | 1. Inverter 4 is underperforming by 6kW from 11/02 due to stuck tracker. 2. Site tripped offline at 05:15 AM and back online at 06:00 AM on 11/25 due to utility outage. 3. Forecasted data is not available.

## Dec
Valmont Industries |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN |  |  |  |  | 0

## Sites
Portfolio: | Valmont Industries
Site DAS Name | Site | State | Update | DAS
Valmont Bristol | Valmont | IN |  | PowerTrack