## Year to Date
Walden Liberty |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 488894 | 0 | 488894 | 0% | 0 | 488894 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 422968 | 0 | 422968 |  | 0 | 237047
Walden Liberty | MA | 65926 | 0 | 65926 |  | 0 | 40491

## 1st Qtr
Walden Liberty |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 211356 | 0 | 211356 | 0% | 0 | 211356 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 185921 | 0 | 185921 |  | 0 | 0
Walden Liberty | MA | 25435 | 0 | 25435 |  | 0 | 0

## 2nd Qtr
Walden Liberty |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 0 | 0 | 0 |  | 0 | 0
Walden Liberty | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Walden Liberty |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 83496 | 0 | 83496 | 0% | 0 | 83496 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 71184 | 0 | 71184 |  | 0 | 71184
Walden Liberty | MA | 12312 | 0 | 12312 |  | 0 | 12312

## 4th Qtr
Walden Liberty |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 194042 | 0 | 194042 | 0% | 0 | 194042 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 165863 | 0 | 165863 |  | 0 | 165863
Walden Liberty | MA | 28179 | 0 | 28179 |  | 0 | 28179

## Jan
Walden Liberty |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 60390 | 0 | 60390 | 0% | 0 | 60390 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 53680 | N/A |  |  | N/A
Walden Liberty | MA | 6710 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24. | 1. SR087933

## Feb
Walden Liberty |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 63301 | 0 | 63301 | 0% | 0 | 63301 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 58205 | N/A |  |  | N/A |  |  | 1.Inverters 2,3 were offline from 02/09 and back online on 02/13. | 1.SR096625
Walden Liberty | MA | 5096 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1. SR087933

## Mar
Walden Liberty |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 87665 | 0 | 87665 | 0% | 0 | 87665 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 74036 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline at 13:10 on 03/07 and back online on 03/08. | 1.SR098289
Walden Liberty | MA | 13629 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1. SR087933

## Apr
Walden Liberty |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## May
Walden Liberty |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Jun
Walden Liberty |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Jul
Walden Liberty |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Aug
Walden Liberty |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Sep
Walden Liberty |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 83496 | 0 | 83496 | 0% | 0 | 83496 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 71184 | 0 | 71184 |  | 0 | 71184
Walden Liberty | MA | 12312 | 0 | 12312 |  | 0 | 12312 |  | 1. Inverter 1 derating approximately 225kW from 07/17. 2. Site tripped offline at 06:00PM on 09/15 and back online at 12PM on 09/16 | 1. SR087933 2. SR090605

## Oct
Walden Liberty |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 85937 | 0 | 85937 | 0% | 0 | 85937 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 72951 | 0 | 72951 |  | 0 | 72951
Walden Liberty | MA | 12986 | 0 | 12986 |  | 0 | 12986 |  | 1. Inverter is derating at 50KW approximetly 175KW down due to an fan issue | 1. SR087933

## Nov
Walden Liberty |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 63488 | 0 | 63488 | 0% | 0 | 63488 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 53675 | 0 | 53675 |  | 0 | 53675
Walden Liberty | MA | 9813 | 0 | 9813 |  | 0 | 9813 |  | 1. Inverter is derating at 50KW approximetly 175KW down due to an fan issue | 1. SR087933

## Dec
Walden Liberty |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 44617 | 0 | 44617 | 0% | 0 | 44617 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 39237 | 0 | 39237 |  | 0 | 39237 |  | 1. Inverter 2 tripped offline at 10:20AM on 12/10/2024 and back online at 11:05AM on 12/11 | 1.SR094315
Walden Liberty | MA | 5380 | 0 | 5380 |  | 0 | 5380 |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue. 2. Inverter 1 tripped offline at 12:00PM on 12/20/2024 and back online at 11:20AM on 12/26. | 1. SR087933 2. SR095038

## Sites
Portfolio: | Walden Liberty
Site DAS Name | Site | State | Update | DAS
Cape Cod Community College | CCC College | MA | A | SolrenView
Walden Liberty Solar LLC | Walden Liberty | MA | A | SolrenView