## Year to Date
MA: Norton - Wheaton College |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 67281 | 0 | 67281 | 0% | 0 | 67281 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Norton - Wheaton College | MA | 67281 | 0 | 67281 |  | 0 | 0

## 1st Qtr
MA: Norton - Wheaton College |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 67281 | 0 | 67281 | 0% | 0 | 67281 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Norton - Wheaton College | MA | 67281 | 0 | 67281 |  | 0 | 0

## 2nd Qtr
MA: Norton - Wheaton College |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Norton - Wheaton College | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
MA: Norton - Wheaton College |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Norton - Wheaton College | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
MA: Norton - Wheaton College |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Norton - Wheaton College | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
MA: Norton - Wheaton College |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 13777 | 0 | 13777 | 0% | 0 | 13777 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA | 13777 | N/A |  |  | N/A |  |  | 1. Weather station reporting erraneous values since 03/12/2024. | 1. SR081787

## Feb
MA: Norton - Wheaton College |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 18434 | 0 | 18434 | 0% | 0 | 18434 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA | 18434 | N/A |  |  | N/A |  |  | 1.Inverter 16 went offline on 02/01 and came back online at 7:15 AM on 02/02. However, the inverter started production late at 2:25 PM on 02/04. It tripped offline again at 12:35 PM on 02/19. On 02/20, upon the technician's arrival, several faults were identified: "Isolation Error, grid voltage fault, and protect 0260." The inverter was brought back online on 02/20. 2.Inverter 16 was offline on 02/25 and back online at 02:35PM on same day. 3.Inverter 12 was taken offline from 09:15AM to 09:55AM on 02/26 to replace damaged screen 4. Weather station reporting erraneous values since 03/12/2024. | 1.SR096218 2.SR097773 3.SR097591 4. SR081787 | SR097773 | SR097591 | SR081787

## Mar
MA: Norton - Wheaton College |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 35070 | 0 | 35070 | 0% | 0 | 35070 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA | 35070 | N/A |  |  | N/A |  |  | 1. Weather station reporting erraneous values since 03/12/2024. | 1. SR081787

## Apr
MA: Norton - Wheaton College |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## May
MA: Norton - Wheaton College |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Jun
MA: Norton - Wheaton College |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Jul
MA: Norton - Wheaton College |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Aug
MA: Norton - Wheaton College |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Sep
MA: Norton - Wheaton College |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Oct
MA: Norton - Wheaton College |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Nov
MA: Norton - Wheaton College |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Dec
MA: Norton - Wheaton College |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Norton - Wheaton College | MA |  | 0 |  |  | 0

## Sites
Portfolio: | MA: Norton - Wheaton College
Site DAS Name | Site | State | Update | DAS
Wheaton College | MA: Norton - Wheaton College | MA | A | Solrenview