## Year to Date
Yankee Sprinkler |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 43100.5834 | 0 | 43100.5834 | 0% | 40075.24 | 3025.3434 | 7.549%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 27367.5649 | 0 | 27367.5649 |  | 40075.24 | -12707.6751 | -31.71%
Yankee Phase 2 | MA | 15733.0185 | 0 | 15733.0185 |  | 0 | 0

## 1st Qtr
Yankee Sprinkler |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 43100.5834 | 0 | 43100.5834 | 0% | 40075.24 | 3025.3434 | 7.549%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 27367.5649 | 0 | 27367.5649 |  | 40075.24 | -12707.6751 | -31.71%
Yankee Phase 2 | MA | 15733.0185 | 0 | 15733.0185 |  | 0 | 0

## 2nd Qtr
Yankee Sprinkler |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 0 | 0 | 0 |  | 0 | 0
Yankee Phase 2 | MA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Yankee Sprinkler |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 0 | 0 | 0 |  | 0 | 0
Yankee Phase 2 | MA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Yankee Sprinkler |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Yankee Phase 1 | MA | 0 | 0 | 0 |  | 0 | 0
Yankee Phase 2 | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Yankee Sprinkler |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 8146.373 | 0 | 8146.373 | 0% | 9310.4 | -1164.027 | -12.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 5093.965 | N/A |  |  | 9310.4 | -4216.435 | -45.29% | 1. Site production was low on 01/20 to 01/28 due to rain.
Yankee Phase 2 | MA | 3052.408 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Feb
Yankee Sprinkler |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 11707.275 | 0 | 11707.275 | 0% | 12380.68 | -673.405 | -5.439%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 7580.31 | N/A |  |  | 12380.68 | -4800.37 | -38.77% | 1. Site production was low on 02/09 to 02/14 due to rain.
Yankee Phase 2 | MA | 4126.965 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Mar
Yankee Sprinkler |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 23246.9354 | 0 | 23246.9354 | 0% | 18384.16 | 4862.7754 | 26.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA | 14693.2899 | N/A |  |  | 18384.16 | -3690.8701 | -20.08% | 1. Inverter 3 tripped offline at 9:15am on 03/07 reporting AC Voltage too low. After remote reset inverter back online at 11:15 on 03/07 2. Inverter 1 tripped offline at 10:00 on 03/13 reporting Power output outside specified limits. technician replaced relay board and inverter back online at 09:00 on 03/26 | 1. SR098256 2.SR098498 | SR098498
Yankee Phase 2 | MA | 8553.6455 | N/A |  |  | N/A |  |  | 1. Inverter 1 is performing low compared to peers due to several optimizers underperformance. | 1.SR092525

## Apr
Yankee Sprinkler |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## May
Yankee Sprinkler |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Jun
Yankee Sprinkler |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Jul
Yankee Sprinkler |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Aug
Yankee Sprinkler |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Sep
Yankee Sprinkler |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Oct
Yankee Sprinkler |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Nov
Yankee Sprinkler |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Dec
Yankee Sprinkler |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Yankee Phase 1 | MA |  | 0
Yankee Phase 2 | MA |  | 0

## Sites
Portfolio: | Yankee Sprinkler
Site DAS Name | Site | State | Update | DAS
Yankee Sprinkler Phase 1 | Yankee Phase 1 | MA |  | PowerTrack
Yankee Sprinkler Phase 2 | Yankee Phase 2 | MA |  | PowerTrack