## Year to Date
Willwork |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 90422 | 0 | 90422 | 0% | 54810.152 | 35611.848 | 64.97%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: South Easton - Willwork | MA | 90422 | 0 | 90422 |  | 54810.152 | 35611.848 | 64.97%

## 1st Qtr
Willwork |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 16193.53 | 0 | 16193.53 | 0% | 10699.764 | 5493.766 | 51.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: South Easton - Willwork | MA | 16193.53 | 0 | 16193.53 |  | 10699.764 | 5493.766 | 51.34%

## 2nd Qtr
Willwork |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 31091.1 | 0 | 31091.1 | 0% | 20044 | 11047.1 | 55.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: South Easton - Willwork | MA | 31091.1 | 0 | 31091.1 |  | 20044 | 11047.1 | 55.11%

## 3rd Qtr
Willwork |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 32318.375 | 0 | 32318.375 | 0% | 18187.399 | 14130.976 | 77.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: South Easton - Willwork | MA | 32318.375 | 0 | 32318.375 |  | 18187.399 | 14130.976 | 77.7%

## 4th Qtr
Willwork |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 10818.995 | 0 | 10818.995 | 0% | 5878.989 | 4940.006 | 84.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: South Easton - Willwork | MA | 10818.995 | 0 | 10818.995 |  | 5878.989 | 4940.006 | 84.03%

## Jan
Willwork |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 3291.35 | 0 | 3291.35 | 0% | 2331.961 | 959.389 | 41.14%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 3291.35 | N/A |  |  | 2331.961 | 959.389 | 41.14%

## Feb
Willwork |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 4379.215 | 0 | 4379.215 | 0% | 3160.803 | 1218.412 | 38.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 4379.215 | N/A |  |  | 3160.803 | 1218.412 | 38.55%

## Mar
Willwork |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 8522.965 | 0 | 8522.965 | 0% | 5207 | 3315.965 | 63.68%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 8522.965 | NA |  |  | 5207 | 3315.965 | 63.68%

## Apr
Willwork |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 9886.8 | 0 | 9886.8 | 0% | 5861 | 4025.8 | 68.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 9886.8 | N/A |  |  | 5861 | 4025.8 | 68.69%

## May
Willwork |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 10029.375 | 0 | 10029.375 | 0% | 7082 | 2947.375 | 41.62%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 10029.375 | N/A |  |  | 7082 | 2947.375 | 41.62%

## Jun
Willwork |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 11174.925 | 0 | 11174.925 | 0% | 7101 | 4073.925 | 57.37%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 11174.925 | N/A |  |  | 7101 | 4073.925 | 57.37%

## Jul
Willwork |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 11776.565 | 0 | 11776.565 | 0% | 7014 | 4762.565 | 67.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 11776.565 | N/A |  |  | 7014 | 4762.565 | 67.9%

## Aug
Willwork |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 11817.2 | 0 | 11817.2 | 0% | 6409 | 5408.2 | 84.38%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 11817.2 | N/A |  |  | 6409 | 5408.2 | 84.38%

## Sep
Willwork |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 8724.61 | 0 | 8724.61 | 0% | 4764.399 | 3960.211 | 83.12%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 8724.61 | N/A |  |  | 4764.399 | 3960.211 | 83.12%

## Oct
Willwork |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 6543.965 | 0 | 6543.965 | 0% | 3630.756 | 2913.209 | 80.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 6543.965 | N/A |  |  | 3630.756 | 2913.209 | 80.24%

## Nov
Willwork |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 4275.03 | 0 | 4275.03 | 0% | 2248.233 | 2026.797 | 90.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA | 4275.03 | N/A |  |  | 2248.233 | 2026.797 | 90.15% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear lower and they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.

## Dec
Willwork |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: South Easton - Willwork | MA

## Sites
Portfolio: | Willwork
Site DAS Name | Site | State | Update | DAS
23 Norfolk Ave - Teamwork/Willwork | MA: South Easton - Willwork | MA | AF | PowerTrack